| Project Name | QTMP Torbanlea |  |  |
| --- | --- | --- | --- |
| Scope of Work | Site Establishment Works |  |  |
| Site Address | Ritchie Rd Torbanlea |  |  |
| Date of Inspection | 07/06/2024 | Inspected By | Mick Franz |
| Site Contact/s | Mick Franz |  |  |
| Inspection Summary | Electrical Inspections |  |  |
| Corrective Action Reference | Test and Tag Due |  |  |

| Ref | Criteria | Observations |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Yes | No | N/A | Comments |
| 1 | All workers carrying out work have received the general construction induction training. (Blue/White Card) Work Health and Safety Regulation 2011 s316 | YES |  |  |  |
| 2 | PPE is: - suitable for the relevant hazards - of suitable size and fit - maintained such that it is clean and hygienic and in good working order. Work Health and Safety Regulation 2011 s.44 | YES |  |  | PPE Stored and Maintained Correctly Gloves worn at all times as per JHG Instruction |
| 3 | A safe work method statement (SWMS) has been prepared for each high-risk construction work activity that is underway or about to commence. Work Health and Safety Regulation 2011 s.299(1) | YES |  |  | SWMS AVAILABLE IN SITE OFFICE SWMS CAPTURED ON START CARDS FOR RELEVANT TASKS |
| 4 | The work environment has been maintained such that it is clean and in a safe condition. Managing the Work Environment and Facilities Code of Practice, 1.3 Maintaining the work environment and facilities. | YES |  |  | ACCESS AND EGRESS CLEARLY SIGNED AND KEPT CLEAR SUFFICIENT BINS PROVIDED TO MAINTAIN HOUSEKEEPING |
| 5 | Work areas are clearly identified and separated as necessary so that work can be undertaken safely. Work Health and Safety Regulation 2011 s.40 | Yes |  |  | CROWD BARRIERS AND SIGNAGE USED TO DELINEATE WORK AREAS SPOTTERS USED WELL IN CONTROLLING WORK AREAS OPEN TRENCHES TO HAVE BARRICADING INSTALL AT ALL TIMES WITH SIGNAGE |
| 6 | Lighting at the workplace is sufficient to allow: - each worker to carry out work without risk to health and safety - people to move within the workplace without risk to health and safety - safe evacuation in an emergency. Work Health and Safety Regulation 2011 s.40 Managing the Work Environment and Facilities Code of Practice, 2.6 Lighting | YES |  |  | SUFFICIENT LUX LEVELS PROVIDED THROUGHOUT SITE |
| 7 | Adequate facilities have been provided for workers, including toilets, drinking water, washing facilities, and eating facilities. Work Health and Safety Regulation 2011 s.41 | YES |  |  | FACILITIES MAINTAINED WELL |
| 8 | Facilities provided for workers are in good working order and are clean, safe, and accessible. Work Health and Safety Regulation 2011 s.41 | YES |  |  | ALL SITE FACILITIES CLEANED REGULARLY |
| 9 | First aid equipment has been provided for the workplace and is accessible to each worker. Work Health and Safety Regulation 2011 s.42 | YES |  |  | FULLY STOCKED FIRST AID ROOM |
| 10 | Electrical leads are arranged to avoid damage. Electrical Safety Regulation 2013 s.102 | YES |  |  | LEAD STANDS USED WELL COMMUNICATION WITH ALL TRADES TO UTILISE TIE RAILS WHEN CONNECTING LEADS TO TEMP BOARD POWER SUPPLIES NOTED ON OCCASIONS SUMO LEADS HAVE BEEN MOVED BY OTHERS AFTER INSTALLATION COMPLETED BY SITE ELECTRICIANS |
| 11 | Electrical equipment has been inspected, testing, and tagged in accordance with AS/NZS 3012 Electrical installations – Construction and demolition sites. | YES |  |  | 3 MONTHLY TEST AND TAG DUE 08/06/2024 |
| 12 | The risks to health and safety associated with any hazardous manual tasks have been identified and managed. Work Health and Safety Regulation 2011 s.60 | YES |  |  | CRANE AND FORKLIFT AVAILABLE FOR LOADING AND UNLOADING |
| 13 | A safety data sheet (SDS) exists and is available for inspection for each hazardous chemical used, handled, or stored at the workplace. Work Health and Safety Regulation 2011 s.344 | YES |  |  | SDS AVAILABLE IN FIRST AID OFFICE SDS RECORDS UPDATED HAZARDOUS CHEMICALS STORED IN CORRECT CONTAINERS |
| Environmental |  |  |  |  |  |
| 14 | Are controls for air pollution adequate? | YES |  |  | ONGOING MONITORING CONDUCTED DAILY |
| 15 | Are controls for water pollution adequate? | YES |  |  |  |
| 16 | Are controls for noise control adequate? | YES |  |  | ONGOING MONITORING CONDUCTED DAILY |
| 17 | Are controls for waste management adequate? | YES |  |  | BINS EMPTIED DAILY |
| 18 | Are controls for the protection of Flora, Fauna and Historical Heritage adequate? | YES |  |  |  |
| Legal |  |  |  |  |  |
| 19 | Have there been any HSEQ breaches, incidents or near misses? |  | NO |  |  |