CPCCBC4029B

Apply construction information to the sales process

ASSESSMENT SUMMARY

The assessment activities for CPCCBC4029B Apply construction information to the sales process cover all aspects of the unit of competency required. To demonstrate competence in this unit, a participant must undertake all tasks and complete them satisfactorily and consistently. For Apprentices and Trainees, this includes employer completion of the Employer Record Book (ERB).

Participants must read all the information given before starting any assessment task. The assessment tasks are intended to be equitable, fair and flexible. If a participant has any questions or requires alternative arrangements to be made such requests should be directed to their Trainer/Assessor, who should note such arrangements in the ‘Assessor Comments’ on the affected assessment. If a participant feels they are not yet ready to be assessed, they should discuss their options with their Trainer/Assessor.

To satisfactorily complete the assessment, the participant is required to answer all questions correctly and demonstrate their skills to industry standards. If a participant does not answer some questions or perform some tasks, they will be deemed ‘Not Satisfactory’ for the task and ‘Not Yet Competent’ for the unit of competency. The Trainer/Assessor is able to provide the participant with additional information on interpreting the assessment outcomes and provide guidance on the participant’s options. Should a participant still be deemed ‘Not Satisfactory’ they will have the opportunity to undertake a supplementary assessment or appeal the result.

By signing the cover page for each assessment item, the participant acknowledges they understand the assessment instructions and requirements and consent to being assessed. The participant also verifies and assures the RTO that the work submitted is their own work.

| Participant Name | Ross Osborne |
| --- | --- |

| Task | Assessment Results |  |
| --- | --- | --- |
| Theory Exam | Satisfactory | Not Yet Satisfactory |
| Practical Assessment | Satisfactory | Not Yet Satisfactory |
| Outcome for Unit of Competency | Competent | Not Yet Competent |

| Assessor Name |  |
| --- | --- |
| Assessor Signature |  |
| Unit Competence Determination Date | Click here to enter a date. |

CPCCBC4029B

Apply construction information to the sales process

THEORY EXAM INSTRUCTIONS - This exam will occur under standard assessment conditions. - An oral examination may be allowed under certain circumstances, whereby the Participant’s answers will be documented by a party other than the Participant. This must be acknowledged in writing (e.g. FT001 and Assessor Comments) - Participants must provide enough detail in their responses to demonstrate their knowledge and skills. - Please fill in the details below, providing your name, signature and date of assessment. - Your signature acknowledges that this is your own work. - Assessors are to complete marking in pen of a different colour to the Participant. - If a Participant initially answers a question incorrectly but modifies their response, they must follow the instructions below: - If a Participant changes their response in writing, they must put their initials next to the written change. - If a Participant changes their response verbally, this must be noted on the exam paper by the assessor.

| Participant name |  |
| --- | --- |
| Participant signature |  |
| Date | 28/02/2020 |

| Assessor name |  |
| --- | --- |
| Assessor signature |  |
| Date | Click here to enter a date. |

| Number of questions | Number of questions answered correctly | Task outcome (Tick) |  |
| --- | --- | --- | --- |
| 18 |  | Satisfactory | Not Yet Satisfactory |

ASSESSOR Comments

Outline the circumstances in which a building licence must be obtained before carrying out building work.

| Answer | In Queensland , individuals and companies must obain and hold a QBCC license to carry out Any work valued over $3300 Building work valued over $1100 where it involves Hydrolic Servises design Building work of any value where it involves Drainage Plumbing and drainage Gas fitting Termite management-chemical Fire protection Complete Residential building inspections Building design low rise medium rise and open Site classification |  |
| --- | --- | --- |

Describe the steps involved in organising electricity supply to site. Provide approximate timeframes for this process.

| Answer | Should the premise not have supply available, the electrical contractor can complete an enquiry on the clients behalf The distribution network service provider (Energex) will conduct the necessary network investigations and provide an indicative estimate of potential costs and timeframes for the client to make an informed decision within 20 business days If the supply is available the electrical contractor will need to enter into a network connection agreement with the distribution network service provider If the the application is not expedited ( by agreeing to the model terms and conditions for deemed standard connection contracts), the distribution network will advise of a network connection offer within 10 business days After agreeing to the connection offer, the electrical contractor will prepare the premise for connection The electrical contractor will submit an electrical work request(EWR) to the distribution network service provider once the work is complete A copy of the EWR will be sent to the clients preferred electrical retailer Once all the formes are received, the distribution network service provider must adhere to timeframes for the new connections(Energex will attend the property within 5 business days Time frames are dependent on network availability, access requirements, traffic control of your distribution network service provider |  |
| --- | --- | --- |

True or False (Tick your response): Staged approval is one type of approval that may be sought for the building approval stage.

| Answer |  | True |  |  |
| --- | --- | --- | --- | --- |
|  |  | False |  |  |

True or False (Tick your response): Building provision approvals are issued by the local government (e.g. Brisbane City Council).

| Answer |  | True |  |  |
| --- | --- | --- | --- | --- |
|  |  | False |  |  |

Describe the steps involved in organising water supply to site. Provide approximate timeframes for this process.

| Answer | In south east Queensland, this application is submitted to Queensland Urban Utilities. The water Approval process works in conjunction with the council development assessment process, and applications do not need to be submitted at the same time Water and sewage connection approvals are customised for all scales of development from a new house to a large factory or multistage residential sub division Where developers are proposing to connect to our water and sewage services, councils will require evidence that a connection is available Generally the evidence required, and therefore the relative timing of the two approvals, will depend on the complexity of the proposed development and the likely availability of services Standard connection for residential developments are usually completed within five days |  |
| --- | --- | --- |

Identify the Volume and Parts of the NCC which outline energy efficiency requirements for Classes 1 and 10, and Classes 2 to 9.

| Answer | Classes 1 and 10 | Classes 2 to 9 |  |
| --- | --- | --- | --- |
|  | Volume 1 Parts J | Volume 2 parts 2.6 and 3.12 |  |

Describe the long-term benefits of sustainable building solutions. List one (1) environmental benefit and one (1) benefit for the client.

| Answer | Topics | Definition |  |
| --- | --- | --- | --- |
|  | Environmental benefit | Insulation such as wool bats in ceilings and wall insulate against heat and cold getting in the house and therefore reduces the need for excessive energy which intern reduces the carbon foot print for the environment |  |
|  | Client benefit | Insulation reduces the need for heating and cooling in the house which results in lower energy costs for the home owner |  |

Match the insurance types and definitions by writing the appropriate letter next to each number in the centre column.

| Answer | Insurances |  | Answers | Definition |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | 1 | Builder’s All Risk | 1 -B | A | Covers personal injury or property damage. |  |
|  | 2 | Indemnity | 2 -C | B | Covers accidental risks of physical loss or damage during construction, third party liabilities and advance loss of profits. |  |
|  | 3 | Public Liability | 3 -A | C | Covers costs where a contractor has caused building errors or omissions. |  |
|  | 4 | Workers’ Compensation | 4 -D | D | Covers death, injury or illness of employees. |  |

True or False (Tick your response): Insurance should be taken out by the contractor prior to starting construction.

| Answer |  | True |  |  |
| --- | --- | --- | --- | --- |
|  |  | False |  |  |

Select and describe five (5) trades involved in the construction process.

| Answer | Trade | Description |  |
| --- | --- | --- | --- |
|  | Excavation | Prepares the site for building and removing vegetation |  |
|  | Carpentry | Installs wall frames, flooring, roof trusses, windows doors, joinery and mouldings |  |
|  | Bricklaying | Installs brick base (sub-base brickwork, dwarf walls and peirs) installs walls |  |
|  | Plumbing | Organises water supply installs pipes and drains installs roof and guttering fits taps hot water systems and toilets |  |
|  | Concreting | Installs formwork and boxing and pours concrete for stucture |  |

Order the following steps from 1 to 10 to identify an appropriate construction sequence.

| Answer | Step Number | Steps |  |
| --- | --- | --- | --- |
|  | 3 | Floor frame |  |
|  | 6 | Windows and external door frames |  |
|  | 7 | Wall insulation |  |
|  | 1 | Set out |  |
|  | 9 | Painting |  |
|  | 5 | Electrical wiring |  |
|  | 2 | Plumbing of waste pipes |  |
|  | 8 | Internal linings |  |
|  | 10 | Landscaping |  |
|  | 4 | Wall frames |  |

For each of the main stages of construction listed below, identify the main trades involved and an approximate duration of each stage for a standard.

| Answer | Stage | Description |  |  |
| --- | --- | --- | --- | --- |
|  | 1: Clearing of the site | Trades | Soil testing, site levelling, clearing vegetation, retaining walls site drainage |  |
|  |  | Duration | Varies approx. 1-3 weeks |  |
|  | 2: Slab or base stage | Trades | Excavation, concrete contractor plumbing drainage, electrical steelfixing, termite protection |  |
|  |  | Duration | 1-2 weeks |  |
|  | 3: Frame stage | Trades | Carpenters framing , facia gutter, scaffold, roofing |  |
|  |  | Duration | 3-4 weeks |  |
|  | 4: Lockup stage | Trades | Carpenters windows doors cladding, brickwork, plumbing rough-in electrical rough-in a/c rough-in stairs, |  |
|  |  | Duration | Appox 4 weeks |  |
|  | 5: Fit-out or fixing stage | Trades | Kitchen install, gyprock and setting waterproofing to wet areas, tiling to wet areas, plumbing fit-off electrical fit-off, a/c fit-off painting doors install trims and mouldings, shelving to robes, flooring, carpet |  |
|  |  | Duration | 5-6 weeks |  |
|  | 6: Practical completion stage | Trades | all trades completing works to achieve practical completion and form 21, driveway, landscaping |  |
|  |  | Duration | 7-8 weeks |  |

Identify five (5) factors that can affect the duration of each construction stage.

| Answer | Delays in materials Wet weather Sub-contractors defects Late payments from clients Provision-sum durations for example excavation |  |
| --- | --- | --- |

Describe how each of the following factors can affect construction times.

| Answer | Factor | Effect |  |
| --- | --- | --- | --- |
|  | Changed conditions | If the requirements of the job are altered, this will change the project timeframes, additional materials and labour can alter timeframes, this is where variations can come inti effect with time extensions |  |
|  | Labour availability | If predecessors of critical path trades are delayed because of labour shortage this can alter the program of the project ending up with liquidated damages |  |
|  | Material availability | If lead times aren’t discussed materials can not be delivered on time for specific trades to complete there tasks altering the program of the job |  |
|  | Weather | Weather can affect a large range of trades completing their tasks on time, effecting the overall time table, only a certain amount of inclement weather days can be claimed according to the contract |  |

Describe the site establishment requirements for each of the points listed.

| Answer | Requirement | Description |  |
| --- | --- | --- | --- |
|  | Earthworks | Contact dial before you dig before undertaking any excavation to ensure existing services are located before work starts l |  |
|  | Electricity | Existing electricity needs to be disconnected and temporary power connected for duration of construction process |  |
|  | Neighbours | Provide advanced notice to neighbours of intended construction dated and site contact numbers |  |
|  | Waste disposal | Set up designated area for rubbish bins and waste removal. Check if permits are required to place bins on the street |  |
|  | Water connection | Contracted plumber may perform work to disconnect water prior to demolition and connect temp water for duration of construction |  |

Identify the section of the Work Health and Safety Regulations that outlines the site establishment requirements listed.

| Answer | Regulation section | Requirement |  |
| --- | --- | --- | --- |
|  | Section 40 | The layout of the work area must allow for persons to enter, exit and move about without risk to health and safety |  |
|  | Section 41 | Adequate facilities must be provided for workers, including toilets, drinking water, washing facilities and eating facilities. |  |
|  | Section 308 | A principal contractor for a construction project must install signs outside the work area that shows their name and telephone contact numbers and site office address. |  |

True or False (Tick your response): The owner is able to access the site at any time.

| Answer |  | True |  |  |
| --- | --- | --- | --- | --- |
|  |  | False |  |  |

Which of the following parties should the client contact to access the site? Tick all that apply.

| Answer | Choice | Possible Answers |  |
| --- | --- | --- | --- |
|  |  | Contractor |  |
|  |  | Local Government |  |
|  |  | Industry Regulator (e.g. Queensland Building and Construction Commission) |  |
|  |  | Subcontractors |  |

CPCCBC4029B

Apply construction information to the sales process

PRACTICAL ASSESSMENT INSTRUCTIONS - The following practical assessment will require the Participant to complete work related activities. - The Assessor will conduct observations of the Participant’s work to determine whether they display sufficient practical skills and knowledge. - Please fill in the details below – providing your name, signature and date of assessment. - The Participant’s signature acknowledges that the Assessor provided clear instructions and the Participant understood what was required to complete this assessment. - The Assessor may substitute a Practical Task with an alternate task of equal value. - Alternate tasks must be fully documented by the assessor in the Assessor Comments area.

| Participant name |  |
| --- | --- |
| Participant signature |  |
| Date | Click here to enter a date. |

| Assessor name |  |
| --- | --- |
| Assessor signature |  |
| Date | Click here to enter a date. |

| Task | Task outcome (Tick) |  |
| --- | --- | --- |
|  | Satisfactory | Not Yet Satisfactory |
| Task 1 (Occasion 1) |  |  |
| Task 1 (Occasion 2) |  |  |

Assessor Comments

CPCCBC4029B

Apply construction information to the sales process

| Practical Task 1 (2X) |  |  |  |
| --- | --- | --- | --- |
| Description of task: On two (2) occasions, a suitable observer is to verify the participant’s ability to apply construction information during the sales process in order to develop the customer’s knowledge of construction processes and the effects on the contract and building timelines. The participant is to gather evidence of how they have completed each component of the Practical Task, which is to be submitted with this Practical Assessment sheet. Evidence to be submitted may include: - RFI and relevant correspondence with client - A variation, price and acceptance by the client The observer is to provide detailed comments on the tasks completed by the participant. The assessor is to verify the observer’s comments in the Assessor Comments section, and provide the Practical Assessment outcome on the front cover of this document. |  |  |  |
| Resources required: Two (2) sales contracts. |  |  |  |
| Assessment of task |  |  |  |
| Name of participant: |  |  |  |
| Name of observer: |  |  |  |
| Role of observer (Confirm suitability to sign) |  |  |  |
| Email address of observer |  |  |  |
| Signature of observer: |  |  |  |
| Date: | Click here to enter a date. |  |  |
| When completing the task, did the participant: |  | Tick if satisfactorily completed. Provide comments if left unticked. |  |
|  |  | 1st Occasion | 2nd Occasion |
| - Identify and explain to the customer the approvals required before starting construction, including: - Statutory approvals - Sustainability requirements - Insurance covers |  |  |  |
| - Identify and explain to the customer the stages and timeframes of construction, including: - Main trade components - Construction process sequence (including approximate duration) |  |  |  |
| - Identify and explain to the customer potential industry conditions that can affect construction times. |  |  |  |
| - Identify and explain to the customer site establishment requirements before starting construction. |  |  |  |
| - Establish site access arrangements with the client. |  |  |  |
| - Effectively communicate using the following methods: - Verbally using language/concepts appropriate to cultural differences - Non-verbal communication - Active listening and responding to client questions |  |  |  |
| The participant’s performance was: Satisfactory Not Satisfactory |  |  |  |

observer Comments