CHECKLIST for building fire protection compliance in Queensland

| Aspect | Passive Fire Protection Measures | Active Fire Protection Measures |
| --- | --- | --- |
| Fire-rated walls, doors, and floors | Check integrity and functionality | - Fire detection and alarm systems |
| Fire compartments | Delineation and maintenance | - Smoke detectors, heat detectors, manual call points |
| Fire seals and smoke seals on doors | Presence and condition | - Alarm notification appliances (bells, sirens, strobes) |
| Fire-resistant glazing | Compliance and integrity | - Automatic sprinkler systems (if applicable) |
| Fire-stopping materials | Use in wall and floor penetrations | - Fire extinguishers |
| Fire-rated structural elements | Integrity and condition | - Fire hose reels and hydrants (if applicable) |
| Fire-resistant coatings on steel | Integrity | - Emergency exit signage |
| Fire protection strategy | Alignment with renovation | - Emergency lighting systems |
|  |  | - Automatic closing devices on fire doors (if applicable) |
|  |  | - Emergency evacuation system |
| Building services | Electrical system compliance |  |
| Smoke exhaust systems (if applicable) | Installation and functionality |  |
| Ventilation systems | Fire safety considerations |  |
| HVAC systems | Fire safety considerations |  |
| Escape routes and exits | Availability, condition, and accessibility |  |
| Width and capacity of escape routes | Compliance with capacity requirements |  |
| Emergency exits | Clearly marked and lead to safe outdoor areas |  |
| Panic hardware on exit doors | Functionality |  |
| Occupant Safety and Education | Emergency response plan, evacuation procedures |  |
| Fire safety signage and instructions | Prominently displayed |  |
| Fire safety training and drills | Plan for building occupants |  |
| Documentation and Compliance | Maintain all relevant documentation, certificates | - Compliance with Building Code of Australia (BCA) |
|  | and approvals | - Compliance with Queensland building regulations |