CPCSUS4002

Use building science principles to construct energy efficient buildings

ASSESSMENT SUMMARY

The assessment activities for CPCSUS4002 Use building science principles to construct energy efficient buildings cover all aspects of the unit of competency. For Apprentices/Trainees, this includes supervisor completion of the Apprentice/Trainee Record (ATR).

Participants must read all the information given before starting any assessment task. The assessment tasks are intended to be fair, flexible, valid and reliable. If a Participant has any questions or requires alternative arrangements to be made such requests should be directed to their Trainer/Assessor, who should note such arrangements in the ‘Assessor Comments’ on the affected assessment. If a Participant feels they are not yet ready to be assessed, they should discuss their options with their Trainer/Assessor.

To satisfactorily complete the assessment, the Participant is required to answer all questions correctly and demonstrate their skills to industry standards. If a Participant does not answer all questions or perform all tasks, they will be deemed ‘Not Satisfactory’ for the task and ‘Not Yet Competent’ for the unit of competency.

The Trainer/Assessor can provide the Participant with additional information on interpreting the assessment outcomes and guide the Participant’s options. If a Participant is still deemed ‘Not Satisfactory’ they will have the opportunity to undertake a supplementary assessment or appeal the result as per the process in the Student Handbook.

By signing below, the Participant acknowledges:

- They understand the assessment instructions and requirements, and consent to being assessed.

- The work submitted is to be their own work – with the work of/with others needing to be clearly acknowledged and documented.

- They consent to any photo/video recording of their work that occurs during assessment.

| Participant name |  |
| --- | --- |
| Participant signature |  |

Pre-requisite unit(s) to be achieved and authenticated prior to undertaking assessment

Not applicable

| Task | Date completed | Assessment Results |  |
| --- | --- | --- | --- |
| Theory Exam | Select Date. | Satisfactory | Not Satisfactory |
| Workbook | Select Date. | Satisfactory | Not Satisfactory |
| Practical Assessment | Select Date. | Satisfactory | Not Satisfactory |
| Outcome for CPCSUS4002 | Select Date. | Competent | Not Yet Competent |

| Evidence requirements checklist (ticked by assessor and evidence supplied to RTO) |  |
| --- | --- |
| Theory Exam Workbook Practical Assessment | Residential Construction Energy Efficiency report (HO1) Commercial Construction Energy Efficiency report (HO2) |

| Assessor name |  |
| --- | --- |
| Assessor signature |  |

CPCSUS4002

Use building science principles to construct energy efficient buildings

THEORY EXAM

| Participant name |  |
| --- | --- |

FOR THE PARTICIPANT

Instructions

- You will complete written questions as outlined on the following pages. You must attempt all questions and provide enough detail in your responses to demonstrate your knowledge. - It is anticipated that you should complete this assessment within two (2) hours, but additional time may be allowed upon negotiation with the Assessor. - You must complete all questions unassisted by the Assessor or other personnel but may refer to reference material as needed. All questions must be answered correctly for a ‘Satisfactory’ assessment outcome to be awarded. - An oral examination may be allowed under certain circumstances, whereby your answers will be documented by another party. - Any written questions that are incomplete, or not answered satisfactorily will need to be completed again after further training support. - If you answer a question incorrectly but modify your response, put your initials next to the written change (or the Assessor must initial a verbal change).

Resources required

Pen

FOR THE ASSESSOR

Instructions

- Where oral examination has occurred, ensure that this is acknowledged in writing (e.g. FT001 and Assessor Comments) - All questions must be satisfactorily demonstrated by the Participant for a Satisfactory determination (indicated by an Assessor tick to the right of the question). - Assessors are to complete marking in pen of a different colour to the Participant. - If the Participant verbally modifies their response, write in the modified response verbatim and put your initials next to the written change.

ASSESSOR COMMENTS

As necessary, outline: - Details on reattempts, alternative arrangements or reasonable adjustments made. - Where a Participant is deemed ‘Not Satisfactory’, provide recommendations for future training.

Define systems theory.

| Answer |  |  |
| --- | --- | --- |

Below are elements of an energy-efficient building. Basing on systems theory, explain how each element (part of a system) contributes to the overall energy efficiency of a building (whole system).

| Answer | Element | Explanation |  |
| --- | --- | --- | --- |
|  | Thermal envelope |  |  |
|  | Ventilation |  |  |
|  | Cooling system |  |  |

Clarify health risks and considerations associated with the following building types and indoor activities that must be considered.

| Answer | Type of building | Indoor activity | Risks | Health and safety considerations |  |
| --- | --- | --- | --- | --- | --- |
|  | House | Cooking |  |  |  |
|  | House | Washing |  |  |  |
|  | Factory | Roof tile manufacturing |  |  |  |
|  | School | Laboratory experiment |  |  |  |

Explain how failing to meet requirements for minimisation of heat gain in summer can affect the building occupants’ health.

| Answer |  |  |
| --- | --- | --- |

Discuss three (3) challenges and considerations to be made, related to beachfront buildings.

| Answer |  |  |
| --- | --- | --- |

Explain how each of the following weather conditions impact a building.

| Answer | Weather condition | Explanation |  |
| --- | --- | --- | --- |
|  | Cyclonic activity |  |  |
|  | Extreme heat |  |  |
|  | Risk of fire |  |  |
|  | Heavy rain |  |  |
|  | Flooding |  |  |
|  | Storm weather |  |  |

Describe techniques or methods that are applied to improve the durability of concrete, particularly in coastal areas.

| Answer |  |  |
| --- | --- | --- |

Discuss the purpose of building using cavity brick masonry techniques and the benefits in relation to energy efficiency.

| Answer |  |  |
| --- | --- | --- |

Discuss how the Greenhouse and Energy Minimum Standards (GEMS) Act affects which products are used during energy efficient construction.

| Answer |  |  |
| --- | --- | --- |

Describe the ‘Minimum Energy Performance Standards’ (MEPS).

| Answer |  |  |
| --- | --- | --- |

Specify what each of the following Australian Standards address relevant to energy efficiency of buildings.

| Answer | Weather condition | Explanation |  |
| --- | --- | --- | --- |
|  | AS/NZS ISO 9972:2015 |  |  |
|  | AS/NZS 2904:1995 |  |  |
|  | AS 4654.1-2012 |  |  |
|  | AS 2047-2014 |  |  |
|  | AS/NZS 4859.1:2018 |  |  |
|  | AS/NZS 5141:2018 |  |  |

What is ANSI/ASHRAE 55-2020 - Thermal Environmental Conditions for Human Occupancy?

| Answer |  |  |
| --- | --- | --- |

Discuss theory of heat flow and how heat transfers between objects.

| Answer |  |  |
| --- | --- | --- |

Listed below are different types of central heating systems.

- Compare each system by indicating how much their running cost (either low, medium, or high) and their greenhouse gas emissions, and answer the questions that follow.

| Answer | Energy Efficient System | Running Cost | Greenhouse Gas Emissions |  |
| --- | --- | --- | --- | --- |
|  | High efficiency ducted natural gas |  |  |  |
|  | Hydronic zoned natural gas or heat pump |  |  |  |
|  | Ducted reverse cycle or heat pump |  |  |  |
|  | In-slab high off-peak electric |  |  |  |

Discuss the factors that may affect variations in HVAC energy use between different types of buildings.

| Answer |  |  |
| --- | --- | --- |

Explain the difference between exhaust ventilation systems and supply ventilation systems.

| Answer |  |  |
| --- | --- | --- |

Why should you review mechanical ventilation systems and equipment to aid air flows prior to purchase and installation?

| Answer |  |  |
| --- | --- | --- |

Read the installation guide below to respond to Q18. & Q19.

Describe how this product should be applied to a stud wall and around a corner.

| Answer |  |  |
| --- | --- | --- |

Explain why exterior cladding should be installed without delay following the installation of the wall wrap.

| Answer |  |  |
| --- | --- | --- |

Explain passive solar heating and why this must be considered when designing the position for a building.

| Answer |  |  |
| --- | --- | --- |

What is embodied energy?

| Answer |  |  |
| --- | --- | --- |

Explain why consideration of embodied energy is made when selecting construction materials and products for energy-efficient buildings.

| Answer |  |  |
| --- | --- | --- |

Discuss energy efficient treatment that can be applied to combat insulating material gaps around old style halogen downlights.

| Answer |  |  |
| --- | --- | --- |

Discuss effective energy efficient treatment that can be used for the following situations.

| Answer | Situation | Effective energy efficient treatment |  |
| --- | --- | --- | --- |
|  | Gaps under and around doors |  |  |
|  | Openings for floor or ceiling ducts used to transmit heating or cooling |  |  |
|  | Wall, floor or ceiling cracks |  |  |
|  | Window seals |  |  |
|  | Thermal mass |  |  |

Discuss the benefit of using a Nationwide House Energy Rating Scheme (NatHERS) assessor for predicting the energy efficiency of a building before building.

| Answer |  |  |
| --- | --- | --- |

Discuss the digital tools builders use to communicate with clients, suppliers, architects, and others.

| Answer |  |  |
| --- | --- | --- |

CPCSUS4002

Use building science principles to construct energy efficient buildings

WORKBOOK

| Participant name |  |
| --- | --- |

FOR THE PARTICIPANT

Instructions

- You will complete written activities as outlined on the following pages. You must attempt all questions and provide enough detail in your responses to demonstrate your knowledge. - The timeframe for these tasks will be established by your Assessor or Training Plan, but additional time may be allowed upon negotiation with the Assessor. - You must complete all questions unassisted by the Assessor or other personnel but may refer to reference material as needed. All questions must be answered correctly for a ‘Satisfactory’ assessment outcome to be awarded. - An oral examination may be allowed under certain circumstances, whereby your answers will be documented by another party. - Any written questions that are incomplete, or not answered satisfactorily will need to be completed again after further training support. - If you answer a question incorrectly but modify your response, put your initials next to the written change (or the Assessor must initial a verbal change).

Resources required

Pen

FOR THE ASSESSOR

Instructions

- Where oral examination has occurred, ensure that this is acknowledged in writing (e.g. FT001 and Assessor Comments) - All questions must be satisfactorily demonstrated by the Participant for a Satisfactory determination (indicated by an Assessor tick to the right of the question). - Assessors are to complete marking in pen of a different colour to the Participant. - If the Participant verbally modifies their response, write in the modified response verbatim and put your initials next to the written change.

ASSESSOR COMMENTS

As necessary, outline: - Details on reattempts, alternative arrangements or reasonable adjustments made. - Where a Participant is deemed ‘Not Satisfactory’, provide recommendations for future training.

NOTE

At times, you will be provided with a specific business context to which you must respond, otherwise it is anticipated that you will use a workplace of your choosing (your own, or hypothetical) to provide the context to the task.

At all times, the responses in your assessment must reference Australian (Queensland or Federal) documentation, including legislation, regulations, codes of practice, standards and guidance publications.

Access and review Section J of the National Construction Code (NCC) Volume 1 and Part H6 of the NCC Volume 2 and answer the following questions. - What is the NCC’s objective regarding Energy Efficiency? - List the total thermal performance requirements found under J1P2

- What is the NCC’s objective regarding Energy Efficiency?

- List the total thermal performance requirements found under J1P2.

| Satisfactory Outcome |  |  |
| --- | --- | --- |

Use the internet to research building science methods on the evaluation of energy efficiencies and respond to the questions below: - One (1) local (Australian) - The Evaluation of the 5-Star Energy Efficiency Standard for Residential Buildings - One (1) international - Energy performance of buildings: The evaluation of design and construction measures concerning building energy efficiency in Iran

- Local research on building science method

- Research Title

- Author/publisher

- Date research is published

- Summary of research

- URL/Source

- - Continued

- International research on building science method

- Research Title

- Author/publisher

- Date research is published

- Summary of research

- URL/Source

| Satisfactory Outcome |  |  |
| --- | --- | --- |

Research two (2) manufacturers of energy-efficient materials and respond to the following: - Identify the name of the manufacturer - Identify the website links of the manufacturer you provided - Provide two (2) examples of their products: - energy-efficient material - energy-efficient system

Manufacturer 1

- Name of manufacturer

- Website / link

- Products

- energy-efficient material

- energy-efficient system

Manufacturer 2

- Name of manufacturer

- Website / link

- Products

- energy-efficient material

- energy-efficient system

| Satisfactory Outcome |  |  |
| --- | --- | --- |

Research the work health and safety requirements and guidelines related to installing ceiling insulation in your state or territory and respond to the following: - List your State/Territory - WHS regulator researched - Risks related to installing ceiling insulation - Guidelines to follow during insulation installation - Guidelines to follow after insulation installation.

- List your State/Territory

- WHS regulator researched

- Risks related to installing ceiling insulation

- Guidelines to follow during insulation installation

- Guidelines to follow after insulation installation.

| Satisfactory Outcome |  |  |
| --- | --- | --- |

CPCSUS4002

Use building science principles to construct energy efficient buildings

PRACTICAL ASSESSMENT

| Participant name |  |
| --- | --- |

FOR THE PARTICIPANT

Instructions

- The tasks outlined on the following pages will require performance of normal workplace activities, as a result of a structured activity set by an Observer in the workplace or a simulated activity set by your Assessor/Observer. - The timeframe for these tasks will be established by your Assessor/Observer, in consideration of location conditions and industry requirements. - You must complete all tasks unassisted by the Assessor or other personnel, unless the steps note this assistance. - You must attempt all tasks (and itemised steps) for a ‘Satisfactory’ assessment outcome to be awarded. - For any observation conducted that is incomplete, or without satisfactory performance, the observation will need to be completed again after further training support.

FOR THE ASSESSOR/OBSERVER

Instructions

- The following observation record should be used to judge and record your observations of the Participant as they complete the task(s) set. You must record your observations of the Participant’s performance. - For each occasion, indicate the task performed and whether it was a simulation or workplace-based task. - Any simulated assessment must ensure the Participant still performs under workplace conditions which reflect industry standards. - In the comments, provide clear detail regarding the task that the Participant was required to do (e.g. PPE used, materials handled, attachments connected, plant types). - All steps must be satisfactorily demonstrated by the Participant for a ‘Satisfactory’ determination (indicated by an Assessor tick to the right of each itemised step, or an Observer tick to the right of each itemised step, and confirmation by an Assessor in the Assessor Comments). - Where you have determined that one or more task steps have not been satisfactorily demonstrated, provide the Participant with additional support and outline details of such assistance in the Assessor/Observer Comments. Allow the Participant two (2) further opportunities to demonstrate the task again to allow an opportunity for a ‘Satisfactory’ assessment outcome to be achieved. - If after three (3) attempts the Assessor determines that the Participant cannot demonstrate the required steps, a ‘Not Satisfactory’ outcome is to be determined.

| TASK OUTCOME |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Task | Date | Task Type (Tick) | Location | Task outcome (Tick) |  |
|  |  |  |  | Satisfactory | Not Satisfactory |
| Task 1 (Occasion 1) | Select Date. | Workplace Simulation |  |  |  |
| Task 1 (Occasion 2) | Select Date. | Workplace Simulation |  |  |  |

ASSESSOR COMMENTS: GENERAL

As necessary, outline: - Details on reattempts, alternative arrangements or reasonable adjustments made. - Where a Participant is deemed ‘Not Satisfactory’, provide recommendations for future training.

| ASSESSOR COMMENTS: PRACTICAL TASK 1: OCCASION 1- Residential construction project |  |
| --- | --- |
| Individual student (as named on cover page) Multiple students [ All from Attendance Report, Specific students involved – identify students] |  |
| Task | Provide detail |
| 1.1E. 1.2A. | Specify how research on a range of energy efficient design and construction methods was conducted: |
| 1.2C. 1.2D. | Specify how levels of energy efficiency, ventilation and indoor air quality were determined: |

| ASSESSOR COMMENTS: PRACTICAL TASK 1: OCCASION 2 Commercial construction project |  |
| --- | --- |
| Individual student (as named on cover page) Multiple students [ All from Attendance Report, Specific students involved – identify students] |  |
| Task | Details |
| 1.1E. 1.2A. | Specify how research on a range of energy efficient design and construction methods was conducted: |
| 1.2C. 1.2D. | Specify how levels of energy efficiency, ventilation and indoor air quality were determined: |

CPCSUS4002

Use building science principles to construct energy efficient buildings

Practical Task 1 (2X)

Description of task: The participant must demonstrate the skills and knowledge required to incorporate building science principles into the construction of energy efficient buildings by making recommendations in the form of a report for the use of energy efficient materials, products and construction methods for one (1) residential construction project (Occasion 1) and one commercial construction project (Occasion 2) (template available) in the State/Territory of place of work, including: - Determine the building envelope expectations. - Determine the building use and energy efficiency expectations. - Identify risks associated with occupants’ indoor activities and health and safety considerations. - Determine environmental and climatic conditions that impact the resilience of building materials. - Determine construction methods to be applied that factor in durability of materials. - Consult relevant legislation, standards, regulations and codes to identify minimum energy efficient standards to be met. - Assess energy efficiency construction. - Research and consult relevant domestic and international codes, standards and examples of best practice that meet or exceed current energy efficient standards and apply building science principles. - Review embodied energy of the specified products or materials to evaluate the energy efficiency. - Research heating, ventilation and air conditioning (HVAC) systems to identify levels of energy efficiency, ventilation and indoor air quality. - Review mechanical ventilation systems and equipment to aid air flows for appropriateness and operational costs. - Research and identify durability and appropriateness of moisture and vapour barriers to gain high levels of energy efficiency. - Research and report on energy efficient construction methods and systems. - Decide on method of construction. - Incorporate building science principles for energy efficient materials and products used in the building envelope. - Identify site location and building position to maximise energy efficiency relating to environmental factors, climatic conditions and use of building. - Identify and assess energy efficiency of thermal energy, heating and cooling, air and moisture flows throughout the building. - Develop and document strategies to minimise unwanted air leakages. - Evaluate and select mechanical ventilation systems and equipment for appropriateness to the site and operational costs. - Evaluate and select materials for interior and exterior barriers for energy efficiency, durability and appropriateness for building site climate. These tasks may be simulated or real. The Participant is to gather evidence of how they have completed each component of the Practical Task, which is to be submitted with this Practical Assessment sheet. The Observer is to provide detailed comments on the tasks completed by the Participant (on the Observer Comments, overleaf). The Assessor is to verify the Observer’s comments, noting their findings in the Assessor Comments (on the back of the Practical Assessment cover page) and provide the assessment outcome.

Resources required: Construction project (1 residential and 1 commercial) plans, drawings, access to internet, access to PC, report template (workplace or HO1 and HO2 supplied). policies, procedures and other quality documentation, Communication equipment.

| Observer details |  |
| --- | --- |
| Name of observer: |  |
| Role of observer (Confirm suitability to sign) |  |
| Email address of observer |  |
| Signature of observer: |  |
| Date: | Select Date. |

| When completing the task, did the Participant: | Tick if satisfactorily completed. Provide comments if left unticked. |  |
| --- | --- | --- |
|  | 1st Occasion | 2nd Occasion |
| 1 Determine the building envelope expectations |  |  |
| Determine the building use and energy efficiency expectations. |  |  |
| Identify risks associated with occupants’ indoor activities and health and safety considerations. |  |  |
| Determine environmental and climatic conditions that impact the resilience of building materials. |  |  |
| Determine construction methods to be applied that factor in durability of materials. |  |  |
| Consult relevant legislation, standards, regulations and codes to identify minimum energy efficient standards to be met. |  |  |
| 2 Assess energy efficiency construction |  |  |
| Research and consult relevant domestic and international codes, standards and examples of best practice that meet or exceed current energy efficient standards and apply building science principles. |  |  |
| Review embodied energy of the specified products or materials to evaluate the energy efficiency. |  |  |
| Research heating, ventilation and air conditioning (HVAC) systems to identify levels of energy efficiency, ventilation and indoor air quality. |  |  |
| Review mechanical ventilation systems and equipment to aid air flows for appropriateness and operational costs. |  |  |
| Research and identify durability and appropriateness of moisture and vapour barriers to gain high levels of energy efficiency. |  |  |
| Research and report on energy efficient construction methods and systems. |  |  |
| 3 Decide on method of construction |  |  |
| Incorporate building science principles for energy efficient materials and products used in the building envelope. |  |  |
| Identify site location and building position to maximise energy efficiency relating to environmental factors, climatic conditions and use of building. |  |  |
| Identify and assess energy efficiency of thermal energy, heating and cooling, air and moisture flows throughout the building. |  |  |
| Develop and document strategies to minimise unwanted air leakages. |  |  |
| Evaluate and select mechanical ventilation systems and equipment for appropriateness to the site and operational costs. |  |  |
| Evaluate and select materials for interior and exterior barriers for energy efficiency, durability and appropriateness for building site climate. |  |  |
| Use digital tools and devices to communicate effectively with others |  |  |

Observer comments: