# Materials and Consumables Cost Identification Form

## Instructions to the Assessor

The candidate will review the construction drawings and specifications from Task 1. They will then use this Materials and Consumables Cost Identification Form to document the materials and consumables needed in the construction of the building and their costs.

## Instructions to the Candidate

Use this Materials and Consumables Cost Identification Form to document the materials and consumables needed in the construction of the building and their costs.

Ensure you have completed all fields in this form before submitting it to your assessor.

| materials and consumables cost identification form |  |
| --- | --- |
| Candidate name | Noreen Abu-Obeid |
| Workplace/organisation | Knights Construction |
| Date of inspection | 22/12/2022 |

Details of the Building and Construction Project

| Workplace/organisation | Knights Construction |
| --- | --- |
| Name of building and construction project | Sandgate Road, Nundah |
| Type of project | X Residential building Commercial building |
| State/territory | QLD |

Section 1 – Materials

(Add rows as necessary)

| Material | Quantity | Cost | L Supplier Link for price |
| --- | --- | --- | --- |
| Ply brace sheet 600mm Direction X kN3.8 | 1 | $31 | https://www.bunnings.com.au/search/products?q=ply+sheets&sort=BoostOrder&page=1 |
| Ply brace sheets 700mm Direction X kN 4.5 | 2 | $41.90 | https://www.bunnings.com.au/search/products?q=ply+sheets&sort=BoostOrder&page=1 |
| Ply brace sheets 900mm Direction X kN 27 | 5 | $156 | https://www.bunnings.com.au/search/products?q=braceboard&sort=BoostOrder&page=1 |
| Ply brace sheets 2700mm Direction X kN 48.6 | 3 | $210 | https://www.bunnings.com.au/search/products?q=ply+sheets+1800&sort=BoostOrder&page=1 |
| Ply brace sheet 600mm Direction Y kN 3.8 | 1 | $31 | https://www.bunnings.com.au/search/products?q=ply+sheets&sort=BoostOrder&page=1 |
| Ply brace sheets 900mm Direction Y kN 27 | 5 | $156 | https://www.bunnings.com.au/search/products?q=braceboard&sort=BoostOrder&page=1 |
| Ply brace sheets 1800mm Direction Y kN 43.2 | 4 | $280 | https://www.bunnings.com.au/search/products?q=ply+sheets+1800&sort=BoostOrder&page=1 |
| Ply brace sheets 900mm Direction X kN 32.4 | 5 | $156 | https://www.bunnings.com.au/search/products?q=ply+sheets&sort=BoostOrder&page=1 |
| Ply brace sheets 700mm Direction Y kN 4.5 | 1 | $20.95 | https://www.bunnings.com.au/search/products?q=ply+sheets&sort=BoostOrder&page=1 |
| Ply brace sheets 900mm Direction Y kN 21.6 | 4 | $180 | https://www.bunnings.com.au/search/products?q=braceboard&sort=BoostOrder&page=1 |
| Ply brace sheets 1800mm Direction X kN 10.8 | 1 | $70 | https://www.bunnings.com.au/search/products?q=ply+sheets+1800&sort=BoostOrder&page=1 |
| Edge beam 5800mm | 9 | $1044 | https://www.bunnings.com.au/search/products?q=beam&sort=BoostOrder&page=1 |
| Internal beam 5800mm | 5 | $3020 | https://www.bunnings.com.au/search/products?q=beam&sort=BoostOrder&page=1 |
| Common beam | 5 | $580 | https://www.bunnings.com.au/search/products?q=beam&sort=BoostOrder&page=1 |
| Patio beam | 5 | $580 | https://www.bunnings.com.au/search/products?q=beam&sort=BoostOrder&page=1 |
| Widened rib | 4 | $320 | https://www.bunnings.com.au/search/products?q=beam&sort=BoostOrder&page=1 |
| Strip footing | 9 | $796.50 | https://www.bunnings.com.au/search/products?q=beam&sort=BoostOrder&page=1 |
| Fill Piers 450 dia | 27 | $25877.24 | BCG |
| Tree Piers 450 dia | 26 | $24000 | MBS |
| Service Piers 450 dia | 6 | $5800 | MBS |
| SL92 Mesh 20 top cover 300 pods | 1 | $204.60 | https://www.wireind.com.au/media/website_designs/1/WIR005-WireIndustries_PriceList_Low.pdf |
| SL92 Mesh 40 top cover 600 pods | 2 | $409.20 | https://www.wireind.com.au/media/website_designs/1/WIR005-WireIndustries_PriceList_Low.pdf |
| 2-N12 ‘Z’ bars | 9 | $30.69 | https://statewidebuildingproducts.com.au/reinforcing/deformed-reinforcing-bar/n12-bar.html |
| Bricks | 14400 | $43934 | Austral bricks |
| Steel beams | 5 | $1160 | https://www.bunnings.com.au/search/products?q=steel+beam&sort=BoostOrder&page=1 |
| Timber posts – 90 x 90mm | 29 | $3683 | https://www.bunnings.com.au/search/products?q=timber+posts+90+x+90&sort=BoostOrder&page=1 |
| Steel posts 75 x 75 x 3.2mm | 3 | $1465 | https://www.bunnings.com.au/uni-pier-75-x-75-x-3200mm-post-with-telescopic-head-without-antcap_p0136159 |
| Truss | Off-site |  | Refer to off-site form |
| Colorbond roof sheeting | 80 | $7208 | https://www.metalroofingonline.com.au/products/corrugated-colorbond-roofing-sheets/ |
| Aluminium balustrade | 23 | $2058.27 | https://www.localsearch.com.au/guides/builders/aluminium-balustrade |
| Cladding | 83.46 | $6338 | https://www.bunnings.com.au/products/building-hardware/building-boards/cladding?gclid=Cj0KCQiA1ZGcBhCoARIsAGQ0kkqPvUU7hwNrgb4ylALe3K-EqtuRHicMdsUqizlXNx-LdT39Pe7a8RAaAi5tEALw_wcB&gclsrc=aw.ds |
| Plasterboard | 198 | $3294.72 | https://www.bunnings.com.au/products/building-hardware/building-boards/plaster-accessories/plasterboards-cladding |
| Support posts | 3 | $51 | https://www.bunnings.com.au/search/products?q=support+post&sort=BoostOrder&page=1 |
| Floor sheet | 425 | $39540 | Floor venue supplies |
| Downpipes | 76.16 | $2285 | https://www.bunnings.com.au/search/products?q=downpipes&sort=BoostOrder&page=1 |
| Gutters | 65 | $2576 | https://www.bunnings.com.au/search/products?q=gutter&sort=BoostOrder&page=1 |
| Wall ties | 10 | $420 | https://www.bunnings.com.au/search/products?q=wall+ties&sort=BoostOrder&page=1 |
| Foam backing Rod 10mm | 3 | $60 | https://www.bunnings.com.au/search/products?q=backing+rod&sort=BoostOrder&page=1 |
| Architrave | 98 | $2744 | https://www.bunnings.com.au/search/products?q=architrave&sort=BoostOrder&page=1 |
| Steel roof battens | 22 | $271 | https://www.bunnings.com.au/search/products?q=roof+battens&sort=BoostOrder&page=1 |
| Top plates 2/35 x 70 MGP12 + Bottom plate on slab 35 x 70 MGP12 and on floor joists 2/35 x 70 MGP12 | 556 | $3569 | https://www.bunnings.com.au/search/products?q=timber+35+x+70&sort=BoostOrder&page=1 |
| Studs (load bearing) 70 x 35 MGP12 and Studs (Non loadbearing) 70 x 35 MGP10 | 255 | $1637 | https://www.bunnings.com.au/search/products?q=timber+35+x+70&sort=BoostOrder&page=1 |
| Cyclone strap | 500 | $1399 | https://www.bunnings.com.au/search/products?q=cyclone+strap&sort=BoostOrder&page=1 |
| Gyprock ceiling | 27 | $462 | https://www.bunnings.com.au/search/products?q=gyprock&sort=BoostOrder&page=1 |
| Gyprock wall lining | 198 | $3294 | https://www.bunnings.com.au/search/products?q=gyprock&sort=BoostOrder&page=1 |
| Sarking | 91 | $3012 | https://www.bunnings.com.au/search/products?q=sarking&sort=BoostOrder&page=1 |
| Cornice | 224 | $453 | https://www.bunnings.com.au/search/products?q=cornice&sort=BoostOrder&page=1 |
| Breather foil | 6 | $268.38 | https://www.bunnings.com.au/search/products?q=foilboard+insulation&sort=BoostOrder&page=1 |
| DPC | 5 | $205 | https://www.bunnings.com.au/search/products?q=DPC&sort=BoostOrder&page=1 |
| Brick ties | 646 | $7760 | https://www.bunnings.com.au/search/products?q=brick+ties&sort=BoostOrder&page=1 |
| R1.5 Batts | 10 | $1180 | https://www.bunnings.com.au/search/products?q=R1.5+batts&sort=BoostOrder&page=1 |
| Floor joists | 20 | $1653 | https://www.bunnings.com.au/search/products?q=joists&sort=BoostOrder&page=1 |
| Noggings | 21 | $135 | https://www.bunnings.com.au/search/products?q=timber+35+x+70&sort=BoostOrder&page=1 |
| Lintel | 49 | $2009 | https://www.bunnings.com.au/search/products?q=lintels&sort=BoostOrder&page=1 |
| 1/10 and 2/10 55mm Roof Zip Batten screw | 20 | $1030 | https://www.bunnings.com.au/search/products?q=batten+screw&sort=BoostOrder&page=1 |
| 1/10mm powers screw bold | 500 | $336 | https://www.bunnings.com.au/search/products?q=power+point+screws&sort=BoostOrder&page=1 |
| Steel angle brace | 251 | $7814 | https://www.bunnings.com.au/search/products?q=steel+angle&sort=BoostOrder&page=1 |
| 7mm F8 structural ply | 189 | $8644 | https://www.bunnings.com.au/search/products?q=F8+ply&sort=BoostOrder&page=1 |
| ConcreteSL72 welded mesh | 2 | $254.40 | https://www.wireind.com.au/media/website_designs/1/WIR005-WireIndustries_PriceList_Low.pdf |
| Turf and soil | 235 | $3495 | https://centenarylandscaping.com.au/?s=turf&post_type=product&type_aws=true |
| Soil | 19.5T | $1734 | https://centenarylandscaping.com.au/?s=turf&post_type=product&type_aws=true |
| Fibre reinforced waterproof membrane | 3 | $577 | https://www.bunnings.com.au/search/products?q=waterproof+membrane&sort=BoostOrder&page=1 |
| Nails 30 x 3.14 diameter flat head | 1 | $250 | https://www.bunnings.com.au/search/products?q=galvanised+nails+flat+head&sort=BoostOrder&page=1 |
| Nailing plates | 1 | $90 | https://www.bunnings.com.au/search/products?q=nail+plate&sort=BoostOrder&page=1 |
| 30mm x 2.8mm dia nails | 15 | $410 | https://www.bunnings.com.au/search/products?q=galvanised+nails+flat+head&sort=BoostOrder&page=1 |
| 30mm x 0.8mm tensioned galvanized metal strap | 4 | $221 | https://www.bunnings.com.au/search/products?q=galvanised+strapping&sort=BoostOrder&page=1 |
| Galvanized flat head nails | 20 | $200 | https://www.bunnings.com.au/search/products?q=galvanised+flat+head+nails&sort=BoostOrder&page=1 |
| Screw bolts | 4 | $108 | https://www.bunnings.com.au/search/products?q=screw+bolts&sort=BoostOrder&page=1 |
| Termite barrier | 2 | $139 | https://www.bunnings.com.au/search/products?q=termite+control&sort=BoostOrder&page=1 |
| Garage door | 1 | $2600 | Door Supply |
| M12 bolts | 250 | $377 | https://www.bunnings.com.au/search/products?q=m12+bolts&sort=BoostOrder&page=1 |
| Windows | 9 | $3348 | https://www.windowsanddoorssydney.com.au/pricelist/sliding-windows/ |
| Doors 520cm, 620cm, 720cm, 820cm, aluminium sliding doors | 3 2 3 11 4 | $840 $560 $840 $3080 $7440 | https://justdoorsqld.com/collections/internal-doors https://justdoorsqld.com/collections/internal-doors https://justdoorsqld.com/collections/internal-doors https://justdoorsqld.com/collections/internal-doors https://www.windowsanddoorssydney.com.au/pricelist/sliding-windows/ |
| Flyscreen | 6 | $780 | Brisbane Fly screens |
| H1 class Slab | 168.5 sqm | $5224 |  |
| 350mm diameter bored pier over 1200 deep with steel | 30L/M | $2460 | M MBS |
| 600mm deep piers with up to 2 sleepers high retaining walls (Right side) and standard posts with upto 2 sleepers high half of rear boundary and upto 2 sleeper high wall where cut will take place for cut and fill | 42 sqm | $11424 | MBS |
| Backfilling gravel | 1 | $1200 | L Landscape centenary |
| 2550mm ceiling height with FC over windows and doors to upper level | 134.4 sqm | $2402 | Breakdown to be included in above links provided |
| S&I Aluminium glass balustrade 50 x50mm posts and 25mm handrail – type G | 13 L/M | $6981 | Glass balustrade supplies |
| 2740 ceiling height to brick veneer with FC panels over windows | 169.9 sqm | $3032 | Breakdown to be included in above links provided |
| 2340 external door | 1 | $154 | Breakdown to be included in above links provided |
| 350 x 350mm plain brick Pier and 90 x 90mm stained timber posts to meet with the roof | 3 | $1524 | Breakdown to be included in above links provided |
| External tiles to be installed to the 350 x 350 mm piers on front elevation to double garage, entry and office ground floor, bed 1 and study first floor and 600mm to each side | 200 | $7000 | National tiles |
| 1206 SW sliding window in timber wall – WIR bed 2 | 1 | $240 | Breakdown to be included in above links provided |
| 0612SW OBS sliding window – ensuite bed 1 | 1 | $245 | Breakdown to be included in above links provided |
| 1012 SW OBS sliding window – ensuite bed 1 | 1 | $365 | Breakdown to be included in above links provided |
| 1218 SW sliding window office | 1 | $385 | Breakdown to be included in above links provided |
| 1818 SW sliding window office | 1 | $507 | Breakdown to be included in above links provided |
| 0618 SW sliding window office side wall | 1 | $302 | Breakdown to be included in above links provided |
| 0618 std fixed window kitchen | 1 | $265 | Breakdown to be included in above links provided |
| 1206 SW siding window bedroom 1 | 2 | $480 | Breakdown to be included in above links provided |
| 1218 SW sliding window rupus side wall | 1 | $385 | Breakdown to be included in above links provided |
| Broom finish paving to patio/alfresco | 13.8sqm | $1560 | Breakdown to be included in above links provided |
| Broom finish concrete path from laundry to driveway | 16 sqm | $1584 | Breakdown to be included in above links provided |
| Broom finished concrete driveway | 54 sqm | $5346 | Breakdown to be included in above links provided |
| Std floating laminate 1050mm floor | 103 sqm | $12978 | Breakdown to be included in above links provided |
| Stain grade timber balustrade to stairs | 5.37 L/M | $2997 | Breakdown to be included in above links provided |
| Durian timber - Std stain grade stairs | 1 | $2673 | Breakdown to be included in above links provided |
| 900mm plaster for niche to entry | 1 | $201 | Breakdown to be included in above links provided |
| Std opulence rectified edge tiles to slab area 600 x 600mm | 89.2 sqm | $14629 | Breakdown to be included in above links provided |
| Std opulence rectified edge tiles to external floor tiling to porch and patio600 x 600mm | 13.8 sqm | $2540 | Breakdown to be included in above links provided |
| Sealant | 9 | $168.75 | https://www.bunnings.com.au/search/products?q=sealant&sort=BoostOrder&page=1 |
| HPM 11W led downlight | 50 | $4687.50 | See supplier quote |
| Batten holder light point and PVC shade | 5 | $250 | See supplier quote |
| Surface mount smoke alarm | 7 | $743.75 | See supplier quote |
| Single GPO white – excel life series | 5 | $218.75 | See supplier quote |
| Double GPO white – excel life serices | 23 | $1063.75 | See supplier quote |
| TV point – excel life series | 2 | $125 | See supplier quote |
| HPM exhaust fan 200mm - | 5 | $518.75 | See supplier quote |
| Ceiling fan – 1200mm 3 blade white – wire supply and install | 4 | $750 | See supplier quote |
| Three phase WP 32A isolator | 1 | $393.75 | See supplier quote |
| Island bench allowance | 1 | $63.75 | See supplier quote |
| HWU circuit wired for heat pump with isolator switch | 1 | $200 | See supplier quote |
| NBN provision including lead in conduit and internal conduits only | 1 | $275 | See supplier quote |
| 1 gang switch white | 11 | $108 | https://www.bunnings.com.au/hpm-excel-1-gang-wall-switch_p7050000 |
| 2 gang switch white | 11 | $138.50 | https://www.bunnings.com.au/hpm-excel-2-gang-wall-switch_p7050001 |
| 3 gang switch white | 5 | $105 | https://www.bunnings.com.au/hpm-excel-3-gang-wall-switch_p7050003 |
| 4 gang switch white | 1 | $48.67 | https://www.bunnings.com.au/hpm-vivo-4-gang-fan-light-heat-switch_p4331984 |
| 5 gang switch white | 1 | $58.39 | https://www.bunnings.com.au/hpm-excel-5-gang-wall-switch_p4330568 |
| Meter box withSwitch board earthing 2XMCB RCD and 5 X circuti breakers | 1 | $937.50 | See supplier quote |
| Underground mains cable three phase | 25M | $1000 | See supplier quote |
| Blade white 1200mm fan | 4 | $1140.92 | See supplier quote |
| Led 1200mm long tri colour batten (40W) | 1 | $106.25 | See supplier quote |
| Haneco led strip lighting | 4M | $765 | See supplier quote |
| Wire, supply and install spotlight double led | 5 | $1012.50 | See supplier quote |
| Pool circuti and pool switch | 1 | $437.50 | See supplier quote |
| Marine led up/down 2 X 8W 240V black | 3 | $660.84 | See supplier quote |
| CAT 6 data point | 3 | $262.50 | See supplier quote |
| Double wiatherproof GPO white | 1 | $87.50 | See supplier quote |
| Double in conduit incl trenching | 7 | $350 | See supplier quote |
| 10AMP junction box | 1 | $96 | See supplier quote |
| Oracle 20AMP junction box | 1 | $150 | See supplier quote |
| Pendant light | 4 | $600 | See supplier quote |
| 3 way switch white | 1 | $74 | See supplier quote |
| Intercom | 1 | $2000 | See supplier quote |
| CCTV | 1 | $4000 | See supplier quote |
| Security | 1 | $2000 | See supplier quote |
| 2 way switch white | 1 | $43.75 | See supplier quote |
| 1200 double fluro diffuser to light point in garage | 1 | $85 | See supplier quote |
| Lamp heater light fan combination | 2 | $232 | See supplier quote |
| Inverter Ducted split system LG 9.9kW | 1 | $10640 | See supplier quote |
| NBN wire to point in garage and wiring fro first phone and data point | 1 | $501 | See supplier quote |
| Additional phone points | 2 | $102 | See supplier quote |
| Air condition control | 1 | $350 | See supplier quote |
| White ceiling fans | 6 | $1506 | See supplier quote |
| Exhaust fan and ducting to outside | 2 | $702 | See supplier quote |
| Panasonic 18kW inverter reverse cycle ducted – 3 phase 10 outlets and 3 zones | 112 sqm | $14880 | See supplier quote |
| Floor tiles NT17-2174FL calacatta and matt 600 x600mm grey | 234sqm | $16389 | https://www.nationaltiles.com.au/calacatta-matt-tile |
| Front porch, alfresco, patio, balcony tiles NT19-6082FL bologna grigio antislip 450 x 450mm grey grout | 20sqm | $799 | https://www.nationaltiles.com.au/bologna-grigio-antislip-mk2-tile |
| Elevation front tiles NT18-1032DT Muralla blanco 400 x 600mm | 24sqm | $482.75 | https://www.nationaltiles.com.au/muralla-blanco-tile |
| Porch piers and external back wall NT18-1038DT Muralla arena 400 x 600mm | 37sqm | $739 | https://www.nationaltiles.com.au/muralla-blanco-tile |
| Kitchen splashback tiles NT16-2066WP 300 X 600mm sandstone marble white | 28sqm | $1396 | https://www.nationaltiles.com.au/sand-stone-marble-white-decor-tile |
| Feature rangehood NT18-4080WL smoke grey and glacier grey mix 75 x 300mm | 1sqm | $34.95 | https://www.nationaltiles.com.au/whoosh-smoke-grey-gloss-tile |
| Laundry floor tiles, skirting NT19-6006FL atlas charcoal matt 450 x 450mm | 8.5 | $338 | https://www.nationaltiles.com.au/atlas-charcoal-matt-tile |
| Laundry splashback tiles BELWP300 white pressed 100 x 300 | 2.01 | $50.35 | https://www.nationaltiles.com.au/pressed-edge-white-matt-tile |
| Powder room floor NT19-6006FL atlas charcoal matt 450 x 450mm | 2.7 | $107 | https://www.nationaltiles.com.au/atlas-charcoal-matt-tile |
| Shower floor MAXWL2711 gloss white 250 x 400mm | 1.8 | $45 | https://www.nationaltiles.com.au/pressed-edge-white-gloss-tile-3 |
| Vanity splash NT18-4088WL whoosh white gloss 75 x 300mm | 1 | $34.95 | https://www.nationaltiles.com.au/whoosh-white-gloss-tile |
| WC toilet and skirting WT19-6006FL atlas charcoal matt 450 x 450mm | 2 | $84 | https://www.nationaltiles.com.au/atlas-charcoal-matt-tile |
| WC wall whoosh sea foam 75 x 300mm | 1 | $34.95 | https://www.nationaltiles.com.au/whoosh-sea-foam-gloss-tile |
| Main bathroom floors , shower floors, front and top and skirting tiles NT19-6006FL atlas charcoal matt 450 x 450mm | 2 | $80 | https://www.nationaltiles.com.au/atlas-charcoal-matt-tile |
| Main bathroom - Shower wall and splash whoosh sea foam 75 x 300mm | 2 | $80 | https://www.nationaltiles.com.au/whoosh-sea-foam-gloss-tile |
| Ensuite bathroom floors , shower floors, front and top and skirting tiles NT19-6006FL atlas charcoal matt 450 x 450mm | 2 | $80 | https://www.nationaltiles.com.au/atlas-charcoal-matt-tile |
| Ensuite bathroom - Shower wall and splash whoosh sea foam 75 x 300mm | 2 | $80 | https://www.nationaltiles.com.au/whoosh-sea-foam-gloss-tile |
| Cottage turin oak 8mm laminate 193 x 1380mm | 2 | $50 | https://www.nationaltiles.com.au/cottage-turin-oak-8mm |
| EN 1080 1 ¾ bowl SS Sink with persona mixer to pantry | 1 | $878 | Appliancesonline.com.au |
| Tap to floor cupboard beside linen | 1 | $139 | Appliancesonline.com.au |
| 1m floor cupboards beside linen | 1 L/M | $733 | Appliancesonline.com.au |
| Kitchen floor cabinet with tiled splashback and 2.8m bench to walk in pantry and 20mm stone top | 3.4 L/M | $2493 | Appliancesonline.com.au |
| Cold water tap - icemaker | 1 | $139 | Appliancesonline.com.au |
| 40mm thick edge stone benchtop – kitchen and island bench | 4.8 sqm | $965 | Appliancesonline.com.au |
| 300mm deep fixed melamine shelves pantry | 2 | $489 | Appliancesonline.com.au |
| 1750 x 805mm Carina white bath with std bath mixer and tiled step and apron to ensuite | 1 | $1204 | Appliancesonline.com.au |
| Fresh install Dual Fuel cooker | 1 | $225 | Appliancesonline.com.au |
| BRH90UX Undermount Rangehood | 1 | $648 | Appliancesonline.com.au |
| Laminated bench and melamine cupboard with splashback to laundry 2200mm | 1.4 L/M | $972 | Appliancesonline.com.au |
| Gully Drains 250 x 250 for yard drainage | 2 | $186 | https://www.bunnings.com.au/search/products?q=drainage&sort=BoostOrder&page=1 |
| Ducted air conditioning LG 8 kw unit installed with 7 outlets, 2 zones, concrete plinth and 32 amp isolation point | 1 | $4900 | See supplier quote |
| Connection points/services – electicity, sewer | 1 | $4500 | See supplier quote |
| Flexible coupleng for H and E site to Sewer and Stormwater connection | 1 | $1430 | See supplier quote |
| 3 phase meter box and mains for 6m setback | 1 | $408 | See supplier quote |
| CCA timber unpainted permanent power pole | 1 | $1988 | https://www.permapole.com.au/cca-timber/ |
| 32mm poly waterline for runs over 25m | 10L/M | $110 | Dural irrigation |
| Filler block | 4 | $145.36 | Bunnings |
| Retaining wall sleepers | 220 | $6204 | https://www.bunnings.com.au/search/products?q=retaining+wall+sleepers&sort=BoostOrder&page=1 |
| Geofabric | 4 | $179 | https://www.bunnings.com.au/search/products?q=geofabric&sort=BoostOrder&page=1 |
| Gravel | 18 | $1295 | https://centenarylandscaping.com.au/?s=gravel+drainage&post_type=product&type_aws=true |
| Drainage pipes | 3 | $162 | https://www.bunnings.com.au/search/products?q=drainage+pipe&sort=BoostOrder&page=1 |
| TOTAL |  | $448306.73 |  |

Section 2 – Consumables

(Add rows as necessary)

| Consumable | Quantity | Cost | Supplier Link for price |
| --- | --- | --- | --- |
| Plans and Specifications | 1 | $3075 | Vendor |
| Plan review | 1 | $800 | Vendor |
| Permits: Zoning, Building, Environmental etc | 1 | $1800 | Vendor |
| Survey | 1 | $1100 | Subcontractor |
| Administrative costs | 1 | $170 | Vendor |
| Legal fees | 1 | $970 | Vendor |
| Engineering fees | 1 | $1985 | Subcontractor |
| Insurance | 1 | $10050 | Vendor |
| Job site access | 1 | $1000 | C Contractor |
| Portable toilet | 1 | $185 | Contractor |
| Temporary power | 1 | $289 | Contractor |
| Soil tests and reports | 1 | $760 | Subcontractor |
| Septic system design | 1 | $1450 | Vendor |
| Septic permits, inspections, fees | 1 | $610 | Vendor |
| Electrical permit and connection fee | 1 | $833 | S Subcontractor |
| Gas permit and connection fee | 1 | $1418 | Subcontractor |
| Water fees and hook up | 1 | $1000 | Subcontractor |
| Sewer fees and hook up | 1 | $1255 | Subcontractor |
| Phone hook up | 1 | $847 | Subcontractor |
| Debris removal | 1 | $1410 | Contractor |
| Home owner warranty insurance | 1 | $520 | Contractor |
| Qleave and Insurance | 1 | $1200 | Contractor |
| Contract | 1 | $320 | Contractor |
| TOTAL |  | $14122 |  |

END OF MATERIALS AND CONSUMABLES COST IDENTIFICATION FORM