CPCCBC4001A

Apply building codes and standards to the construction process for low rise building projects

THEORY EXAM INSTRUCTIONS - This exam will occur under standard assessment conditions. - An oral examination may be allowed under certain circumstances. Answers will be documented and FT003 (Oral examination declaration form) must be completed. - Participants must provide enough detail in their responses to demonstrate their knowledge and skills. - Please fill in the details below, providing your name, signature and date of assessment. - Your signature acknowledges that this is your own work. - If a participant initially answers a question incorrectly but modifies their response, they must follow the instructions below: - If a participant changes their response in writing, they must put their initials next to the written change. - If a participant changes their response verbally, this must be noted on the exam paper by the assessor.

| Participant name | MOHAMED ELBAGOURY |
| --- | --- |
| Participant signature |  |

| Assessor name |  |
| --- | --- |
| Assessor signature |  |

| Date | 19/03/2019 |
| --- | --- |

| Number of questions | Number of questions answered correctly | Satisfactory? |  |
| --- | --- | --- | --- |
| 35 |  | Yes | No |

Assessor Comments

The diagram below represents an external house wall, shows part of roof and eave and a window in the wall and the vertical boundary line fence is shown a prescribed measurement of 900mm from the house wall to allow light from the sun to reach the window.

- What type of regulation could allow a lesser distance to be used if appropriate justification was provided?

In what document/s might you find the appropriate information?

| Answer | The type of regulations allows a lesser distance or similar changes is the Performance – based regulations. And the regulations is found in BCA – Building Code Of Australia however other information related could be found in the local government0 building laws. |  |
| --- | --- | --- |

In regard to the above 900mm distance from house wall to boundary fence and in using or referencing performance-based regulations in the BCA what else should you be aware of and consider?

| Answer | Other performance requirements included in the BCA and local government planning laws |  |
| --- | --- | --- |

Who has responsibility for producing and maintaining The Building Code of Australia (BCA) and who is it done on behalf of?

| Answer | The Building Code Of Australia is produced and maintained by Building Codes Board and it was formed and done on behalf of the commonwealth government, however now it is The National Construction Code of Australia (NCC) and was previously known as the Building Code of Australia (BCA). It is published and maintained by the Australian Building Codes Board (ABCB) |  |
| --- | --- | --- |

Fill in the missing words to complete the following two sentences.

Provisions

Technical

Design

Construction

Document

Performance – based

The BCA is a uniform set of ___________ ______________ for the __________ and ______________ of buildings and other structures throughout Australia.

Legislative

Requirements

It is a ______________________ ________________ that is referenced so that your building system or material can demonstrate that it meets certain performance requirements in order to meet __________________ ____________________.

| Answer |  |  |
| --- | --- | --- |

What is the principal goal of the Building Code of Australia (BCA)?

| Answer | BCA’s goal is to enable the achievement of nationally consistent, minimum necessary standards of safety, health amenity and sustainability objectives. |  |
| --- | --- | --- |

How many volumes are there in the BCA and to what do the volumes refer?

| Answer | Three volumes Volume one: Contains the requirements for multi-residential, commercial, industrial and public buildings and structures Volume two: Contains the requirements for residential and non-habitable buildings and structures. Volume three: Contains the requirements for plumbing and drainage for all classes of buildings. |  |
| --- | --- | --- |

Explain the BCA performance requirements for low rise projects from the diagram below.

| Answer | The performance requirements is the heart of the construction codes, it outline a suitable level of performance for building materials, components, design factors, and construction methods in order for a building to meet the relevant functional statements and, in turn, the relevant objectives. In another words the performance requirements converts the functional statements into a doable measures list of the requirements. So any building must be done according to the intended function” |  |
| --- | --- | --- |

What is the intent of the ‘Relevant Performance Requirements’ in the BCA?

| Answer | Is to set out the method of determining the appropriate Performance Requirements to be used when an Alternative Solution is used to prove that a Building Solution complies with the BCA. |  |
| --- | --- | --- |

Building solutions set out the means of achieving compliance with the performance requirements. The BCA provides for two methods that can be followed to develop a building solution. Explain these two methods.

| Answer | - Deemed-to-satisfy provisions: is to meet the performance requirement stated by the codes as it is with no changes, and these include examples of materials, components, design factors, and construction methods which, if used, will result in compliance with the performance requirements of the BCA. An example of a deemed-to-satisfy provision in the BCA is: E.g.: Ceiling heights must be not less than 2.4 metres in a habitable room. - Alternative solutions the key to the performance-based BCA and it is a design solution which differs from the provided solution within the codes but this change can be done with the condition that it must meet the functional requirements and it must comply with all other codes related. Such as the example of the room measurement can be changed but according to fire codes. So it is that there is no obligation to any particular material, component, and design factor or construction method. An approval authority may still issue an approval if a building proposal differs in whole or in part from deemed-to satisfy provisions described in the BCA and if it can be demonstrated that the design complies with the relevant performance requirements. |  |
| --- | --- | --- |

The deemed-to-satisfy building solution establishes a clear and concise process for compliance for a builder, building surveyor or the like (building certifier) who does not want to develop a new means of achieving performance requirements; what does ‘deemed-to-satisfy’ mean?

| Answer | The builder did not develop a new design solution and the (size, height, type and construction) were done according to the codes. In another words it aims to achieve a minimum acceptable standard for construction. |  |
| --- | --- | --- |

Write an example of a ‘deemed-to-satisfy’ provision for a class 1 building including deemed-to-satisfy requirements for kitchen, bathroom, laundry and sanitary facilities.

Nominate where you found the information in the BCA.

| Answer | Class 1 building must be provided with: - a kitchen silk and facilities for the preparation and cooking of loci and (ii) a bath a shower; and (iii) clothes wasting facilities, pacing at least one washtub and space in the same room for a wasting machine, and (iv) a closet pan and washbasin. The performance requirement fa this provision Is: (a) Suitable sanitary facilities for personal hygiene must be provided in a convenient location within or associated with a biding, apocopate to its function or use (b) (The clause has been deliberately blanked out). (c) Laundering footsies or space for laundering facilities must be provided in a convenient location within or associated with a bulling, appropriate to its (Inchon or use. (d) A food preparation facility must be provided which induces (I) a means for food rinsing, utensil wading and waste water disposed, and (ii) a means for cooking food; and (iii) a space for food preparation (e) A sanitary compartment must be constructed int sufficient space or other means to enable an unconscious occupant to be removed from the compartment. Building solution: The deemed-to-satisfy provision responds to the performance requirement as outlined. If an alternative approach is proposed, a must adequately address the performance requirements. In responding to the performance requirements the deem to satisfy option aims to achieve a minimum acceptable standard for construction (From BCA volume Two. P2 4 3 Fidelities) |  |
| --- | --- | --- |

Who and what is Standards Australia?

| Answer | Standards Australia is Australia’s Standards body, recognised through a Memorandum of Understanding with the Commonwealth Government It is an independent, non-government, not-for profit organisation. In consultation with government, business, industry, community, academia and consumers, Standards Australia develops internationally aligned Australian Standards and related publications to help ensure the safety, reliability and performance of a range of products, services and systems. |  |
| --- | --- | --- |

What are Australian Standards?

| Answer | They are published documents setting out specifications and procedures designed ensure products, services and systems safe, reliable and consistently perform way they were intended to. They establish a common language which defines quality and safety criteria.” |  |
| --- | --- | --- |

The classification of a building or part of a building is determined by the purpose for which it is designed, constructed or adapted to be used. Please summarise the 10 building classifications below.

| Answer | Class | Summary |  |
| --- | --- | --- | --- |
|  | 1 | One or more buildings which in association constitute: a. Class 1a-a single dwellin9 b. Class 1b-boardin9 house, hostel |  |
|  | 2 | A building containing 2 or more sole-occupancy units each being a separate dwelling |  |
|  | 3 | A residential building, other than a building of class 1 or 2, which is a common place of long term or transient living for a number of unrelated persons (E.g.: boarding house, school, hotel) |  |
|  | 4 | A dwelling in a building that is Class 5, 6, 7, 8 or 9 if it is the only dwelling in the building |  |
|  | 5 | An office building used for professional or commercial purposes, excluding buildings of Class 6, 7, 8 or 9 |  |
|  | 6 | A shop or other building for the sale of goods by retail or the supply of services direct to the public |  |
|  | 7 | A building which is Class 7a (a car park) or class 7b (for storage or display of goods or produce for sale) |  |
|  | 8 | A laboratory or building for the production, assembling, altering, repairing, packing, finishing or cleaning of goods for sale |  |
|  | 9 | A building of a public nature: Class 9a- health-care building, Class 9b-an assembly building, Class 9c- aged care building |  |
|  | 10 | A non-habitable building or structure: Class 10a-non-habitable building, Class 10b-fence, mast, pool, Class 10c- Shelter |  |

Other than the 10 BCA building classifications (A3.2), there are also multiple classifications (A3.3) where each part of a building is classified separately. 

Where would you find a full list of Past A3 classification of Buildings and Structures?

| Answer | the full list (Part A3 classification of Buildings and :Structures) can be found within the Building Codes Australia |  |
| --- | --- | --- |

True or False (Tick your response): If a building or part of a building has more than one classification applying to the whole building or part in accordance with, that building or part must comply with all the relevant provisions of the BCA for each classification.

| Answer | ☒ | True |  |  |
| --- | --- | --- | --- | --- |
|  | ☐ | False |  |  |

Familiarity with plans and specifications for a project when interpreting a building solution and therefore trying to interpret clauses and other referenced documents in the BCA is important.

What do plans and specifications include?

| Answer | Plans and specifications include: • Floor level plans • Elevation plans • Sectional drawings All specifications |  |
| --- | --- | --- |

You must have a clear picture of the building to be constructed and be able to identify the criteria that you will need to compare to the Deemed-To-Satisfy (DTS). What is it you must also consider when constructing complex buildings?

| Answer | That requirements of one BCA clause may have an impact on the requirements of another. |  |
| --- | --- | --- |

Complete the missing words from the sentence below and explain the difference between these points.

Mandatory

Is Optional.

BCA Performance Requirements are _________________ and Deemed-to-Satisfy provisions are ______________.

| Answer | Performance requirements are the mandatory requirements for building and it provides three building solutions options to comply accordingly, the deemed to satisfy is one of the three and it is the minimum requirements solution. |  |
| --- | --- | --- |

What is a Building Solution?

| Answer | Building Solution means a solution which complies with the Performance Requirements and is (A) An Alternative Solution; or (b) a solution which complies with the Deemed to Satisfy Provisions; or (C) a combination of (a) and (b). |  |
| --- | --- | --- |

Referring to the BCA, what are the objectives of Section C Fire Resistance?

| Answer | The objectives of section C is to assure that a building must have elements which will maintain structural stability, materials to some extend resisting fire and avoid the spread of fire. For the safety of the users |  |
| --- | --- | --- |

Why is it necessary to identify and document performance-based solutions?

| Answer | It is necessary to identify and document performance-based solutions in order to: • comply with organisational quality procedures and processes • apply and interpret relevant documentation and codes • accurately apply National and State and Territory OHS requirements relating to construction workplace Identify faults and problems impacting on OHS and proposing appropriate action to rectify |  |
| --- | --- | --- |

In the context of the Building Code of Australia what are Assessment Methods used to determine?

| Answer | Evidence of suitability Verification method Comparison with DTS provisions Expert Judgment |  |
| --- | --- | --- |

Explain the importance of maintaining detailed documentation for a building project.

| Answer | The importance of detailed documentation is ensure that the building is compliant and can pass assessment. |  |
| --- | --- | --- |

With regard to detailed documentation what are some of the documents that must be provided and maintained by contractors?

| Answer | calculations of building areas, site areas, site coverage, floor areas, building heights, habitable rooms, windows and secluded private open space on adjoining allotments . Plans or drawings, notes, specifications and analysis. Procedures and documentation· for further details. Alternative Solution/s proposed All submissions |  |
| --- | --- | --- |

Other than the Builder maintaining detailed documentation, who will also have responsibility to resolve and correct errors for any ambiguity identified in the plans?

| Answer | The Responsible building certifier |  |
| --- | --- | --- |

The threat of an accidental fire in a building and to prevent it are important to understanding fire and taking all steps to prevent or confine fire and to prevent fire spreading within the structure as well as to adjoining or adjacent buildings. 

In this regard Fire Protection Systems are paramount and are subject to?

| Answer | • Building regulations • Fire regulations • Insurance company requirements • Local government requirements • Other regulatory authorities |  |
| --- | --- | --- |

Briefly explain the following fire definitions:

| Answer | Term | Explanation |  |
| --- | --- | --- | --- |
|  | Fire | It is the rapid oxidation of a gas, liquid or solid substance accompanied by the release of’ heat and light. Chemically, represents an exothermic or heat-producing reaction. |  |
|  | Passive Fire Protection | It is an integral component of the three components of structural fire protection and fire safety in a building. Passive fire protection attempts to contain fires or slow the spread, through the use of fire resistant walls, floors and doors. |  |
|  | Active Fire Protection | It is integral part of fire protection and is characterised by items and is characterised by items and systems which require a certain amount of motion and response order to work (e.g.: fire sprinkler system or fire detection devices |  |

The purpose of fire protection is to:

- 1. Prevent/reduce the possibility of fire and 
2. Reduce the spread of fire within and around a building

Name the two categories or systems that provide measurement and arrangements for fire protection.

| Answer | Active System and passive system |  |
| --- | --- | --- |

With respect to the general level of fire protection explain separately the terms ‘Fire Load’ and ‘Fire Load Density’?

| Answer | Fire load refers to the amount of potential heat that can be liberated during the fire of the combustible contents of a given enclosure. It is expressed as a numerical value represented as kJ/Kg (kilojoule per kilogram) or as MJ/kg (megajoules per kilogram). Fire load density is the fire load of a given enclosure or building divided by floor area. It is expressed as fire load per unit area of floor space (the greater the fire load the more severe the fire). |  |
| --- | --- | --- |

Using Volume 2 of the BCA respond to the following:

- Where in the BCA would you look to find requirements for building in bushfire prone areas for Class 1 and 10 buildings?

- Where in the BCA would you look to find requirements for building in bushfire prone areas for Class 2-9 buildings?

- What Australian Standard must be complied with to satisfy the Deemed to Satisfy Provisions for construction of Class 2 and 3 buildings in bushfire prone areas?

| Answer | a) | NCC 2015 BCA Volume Two, Performance requirements - the deemed to satisfy Provisions (P2.3.1-P2.3.6). |  |
| --- | --- | --- | --- |
|  | b) | NCC 2015 BCA Volume one, Performance requirements and the deemed to Satisfy provisions (parts C1, C2 and C3) in case of alternative solution was proposed the Performance Requirements in accordance with A0.10. |  |
|  | c) | NCC 2015 of the BCA volume 1 - section C Fire Resistance, |  |

What is a Fire Safety Schedule and its relationship to the approval of development of a class 2 – 9 building?

| Answer | A fire safety schedule is a lists of all essential fire safety measures. And upon its approval it should be Installed in the building and the performance standard to which of these measures must be capable of operating. |  |
| --- | --- | --- |

What are building certifiers responsible for?

| Answer | They are responsible for ensuring specific compliance is achieved and they do this by conducting visual inspections. Inspections are the most effective way of confirming that the details of the documentation are reflected in the actual on-site construction. |  |
| --- | --- | --- |

What are building certifiers not responsible for?

| Answer | They are not responsible for the quality of workmanship within the construction process as this responsibility I s that of the builder to the client. |  |
| --- | --- | --- |

Where in the BCA would you determine the level of fire resistance required for the construction of buildings?

| Answer | From the full list (Part A3 classification of Buildings and :Structures) can be found within the Building Codes Australia , NCC 2015 volume one section C FIRERESISTANCE and volume two PART 2.3 FIRESAFETY , i |  |
| --- | --- | --- |