CPCCBC4010

Apply structural principles to residential and commercial constructions

ASSESSMENT SUMMARY

The assessment activities for CPCCBC4010 Apply structural principles to residential and commercial constructions cover all aspects of the unit of competency. For Apprentices/Trainees, this includes supervisor completion of the Apprentice/Trainee Record (ATR).

Participants must read all the information given before starting any assessment task. The assessment tasks are intended to be fair, flexible, valid and reliable. If a Participant has any questions or requires alternative arrangements to be made such requests should be directed to their Trainer/Assessor, who should note such arrangements in the ‘Assessor Comments’ on the affected assessment. If a Participant feels they are not yet ready to be assessed, they should discuss their options with their Trainer/Assessor.

To satisfactorily complete the assessment, the Participant is required to answer all questions correctly and demonstrate their skills to industry standards. If a Participant does not answer all questions or perform all tasks, they will be deemed ‘Not Satisfactory’ for the task and ‘Not Yet Competent’ for the unit of competency.

The Trainer/Assessor can provide the Participant with additional information on interpreting the assessment outcomes and guide the Participant’s options. If a Participant is still deemed ‘Not Satisfactory’ they will have the opportunity to undertake a supplementary assessment or appeal the result as per the process in the Student Handbook.

By signing below, the Participant acknowledges:

- They understand the assessment instructions and requirements, and consent to being assessed.

- The work submitted is to be their own work – with the work of/with others needing to be clearly acknowledged and documented.

- They consent to any photo/video recording of their work that occurs during assessment.

| Participant name | Rhys Holmes – Yasso |
| --- | --- |
| Participant signature |  |

Pre-requisite unit(s) to be achieved and authenticated prior to undertaking assessment

CPCCBC4053 Apply building codes and standards to the construction process for Class 2 to 9 Type C buildings CPCCBC4001 Apply building codes and standards to the construction process for Class 1 and 10 buildings

| Task | Date completed |  | Assessment Results |  |
| --- | --- | --- | --- | --- |
| Theory Exam | Select Date. |  | Satisfactory | Not Satisfactory |
| Workbook | Select Date. |  | Satisfactory | Not Satisfactory |
| Practical Assessment | Select Date. |  | Satisfactory | Not Satisfactory |
| Outcome for CPCCBC4010 | Select Date. |  | Competent | Not Yet Competent |
| Evidence requirements checklist (ticked by assessor and evidence supplied to RTO) |  |  |  |  |
| Theory Exam Workbook |  | Practical Assessment Documentation of design and construction (suitability or evidence of suitability) |  |  |

| Assessor name |  |
| --- | --- |
| Assessor signature |  |

CPCCBC4010

Apply structural principles to residential and commercial constructions

THEORY EXAM

| Participant name | Rhys Holmes – Yasso |
| --- | --- |

FOR THE PARTICIPANT

Instructions

- You will complete written questions as outlined on the following pages. You must attempt all questions and provide enough detail in your responses to demonstrate your knowledge. - It is anticipated that you should complete this assessment within two (2) hours, but additional time may be allowed upon negotiation with the Assessor. - You must complete all questions unassisted by the Assessor or other personnel but may refer to reference material as needed. All questions must be answered correctly for a ‘Satisfactory’ assessment outcome to be awarded. - An oral examination may be allowed under certain circumstances, whereby your answers will be documented by another party. - Any written questions that are incomplete, or not answered satisfactorily will need to be completed again after further training support. - If you answer a question incorrectly but modify your response, put your initials next to the written change (or the Assessor must initial a verbal change).

Resources required

Pen

FOR THE ASSESSOR

Instructions

- Where oral examination has occurred, ensure that this is acknowledged in writing (e.g. FT001 and Assessor Comments) - All questions must be satisfactorily demonstrated by the Participant for a Satisfactory determination (indicated by an Assessor tick to the right of the question). - Assessors are to complete marking in pen of a different colour to the Participant. - If the Participant verbally modifies their response, write in the modified response verbatim and put your initials next to the written change.

ASSESSOR COMMENTS

As necessary, outline: - Details on reattempts, alternative arrangements or reasonable adjustments made. - Where a Participant is deemed ‘Not Satisfactory’, provide recommendations for future training.

Specify the State or Territory you are responding to when responding to Q1. Q2. & Q3.

State/Territory: Queensland

Identify one current building and construction legislation relevant to the application of structural principles. (Legislation identified may be national legislation or be specific to your state/territory.)

- Briefly explain how the identified legislation applies to the following:

- Residential construction

- Commercial construction

| Answer | Building and construction legislation relevant to the application of structural principles | 3: Work for particular retaining walls ref: Building Regulation 2006 (Queensland) |  |
| --- | --- | --- | --- |
|  | How does it apply to residential construction? | Understanding the principles behind establishing a compliant retaining wall is critical. Retaining walls within residential construction are generally erected after the base civil works of a estate/block to make sloped area’s functional (Often seen within sub-divisions/estates that blocks are on different levels or on a slope). Having these retaining walls in place can also be necessary if you have slope issues within your block or if your soil does not drain well. |  |
|  | How does it apply to commercial construction | This applies to commercial very similar to it does with residential. Having retaining walls in place and utilising the correct structural principles behind it prevent earths and dirt from sliding downhill due to erosion which is highly important when establishing structural integrity before your commercial construction commences. |  |

Name one (1) current building and construction regulation applicable to your state/territory. Briefly explain how this regulation is relevant to the application of structural principles.

| Answer | Building Act 1975: (76) Drainage of buildings or land. Under the regulation and requirements of drainage of buildings or land, it stipulates that certain actions must be carried out to ensure that drainage must be installed in a way that it ‘protects land, buildings and structures in the neighbourhood of the building or land’, Having correct drainage procedures and components in place can even determine whether construction can take place without having the risk of soil/ground movement and if there will be no other buildings/land that will be affected. If soil or ground movement was present due to wrong drainage systems in place this will then affect the structural integrity of the building. |  |
| --- | --- | --- |

Identify the following current standards.

| Answer | Standard | Description |  |
| --- | --- | --- | --- |
|  | One current standard relevant to the installation of roof trusses | AS 4440 provides an overview of the Australian Standards relevant to roof trusses. The overview outlines the basic requirements for the connections, installation and bracing of roof trusses. |  |
|  | One current standard relevant to timber framing | AS 1684 provides an overview of the Australian Standards relevant to timber framing. Stipulating in the Australian standard lists all components of framing, including – Installation, maintenance, and design. |  |

Discuss why builders must refer to the NCC to confirm appropriate application of structural principles relevant to the build.

| Answer | Builders referring to the National Construction Code before commencement of construction aligns them with the compliance requirements and general guidance information listed within. The code also stipulates the minimum requirements that builders must comply with during construction (Plumbing / drainage systems). Builders will also gain the understanding on certain materials and equipment that can and can’t be used during construction to ensure the acceptance of design. |  |
| --- | --- | --- |

Provide a brief description for each of the following building classes.

| Answer | Building Class | Description |  |
| --- | --- | --- | --- |
|  | Class 1a building | All Class 1 buildings are defined as dwellings. If one or more of these buildings form a single dwelling like detached house (Granny flat) or two or more attached buildings with a separation wall internally. |  |
|  | Class 1b building | These buildings are considering one or more buildings that are formed together, such unit complex’s, boarding houses, or anything relevant that does not lodge more than 12 persons. These cannot be built or positioned above another dwelling or another class of building, excepting a private garage. |  |
|  | Class 5 building | An office building used for professional or commercial purposes, except for buildings of Class 6, 7, 8 or 9. Examples include a law office or an office for general medical practitioners. |  |
|  | Class 6 building | Class 6 buildings are classified as buildings that directly sell goods by retail or supply services to the public, such as restaurants, cafes, public laundries, markets or hairdressers and barbershop. |  |

Explain why a determination of the climate zone is important when ensuring the structural integrity of the building.

| Answer | Throughout Australia there are currently 8 different climate zones. Understanding the zone that is relevant to you and your construction will be crucial in determining you are compliant with the structural components used. This is outlining whether you replace materials with others to ensure you maintain structural integrity to reduce the risks/hazards from climates and weather. E.g In flooded area’s builders have utilised concrete in more places then others and added waterproof veneer to apply to external and internal structures. Understanding climate zone requirements will determine different construction materials, such as insulation and ventilation that will be required. If construction a high-rise with a high temperature recorded within that climate zone, you will be required to install thicker insulation to ensure a comfortable temperature for people accommodating the building. |  |
| --- | --- | --- |

You are involved in preparing for the building of a 16-level apartment building where the carpark is underground, and the ground floor consists of shops and cafés/restaurants/bars. Specify the classifications that you will apply to this building.

| Answer | Class 6 Building will be classified to the ground floor. Class 7a Building for underground carpark. Class 2 Building for apartment floors |  |
| --- | --- | --- |

Explain why sectional properties are important in structural design.

| Answer | These are utilised during design to calculate: buckling, strength, deflection and bending stresses. As an example, understanding the shear stresses and bending limits determines the cross section of a beam. Concrete design utilises different types of sections such as, rectangular, T-Sections, squares, or circles, which can be pre-casted or casted in situ. |  |
| --- | --- | --- |

Considering sectional properties, what will occur if the structural engineer increases the second moment of area on a beam?

| Answer | An increase of the beams stiffness will occur, resulting in the beam to be able to withstand greater pressure of large deflections and bending stresses. |  |
| --- | --- | --- |

Identify if the following are examples of either:

- Dead load

- Live loads

- Wind load

| Answer | Example of load | Type of load |  |
| --- | --- | --- | --- |
|  | Reinforced concrete beams | Dead load |  |
|  | Strong winds blowing against a building | Wind load |  |
|  | People walking around | Live load |  |
|  | A soft breeze on a fence | Wind load |  |
|  | A vehicle being parked | Live load |  |
|  | Stone columns | Dead load |  |

What is the purpose of AS 1684 Residential timber-framed construction?

| Answer | This table is utilised to ensure compliance requirements under the Australian Standard 1684.2. The table is apart of documentation that stipulates the timber to be used for construction according to wind classification. The tables outlines, Roof load widths, Maximum bearer span, single span and continuous span columns. |  |
| --- | --- | --- |

Self-healing concrete is one emerging material. Using special bacteria, this material has the ability to “heal” itself if it cracks. This is intended to extend the concrete’s lifespan. Describe the assessment methods you would apply before using this material.

| Answer | 1.Asking for Evidence of Suitability (Ensuring that this is compliant with NCC, and suitable to the construction it will be used in) 2. Expert Judgement – Getting a opinion and feedback from a subject matter expert. 3. Verification methods. |  |
| --- | --- | --- |

Which industry professionals would you consult before the site inspection, to discuss if structural performance meets the General Requirements and Performance Requirements of NCC? Provide two (2).

| Answer | 1. Structural Engineers 2. Geotechnical Engineers |  |
| --- | --- | --- |

Explain the importance of having project plans and specifications approved.

| Answer | Understanding and supplying the specifications for the project are crucial, as this show’s the materials and quality standards that are required in the project and assist in describing the scope of work to clients/builders to ensure they meet approval standards. Having specifications and project plans forms apart of the required documentation to be approved before construction can commence – whether they get approval or not, proves if what’s supplied complies with the relevant building codes and standards. |  |
| --- | --- | --- |

Describe how you apply structural design and specification documents.

| Answer | Understanding structural design and specification documentation serves as a foundation for the development and application of structural components. Applying this documentation before construction ensures that all components of the project comply with the NCC and building regulation and requirements. Once applied the documentation you can then commence the next phase of your construction. |  |
| --- | --- | --- |

What information is provided in the engineer’s footing design and specifications documents?

| Answer | The documentations refer to the drawings, layouts, details, section views, specifications, and design assumptions relevant to foundation. |  |
| --- | --- | --- |

Discuss cadastral survey plans, what they contain and who is responsible for preparing these.

| Answer | Cadastral survey plans, form apart of Legal documentation providing the identification of boundaries, distances, bearings and property area, which is prepared by a registered cadastral surveyor. |  |
| --- | --- | --- |

What is determined from the contour site plan?

| Answer | These site plans are utilised to determine the ground profile for cut and fill calculations and procedures to be undertaken, these can also determine ground grades which direct the flow and amount of the water. Understanding these points can assist in the planning phase to construct drainage systems to suit. |  |
| --- | --- | --- |

Discuss who prepares and geotechnical report and what this report contains.

| Answer | A geotechnical report is prepared by a geotechnical engineer. This report contains essential information that will be required for construction personnel such as engineers or on-site management to understand what data has been collected of where the investigation has been taken place. This report will contain items such as, recommended foundation (e.g Material to be used for a pad), soil bearing capacity (How much weight the soil can withstand, e.g., Crane pad set-ups), Degree of compaction and level of excavation and slope of grade. Once all the investigation details have been collected it will then be submitted in a formal document called the Geotechnical report. |  |
| --- | --- | --- |

The plans and specifications include underpinning design and specifications due to a change in the imposed loading. Why are these included?

| Answer | Imposed loads will differ from which type of building is being occupied. Once the magnitudes can be recorded, understanding the installation and specifications of underpinning can help assist in supporting the structural integrity of the building, and assist in maintaining strength and stability for the structure. |  |
| --- | --- | --- |

Specifications are included for temporary rock anchors to be used for securing a retaining wall. What is the purpose of these?

| Answer | Having specifications for temporary rock anchors, during commencement of retaining wall works will give the builder an installation methodology to have in place if the soil requires more stability or if the retaining wall rocks are fractured. |  |
| --- | --- | --- |

Explain how shoring specifications differ to specifications for temporary rock anchors.

| Answer | Rock anchors are embedded within the soil, whereas shoring applications are installed externally as it can support the walls of an excavation. Rock anchors are beneficial in the fact that they don’t take up room in a work area, where shoring will. |  |
| --- | --- | --- |

Describe what tanking is and methods used.

| Answer | Tanking designs are processes to reduce the risk of moisture or water compromising structural components or entering within the structure from outside. The two methods of tanking are membrane or coatings. Coatings are used in applying product in a liquid form onto the structural elements, and membranes are created as plastic fitted sheets. |  |
| --- | --- | --- |

Briefly explain the expected deflection of the following beams.

- In your explanation, identify the point of maximum and minimum deflection.

| Answer | Beams | Expected deflection |  |
| --- | --- | --- | --- |
|  | Cantilever beams Beam length = 10 m Fixed support at 0 m Point load at 5 m Load magnitude = 5N | The maximum deflection would occur at the end of the free end length of the beam, this being 10m to the maximum point of deflection. The minimum would then be at the fixed support end (left end of the beam). |  |
|  | Beam with overhang Beam length = 10 m Support #1 = 0m Support #2 = 8m Point load at 4m Load magnitude = 5 N | The minimum deflection points would be the initial fixed support of the beam to the structure, and second point at the second support structure. Maximum deflection point will be at the point of the overhand, past the second support. |  |
|  | Beam fixed at both ends Beam length = 10 m Fixed support at 0 m Point load at 5 m Load magnitude = 5 N | Maximum deflection will occur within the centre of the beam, as both ends have fixed support. Which also indicates that both ends of the beam will be the minimum point of deflection. |  |

Briefly explain the performance of the following columns when put under compressive loads.

| Answer | Beams | Expected deflection |  |
| --- | --- | --- | --- |
|  | Steel column | Steel columns have been known to buckling under heavy compressive loads. |  |
|  | Masonry column | Masonry brick column perform well under compressive loads and attain a high compressive strength. |  |
|  | Reactive powder concrete columns | Reactive powder concrete columns possess high compressive strength as well as attain high ductility. These columns can withstand twice the compressive stress that steel columns can. |  |

Briefly explain the safety factor in design of the following types of roof trusses.

| Answer | Beams | Expected deflection |  |
| --- | --- | --- | --- |
|  | Timber trusses | Timber trusses have a high resistance to fire damage, and posses’ low expansion when exposed to high climates. But unlike metal trusses they are not waterproof making them vulnerable to weather damage. |  |
|  | Metal trusses | Metal trusses are resistant to water, weather and also even potential termite damage unlike timber trusses. However they have low fire resistance and can melt when exposes to high temperatures. |  |

Describe wind bracing and four (4) types of wind bracing applied.

| Answer | 1. Cross-Bracing 2. K-Bracing 3. V-Bracing 4. Chevron Bracing Wind bracing is an architectural construction method where braces are formed together to create a structural system to supply structural stability. Generally are seen attached to roofs and walls to prevent racking or movement. |  |
| --- | --- | --- |

Consider the rafter that the pots are hanging from in the photo below when responding to Q28. Q29. & Q30. Assume that it is a rafter tie also connected to walls on either side.

Identify the force system that is acting on the rafter. Explain your answer.

| Answer | Referring to the photo, this is showing a coplanar concurrent force system. As all 4 hanging pots are acting as common points of force. |  |
| --- | --- | --- |

Describe what would happen to the rafter if the force applied by the hanging pots were too heavy to be held up by the rafter.

| Answer | If the force was too heavy pulling down on the rafter, this would then cause the raft to buckle. |  |
| --- | --- | --- |

Identify the force system that would be applied if all the hanging pots are removed from the rafter.

| Answer | If the pots were removed the force of the load would then transfer throughout the rest of the raft. |  |
| --- | --- | --- |

Describe the general details contained in the project documents for each structural system stated below.

| Answer | Structural system | General details |  |
| --- | --- | --- | --- |
|  | Floor system | Floor systems will be stipulated in project documents such as, Architectural Drawings, structural drawings, Specifications documents, and schedules. Having this comprehensive documentation is essential for contractors and builders to understand and execute the construction of the floor system |  |
|  | Wall system | Wall systems information and details will be contained in the same the documents provided in floor systems above. Understanding drawings provided assists in calculations with elevations, foundation plans, framing plans, materials standards, and installation requirements. These documents are also essential for builders and contractors. |  |
|  | Roof system | Alike wall and floor systems, these details are found in all the documents and plans listed above. Specifically with roof systems, project documents will stipulate insulation and vapor barrier details, to ensure no issues arrive with insulation. This is another system that is critical for builders and contractors to be understanding prior to construction. |  |

What must be covered by the site environmental management plan?

| Answer | This plan should stipulate how all environmental management measures will be implemented and monitored. Within these measures should cover the duration of monitoring, frequency, and methodology. The environmental management plan should align itself with the relevant state requirements (e.g. Queensland Project following the National environmental protection council act 1994). The 5 main steps of implementing an EMP is covering the Environmental policy, planning, implementation, checking and correction, and management review. |  |
| --- | --- | --- |

Discuss what type of information is included in the site safety plan.

| Answer | Site safety plan will generally include site specific information, to identify any hazards or risks that will pose to the worker or other relevant personnel within the job site. These plans can also cover the responsibilities of the PCBU, Supervisors, Workers and HSR’s. These plans should cover general information and expectation relevant to the project, as well as including the companies/organisations primary standards, safety policies and controls. |  |
| --- | --- | --- |

Discuss the different contracts a builder or building company must organise before beginning a residential or commercial construction project. What are the legal requirements for such contracts?

| Answer | Before the commencement of the construction project, the builder/building company must follow all legal requirements within the ‘Building Regulation (2006) (QLD’, Under schedules 1 & 2. They must take into consideration all requirements within these sections before awarding the contract to a sub-contractor if operating as a MC (Managing Contractor). Listed below are building components that must be compliant within the regulation. - Fences - Non-load bearing devices - Retaining Walls - Filling / Excavation - Heating devices - Signage - Repairs, Maintenance, or alterations not affecting structural component of fire safety system. Additional particular requirements are listed under the schedule (1) pending also on the building class can become whether the project is compliant under the relevant regulations. |  |
| --- | --- | --- |

Identify one (1) potential structural issue for each of the following footing systems.

| Answer | Footing system | Potential structural issues |  |
| --- | --- | --- | --- |
|  | Concrete slab floor | Weak and unstable points in locations where there is irregularity in the ground surface. |  |
|  | Mass concrete piers | Pending on temperatures, the piers could be subject to cracking. |  |

Describe how the following footing systems perform when bearing structural load.

| Answer | Footing system | How they perform when bearing structural loads |  |
| --- | --- | --- | --- |
|  | Bored pier footing | These transmit force down through the bearing. The lower the bearing structural load the base area can be increased. |  |
|  | Column footing | The force of structural loads gets distributed through the column towards the ground equally over a large area. |  |
|  | Stump footing | Stump footings attain greater stability due to concrete pads against high loads. |  |
|  | Drilled pile foundation | When soil contains moisture within the area of the drilled pile, these piles can collapse under loads. |  |
|  | Driven pile foundation | Unlike drilled pile foundations, driven piles incorporate bearing capacity and skin friction capacity, increasing their load bearing capacity. |  |

Identify the structural advantages of each of the following footing systems.

| Answer | Footing system | Structural advantages |  |
| --- | --- | --- | --- |
|  | Reinforced piers and beams | Reinforced piers and beams both possess concrete and steel reinforcement increasing there structural strength against stresses. |  |
|  | Screw piles | The screw piling installation methodology consists of the piles anchored within the ground, which also supports uplift forces. |  |
|  | Brick bases | Brick bases possess high resistance, and compressive strength. |  |

Why must foundation movement be considered when designing and constructing on-ground concrete slab floors?

| Answer | Having movements within the foundation can impact the structural integrity and safety of other structural elements of that slab. |  |
| --- | --- | --- |

Identify the structural advantages of the following floor systems.

| Answer | Floor system | Structural advantages |  |
| --- | --- | --- | --- |
|  | Suspended concrete floors | Due to less direct contact with the foundation, they are less exposed to damages. |  |
|  | Timber floor frames | Fire resistance rating is high, with outer timber components acting as an insulator against high heat temperatures. |  |
|  | Steel floor frames | Very durable with low maintenance. These frames can also resist extreme weather conditions. |  |
|  | Aluminium raised floors | These floors have posses a high resistance against corrosion and high strength to weight ratio. |  |
|  | Solid hardwood fitted floors | Generally resistant to active loads with heavy movement and foot traffic. |  |
|  | Engineered wood fitted floors | Possess high stability under heavy active loads and resistance to damage caused by temperature and moisture changes. |  |

Identify two (2) actions during the installation of I-joists that may negatively affect their structural integrity. Explain your response.

| Answer | 1. Notching, Cutting, Drilling the flanges of the l-joists 2. Carrying the joists in the horizontal or flat position Both installation actions affect the structural integrity of the joists. The modifications work as mentioned by drilling, cutting etc. reduces the strength of the joists and affects their ability to resist structural stresses. By carrying these joists in the positions listed above, they can potentially lead to loses their over structural capacity. |  |
| --- | --- | --- |

What are the structural disadvantages of using platform floors?

| Answer | Constructing platform floors opens the opportunity for environmental damages such as humidity, sunlight, and rain due to platforms must be installed first prior to the additional walls and framing components. Platform protection is generally advised. |  |
| --- | --- | --- |

Why are compressed sheets commonly used in the flooring of wet areas?

| Answer | Using compressed sheets helps protect flooring from moisture. Although they are still vulnerable to water penetration, waterproofing agents can be applied to prevent this. These sheets also provide a stable substrate for floor finishes. |  |
| --- | --- | --- |

What is one (1) benefit of using vinyl sheet flooring in areas with high foot traffic?

| Answer | Highly durable and can last a long duration when maintained and with thorough installation. |  |
| --- | --- | --- |

Describe one (1) structural advantage of using tongue and groove boards for flooring.

| Answer | Creating better grip and stability by following the installation method of interlocking the boards. |  |
| --- | --- | --- |

Discuss the structural capability of autoclaved aerated concrete (AAC) flooring panels.

| Answer | This panel systems possess great structural efficiency and insultation with aids the temperature balance within the buildings. These flooring panels also incorporate fire resistance and high ventilation. |  |
| --- | --- | --- |

What are the structural limitations of using lightweight AAC as part of a composite loadbearing wall?

| Answer | Lightweight ACC’s can only support a structure up to two or three stories. |  |
| --- | --- | --- |

Discuss one (1) structural factor that must be considered when integrating tilt-up slab panels into composite walls. Explain your answer.

| Answer | Any additional loads need to be made aware, as all lifting and handling needs to be considered within the design. If these loads aren’t accounted for, it opens up the potential for a lift to fail and could result in damage to the existing structures and the panel itself. |  |
| --- | --- | --- |

Identify the structural advantages of using the following products in composite walls.

| Answer | Products | Structural advantages in composite walls |  |
| --- | --- | --- | --- |
|  | Glue-laminated lumber | Possess good structural performance with heavy active and dead loads. The glue also incorporates good compressive strength with high tensile. |  |
|  | Mass concrete piers | Adding additional mass on the concrete pier foundations and increase the structural integrity of the building. |  |

What makes a cavity brick masonry wall a good choice for areas that often experience rain?

| Answer | Masonry barrier walls generally rely on the wall materials to deter water penetration which happens on the exterior wall. These walls also incorporate the rail screen principle. |  |
| --- | --- | --- |

Discuss disadvantages of using single-leaf masonry walls.

| Answer | Due to the single leaf masonry brick wall only possess one single layer of brick wall, additional processes such as insulation and weather protection will have to be implemented to increase the life span of the wall system. |  |
| --- | --- | --- |

What behavioural properties make AAC a good choice for masonry walls?

| Answer | Due to ACC being lightweight, and a natural property this increases easier workability, with also incorporated additional advantages such as high load bearing capacity and high thermal performance, This makes the a ACC/Masonry wall system affective and easy. |  |
| --- | --- | --- |

Discuss structural disadvantages of using timber weatherboards as wall cladding.

| Answer | Pending on the specifies of the tree that the timber is taken from, can affect the durability of the boards. As well as potentially having low durability, these timber weatherboards generally have low performance against insultation and temperature regulation. |  |
| --- | --- | --- |

Discuss how wall coatings differ from regular paint.

| Answer | Unlike regular paint, wall coatings are more weather resistant and generally more robust. These coatings can contain properties that can raise the lifespan of the structure applied onto. |  |
| --- | --- | --- |

What structural factors must you consider when using compressed wood panelling as cladding?

| Answer | Choosing your wood type specifically, as pending on the wood specifies, how durable it will be against weather, water resistance, thermal performance, and fire resistance. |  |
| --- | --- | --- |

Identify the structural advantages of the following products used in wall cladding.

| Answer | Products | Structural advantages in wall cladding |  |
| --- | --- | --- | --- |
|  | Corrugated metal sheeting | Great resistance against external forces and climates. |  |
|  | Fibre cement cladding | Highly durable and dimensionally stable. |  |
|  | Tilt-up concrete panels | Easier installation, which assists in shorter completion times. Reduced transportation costs as casting is done on ground. |  |
|  | Fired bricks | Great against weather, hold a high compressive strength are known to be durable. |  |
|  | Unfired bricks | Share very similarities with fired bricks, which are great against weather, high compressive strength and durable. |  |
|  | AAC bricks | Aesthetically pleasing and incorporate flexibility. These bricks also have the capability to act as a load bearing wall in low rise structures. |  |

Discuss one (1) structural advantage and one (1) structural disadvantage when using timber prefabricated roof trusses.

| Answer | Utilising timber prefabricated timber trusses allow for more flexibility in installation and set out of your walls and being able to move and adjust tolerances if required. However, these trusses can also be exposed to warping and bowing problems, which can cause damage with the rest of the structure. |  |
| --- | --- | --- |

Provide one (1) structural advantage and one (1) structural disadvantage when using steel prefabricated roof trusses.

| Answer | Generally steel prefabricated roof trusses possess a high resistance to heavy winds without the chance of buckling once erected. However, they have poor performance against fire, which then fire protection methods will need to be put in place. |  |
| --- | --- | --- |

Name five (5) structural components of a hand cut timber roof.

| Answer | 1. Rafters 2. Purlins 3. Battens 4. Ridge Boards 5. Joists |  |
| --- | --- | --- |

Discuss uses and disadvantages of the following roof types.

| Answer | Roof types | Uses and disadvantages |  |
| --- | --- | --- | --- |
|  | Box gable roof | These roof types make it easier for water to travel off the roof, prevent any water damages from ponding loads. However due to their design shape, they have the potential to collapse in cyclone / high wind climates. |  |
|  | Dual pitch roof | Uses of Dual Pitch roofs are to allow for more flexibility in the implementation of insulation. The roof design can also assist with protection of the inside temperatures. The disadvantages are the loads of the roof are not uniform, which can leave to having foundation requirements larger to accommodate for heavier loads. |  |
|  | Dutch gable and Dutch hip roof | Due to the design of the Dutch gable and hip roof, they provide high protection against rain and high wind environments. However due to the large size, it transmits heavy loads to the supports - which means loadbearing capacity must be considered within the support design. |  |
|  | Hip and valley roof | These roofs are more suitable in high wind environments, as they attain a high self-bracing capability. However, the disadvantage with this design of roof is that they are known to have leaks, as water has the potential to travel through seams and valleys. |  |
|  | Skillion roof | This roof type is usually installed for aesthetic purposes and high ceiling applications in residential buildings, in addition adding light. The disadvantage to this design of roof is that they are generally weak against severe wind environments. |  |

What parts of the building make up the gable end?

| Answer | The gable end is a type of gable roof which the gable isn’t closed. Gable refers to the gable itself. The shape of the gable is a triangle section underneath the pitched roof. |  |
| --- | --- | --- |

Discuss north light roofing.

| Answer | North light roofing consists of two pitch roofs, with one of the sections set a steeper slope than the other. These roofing systems are commonly used in industrial buildings, they also incorporate natural light, by installing glass in the steeper slope. However, with the natural light being constantly present during the day, this can bring on higher temperatures within, making this uncomfortable or occupants. |  |
| --- | --- | --- |

Discuss the benefits and disadvantages of using concrete, clay or metal tiles for roof cladding.

| Answer | The benefits of using these properties as roof cladding, they are interlocking helping with bond, heaving, durable and have a high fire-resistance, making these roof tiles more appealing to utilise. Commonly these tiles can aid the aesthetics of the structure to their natural looking design. The disadvantages for these tiles are commonly being brittle, which makes them vulnerable to cracks. Has mentioned as an advantage being heavy tiles, this also means that the load bearing capacity will have to be adjusted / designed accordingly. |  |
| --- | --- | --- |

Discuss the structural advantages associated with the following types of roof cladding.

| Answer | Roof cladding | Structural advantages |  |
| --- | --- | --- | --- |
|  | Shakes | More durable due to the thickness of the property. Pending on the material used as a shake, can enhance the temperature resistance. |  |
|  | Shingles | Shingles provide a great athletic appeal, alongside shakes, and possess high insulating components. |  |
|  | Short run sheeting | Being short run sheeting, overlaps are more present, proving more stability against high wind loads. |  |
|  | Long run sheeting | Long run sheeting minimises breaks and overlaps, decreases the opportunity for water to travel within and cause leaks, also proving a steam line look. |  |
|  | Metal sheeting | Metal sheeting is lightweight making it easier for installation as well as proving sufficient strength to resist high wind forces. |  |

CPCCBC4010

Apply structural principles to residential and commercial constructions

WORKBOOK

| Participant name | Rhys H. Yasso |
| --- | --- |

FOR THE PARTICIPANT

Instructions

- You will complete written activities as outlined on the following pages. You must attempt all questions and provide enough detail in your responses to demonstrate your knowledge. - The timeframe for these tasks will be established by your Assessor or Training Plan, but additional time may be allowed upon negotiation with the Assessor. - You must complete all questions unassisted by the Assessor or other personnel but may refer to reference material as needed. All questions must be answered correctly for a ‘Satisfactory’ assessment outcome to be awarded. - An oral examination may be allowed under certain circumstances, whereby your answers will be documented by another party. - Any written questions that are incomplete, or not answered satisfactorily will need to be completed again after further training support. - If you answer a question incorrectly but modify your response, put your initials next to the written change (or the Assessor must initial a verbal change).

Resources required

Pen

FOR THE ASSESSOR

Instructions

- Where oral examination has occurred, ensure that this is acknowledged in writing (e.g. FT001 and Assessor Comments) - All questions must be satisfactorily demonstrated by the Participant for a Satisfactory determination (indicated by an Assessor tick to the right of the question). - Assessors are to complete marking in pen of a different colour to the Participant. - If the Participant verbally modifies their response, write in the modified response verbatim and put your initials next to the written change.

ASSESSOR COMMENTS

As necessary, outline: - Details on reattempts, alternative arrangements or reasonable adjustments made. - Where a Participant is deemed ‘Not Satisfactory’, provide recommendations for future training.

NOTE

At times, you will be provided with a specific business context to which you must respond, otherwise it is anticipated that you will use a workplace of your choosing (your own, or hypothetical) to provide the context to the task.

At all times, the responses in your assessment must reference Australian (Queensland or Federal) documentation, including legislation, regulations, codes of practice, standards and guidance publications.

Access the NCC via the internet to locate the requirements applicable to the proposed building development plans at PALLARA, QUEENSLAND (Handout 1 and Handout 2) and complete the information below:

Building Description

Classification

Class 1 Building

Climate zone and description

Zone 2 – ‘Coastal Queensland from North of Mackay (Queensland) down to just south of coffs harbour (NSW) – Warm Humid Simmer, Mild Winter. This project is being taken place in Brisbane.

Type of construction

House

Wind Classification

N’2’

Site soil classification

‘P’ Class

Site Preparation

Termite management

Termite Treatment to comply with A.S 3660.1 2000 Specifications.

Site preparation

Site preparation must align it self with all NCC Requirements relevant to: NCC 2022 Volume Two (h1D3) Site preparation.

Fire resistance and stability

Fire resistance information

Articulation joint on boundary wall to be fire rated as per BCA requirements.

Fire hazard properties of materials, assemblies, fixtures and linings

Specification C1.10 Fire Hazard Properties (2. Application – Table 1 Fire Hazard Property Requirements)

Material requirements

Reinforced concrete requirements relative to Australian Standards

Part 3.2.3 Concrete and reinforcing. Concrete must be manufactured to comply with AS3600.

Structural timber and framing

Part 3.4.3 Timber Framing

Provision for services

Part 13.7 Services

Glazing requirements specifically for windows, sliding doors with frames

Part 3.6 Glazing – 3.6.0 Application

| Satisfactory Outcome |  |  |
| --- | --- | --- |

Revisit the proposed building development plans at PALLARA QUEENSLAND (Handout 1 and Handout 2) and complete the information below using the plans and specifications:

Identify Earthworks to be completed

Earthworks required include excavation/cutting out material for the installation of slabs/pavements/footpath which include material such as crush rock. Earthworks also incorporate landscaping works, that include turf, garden beds and mulch.

Identify slab type

Waffle Slab / Typical Type ‘M’ Slab.

Identify Framing tie down schedule Bottom plate to slab

75 Masonry Nails (Hand Driven at slab edge), screw or bolt at 1.2m MAX CRS.

Specify framing tie down bottom plates to floor frame

2/75x3.05 Nails (up to 38 stud) or 2/90x3.05 Nails, (38-50 stud) 600 MAX CRS.

Specify wall frame bracing material

All timber framing and bracing shown to comply with AS1684. P - 6.0kN/m capacity plywood bracing. M – 3.0kN/m Capacity bracing – refer to typical details.

Identify compression strength of a brick unit

Minimum of 15MPa and compressive strength of masonry to be a min of 5.4 MPa.

Identify structure of roof system

The roof implements concrete roof tiles @ 22.5’ Pitch. Roof also implements a roof ventilator to not exceed the top of ridge. This is to be installed as per manufactures requirements in accordance with ‘AS 393502009’ – Colour to match roof. Roof structure, using prefabricated timber rood trusses as per manufactures specifications.

Identify roof cladding

Refer to above.

Identify wall cladding and sarking

Wall cladding involves selected face brickwork, JH ‘Primeline newport’ weatherboards on 70x35 battens fixed to stud and plasterboard. Standard sislation wrap to ext. walls of dwelling, R 1.5 glasswool batts to cladding walls.

Identify installation requirements of windows and doors

Aluminium framed windows. Provide diamond grille barrier screen to opening sash of sliding windows. All windows to be set at 2100mm O/A head unless nominated otherwise / if brickwork over, adjust head height to within 5-10mm of lintel.

Identify membrane to be used around pipes traveling through slab.

0.2mm thick polyethylene membrane to be approved, taped around pipes and lapped a minimum of 200mm. Provide 100mm diameter heavy duty PVC Stormwater pipe with minimum fall of 1:100

| Satisfactory Outcome |  |  |
| --- | --- | --- |

A man living in a bungalow in southern New South Wales notices that small splits and cracks are forming in his house’s timber roof trusses. He remembers that his area recently experienced heavy snowfall and calls a contractor for help in fixing the cracks. During their conversation, the contractor tells him that the trusses were not built to withstand heavy snow loads and that a team will come and fix the trusses. Given the information above, write a report in the space below, to the man, as the contractor, responding to the following points: - The structural defects of the roof trusses. - What contributed to the structural defects of the trusses identified. - The implications of the structural defect identified. - Structural principles that were not applied. - How the structural defects you identified were caused by failure to apply the relevant structural principle you identified. - The extent of work that needs to be done to rectify the structural defects you identified.

Hi XXXXX,

As per our visit to the bungalow last week, it was noticed during the inspection of the cracks within the house’s timber roof trusses, it was found that the trusses were not built to withstand heavy snow loads. Given that we are now in season, we at builders co. would like to assess this problem further and conduct the rectification works as required given your confirmation.

From inspection it seems that the original installation of the roof trusses was not aligned with the NCC. Due to incorrect installation, these cracks and splits could be caused from either rough handling prior to installation, wood decay from insect or fungal attacks, or generally from the overloading from the snow.

Going with the idea these cracks were caused by the heavy snow loads, the timber structure/trusses did not follow the performance requirements of the NCC 2019 A1 (3.4.3.0)

I have listed the following steps below to make to rectify this problem, let me know if you’d like to proceed with this.

- Correct any moisture issues that may be present and contribute to the timber truss damage.

- Stabilize the house environment to ensure temperatures are controlled and don’t contribute to the cause.

- Revaluate the design of the roof trusses and ensure they are compliant with the NCC timber structural performance requirements.

- Reinforcement controls to be installed (additional fasteners or metal plates) where required.

- Utilise and fillers and sealants where appropriate, helping to improve the stability of the timber.

- Use Buttresses or bracing where required, to support and strengthen the timber trusses due to the splits.

- Apply wood stabilizers where required for additional reinforcement.

After these steps have been completed, we will then come back and do an inspection, to ensure the timber trusses do not result in further issues.

| Satisfactory Outcome |  |  |
| --- | --- | --- |

CPCCBC4010

Apply structural principles to residential and commercial constructions

PRACTICAL ASSESSMENT

| Participant name | Rhys Yasso |
| --- | --- |

FOR THE PARTICIPANT

Instructions

- The tasks outlined on the following pages will require performance of normal workplace activities, as a result of a structured activity set by an Observer in the workplace or a simulated activity set by your Assessor/Observer. - The timeframe for these tasks will be established by your Assessor/Observer, in consideration of location conditions and industry requirements. - You must complete all tasks unassisted by the Assessor or other personnel, unless the steps note this assistance. - You must attempt all tasks (and itemised steps) for a ‘Satisfactory’ assessment outcome to be awarded. - For any observation conducted that is incomplete, or without satisfactory performance, the observation will need to be completed again after further training support.

FOR THE ASSESSOR/OBSERVER

Instructions

- The following observation record should be used to judge and record your observations of the Participant as they complete the task(s) set. You must record your observations of the Participant’s performance. - For each occasion, indicate the task performed and whether it was a simulation or workplace-based task. - Any simulated assessment must ensure the Participant still performs under workplace conditions which reflect industry standards. - In the comments, provide clear detail regarding the task that the Participant was required to do (e.g. PPE used, materials handled, attachments connected, plant types). - All steps must be satisfactorily demonstrated by the Participant for a ‘Satisfactory’ determination (indicated by an Assessor tick to the right of each itemised step, or an Observer tick to the right of each itemised step, and confirmation by an Assessor in the Assessor Comments). - Where you have determined that one or more task steps have not been satisfactorily demonstrated, provide the Participant with additional support and outline details of such assistance in the Assessor/Observer Comments. Allow the Participant two (2) further opportunities to demonstrate the task again to allow an opportunity for a ‘Satisfactory’ assessment outcome to be achieved. - If after three (3) attempts the Assessor determines that the Participant cannot demonstrate the required steps, a ‘Not Satisfactory’ outcome is to be determined.

| TASK OUTCOME |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Task | Date | Task Type (Tick) | Location | Task outcome (Tick) |  |
|  |  |  |  | Satisfactory | Not Satisfactory |
| Task 1 | Select Date. | Workplace Simulation |  |  |  |

ASSESSOR COMMENTS: GENERAL

As necessary, outline: - Details on reattempts, alternative arrangements or reasonable adjustments made. - Where a Participant is deemed ‘Not Satisfactory’, provide recommendations for future training.

| ASSESSOR COMMENTS: PRACTICAL TASK 1 |  |
| --- | --- |
| Individual student (as named on cover page) Multiple students [ All from Attendance Report, Specific students involved – identify students] |  |
| Task | Provide detail |
| 1.1A. 1.1B. 1.1C. 1.1C. 1.1D. 1.1E. 1.2C. 1.2D. 1.3C. 1.3D. 1.5A. 1.5B. 1.5C. 1.6A. 1.6B. | Specify () where building classifications, criteria requirements and performance solutions were documented: Workplace Quality document Quality Assurance Template Other (please specify): Document attached as evidence |
| 1.1F. | Specify () who was consulted regarding structural integrity: Project management Relevant tradesperson Builder Supplier Other (please specify): |
| 1.1H. | Specify new and emerging building technologies assessed for compliance. |
| 1.2B. | Specify how cut and fill, excavation and compaction were confirmed as compliant with geotechnical report: |
| 1.3B. | Specify where footing type and tie-down details located. |
| 1.3E. | Specify team supervised and floor system installed. |
| 1.4C. | Specify structural and non-structural wall systems installation supervised to ensure compliance. |
| 1.5D. | Specify how quality finishes were assured for roof systems. |
| 1.6C. | Specify supervision and checks made: |

CPCCBC4010

Apply structural principles to residential and commercial constructions

| Practical Task 1 |  |
| --- | --- |
| Description of task: The participant must demonstrate the skill and ability to apply structural principles to the construction of one building project including the following points. Documented evidence of all criteria must be presented (template (HO3) available for use if required) - Analyse the structural integrity of building project - Read the plans to determine and document the intended use of the building, class and climate zone from the NCC. (template available- HO3) - Analyse the project documents for compliance with NCC bushfire, high wind, earthquake and alpine environment requirements. (template available- HO3) - Analyse and document building design and structural integrity from project plans and specifications, building standards and codes. (template available- HO3) - Determine and document the effect of section properties on various materials. (template available- HO3) - Determine and document if structural performance meets the General Requirements and Performance Requirements of NCC. (template available- HO3) - Confirm analysis of structural integrity with relevant industry professionals. - Conduct pre-commencement site inspection to confirm analysis. - Plan, coordinate and manage the laying of footings. - Identify earthworks and footing or slab configuration from project plans and specifications. - Establish cut and fill, excavation and compaction compliance with geotechnical report. - Assess performance of reinforcement, concrete and other elements which contribute to structural integrity of specified footings. - Determine compliance with building and construction regulations, standards and codes. - Set out footings in accordance with project plans and specifications. - Plan, coordinate and manage laying of flooring systems - Identify flooring systems materials, components and configuration from project plans and specifications. - Determine footing type and tie-down details. - Assess suspended flooring system component sections’ compliance with standards and codes’ span requirements. (template available- HO3) - Determine if floor framing and flooring is compliant with NCC Performance Requirements for climate zone, fire resistance and rising damp requirements. (template available- HO3) - Supervise and confirm laying of specified floor system complies with project documentation. - Plan, coordinate and manage the building of wall systems. - Determine and analyse structural and non-structural wall systems used in the planning of the building and construction project. (template available- HO3) - Determine materials used for timber and steel framing and structural steel members meet the Performance Requirements of the NCC and timber framing complies with AS 1684 Residential timber-framed construction. - Adhere to and check processes for erecting structural and non-structural wall systems to ensure these comply with manufacturer’s specifications and building and construction standards and codes. - Apply bracing, tie-downs, tolerances, allowances, and fixing and installation of wall frame components for compliance with relevant Australian Standards, codes and manufacturer specifications. - Manage processes to ensure quality of the frame, whether factory pre-cut and pre-nailed, factory pre-cut and assembled on site, or cut and assembled on site. - Determine and apply allowances for services to be installed. - Ensure the installation of windows and doors is compliant with building and construction standards and code and manufacturer’s specifications. - Plan, coordinate and manage the building of structural roof systems. - Identify type of structural roof system and components and determine compliance with Performance Requirements of NCC. - Plan, implement and check erection of structural roof, roof trusses or hand cut roof members comply with building and construction standards and codes and accepted industry construction practices. - Plan, implement and check installation of roof sarking and cladding, skylights, roof ventilators and service penetrations comply with building standards, codes and manufacturer specifications. - Manage processes to ensure roof systems’ quality finish. - Plan, coordinate and manage wall cladding. - Assess structural performance of cladding to be used for bracing in the frame construction for compliance with building and construction standards, codes and manufacturer specifications. - Determine cladding, vapour permeable sarking or waterproof membrane and components meet the Performance Requirements of NCC. - Supervise and check installation of specified cladding complies with building and construction standards, codes and industry-accepted industry practices. These tasks may be simulated or real. The Participant is to gather evidence of how they have completed each component of the Practical Task, which is to be submitted with this Practical Assessment sheet. The Observer is to provide detailed comments on the tasks completed by the Participant (on the Observer Comments, overleaf). The Assessor is to verify the Observer’s comments, noting their findings in the Assessor Comments (on the back of the Practical Assessment cover page) and provide the assessment outcome. |  |
| Resources required: Construction site and plans, specifications and drawings for one residential or commercial construction; workplace quality policies and procedures; technology to access building and related industry codes, standards and manufacturer product information and materials specifications; Technology to access the NCC and current relevant Acts and Regulations. PPE as required. Materials and tools Documentation of design and construction (suitability or evidence of suitability) (template available- (HO3)). |  |
| Observer details |  |
| Name of observer: |  |
| Role of observer (Confirm suitability to sign) |  |
| Email address of observer |  |
| Signature of observer: |  |
| Date: | Select Date. |

| When completing the task, did the Participant: | Tick if satisfactorily completed. Provide comments if left unticked. |
| --- | --- |
| 1 Analyse the structural integrity of building project. |  |
| Read the plans to determine and document the intended use of the building, class and climate zone from the NCC. (template available- HO3) |  |
| Analyse the project documents for compliance with NCC bushfire, high wind, earthquake and alpine environment requirements. |  |
| Analyse and document building design and structural integrity from project plans and specifications, building standards and codes. (template available- HO3) |  |
| Determine and document the effect of section properties on various materials. (template available- HO3) |  |
| Determine and document if structural performance meets the General Requirements and Performance Requirements of NCC. (template available- HO3) |  |
| Confirm analysis of structural integrity with relevant industry professionals. |  |
| Conduct pre-commencement site inspection to confirm analysis. |  |
| Assess new and emerging building technologies for application to the construction process and their compliance with NCC requirements and relevant Australian Standards. |  |
| 2 Plan, coordinate and manage the laying of footings. |  |
| Identify earthworks and footing or slab configuration from project plans and specifications. |  |
| Establish cut and fill, excavation and compaction compliance with geotechnical report. |  |
| Assess performance of reinforcement, concrete and other elements which contribute to structural integrity of specified footings. (template available- HO3) |  |
| Determine compliance with building and construction regulations, standards and codes. (template available- HO3) |  |
| Set out footings in accordance with project plans and specifications. |  |
| 3 Plan, coordinate and manage laying of flooring systems. |  |
| Identify flooring systems materials, components and configuration from project plans and specifications. |  |
| Determine footing type and tie-down details. |  |
| Assess suspended flooring system component sections’ compliance with standards and codes’ span requirements. (template available- HO3) |  |
| Determine if floor framing and flooring is compliant with NCC Performance Requirements for climate zone, fire resistance and rising damp requirements. (template available- HO3) |  |
| Supervise and confirm laying of specified floor system complies with project documentation |  |
| 4 Plan, coordinate and manage the building of wall systems. |  |
| Determine and analyse structural and non-structural wall systems used in the planning of the building and construction project. (template available- HO3) |  |
| Determine materials used for timber and steel framing and structural steel members meet the Performance Requirements of the NCC and timber framing complies with AS 1684 Residential timber-framed construction. (template available- HO3) |  |
| Adhere to and check processes for erecting structural and non-structural wall systems to ensure these comply with manufacturer’s specifications and building and construction standards and codes. |  |
| Apply bracing, tie-downs, tolerances, allowances, and fixing and installation of wall frame components for compliance with relevant Australian Standards, codes and manufacturer specifications. |  |
| Manage processes to ensure quality of the frame, whether factory pre-cut and pre-nailed, factory pre-cut and assembled on site, or cut and assembled on site. |  |
| Determine and apply allowances for services to be installed. |  |
| Ensure the installation of windows and doors is compliant with building and construction standards and code and manufacturer’s specifications. |  |
| 5. Plan, coordinate and manage the building of structural roof systems. |  |
| Identify type of structural roof system and components and determine compliance with Performance Requirements of NCC. (template available- HO3) |  |
| Plan, implement and check erection of structural roof, roof trusses or hand cut roof members comply with building and construction standards and codes and accepted industry construction practices. (template available- HO3) |  |
| Plan, implement and check installation of roof sarking and cladding, skylights, roof ventilators and service penetrations comply with building standards, codes and manufacturer specifications. (template available- HO3) |  |
| Manage processes to ensure roof systems’ quality finish. |  |
| 6. Plan, coordinate and manage wall cladding. |  |
| Assess structural performance of cladding to be used for bracing in the frame construction for compliance with building and construction standards, codes and manufacturer specifications. (template available- HO3) |  |
| Determine cladding, vapour permeable sarking or waterproof membrane and components meet the Performance Requirements of NCC. (template available- HO3) |  |
| Supervise and check installation of specified cladding complies with building and construction standards, codes and industry-accepted industry practices. |  |

Observer comments: