Activity 1 - Building Report – Jonathan Van Der Merwe

LOT 8 REES COURT

PALM BEACH QLD

Class of Building 1A:

All NCC volumes: Part A6

Class 1A Building – single dwelling being a detached house, or one of a group of two or more attached dwellings, each being a building, separated by a fire-resisting wall, including a row house, terrace house, town house or villa unit.

Total Floor Area of building in drawing No 2.1:

Lot 8 539msq

Distance from Building to Boundary:

Building to Southern Boundary – 2,300

Building to Northern Boundary – 3,610

Building to Western Boundary – 5,036

Building to Eastern Boundary – 3,953

Potential Fire Source Feature:

Lots 7,9,10 & 11 all have potential for Fire to spread to lot 8.

There is a feature located on the North eastern boundary (unidentified space or structure), This could be another potential fire source feature.

Bushfire Prone Areas as per AS3959: 2018 Construction of buildings in bushfire-prone areas:

Building is located in Region B – Area is designated Bush Fire Prone.

Passive Fire Protection:

The BCA passive fire protection requires that all buildings (except non-high-rise housing) are to be designed in such a way as to have Fire Compartments which will:

- Stop the spread of fire

- Allow occupants to escape to an unaffected area

- Allow fire-fighters to attack the source of the blaze

Construction of External walls:

NCC 2019 BCA Volume 2 part 3.7.2.2 - An external wall of a Class 1 building, and any openings in that wall, must comply with 3.7.2.4 if the wall is less than— (a) 900 mm from an allotment boundary other than the boundary adjoining a road alignment or other public space; or (b) 1.8 m from another building on the same allotment other than a Class 10 building associated with the Class 1 building or a detached part of the same Class 1 building.

Materials Required:

NCC 2019 BCA Volume 2 part 3.7.2.4

Non Combustible roofing, gutter and flashing, Eaves lining.

Fire resistance level:

All walls must have FRL of not less than 60/60/60.

Non-openable fire windows or other construction with an FRL of not less than –/60/–

Self-closing solid core doors not less than 35 mm thick.

Compliance and Performance Requirements:

NCC 2019 BCA Volume 2 part 3.7.2

Appropriate Performance Requirements -  Where an alternative fire separation design is proposed as a Performance Solution to that described in Part 3.7.2, that proposal must comply with— (a) Performance Requirement P2.3.1; and (b) the relevant Performance Requirements determined in accordance with A2.2(3) and A2.4(3) as applicable.

3.7.2.1   Application -  Compliance with this acceptable construction practice satisfies Performance Requirement P2.3.1 for fire separation.

Active Fire Protection:

NCC 2019 BCA Volume 2 part 3.7.5 -

Appropriate Performance Requirements Where an alternative smoke alarm or lighting to assist evacuation system is proposed as a Performance Solution to that described in Part 3.7.5, that proposal must comply with— (a) Performance Requirement P2.3.2; and (b) the relevant Performance Requirements determined in accordance with A2.2(3) and A2.4(3) as applicable.

3.7.5.1, a,b   Application

3.7.5.2 , a,b,c,d Smoke alarm requirements

NCC 2019 BCA Volume 2 part 3.7.2.4 , a,b

A wall required by (a) must— (i) have an FRL of not less than 60/60/60 when tested from the outside; or (ii) be of masonry-veneer construction in which the external masonry veneer is not less than 90 mm thick; or (iii) be of masonry construction not less than 90 mm thick.

USG Boral External wall system:

- OutRwall FRL 90/90/90

- Brick Veneer FRL 120/120/120

- Fireclad FRL 120/120/120

Building Report – Jonathan Van Der Merwe

Activity 2

Class of Building 9B:

Class 9b buildings are assembly buildings in which people may gather for social, theatrical, political, religious or civil purposes. They include schools, universities, childcare centres, pre-schools, sporting facilities, night clubs, or public transport buildings.

T2015 Classroom PREP BUILDING

As per report Page 2 part B – Basis of review:

Applicable Code/s Building Code of Australia 2016 Amdt 1

Assessment Method Deemed to Satisfy

Classification Class 9b

Type of Construction: Type C, Class 9B

Floor Area 208 m2 Classroom

Deck 65 m2

Fire Safety:

FRL of not less than 60/60/60

Fire Compartments The building comprises its own single fire compartment

Fire Safety Systems Free-to-egress door hardware

Fire Extinguishers

Emergency Lighting

Class 9B, Type C Building:

BCA Specification C1.10 and C1.10A

For Class 2 to 9 buildings (not applicable to Class 1a houses), the Building Code of Australia (BCA) has requirements for assessing the fire hazard properties of: (a) floor materials and floor coverings; and (b) wall and ceiling linings

BCA 210 Volume 1 C1.10:

Fire Hazard Properties –

(a) The fire hazard properties of any material or assembly in a Class 2 to 9 building must comply with—

- for floor materials, floor coverings, wall and ceiling lining materials, Specification C1.10a; and

- (ii) for other materials, Specification C1.10.

(b) Paint or fire-retardant coatings must not be used to make a substrate comply with the required fire hazard properties. (c) The requirements of (a) do not apply to a material or assembly if it is— (i) plaster, cement render, concrete, terrazzo, ceramic tile or the like; or (ii) a fire-protective covering; or (iii) a timber-framed window; or (iv) a solid timber handrail or skirting; or (v) a timber-faced solid-core door or timber-faced fire door; or (vi) an electrical switch, socket-outlet, cover plate or the like; or (vii) a material used for— (A) a roof covering or roof membrane, or a roof insulating material, applied in continuous contact with a substrate; or (B) an adhesive; or (C) a damp-proof course, flashing, caulking, sealing, ground moisture barrier, or the like; or (viii) a paint, varnish, lacquer or similar finish, other than nitro-cellulose lacquer; or (ix) a clear or translucent roof light of glass fibre reinforced polyester if— (A) the roof in which it is installed forms part of a single storey building required to be Type C construction; and (B) the material is used as part of the roof covering; and (C) it is not closer than 1.5 m from another roof light of the same type; and (D) each roof light is not more than 14 m2 in area; and (E) the area of the roof lights per 70 m2 of roof surface is not more than 14 m2; or (x) a face plate or neck adaptor of supply and return air outlets of an air handling system; or (xi) a face plate or diffuser plate of light fitting and emergency exit signs and associated electrical wiring and electrical components; or (xii) a joinery unit, cupboard, shelving or the like; or (xiii) any other material that does not significantly increase the hazards of fire.

C1.11 Performance of external walls

in fire Concrete external walls that could collapse as complete panels (eg tilt-up and pre-cast concrete), in a building having a rise in storeys of not more than 2, must comply with Specification C1.11.

C1.12 Non-combustible materials

The following materials, though combustible or containing combustible fibres, may be used wherever a non-combustible material is required: (a) Plasterboard. (b) Perforated gypsum lath with a normal paper finish. (c) Fibrous-plaster sheet. (d) Fibre-reinforced cement sheeting. (e) Pre-finished metal sheeting having a combustible surface finish not exceeding 1 mm thickness and where the Spread-of-Flame Index of the product is not greater than 0. (f) Bonded laminated materials where— (i) each laminate is non-combustible; and (ii) each adhesive layer does not exceed 1 mm in thickness; and (iii) the total thickness of the adhesive layers does not exceed 2 mm; and (iv) the Spread-of-Flame Index and the Smoke-Developed Index of the laminated material as a whole does not exceed 0 and 3 respectively.

Total Floor Area of Building:

Floor Area 208 m2

Classroom Deck 65 m2

Distance from Building to Boundary:

Building to Southern Boundary – 4000

Building to Northern Boundary – 12000

Building to Eastern Boundary – 10000

Building to Western Existing Prep Classroom – 3000

Potential Fire Source Feature:

Existing trees on Southern boundary, trees located directly next to Eastern wall of building, underside area of floor, adjacent prep classroom.

Passive Fire Protection:

Free-to-egress door hardware

Fire Extinguishers

Fire Blankets

Emergency Lighting

Emergency exit & Access ramp

Construction materials:

C1.12 Non-combustible materials

The following materials, though combustible or containing combustible fibres, may be used wherever a non-combustible material is required: (a) Plasterboard. (b) Perforated gypsum lath with a normal paper finish. (c) Fibrous-plaster sheet. (d) Fibre-reinforced cement sheeting. (e) Pre-finished metal sheeting having a combustible surface finish not exceeding 1 mm thickness and where the Spread-of-Flame Index of the product is not greater than 0. (f) Bonded laminated materials where— (i) each laminate is non-combustible; and (ii) each adhesive layer does not exceed 1 mm in thickness; and (iii) the total thickness of the adhesive layers does not exceed 2 mm; and (iv) the Spread-of-Flame Index and the Smoke-Developed Index of the laminated material as a whole does not exceed 0 and 3 respectively.

- USG BORAL’S UL CLASSIFIED FIRE-RATED PLASTERBOARD -  60/60/60

- INTERIOR PARTITIONS WITH LIGHT GAUGE STUDS (0.45MM BMT (25 GAUGE) -  120/120/120

- EXTERIOR PARTITIONS WITH HEAVY GAUGE STUDS (0.90MM BMT (20 GAUGE) single wall STC 51 – 120/120/120

- FLOOR-CEILING SYSTEMS – 60/60/60

- FIRE SEPARATION SYSTEMS – 90/90/90

- BEAM AND COLUMN DESIGNS – 180/180/180

Active Fire Protection:

BCA 2010 volume 1 EP1.2 -

Fire extinguishers must be installed to the degree necessary to allow occupants to undertake initial attack on a fire appropriate to— (a) the function or use of the building; and

(b) any other fire safety systems installed in the building; and

(c) the fire hazard.

EP1.3 –

A fire hydrant system must be provided to the degree necessary to facilitate the needs of the fire brigade appropriate to— (a) fire-fighting operations; and

(b) the floor area of the building; and

(c) the fire hazard.

EP1.4 –

An automatic fire suppression system must be installed to the degree necessary to control the development and spread of fire appropriate to—

(a) the size of the fire compartment; and

(b) the function or use of the building; and

(c) the fire hazard; and

(d) the height of the building.

EP1.5 –

Suitable means of fire-fighting must be installed to the degree necessary in a building under construction to allow initial fire attack by construction workers and for the fire brigade to undertake attack on the fire appropriate to—

(a) the fire hazard; and

(b) the height the building has reached during its construction.

EP1.6 –

Suitable facilities must be provided to the degree necessary in a building to co-ordinate fire brigade intervention during an emergency appropriate to—

(a) the function or use of the building; and

(b) the floor area of the building; and

(c) the height of the building.