CPCCBC4012B

Read and interpret plans and specifications

THEORY EXAM INSTRUCTIONS - This exam will occur under standard assessment conditions. - An oral examination may be allowed under certain circumstances. Answers will be documented and FT003 (Oral examination declaration form) must be completed. - Participants must provide enough detail in their responses to demonstrate their knowledge and skills. - Please fill in the details below, providing your name, signature and date of assessment. - Your signature acknowledges that this is your own work. - If a participant initially answers a question incorrectly but modifies their response, they must follow the instructions below: - If a participant changes their response in writing, they must put their initials next to the written change. - If a participant changes their response verbally, this must be noted on the exam paper by the assessor.

| Participant name | Chloe McGregor |
| --- | --- |
| Participant signature |  |

| Assessor name |  |
| --- | --- |
| Assessor signature |  |

| Date | Click here to enter a date. |
| --- | --- |

| Number of questions | Number of questions answered correctly | Satisfactory? |  |
| --- | --- | --- | --- |
| 87 |  | Yes | No |

Assessor Comments

Plans and specifications are used to inform which of the following processes? Tick all that apply.

| Answer | Choice | Possible Answers |  |
| --- | --- | --- | --- |
|  |  | Building contracts |  |
|  |  | Development applications |  |
|  |  | Estimation |  |
|  |  | Planning |  |
|  |  | Supervisory tasks |  |
|  |  | Tenders |  |

Which compass direction is always shown on plans and drawings?

| Answer | The compass direction always shown on plans and drawings is “North”. |  |
| --- | --- | --- |

What information is provided on a location plan?

| Answer | Information provided on a location plan, shows detail information regarding the block. A location plan should contain, lot number/3, north point, plan numbers and scale used. |  |
| --- | --- | --- |

What detail does a site or block plan contain?

| Answer | A site plan is drawn to scale, usually 1:500. Site plans contain information in regard to the reference height to other site levels, building locations and orientation to north point. |  |
| --- | --- | --- |

What do floor plans identify?

| Answer | Floor plans identify the proposed structure to be built, such as rooms, positions of fixtures and floor coverings. The plan also goes into details with windows, doors, appliances and many more items. |  |
| --- | --- | --- |

What is a landscape plan and what information might it provide?

| Answer | A landscape plan will provide information in relations to what is planned to be done with the yard. It would show details of any plants, paths, garden layouts and retaining walls. |  |
| --- | --- | --- |

What are elevation views? What do they provide to the plan reader?

| Answer | Elevation views provides a clear view of all sides of the proposed building. It shows the north, east, south and west evaluation of the home. |  |
| --- | --- | --- |

What is a section?

| Answer | A section view of a house shows after it’s been cut vertically at some point. Like the floor plan, it shows the thickness and size of structural members and relationships between spaces. Reasoning for doing this, most elevations and plan views cannot show sufficient information to enable a builder or tradesman to see how various structural parts are to be built or assembled. |  |
| --- | --- | --- |

What are detailed drawings?

| Answer | Detailed drawings show where a change to the building project has been made, an up to date set of drawings is required to be lodged with any construction’s submission. |  |
| --- | --- | --- |

What are specifications?

| Answer | Specifications is a detailed document that supports drawings and plans, which provide thorough information of the materials and techniques to be used during the build. General items contained within Building Specifications include a full description of work, precise list of materials, details of all fittings, fixtures and finishes (including the make and model of appliances to be used) and a precise list of products (e.g their types, brands, grades, colour, model & thickness). |  |
| --- | --- | --- |

Explain the meaning of the abbreviations in the table below.

| Answer | Abbreviation | Meaning |  |
| --- | --- | --- | --- |
|  | ACRYL | Acrylic |  |
|  | AS | Australian Standard |  |
|  | ASSD | Assumed Datum |  |
|  | B | Basin |  |
|  | BN | Bull Nose |  |
|  | BTH | Bath |  |
|  | BWK | Brickwork |  |
|  | CB | Concrete Block |  |
|  | CF | Concrete Floor |  |
|  | CG | Clear Glass |  |
|  | CJ | Ceiling Joist |  |
|  | CORR | Corrugated |  |
|  | CWT | Cold Water Tank |  |
|  | DG | Double Glazing |  |
|  | DH | Double Hung |  |
|  | DPC | Damp Proof Course |  |
|  | DSB | Distribn Switch Board |  |
|  | DW | Dishwasher |  |
|  | EJ | Expansion Joint |  |
|  | FPBD | Fibrous Plaster Board |  |
|  | FFL | Finished Floor Level |  |
|  | FHR | Fire Hose Reel |  |
|  | GPO | General Purpose Outlet |  |
|  | HBD | Hardboard |  |
|  | HTR | Heater |  |
|  | HWD | Hardwood |  |

Name each of the drawing symbol images shown in the table below.

| Answer | Name | Image |  |
| --- | --- | --- | --- |
|  | Wall- Cavity brick |  |  |
|  | Wall- Brick veneer |  |  |
|  | Wall- Timber stud |  |  |
|  | Window- In cavity wall |  |  |
|  | Window- In single wall |  |  |
|  | Door- Swing single |  |  |
|  | Door- Swing double |  |  |
|  | Door- Sliding into pocket |  |  |
|  | Door- Sliding exposed on wall |  |  |
|  | Socket outlet (power) - general |  |  |

Identify what the following window symbols represent on elevations.

| Answer | Item | Drawing |  |
| --- | --- | --- | --- |
|  | Hinged at side |  |  |
|  | Hinged at top |  |  |
|  | Sliding horizontally |  |  |
|  | Fixed |  |  |

What does a clouded area on a plan indicate?

| Answer | Clouded areas on a plan indicate that revisions or amendments have been made. |  |
| --- | --- | --- |

An amendment to specifications could relate to which of the following? Tick all that apply.

| Answer | Choice | Possible Answers |  |
| --- | --- | --- | --- |
|  |  | Contact details of all construction crew members |  |
|  |  | Materials or products used |  |
|  |  | Methods of carrying out specified work |  |

Refer to the title block below to respond to Q16. to Q18.

Source: http://www.dtwd.wa.gov.au/sites/default/files/teachingproducts/BC1934_CCBY.PDF

On what date was an amendment made to the window details?

| Answer | The amendment was made to the window details on the 05/10/2011. |  |
| --- | --- | --- |

True or False (Tick your response): Details of the window in Q16. should also be reflected in the specifications and confirmed with the client.

| Answer |  | True |  |  |
| --- | --- | --- | --- | --- |
|  |  | False |  |  |

What amendment occurred on 08/11/2011?

| Answer | Bedroom 3 robe was deleted from house plans on the 08/11/2011. |  |
| --- | --- | --- |

Refer to the site plan below to respond to Q19. to Q26.

What structure is being built on this site? Tick your response.

| Answer | Choice | Possible Answers |  |
| --- | --- | --- | --- |
|  |  | Residence |  |
|  |  | Road |  |
|  |  | Shed |  |
|  |  | Water meter |  |

What is the Lot number of this site?

| Answer | This is the site plan for Lot 16. |  |
| --- | --- | --- |

What is the size of this lot?

| Answer | The size of this lot is 3653m2. |  |
| --- | --- | --- |

Is the shed at the north-east of the proposed structure to be removed or retained? Tick your response.

| Answer | Choice | Possible Answers |  |
| --- | --- | --- | --- |
|  |  | Removed |  |
|  |  | Retained |  |

True or False (Tick your response): The sewer is at the eastern boundary of the property.

| Answer |  | True |  |  |
| --- | --- | --- | --- | --- |
|  |  | False |  |  |

True or False (Tick your response): The driveway is located to the south of the proposed property.

| Answer |  | True |  |  |
| --- | --- | --- | --- | --- |
|  |  | False |  |  |

What size is the easement on the eastern boundary of the site?

| Answer | The easement on the eastern boundary is 5metres. |  |
| --- | --- | --- |

True or False (Tick your response): The stormwater drain is constructed from PVC pipe.

| Answer |  | True |  |  |
| --- | --- | --- | --- | --- |
|  |  | False |  |  |

Refer to the contour plan below to respond to Q27. to Q28.

What is the level at the northernmost point of the site?

| Answer | 1.04m |  |
| --- | --- | --- |

Which end of the site has the lowest level? Tick your response.

| Answer | Choice | Possible Answers |  |
| --- | --- | --- | --- |
|  |  | East |  |
|  |  | West |  |

Refer to the sectional drawing below to respond to Q29. to Q49.

Give a brief description about the building from the detail available in the sectional drawing. Is it the same structure proposed in Q19. to Q26. ?

| Answer | The structural building above shows the homes pitch being 15degrees, R.2S bulk insulation to ceiling and timber weatherboards. The home also shows details of the height of building, position of piers, beams and openings, floor to ceiling heights and construction details. This building shown in the sectional drawing is the same structure proposed in question 19 to 26. |  |
| --- | --- | --- |

Who is the client?

| Answer | The clients are H&M Smith. |  |
| --- | --- | --- |

Where is this project to be built?

| Answer | The proposed project is to be built at Lot 16, Glenvalley Road, Richmond. |  |
| --- | --- | --- |

What are the contact details for the draftsman?

| Answer | The contact details for the draftsman are; Joe Foreman 03 9514 2311 and 0413 113 113 18 Fairview Road, Richmond, 3216 |  |
| --- | --- | --- |

What sheet number is this drawing?

| Answer | This is page 5 out of the drawings. |  |
| --- | --- | --- |

What timber is required for loading and non-load bearing walls?

| Answer | The timber required for loading bearing walls is 45x90 where no-load bearing is 35x90. |  |
| --- | --- | --- |

What spacing is recommended for common studs?

| Answer | The spacing recommended in between common studs is 600 maximum. |  |
| --- | --- | --- |

What type of roof truss is to be installed?

| Answer | Scissors roof trusses are to be installed to this build. |  |
| --- | --- | --- |

What centres are the trusses positioned at?

| Answer | Top chords 30degree and bottom chord 20degree. |  |
| --- | --- | --- |

What size are the veranda posts?

| Answer | The veranda posts size is 90x90. |  |
| --- | --- | --- |

What timber species are the veranda posts to come from?

| Answer | DAR Oregon |  |
| --- | --- | --- |

What pitch is the roof?

| Answer | The roof pitch is 30 degree. |  |
| --- | --- | --- |

What size are the noggings and at what spacing?

| Answer | The noggings sizes are 35x70 with 1350 maximum spacing in-between. |  |
| --- | --- | --- |

What size are the ceiling joists?

| Answer | Ceiling joists are at 450 spacing. |  |
| --- | --- | --- |

What timber is used for roof battens and what spacing?

| Answer | 35x70 FG pine battens are used for roof battens at 900 spacing. Every batten is strapped to trusses. |  |
| --- | --- | --- |

What thickness is the plasterboard sheeting?

| Answer | The plasterboard sheeting thickness is 10mm. |  |
| --- | --- | --- |

What type of flooring is to be installed?

| Answer | Flooring to be installed is 15mm plywood. |  |
| --- | --- | --- |

What is the roof cladding material?

| Answer | Roof cladding material is made out of colourbond corrugated metal roofing. |  |
| --- | --- | --- |

Where will you find information about the footings?

| Answer | All information regarding to footings can be found by referring to the engineers drawing for all footing details. |  |
| --- | --- | --- |

What do the letters ‘DAR’ refer when timber ordering?

| Answer | DAR stands for “Dressed All Round” when ordering timber. |  |
| --- | --- | --- |

Explain what ‘240 x 63 LVL’ refers to on the sectional drawing. What do the letters ‘LVL’ refer to?

| Answer | 240 x 63 LVL on the sectional drawing refers to the width by length needed for the home. LVL refers to laminated veneer lumber |  |
| --- | --- | --- |

Refer to the drawing below to respond to Q50. to Q65.

What is the number of the drawing?

| Answer | This drawings is number 2. |  |
| --- | --- | --- |

What is the Job Number?

| Answer | The job number is 00R-112. |  |
| --- | --- | --- |

What is the scale of the drawing?

| Answer | The scale of the drawing is 1:100 |  |
| --- | --- | --- |

What does the drawing show?

| Answer | Plans show all people interested in the proposed structure what it will look like when completed, and how it will be constructed. The key features to be identified and record may include: Ceiling heights and variations, doors , light fittings and power supplies. Services, wall penetrations and walls. |  |
| --- | --- | --- |

Which view shows the front of the house?

| Answer | Fast Elevations shows details of the front of the house. |  |
| --- | --- | --- |

How many motor vehicles can be parked in the garage?

| Answer | Two cars can be parked in the garage. |  |
| --- | --- | --- |

What are the window and doors made from?

| Answer | The windows on this home are made out of ‘Aluminium framed window’ and the external doors “Timber external doors” where the front door is made from “Selected timber entrance door”. |  |
| --- | --- | --- |

What is the size of the eaves?

| Answer | 450 |  |
| --- | --- | --- |

What are the eaves lined with?

| Answer | Hardiflex |  |
| --- | --- | --- |

What type of roof structure is the roof built from?

| Answer | The roof is made with concrete roof tiles. |  |
| --- | --- | --- |

Which Clause of the NCC should be read for more detail about roof structure in Q59. ?

| Answer | The specification. |  |
| --- | --- | --- |

Which Australian Standard should be read for more detail about the roof structure in Q59. ?

| Answer | AS 2049-2002 should be read for more details regarding roof structures. |  |
| --- | --- | --- |

What is the roof cladding materials made from?

| Answer | Selected decorative feature over flat sheet |  |
| --- | --- | --- |

Which Clause of the NCC should be read for more detail about the roof cladding materials in Q62. ?

| Answer | NCC, V2.6.2.2 ,Verification using a reference building , section (IX) |  |
| --- | --- | --- |

Which Australian Standard should be read for more detail about the roof cladding materials in Q62. ?

| Answer | Same question as 63? NCC, V2.6.2.2 ,Verification using a reference building , section (IX) |  |
| --- | --- | --- |

What is the roof pitch?

| Answer | 22.5 degree |  |
| --- | --- | --- |

Identify one (1) regulatory body you may need to submit plans to for approval?

| Answer | One regulatory body that we need to submit plans to is a certifier, the certifier will then check through all required information and issue Building Approval. |  |
| --- | --- | --- |

Briefly describe the approval process and timeframes for an approval through the regulatory body in Q66.

| Answer | To receive building approval there are a few documents that need to be submit to the certifier to check over and stamp. The documents required are soil classification, DA form, plumbing approval, working drawings, bracing and foundation engineering and an EER report. Some other items that might need to be submitted could be HSTP design, bushfire report, relaxation approvals and flood reports. The certifier will then check over all those documents and let you know if any more information is needed or a report needs to get amended. All depending on the property the building approval can be released and stamped within business days. |  |
| --- | --- | --- |

What is a prime cost (PC) item? Give an example.

| Answer | Prime cost is an amount of money included in a contract sum to purchase a specified item such as taps, tiles, doors and bathroom fittings. The agreed estimate amount is included at contract signing but the specific products are not selected until a later stage. The builder will estimate the cost of items at or above the lowest amount these items could reasonably cost. For example, if a client choice a more expensive door than allowed by the PC item, say a $500 door compared with a $440 PC amount, a variation will be required to cover the additional $60. If the PC item varies, so will the will the final contract sum. |  |
| --- | --- | --- |

What is a provisional sum (PS) item? Give an example.

| Answer | A provisional sum is an amount of money included in contract sum to cover work and/or materials, not detailed when entering the contract, typically builders will include a PS for site work costs. The builder is legally required to take reasonable steps to ensure an accurate site works cost estimate, but unforeseen events mean that the provisional sum is exceeded which is added to the contract sum. For example, a building site may seem sandy and clean with minimal site works required, however, there may be large limestone rocks/tree trunks concealed below the surface which only emerge once siteworks commence, causing cost overrun. |  |
| --- | --- | --- |

Refer to the Bill of Quantities below to respond to Q70. to Q76.

Source: http://organizedbuilders.com.au/sites/default/files/BOQ-Summary.pdf

True or False (Tick your response): This Bill of Quantities represents a job for a two-storey house.

| Answer |  | True |  |  |
| --- | --- | --- | --- | --- |
|  |  | False |  |  |

Identify two (2) materials being used for the floors?

| Answer | Two types of materials being used for the floors in this home are tiles and carpet. |  |
| --- | --- | --- |

True or False (Tick your response): A landscaper has been contracted for this job.

| Answer |  | True |  |  |
| --- | --- | --- | --- | --- |
|  |  | False |  |  |

How much does the contracted plasterer cost?

| Answer | The contracted plasterer costs $12 900.00 for this job. |  |
| --- | --- | --- |

How much do the kitchen appliances cost?

| Answer | The cost of kitchen appliances for this home cost $2700.00. |  |
| --- | --- | --- |

What percentage of the total cost does the fixing stage represent of the building contract?

| Answer | The total cost percentage for fixing stage of this home is 23%. |  |
| --- | --- | --- |

What percentage of the total cost does the completion stage represent of the building contract?

| Answer | The total cost percentage for completion stage of this home is 17%. |  |
| --- | --- | --- |

Refer to the Purchase Order below to respond to Q77. to Q82.

Source: http://organizedbuilders.com.au/sites/default/files/Databuild-Bill-of-Quantities.pdf

How many Pine F5 90 x 45 studs (2.4m long) are required?

| Answer | 100 pine F590x 45 studs are required for this build. |  |
| --- | --- | --- |

If the material in Q77. increased in cost to $2.75 each, what would be the total cost for this material?

| Answer | If the cost for F590x 45 studs increased to $2.75, the total cost would be $275.00. |  |
| --- | --- | --- |

How many sheet of ply are required in total (i.e. all sizes)?

| Answer | 13 sheets of ply are required for this build. |  |
| --- | --- | --- |

What material has the highest total cost?

| Answer | The highest costing material for this build is, Pine 90x45mgp 10 (long lengths), costing $322.50. |  |
| --- | --- | --- |

How many metres are required of the material in Q80. ?

| Answer | 322.5m are required for this job. |  |
| --- | --- | --- |

What beam is identified as being a better option than F17?

| Answer | The better beam option other than F17 is E14 beams. |  |
| --- | --- | --- |

Refer to the labour chart below to respond to Q83. to Q86.

Source: https://www.archsd.gov.hk/media/89170/sor2013_vol1_builders_works_2013_11_04.pdf

Based on the hourly rates given, which is the least expensive trade to contract?

| Answer | Based on hourly rates, an asphalter (road construction) is the least expensive trade to contract. |  |
| --- | --- | --- |

If the trade in Q83. were to be contracted for two (2) hours’ work, how much would this cost?

| Answer | If an asphalter was contracted for two hours work, it would cost $214.80. |  |
| --- | --- | --- |

Based on the hourly rates given, which is the most expensive trade to contract?

| Answer | Based on hourly rates, a carpenter is the most expensive trade to contract. |  |
| --- | --- | --- |

If the trade in Q85. were to be contracted for six (6) hours’ work, how much would this cost?

| Answer | If a carpenter was contracted for six hours work, it would cost $1206.60. |  |
| --- | --- | --- |

Name the building legislation (Act and Regulations) that apply within your jurisdiction and should be referenced when reading plans and building contracts.

| Answer | You should be aware of all legislation and policies affecting buildings. There are also a number of other legislative technical requirements, including, Building Act 1975 (Qld) and Building Regulation 2006 (Qld). |  |
| --- | --- | --- |