CPCCBC4005A

Produce labour and material schedules for ordering

THEORY EXAM INSTRUCTIONS - This exam will occur under standard assessment conditions. - An oral examination may be allowed under certain circumstances. Answers will be documented and FT003 (Oral examination declaration form) must be completed. - Participants must provide enough detail in their responses to demonstrate their knowledge and skills. - Please fill in the details below, providing your name, signature and date of assessment. - Your signature acknowledges that this is your own work. - If a participant initially answers a question incorrectly but modifies their response, they must follow the instructions below: - If a participant changes their response in writing, they must put their initials next to the written change. - If a participant changes their response verbally, this must be noted on the exam paper by the assessor.

| Participant name | Angelo Navarro Tolentino |
| --- | --- |
| Participant signature |  |

| Assessor name |  |
| --- | --- |
| Assessor signature |  |

| Date | 12/06/2018 |
| --- | --- |

| Number of questions | Number of questions answered correctly | Satisfactory? |  |
| --- | --- | --- | --- |
| 27 |  | Yes | No |

Assessor Comments

What is the critical reason of identifying and interpreting plans, drawings and specifications for a building project?

| Answer | The critical aspect of identifying and interpreting plans, drawing and specifications is to be able to show all parties involved in a building project the proposed structure and what the end product will look like when completed. |  |
| --- | --- | --- |

Explain the purpose for date stamping of plans, drawings and specifications.

| Answer | The purpose of date stamping is to mark pertinent documents relevant to construction bringing emphasis on dates, marked changes, and or amendments. Date stamping also makes the documents authentic. |  |
| --- | --- | --- |

Nominate at least five (5) people and/or entities that would use plans, drawings and specifications on a building project.

| Answer | Plans are used by the following parties: 1. Engineers 2. The client and the lending body 3. Carpenters 4. Bricklayers 5. Concreters 6. Real Estates Agents |  |
| --- | --- | --- |

Name some of the types of drawings and details you would expect to find on plans and drawings for a building project.

| Answer | The types of drawings and details you would expect to see on plans and drawings for a building project are the location plans, site or block plans, floor plans, elevation plans and sectional plans. |  |
| --- | --- | --- |

Is it necessary to acquire all building plans and specifications at the beginning of the negotiation period to know all building project details prior to commencing work? What does the builder need to know?

| Answer | On top of the building plans and specification, one may also need to provide the following project plans and specifications: - Architectural plans and elevations - Building Specification - Footing construction report and foundation soil assessment - Framing Plans - Roof Truss Computations - Energy Efficiency Report - Other details as required such as if the building is in a bush fire zone or, if you are adding a swimming pool. |  |
| --- | --- | --- |

Drawings for a building project are arranged in an approximate order of construction. What should a set of drawings consist of?

| Answer | A set of drawings consists of: 1. Civil 2. Structural 3. Architectural 4. Electrical 5. Mechanical 6. Plumbing |  |
| --- | --- | --- |

- Read through the scenario below to respond to Q7. to Q15.

You are the Building Contractor and your client has sought preliminary estimates for a renovation job on a commercial business premises on the ground floor of a 12 story high rise which you believe may exceed $15,000 in value. You client has sought firm figures before committing and signing a contract. New electrical wiring for lights and power points are already installed in the pre-existing timber wall and ceiling framing.

You are to create a construction schedule, ordering forms for materials, scheduling the work and scheduling sub-contractors and by using your current industry networks you are to obtain quotes from sub-contractors as if this were a real job. Advise your colleagues this is for an assignment in your course in the Certificate IV in Building (Building).

Choose a fictitious future date for the project to commence and then fully schedule your build, your materials and materials ordering from suppliers and schedule your sub-contractors start and finish dates.

Write draft emails (do not send them) to each sub-contractor detailing the information you need from them and seeking them to submit a quotation and advise you of their approximate work start and finish dates. All sub-contractors are to be labour only. As the builder you will supply all materials and consumables excluding tools, plant and equipment. Attach all these draft emails to your assignment. Armed with the appropriate knowledge ask your sub-contractors to present you a quote for labour only for the job (plastering and then doors + furniture and skirting installations) and their work timelines (start/finish dates).

The Project:

The commercial office project has eight (8) rooms all adjacent (side-by-side) to each other.

  - Room 1 is 6000 x 3300

  - Room 2 is 3900 x 3300

  - Room 3 is 4000 x 3300

  - Room 4 is 4800 x 3300

  - Room 5 is 5200 x 3300

  - Room 6 is 7400 x 3300

  - Room 7 is 8000 x 3300

  - Room 8 is 9000 x 3300

75mm moulded skirting boards and architraves are to be used to fit out each room. Each room has the same street frontage and each room on its street frontage outer wall has a sliding glass aluminium window 1540 x 2650 facing the street. You have to fit the windows to the already installed load bearing timber framing. In the centre of the opposite wall to the windows of each room is a single doorway each opening into the same hallway. All doors open inward into their respective room. The doors for each room are 2040 x 820 x 35 flush panel, hollow core.

Door and window jambs are for covering 75 x 45 treated pine wall framing with 10mm regular plasterboard sheeting lining the internal walls and 13mm acoustic plasterboard lining the ceilings.

You have to hang doors, fit jambs, door stops, fit and attach privacy set door furniture and a door open retainer and door stop. (Builder’s Choice)

Calculate and cost the lineal timber order for skirting and architrave and allow 5% wastage. The cost per lineal metre for moulded 75 x 12 architrave and skirting is $6.40/m.

| Answer | Given: 1. Cost of skirting and architrave per lineal metre = $6.40/m 2. Allowable wastage = 5% or 0.05 3. Room Dimensions as mentioned Solution: Room 1 = 6000(2) + 3300(2) =18600mm = 18.6m Room 2 = 3900(2) + 3300(2) = 14400mm = 14.4m Room 3 = 4000(2) + 3300(2) = 14600mm = 14.6m Room 4 = 4800(2) + 3300(2) = 16200mm = 16.2m Room 5 = 5200(2) + 3300(2) = 17000mm = 17m Room 6 = 7400(2) + 3300(2) = 21400mm = 21.4m Room 7 = 8000(2) + 3300(2) = 22600mm = 22.6m Room 8 = 9000(2) + 3300(2) = 24600mm = 24.6m Sum of room lengths = 149.4m Adjusted length = 149.4m(1.05) = 156.87 or 157 pcs Cost = 157($6.40/m) = $1004.8 ANS. |  |
| --- | --- | --- |

Calculate the square metres of 13mm ceiling and 10mm wall plasterboard required to sheet out internal walls and ceilings in each of the nominated rooms. Please note:

- The finished ceiling height is 3300mm.

- The floor is already fitted with floating timber floor over concrete.

- All wall and ceiling framing is in place as is electrical wiring and ready for sheeting.

| Answer | Given: 1. Ceiling height = 3,300mm or 3.3m 2. Room Dimensions Ceiling Area of Room 1 = 6(3.3) = 19.8 sqm Area of Room 2 = 3.9(3.3) = 12.87 sqm Area of Room 3 = 4(3.3) = 13.20 sqm Area of Room 4 = 4.8(3.3) = 15.84 sqm Area of Room 5 = 5.2(3.3) = 17.16 sqm Area of Room 6 = 7.4(3.3) = 24.42 sqm Area of Room 7 = 8(3.3) = 26.40 sqm Area of Room 8 = 9(3.3) = 29.70 sqm Sum of ceiling areas = (20+13+14+16+18+25+27+30)sqm = 163 sqm 163 pcs of 13 mm ceiling plasterboard Walls Working Equation: X(3.3)(2) + 3.3(3.3)(2) Area of Room 1: If X = 6.0; Area = 61.38 sqm Area of Room 2: If X = 3.9; Area = 47.52 sqm Area of Room 3: If X = 4.0; Area = 48.18 sqm Area of Room 4: If X = 4.8; Area = 53.46 sqm Area of Room 5: If X = 5.2; Area = 56.10 sqm Area of Room 6: If X = 7.4; Area = 70.62 sqm Area of Room 7: If X = 8.0; Area = 74.58 sqm Area of Room 8: If X = 9.0; Area = 81.18 sqm Sum of wall areas (rounded)= 498 sqm 498 pcs of 10 mm wall plasterboards ANS |  |
| --- | --- | --- |

Research, price and schedule the sheeting for each room and write an order to a supplier for the plasterboard linings.

| Answer | Given: No. of 13mm ceiling plasterboards = 163 pcs. No. of 10mm wall plasterboards = 498 pcs. Researched price: 13mm ceiling plasterboard = $56.32 10mm wall plasterboard =$25.24 Order: Dear Sir or Ma’am, Good Day! My contracting company is in need of plasterboards for an interior renovation job on commercial spaces. The total number of 13mm plasterboards needed was estimated to be 163 pcs. , while the number of 10mm plasterboard needed is 498 pcs. I have researched on your website that the cost per piece of plasterboard are $56.25 and $25.24, for 13mm and 10mm boards respectively. That being said, we would like to order from your office the specified quantities. Thank You. |  |
| --- | --- | --- |

If a sub-contract plasterer advises that his price (labour only) is $51.50 per square metre (inclusive of GST), estimate the cost to install and finish the plasterboard by this sub-contractor.

| Answer | Given: Labour = $ 51.50 per sqm (inc.GST) Solution: Cost = $51.50/sqm (163sqm+498sqm) = $34041.5 ANS. |  |
| --- | --- | --- |

Contact a real plasterer and ask how long it would take to do this plastering (i.e. fix sheets, stop, set and finish). 

Calculate the cost of installation and finishing of the plasterboard linings based on this sub-contractor’s quote and your own research for pricing the materials.

| Answer | Given: No. of 13mm plasterboards = 163 pcs No. of 10mm plasterboards = 498 pcs. Labour cost of plasterer = $35/hr Duration = 1week or 7 days Price of 13mm board = $56.25 Price of 10mm board = $25.24 Cost of installation (labour+materials) = (35)(8)(7) + (163(56.32)+(498(25.24))) = 1960 + (9180.16 + 12569.52) = $ 23709.68 |  |
| --- | --- | --- |

Your carpenter sub-contractor has advised that per door including full fit out for installing door jambs, hang door, fit door furniture, fit door stops, installed architrave and fit open door retainer and skirting door stop is $36.40 per hour and each door and fit out is 2 hours of labour only. 

Calculate the labour only costs to hang all eight (8) doors. 

Schedule all the materials, source suppliers and write your materials order to your supplier/s.

| Answer | Given: Labour Cost = $36.40 /hr Duration of door installation = 2 hours No. of door to be installed = 8 doors Solution: Labour only cost =($36.40)(2)(8) = $582.40 ANS. |  |
| --- | --- | --- |

The carpenter sub-contractor also estimates that the skirting can be installed in 1½ days (a work day is 7.5 hours). 

Based on his labour only rate of $36.40 per hour, estimate the cost for installing the skirting to all rooms.

| Answer | Given: Duration of skirting installation = 1.5days or 1.5(7.5) = 11.25 hrs Labour only rate =$36.40/hr No. of rooms = 8 Installation Cost = (11.25)(36.40)(8) = $3276.00 ANS |  |
| --- | --- | --- |

Schedule the activities for the sub-contract carpenter, write a full materials list and write out the relevant order form/s to order the materials from suppliers. Use real suppliers for pricing and ordering.

| Answer | Activities: 1. Quotation for skirting and architrave 2. Estimate quantity of 13mm and 10mm plasterboard 3. Sheeting of rooms with plasterboard 4. Quotation of install and finish of plasterboards 5. Labour cost quotation for door installation 6. Quotation of skirting job Materials List: 1. Skirting and Architrave 2. 13mm ceiling plasterboard 3. 10 mm wall plasterboard 4. Door, door jambs, hang door, furniture, doorstops, architrave, door retainer, skirting doorstop Orders: 1. Skirting and Architrave 157pcs of 75x12 architrave and skirting 2. 13mm ceiling plasterboard 163 pcs of 13mm plasterboards 3. 10mm wall plasterboard 498 pcs. Of 10mm wall plasterboards 4. Doors 8 Doors |  |
| --- | --- | --- |

During the fit out, the client suggests to you they would like Rooms 6, 7 and 8 to have double hung doors, rather than a single door. You will need to widen the current openings and price the variation. 

Work up a quote for the variation to seek the client’s approval. Suggest where this would be filed in your documentation. 

Prepare the paperwork for the variation to be approved and signed off by you as the principal contractors and the client. 

What else will you need to do?

| Answer | Initial quotation: Labour cost = $36.40/hr Duration of door installation = 2 hours No. of doors to be installed (single door) = 8 doors Labour only cost = ($36.40)(2)(8) = $582.40 Variation: New labour cost = New variation cost – Initial quote Given: No. of doors to be installed (single) = 6 Doors No. of doors to be installed (double hung) = 2 doors Labour Cost for double hung = $40.00 New variation cost = ($36.40)(2)(6) + (40)(2)(2) = $596.80 Difference of variation = $14.40 |  |
| --- | --- | --- |

Read the following information to respond to Q16. to Q18.

A low set building floor plan measures 30 metres long x 16 metres wide. The drawings and specification states the bearers for the sub floor run the length with the floor joist across the width. The bearers are supported by engaged piers and intermediate 100mm x 100mm steel posts which are at 5 metre intervals over the length of the building and 4 metre intervals over the width. The timber flooring for this build is 80 x 19 Blackbutt (NSW) Std T&G and costs $86.50/m².

Calculate the number of steel posts required in support of the sub floor timbers plus sketch your answer in support of this calculation. The sketch must be to scale 1:200

| Answer | 24 steel posts |  |
| --- | --- | --- |

Sketch:

Calculate the total square metres of timber flooring required plus 5% for waste.

| Answer | Given: Floor are: 30 x16 Timber flooring dimension: 80 x 19 Wastage = 5% or 1.05 Solution: Floor Area = (30m)(16m) = 480sqm Timber Flooring = (0.80m)(0.19m) = 0.152sqm Total required = 480/0.152 = 3157.89 or 3158 Adjusted required= 3158(1.05) = 3316 ANS. |  |
| --- | --- | --- |

A sub-contract carpenter nominates laying the floor at $100/m². 
Estimate the labour cost for laying the floor.

| Answer | Given: Labour rate = $100/sqm Floor area = 480sqm Labour Cost = (480sqm)($100/sqm) = $48000 ANS |  |
| --- | --- | --- |

Read the following information to respond to Q19. to Q21.

A single skin (veneer) brick wall is to be laid 21000mm long and 3300mm high in which there are four windows 1800x2410, 1800x1800, 600x900 and 1200x1810 and two external solid timber doors each 2040x820x45

How many face bricks would be required if the number of bricks per square metre is 49?

| Answer | Total are of brick wall = (21m)(3.3m) = 69.3 sqm Area of Wall 1 = (1.8m)(2.41m) = 4.338 sqm Area of Wall 2 = (1.8m)(1.8m) = 3.24 sqm Area of Wall 3 = (0.6m)(0.9m) = 0.54 sqm Area of Wall 4 = (1.2m)(1.81m) = 2.172 sqm Area of two timber doors = 2(2.04m)(0.82m) = 3.3456sqm 69.3sqm – 13.6356sqm = 55.66sqm or approx. 56sqm No. of face bricks = 56sqm (49bricks/sqm) = 2744 face bricks ANS. |  |
| --- | --- | --- |

A standard brick is used for the wall and sills. 

If a brick is 100 wide then estimate the number of bricks need to sill under each window?

| Answer | Window 1: 1.8m Brick Length = 0.1m Window 2: 1.8m Bw1 = 1.8/0.1 = 18 Bricks Window 3: 0.6m Bw2 = 18 Bricks Window 4: 1.2m Bw3 = 6 Bricks Bw4 = 12 Bricks |  |
| --- | --- | --- |

Your bricklaying subbie indicates he will have three tradesman bricklayers on site and one labourer. Estimate the number of days the bricklayers will be on site and the labour cost if:

- Each bricklayer lays 300 face bricks a day and their labour rate is $34.20/hour for the bricklayers

- 49 bricks make up 1m²

- The labour rate is $26.40/hour for the labourer

| Answer | Given: Labour Salary rate = $ 34.20 /hr Labour Work Rate = 300 face brick / day 49 brick/sqm Labour Salary rate for labourer = $ 26.40 / hr Work day = 8 hours Solution: 3 Bricklayers = 900 face bricks a day 2744/900 = 3.05 days or 4 days Labour Cost = 8(4)(3)(34.20_ + 4(8)(26.40) = 3283.2 +844.8 = $4128.00 ANS. |  |
| --- | --- | --- |

There are many different ways of estimating project costs. You can use your past experience, or ‘square metre’ rates but if you are unfamiliar with estimating and pricing then you should resort to the materials and labour method of costing using an item-by-item approach which is considered as the best industry approach to estimating. 

What are at least three of the nominated methods for estimating?

| Answer | 1. Costing by Area 2. Costing by Material and Labour 3. Costing by a costing guide or estimating manual |  |
| --- | --- | --- |

If a bricklayer can lay 300 bricks in a 7½ hour work hour day, and 49 bricks make up 1m², what is the total square metres (to two decimal places) of bricks laid by four bricklayers in an average work day?
Tick your response.

| Answer | Choice | Possible Answers |  |
| --- | --- | --- | --- |
|  | ☒ | 24.48m2 |  |
|  | ☐ | 82.44m2 |  |
|  | ☐ | 48.42m2 |  |
|  | ☐ | 42.84m2 |  |

What is the logically quickest way to find potential sources and suppliers for goods and services these days for a contractor?

| Answer | Online is the best way to locate suppliers such as manufacturers and wholesalers. They may also advertise in the Yellow Pages. Attending industry events and exhibitions is another good way to find suppliers and examine their products and services. You can also use your networks to find suppliers. |  |
| --- | --- | --- |

What are three (3) ways for you to communicate with your suppliers for gaining quotes?

| Answer | - Get the best price - When preparing a quote for a project, send out the list of specified items to a number of suppliers to try to find the best price - Tender a price – The suppliers will tender a price back to the builder - Accept a tender – Choose the supplier offering the best price with consideration to quality, availability and delivery timelines |  |
| --- | --- | --- |

Explain the concept of a ‘Labour Only’ quote.

| Answer | Alternatively, labour can be quoted as part of the cost of construction. In this type of quote, labour can be quoted in three different ways: Per unit: installation of doors is usually quoted per unit Per lineal metre: the cost of building walls to a specified height such as 2400 mm may be quoted per lineal metre of wall length Per square metre: the cost of building wall may be quoted on the floor area in square metres Labour costs may have been calculated by the estimator by breaking the components down into separate labour and materials costs. In some cases quotes are given for labour only or materials only, while other quotes include both labour and materials together. |  |
| --- | --- | --- |

You will be provided an allocated period by your instructor to complete this task.

Referring to the supplied set of house plans, you must do the following scheduling and costing:

- Identify and nominate a supplier/s and schedule the materials and cost the internal and external timber wall framing.

- Identify and nominate a supplier/s and schedule the materials and cost the foundations and lower floor concrete slab including the schedule and costing for reinforcement.

- Identify and nominate a supplier/s and schedule the materials and cost for the sub floor framing and the flooring for the upper floor plan.

- Calculate the architrave and skirting required for the fit out of the upper floor only in lineal metres.

- Calculate the wet area tiles for the upper floor only which are client chosen for both floors and walls with the wall tiles 250 x 100 and floor tiles 300 x 300.

- Estimate the labour only cost to tile all the wet areas only in the home. The tiler charges labour only $44.00 per square metre.

- Determine the roofing material and number of square metres of it that are required.

- Complete the aluminium windows and doors schedule and other external doors schedule for the lower floor only.

- Complete a full internal doors schedule for the lower floor only. 
N.B. Assume all doors are flush panel 2040mm in height and 35mm thick.

- Estimate the labour only cost for hanging all doors on the lower floor – if a tradesman takes 2 hours to jamb an opening, hang the door, fit the door furniture, door stops, architrave and fit a magnetic door-open-restraint. The hourly rate is $27.80 plus 20% on costs.

- Produce the Labour & Time Schedule for all the labour needed for the lower floor project. You may need to contact other sub-contractors to get a feel for labour and time costs (or if you feel you have the experience then call upon this experience to determine your labour schedules for each trade for this project).

| Answer | Find cost of internal and external timber wall framing Find the cost of the foundations and lower floor concrete slab Find the cost of the sub floor framing and the flooring for the upper floor plan Calculation of the architrave and skirting required for the fit out of the upper floor Calculation of the wet area tiles for the upper floor: Wall tiles = 250 x 100 Floor Tiles = 300 x 300mm Estimation of labour cost to tile all wet areas of the home: Tiler Labour Charge = $44.00 per square metre Total Wet Area = (Area of Laundry)(Area of all bathrooms) (44) |  |
| --- | --- | --- |

| Answer | Determining of the roofing material to be to be used: 0.42 BM KLIP Lok Roofing Sheeting H= 2040mm T= 35mm Aluminum windows and doors schedule and other external doors for the lower floor Time it takes for tradesman to do door job = 2 hours Hourly rate of tradesman = $27.80 Added cost on labour = 20% No of Doors on lower floor = 3doors Labour cost = 2(3)(1.20)(27.80*2) = $400.32 |  |
| --- | --- | --- |