Health, Safety and Environment

Requirements for Contractors/Tenants

(Extract from Grid Standard GD HS G2 037 Revision 5)

Attachment 1: Health Safety and Environment Requirements for

Contractors / Tenants

1. General HSE Requirements

Introduction

The Health, Safety and Environment (HSE) requirements outlined in the following clauses shall be

observed for ALL work undertaken on TransGrid Sites or on behalf of TransGrid. A checklist (refer

Attachment 2) highlighting the HSE requirements shall be agreed by both TransGrid and the

Contractor prior to establishing a Contract and/or prior to possession of site being granted.

The requirements outlined in this document apply to:

 All contracts and work orders for construction, repair, maintenance, vegetation control, and/or

demolition work conducted for TransGrid;

 Contractors/Tenants on TransGrid sites; and

 Contractors (including their Sub-Contractors) carrying out work for Tenants on TransGrid sites.

1.1 Legislative & TransGrid Requirements

All work shall be carried out in strict accordance with all relevant OHS and Environmental legislation

and TransGrid requirements.

Where works are being undertaken outside the state of NSW, the Contractor shall comply with all

OHS and Environmental Legislation and or Regulations pertaining to that State or Territory whether

specifically mentioned or not in the Specification. In such cases any references in the specification to

NSW Legislation shall be taken as including legislation pertaining to that State or Territory. NSW

legislative requirements shall be complied with when there is no equivalent legislation in the State or

Territory where the work is being undertaken.

1.2 Risk Management

The Contractor is responsible for ensuring all hazards associated with work to be performed have

been identified, assessed and appropriate controls implemented prior to any work commencing. This

includes undertaking risk assessments and the provision of Work Method Statements where

appropriate.

1.3 Site Safety Training

The Contractor shall be responsible for identifying and providing any safety and environmental

training required for work under the Contract. The Contractor shall provide evidence that the

employees have received such training and are competent in the type of work to be performed under

the Contract.

TransGrid may require any Contractor's employee, at the Contractor’s expense, to attend further site

safety induction and training when considered necessary (eg. When required to work within either

the scope of TransGrid Safety Rules, i.e. in high voltage areas or TransGrid’s Environmental Rules).

1.4 OHS Induction

All persons including visitors (including persons carrying out non-construction type work) to

TransGrid locations shall have an induction, which shall include:

 Location/Site orientation;

 Emergency procedures;

 Personal Protective Equipment requirements eg. Safety helmet, safety shoes, high visibility

clothing, etc.

 Any other relevant information required for the safety of visitors whilst at the location.

At remote locations Emergency Response procedures shall form part of the Induction. The

Contractor’s site management is responsible for ensuring all employees are adequately informed of

and comply with site emergency response procedures.

1.5 Protective Clothing and Equipment

1.5.1 General

The Contractor shall be responsible for ensuring their employees are suitably dressed at all times. In

all cases any kind of undressed appearance or use of leisure clothing (eg. beachwear, thongs, open

footwear, singlets etc.) is not acceptable.

The Contractor shall also comply with any legislative requirements or Regulations for personal

protective equipment or clothing. The Contractors shall also comply with any directives issued from

time to time by TransGrid that requires specific protective clothing or equipment to be used whilst

carrying out work under the contract.

The Contractor and /or their employees are responsible for the supply and maintenance of protective

clothing and equipment and for ensuring staff are trained in its correct use as appropriate.

All personnel must wear long sleeve shirts, trousers, safety helmets, enclosed footwear and high

visibility shirts or vests when entering switchyards, repeater stations, along transmission line sites or

in any other area where a safety helmet is required.

1.5.2 Construction Work

Shorts and short sleeve shirts are not permitted for construction work on TransGrid sites or when

carrying out work on TransGrid assets.

Unless otherwise directed or specified, the Contractor, its employees and those of its SubContractors shall wear long sleeved shirts, long trousers or combination overalls made of an

appropriate material, safety helmets and safety footwear. High visibility shirt or vest must also be

worn when working in switchyards, repeater stations, along transmission lines or in any other area

where a safety helmet is required.

When working on or near electrical equipment, clothing must be 100% cotton material.

1.6 Incident Notification, Investigation and OHS Reports

Whilst undertaking work under the contract and in addition to any legislative requirements or

Regulations, the Contractor shall immediately notify TransGrid of:

 Any incident involving the death or serious injury of its employees or those of its SubContractors, and

 Any dangerous occurrence or “near miss” incident including any environmental incident,

As soon as possible after any incident, the Contractor shall conduct an appropriate investigation and

provide copies of the completed Incident Report and Investigation Report to TransGrid.

The Contractor must also supply OHS statistics to the TransGrid site representative at the end of

each month and at the end of the contract. The statistics must include the total hours worked by all

employees irrespective of any incidents and full details of any incidents that have occurred. A

proforma for the provision of statistics will be contained in the specification or provided by TransGrid

during the handover meeting.

1.7 Work Principles

 The Contractor is responsible for maintaining a clean and tidy work area at all times.

 An acceptable standard of staff discipline is to be maintained at all times. The use and/or

possession of illicit drugs or alcohol on site is strictly prohibited.

 Security at TransGrid sites is required to be maintained at all times.

 All TransGrid buildings, plant, any identified area and vehicles are designated as “No Smoking”

areas. In addition when any work is carried out on behalf of TransGrid on private properties,

approval of the property owner must be obtained to determine if smoking if permitted.

2. Specific HSE Requirements

2.1 Accredited Corporate OHS Management System

For all construction work valued at $1 million or more or when required by the specification, the

Contractor shall have an accredited Corporate OHS Management System. The system must meet

the requirements of the NSW Government Occupational Health & Safety Management Systems

Guidelines 4th Edition and be accredited by TransGrid.

If the tenderer is not already accredited by TransGrid, it must submit its Corporate OHS

Management System documentation that meets the requirements of the NSW Government

Occupational Health & Safety Management Systems Guidelines 4th Edition with its tender in

schedule (X), and include:

 Verification of the operation of the Corporate OHS Management System. This should also include

records pertaining to any audits conducted of the system.

 Health and Safety performance records including records of accidents, incidents and any

WorkCover infringements or prosecutions for the last 3 years.

Failure to provide the necessary System documentation or achieve TransGrid accreditation will

exclude the Tenderer from further consideration.

Accreditation provided by TransGrid will be issued specifically for works to be undertaken for

TransGrid only.

2.2 Principal Contractor

It is the Principal’s intention that, on award of the Contract, the successful Tenderer will be appointed

as the Principal Contractor. The Tenderer shall therefore nominate (in Schedule [X]), an

appropriately qualified and experienced person who can competently perform the duties and

responsibilities of a Principal Contractor pursuant to the Occupational Health & Safety Regulation

2001 under the Occupational Health & Safety Act 2000.

On the award of the Contract the Principal appoints the Contractor as Principal Contractor.

The Principal reserves the right from time to time to terminate the appointment of the Contractor as

Principal Contractor and request a new nomination, or alternatively will appoint another appropriately

qualified person as Principal Contractor.

2.2.1 Authority and Duties of Principal Contractor

The Contractor shall, at its own expense directly engage, employ and remunerate, throughout the

period of the Contract, an appropriately qualified and experienced person who can competently

perform the duties and responsibilities of a Principal Contractor pursuant to the Occupational Health

& Safety Regulation 2001 (the Regulation) under the Occupational Health & Safety Act 2000, at

each location where work is carried out under the Contract.

Once appointed as Principal Contractor and pursuant to all the requirements of Part 8 of the

Regulation, the Contractor is permitted to exercise only such authority of the Principal as to enable it

to properly discharge the responsibilities and duties imposed on the Principal Contractor in relation

to the work under the Contract and as provided by the Regulation.

Without limiting in any way the responsibilities of the Contractor, the Contractor in its capacity as

Principal Contractor shall:

i) Be responsible for ensuring all legislative requirements under the Regulation including the OHS

Management Plan, Work Method Statements, OHS induction training, risk management,

including measures to control risks are implemented and maintained;

ii) Maintain all Occupational Health & Safety (OHS) records, OHS Management Plans, Work

Method Statements, Hazardous Substance Register, reports, notices and other documentation

required by the Regulation and make readily available to the Principal and Superintendent at all

times;

iii) Be responsible for the work under the Contract at all times until the work is completed;

iv) Notify the Principal immediately in the event that it is no longer able to carry out its duties and

responsibilities as Principal Contractor pursuant to the Regulation in relation to the work under

the Contract;

v) Periodically and upon completion of the Contract provide copies of all training records and

associated records to the Principal’s nominated officer;

vi) Be responsible for any and all other duties required of it as Principal Contractor under the

Regulation;

vii) Ensure that, before construction work begins, signs clearly visible from outside the Site are

placed on the Site and display the name and contact telephone numbers, including an after

hours emergency telephone number of the Principal Contractor.

The Contractor shall indemnify the Principal against any loss or expense that the Principal incurs or

any claim made against the Principal by a third party arising from the negligent act or omission of the

Contractor in performing its duties as Principal Contractor pursuant to the Contract or the

Regulation.

In the event that the Contractor is not the Principal Contractor, or is not the only Principal Contractor,

it shall be responsible for co-ordinating its work with any other work at the Site and the requirements

of any other Principal Contractor to ensure that the requirements of the Regulation are fully observed

and discharged. In doing so the Contractor shall meet at Site with other Contractors, Principal

Contractors and the Principal prior to commencement of work to discuss relevant parts of the OHS

Management Plan for the place(s) of work and documenting any additional OHS measures and

controls that need to be implemented to ensure the health and safety of all persons at the Site.

2.3 OHS Management Plan (Site Specific Safety Management Plan)

For all construction work valued at $250,000 or more or when required by the specification the

successful Contractor shall ensure that an OHS Management Plan (Site Specific Safety

Management Plan) is prepared and submitted along with a completed Checklist B - “Site Specific

Safety OHS Management Plan” to TransGrid for each place of work before the work commences. As

a minimum the plan must address all the requirements of the OHS Regulation 2001 clause 226, and

as outlined in Checklist B.

Evidence to support the Contractors ability to prepare and manage Site Specific Safety Management

Plans shall be included in the tender Schedule [X], including:

 History of any previous management of OHS Plans;

 Management Structure expected for the contract including the person to perform the duties and

responsibilities of the Principal Contractor, qualifications and experience of other staff, including sub

contractors relevant to the work being undertaken;

 Risk management practices to be applied for the contract;

 Examples of Safe Work Method Statements;

 Safety Performance records (including records of accident/incidents and any WorkCover

prosecutions) for the last 3 years.

2.4 Induction and Training for Construction Work

2.4.1 General OHS Induction for Construction Work

The Contractor is responsible for ensuring that each Contractor employee (including SubContractors) has undertaken and received certification in the Occupational Health and Safety

General Induction for Construction Work in NSW course as outlined in the WorkCover Code of

Practice - Occupational health and safety induction training for construction work, prior to

commencing any work on site. Evidence of such training shall be supplied to TransGrid for each

employee required to work on site.

2.4.2 Work Activity OHS Induction for Construction Work

The Contractor is responsible for providing work activity OHS induction training in accordance with

WorkCover Code of Practice – Occupational health and safety induction training for construction

work for all employees (including new employees) on site. Evidence of such training shall be

supplied to TransGrid for each employee on site.

2.4.3 Site Specific OHS Induction for Construction Work

All Contractor staff (including Sub-Contractors) shall, at the Contractors expense, complete sitespecific OHS induction training in accordance with WorkCover Code of Practice – Occupational

health and safety induction training for construction work prior to commencing any work on the site.

This also applies to any new staff who may be recruited by the Contractor to work on the site or

assigned to the project after initial commencement. It is the contractors responsibility to provide this

training.

Following site induction the Contractor shall ensure that each employee acknowledges attendance

at the induction session by signing TransGrid’s Site Specific Induction Declaration Attendance Sheet

or a similar attendance sheet (Attachment 3). The Contractor shall return a copy of the attendance

sheet and the originals of the Site Specific Induction Declaration sheet to TransGrid on completion of

the induction session.

2.5 Pre-Work Risk Assessments & Work Method Statements

Pre-Work Risk Assessments are required to be carried out prior to commencing any work under the

contract. This includes a review of any Work Method Statements that may already be in place and

existing environmental conditions. Documentary evidence, at least on a daily basis, that all workers

have been involved in this pre work risk assessment process is required.

Records of Pre Work Risk Assessments shall be kept for a period of six months and may be audited

by TransGrid at any time.

Note: If the proposed work falls under the requirements of TransGrid’s Environmental Rules, an

Environmental Impact Assessment, as stipulated under these Rules, shall be attached to the PreWork Risk Assessment Form.

Work Method Statements (i.e. that describe how the work is to be carried out, identifies the hazards

associated with the work activities, assesses the safety risks, describes the control measures that

will be applied to do the work activities, and includes a description of the equipment used in the

work, the standards or codes to be complied with, the qualifications of the personnel doing the work

and the training required to do the work) are required for all construction work and must be held on

site during the work. These may be audited by TransGrid at any time, and when requested, must be

provided to TransGrid prior to commencing the work.

2.6 OHS Audits

The Contractor shall conduct periodic independent audits of the implementation of their HSE

management systems and or safety management plans whilst undertaking work for TransGrid and

supply a copy of the audit report to TransGrid. These audits will be as specified by agreement

between the Contractor and TransGrid.

For all contracts requiring OHS Management Plan and/or Site Specific Safety Management Plans,

an initial audit must be undertaken by the contractor in the presence of a TransGrid representative

within 3 months of commencement works.

TransGrid may also conduct system audits and/or random audits of the Contractor’s implementation

of their HSE Management System, Safety Management Plan or works being conducted.

2.7 Asbestos Management and Control in the Workplace

TransGrid has Asbestos Registers detailing the location of building materials and equipment that

contain bonded asbestos products and an Asbestos Management Plan. No work is to be undertaken

on any building materials or electrical equipment until TransGrid provides confirmation of the status

of any potential asbestos containing materials and the appropriate controls are implemented.

The requirements for managing asbestos including asbestos removal are detailed in TransGrid’s

Procedure “Asbestos Management Plan” (AMP) GD HS G2 048. At the time of seeking tender for

asbestos related works a copy of the AMP will be made available, and on award of the contract the

contractor will be required to comply fully with the requirements of the AMP.

2.8 Confined spaces

All work to be carried out in a confined space shall be in accordance with TransGrid Standard –

Safety Rules GD SA G2 012, TransGrid Standard – Confined Spaces GD SA G2 022, NSW

Occupational Health & Safety Regulation 2001 - clauses 66 to 78 and Australian Standard AS 2865

“Safe Working in a Confined Space”.

TransGrid Safety Rules set down the requirements to ensure the safety of personnel when

apparatus is being installed, commissioned, worked on in service or taken out of service.

Contractors shall ensure that all staff are trained and assessed as competent under the Safety Rules

as appropriate for the work to be undertaken in confined spaces. Further to Safety Rules training and

Authorisation required, confined spaces training including rescue training must be provided by the

contractor that addresses NSW legislative requirements.

2.9 Electric and Magnetic Fields (EMF)

Electric and magnetic fields may interfere with cardiac pacemakers. All staff required to enter or

work in switchyards, climb towers or who are in the vicinity of high voltage/high current equipment

are to be informed of the possibility for interference.

2.10 Electrical Practices for Construction Work

All electrical practices carried out as part of construction work shall be in accordance with the

WorkCover Code of Practice - Electrical Practices for Construction Work. Installation of electrical

equipment shall be in accordance with Australian Standard AS/NZS 3000:2000 “Electrical

Installations” (known as the Australian/New Zealand Wiring Rules). Australian Standard AS 3760 –

“In Service Safety Inspection and Testing of Electrical Equipment” shall be observed to maintain

safety of electrical equipment on site.

The Contractor shall install a Residual Current Device (earth leakage circuit breaker device) at the

immediate point of electricity supply from a TransGrid electrical power service outlet. Mobile power

equipment such as diesel generators shall also be equipped with earth leakage devices.

2.11 Environmental Issues

2.11.1 Air Pollution

The Contractor shall ensure that all facilities erected on site and all tasks carried out are designed

and operated to prevent the emission of atmospheric pollutants such as smoke, dust, cement dust,

fertiliser and any other objectionable matter.

The Contractor shall take all proper precautions to minimise any nuisance arising from dust caused

by construction activities. Such precautions may include, but shall not be limited to, spraying roads

with water or other suitable liquids, the removal of mud from the wheels and bodies of hauling

equipment or plant before they enter public roads and the removal of mud spilt by construction

equipment on public roads.

2.11.2 Erosion

The Contractor shall take all proper precautions to prevent:

 Erosion of soil from any used or occupied lands;

 Erosion of the bed or banks of any drainage line, stream, river or lake or waterway regardless

whether or not the feature is carrying water (ephemeral or perennial);

 Deposition of excavated or eroded materials in any drainage line, stream, river or lake or

waterway regardless whether or not the feature is carrying water,

that may result from the execution of the works.

If, in the opinion of TransGrid, the Contractor’s operations cause erosion hazards, the Contractor

shall, at their own expense, obtain the advice of the Department of Lands- and effect such remedial

measures as are recommended by them.

The Contractor shall refrain from destroying, removing or clearing trees, timber and scrub to an

extent greater than is necessary for the execution of work as determined by TransGrid.

For works within National Parks, no trees or other vegetation shall be removed without prior written

approval of the National Parks and Wildlife Service.

In all the above examples TransGrid Standard GM AS L2 006 – Minor EIA Maintenance of

Transmission Lines, Easements and Access Tracks, shall be assessed and addressed.

2.11.3 Pollution and Spillage

Environmental Site Emergency Response Manuals are located at each TransGrid site (usually in the

Control Rooms).

The Contractor shall ensure that all staff and Sub-Contractors staff are familiar with TransGrid’s

Environmental Emergency Response Procedures applicable to the work being performed.

Where the works involve the handling, storage or disposal of environmentally sensitive materials, the

Contractor’s Site Management Plan shall include procedures for the safe handling, storage and

disposal of such materials and the procedures to be followed should a spill occur. The Contractor

shall ensure that adequate facilities and equipment are readily available to contain, remove and

decontaminate affected areas in the event of an accidental spill or discharge of a pollutant.

The Contractor shall take all precautions necessary to prevent the discharge of any pollutants into

the environment as defined by the Protection of the Environment (Operations) Act 1997 and shall

ensure:

 All liquids stored on site are contained in bunds in accordance with the, Australian Standard AS

1940 – “The storage and handling of flammable and combustible liquids” and relevant Regulations;

 Areas where plant and equipment maintenance is carried out shall be set up to ensure that

pollutants and spills are contained and not discharged to the environment. Drainage from work

areas shall have oil separation traps installed before discharge into any waterway. The Contractor is

responsible for the regular up-keep of the traps, including the removal and appropriate disposal of

deleterious matter to ensure there is no discharge of pollutants to the environment. Wherever

possible, work should be carried out on an impervious surface, to minimise the risk of contaminating

the ground;

 All oil or fuel spilt or leaking from any plant or equipment shall be cleaned up immediately. If

necessary, the excavation of impregnated soil and its removal to approved disposal areas shall be

conducted in consultation with TransGrid as appropriate.

If any waterway becomes contaminated by oils or similar materials as a result of the Contractor’s

failure to comply with the requirements of this clause, the Contractor shall, at their own expense,

comply with all directions given by any relevant Authority to clean-up the contaminated areas and to

prevent any further pollution.

2.12 Excavations Near Cables and Pipelines

Where work involves excavations, the Site Specific Safety Management Plan shall provide

procedures for locating cables and pipelines and for safe work practices in the event that a cable is

unearthed. The existence of any underground services shall be confirmed with TransGrid prior to

the commencement of any excavation work.

Notwithstanding the above, work near cables shall be performed in accordance with TransGrid

Standard – Safety Rules GD SA G2 012.

2.13 Fire Protection

The Contractor shall be responsible for the fire protection of its own buildings, plant and equipment

and shall assist in the fire protection of the buildings, plant and equipment of TransGrid and other

Contractors. The method of complying with this requirement shall be detailed in the Site Specific

Safety Management Plan and work method statements.

TransGrid supplies fire-fighting equipment for the purposes of fire protection of their buildings, plant

and equipment to meet normal operating needs. The Contractor shall provide additional adequate

fire fighting equipment as appropriate in areas where the Contractor is working and shall ensure that

all site staff are trained in the correct use of this equipment.

2.14 First Aid

The Contractor is responsible for the provision of first aid services for their employees and those of

its Sub-Contractors, and for providing transport for injured persons to hospital or other appropriate

destination as and when required.

Vehicles that are generally used for site work shall carry a first aid kit complying with OHS

regulations.

2.15 Hazardous Substances

The Contractor/Principal Contractor shall:

 Maintain a register of all hazardous substances and/or dangerous goods used or stored by them

on a TransGrid site. Such register shall be readily available for inspection by TransGrid and

shall include current Material Safety Data Sheets for all hazardous substances and/or

dangerous goods listed;

 When requested, provide a copy of such register and any subsequent updates to TransGrid;

 Comply with the requirements of the relevant legislation in regard to risk assessments for the

use, storage, handling, transport and disposal of hazardous substances and dangerous goods;

 Have in place procedures to control an incident involving a spillage/leakage of a hazardous

substance or dangerous goods.

2.16 High Voltage Switchyards

All work in High Voltage Switchyards shall comply with TransGrid Standard – Safety Rules GD SA

G2 012.

Contractors shall ensure that all staff working in a switchyard are trained and assessed as

competent under the Safety Rules as appropriate for the work to be undertaken. This includes being

warned and instructed in the dangers with live, high voltage exposed conductors and apparatus, the

identification of high voltage conductors, insulators, apparatus, supporting structures, earthing

conductors, and the responsibilities of persons allocated to work under an Access Authority.

When working in High Voltage Switchyards, unless otherwise directed or specified, the Contractor,

its employees and those of its Sub-Contractors shall wear long sleeved high visibility shirts (or vest),

long trousers or combination overalls made of an appropriate material, safety helmets and safety

footwear. When working on or near electrical equipment 100% cotton material must be worn.

2.17 Hot Work

Hot Work in high-risk situations shall be carried out in accordance TransGrid Standard – Safety

Rules GD SA G2 012, under an appropriate Access Authority. The Contractor shall consult with the

TransGrid Site Project Manager regarding Access Authority requirements, Safety Rules

Authorisation and control measures prior to commencing any hot work.

In all cases where the Contractor is required to carry out hot work i.e. cutting or welding work, the

area shall be inspected to ensure the work can be conducted in a safe manner and a risk

assessment shall be undertaken to determine appropriate control measures.

It is the contractor’s responsibility to ensure their employees and sub-contractors are appropriately

trained to carry out hot work. This training is separate and additional to any Hot Work training

required for Safety Rules Authorisation required by TransGrid.

Note, during declared bush fire seasons hot work on easements and access tracks etc, is

considered to be work in a high risk situation.

2.18 Mobile Plant and Equipment (eg. Cranes)

Work involving mobile plant and equipment near electrical conductors shall be carried out in

accordance with TransGrid Standard – Safety Rules GD SA G2 012.

The Contractor must consult with the TransGrid Site Project Manager regarding control measures

and training prior to commencing any work involving mobile plant near electrical conductors. No work

involving mobile plant near electrical conductors is to proceed until all TransGrid Safety Rules

requirements have been implemented.

This generally requires operators and safety observers of mobile equipment to be Authorised or

instructed under the Safety Rules. Completion of an appropriate risk assessment and the earthing of

mobile plant or vertical extendible equipment when working within 8 metres of high voltage

conductors is required.

Mobile plant operating on construction sites must conform to OHS Regulations, WorkCover Code of

Practice “Moving plant on construction sites” and AS 1742.3 “Manual of uniform traffic control

devices”.

All Plant must be maintained, inspected and repaired in accordance with AS 2550 series of

Australian Standards.

2.19 Noise

All work undertaken and all equipment used in the performance of work shall comply with the NSW

Occupational Health & Safety Regulation 2001 clause 49, Protection of the Environment

(Operations) Act 1997 and any other relevant regulatory provisions relating to noise emissions.

2.20 Performance Reports

HSE performance reports including accident statistics will be required to be submitted by the

Contractor during the contract work.

The following shall also be maintained by the Contractor and made available on request:

 Details of qualifications held by individuals

 Inspection reports, audit reports and any non-conformances identified

 Accident Statistics/Environmental incident statistics

 Risk Assessments conducted

 Reports of accident/incident investigations

 Records/minutes of workplace OHS meetings/tool box meetings.

 Induction and training records

 Safety equipment records

 Records of any complaints received and action taken

2.21 Radio communication equipment/mobile phones

Radio equipment shall be licensed as required and these licences shall be made available for

inspection on demand by the Inspectors from the Commonwealth Department of Communications.

The use of radio communication equipment and mobile phones near computer and PLC equipment

is prohibited. This equipment is generally located in Switch Rooms or Control Rooms.

2.22 Radio Frequency Radiation

Contractors should familiarise themselves with the “Site Radiation Folder” (where available) or use a

personal radiation monitor to check the work area.

All “in service” Microwave (MW) dishes and antennas are to be regarded as a potential radiation

hazard unless site radiation folder information indicates otherwise.

An Amendment return form shall be completed and sent to TransGrid whenever work is performed

that modifies, upgrades or removes radio transmission equipment at any site.

2.23 Safety Hazard Notices

TransGrid may issue Site Safety Environmental Hazard Notices and shall charge the Contractor for

any costs incurred in rectifying the hazard if the Contractor fails to comply.

2.24 Safety Rules

All work on apparatus associated with cables, electrical stations, generating stations, overhead lines

and TransGrid premises shall comply with TransGrid Standard – Safety Rules GD SA G2 012. The

Contractor shall consult with the TransGrid Site Project Manager regarding permit to work

requirements and Safety Rules Authorisation.

The Safety Rules set down the requirements to ensure the safety of personnel when apparatus is

being installed, commissioned, worked on in service or taken out of service. Contractors shall

ensure that all staff are trained and assessed as competent under the Safety Rules as appropriate

for the work to be undertaken.

This includes the requirement for persons to become authorised for certain work. Authorised persons

are required to be re-assessed at regular intervals on their knowledge and application of the Rules

applicable to their categories of authorisation and where relevant annual assessment of, electrical

release and rescue, CPR, rescue from a pole, structure or elevating work platform.

Note, it is the responsibility of the Contractor to ensure training and competency for electrical release

and rescue, CPR, rescue from a pole, structure or elevating work platform is provided and current

(within 12 months).

Where apparatus of other organisations is installed in a TransGrid electrical station, persons working

on such apparatus shall do so in accordance with the TransGrid Safety Rules and any requirements

considered necessary by the owner of the apparatus.

2.25 Traffic Management

The Contractor must consider the traffic implications of it activities and develop/implement

appropriate control measures.

2.26 Waste Management

All waste shall be disposed of in accordance with relevant EPA requirements, including the

Protection of the Environment (Waste) Regulation 2005 and Environmentally Hazardous Chemicals

Act 1985, and with TransGrid’s Standard – Waste Management GD EN G3 023. Waste Reduction

and purchasing principles, as outlined in TransGrid’s Waste Management standard, shall also be

applied.

Any oils and other environmentally hazardous liquids shall be stored in such a manner to minimise

the risk of spill, leakage or other means of contaminating the environment. Waste oils shall be

disposed of in the correct manner as soon as practicable.

If, within 2 hours written notice by TransGrid, the Contractor fails to comply with any of these

requirements, TransGrid may carry out the work at the Contractors expense.

Site Specific OHS Management Plan (SSMP)

The following checklist is to be completed by the successful tender (when an SSOMP is required) and

submitted to TransGrid together with the SSMP (which it is referencing) prior to site works commencing.

Site Specific OHS Management Plan Checklist

ITEM TO CHECK

DOCUMENTATION – Title and Company Name

COMPANY

MANAGEMENT

PLAN

DOCUMENT

REFERENCE

STATUS

(for TG

use

only)

1. OHS RESPONSIBILITIES

1.1 Does the Site Specific OHS Management Plan state the name of the contractor’s

management representative responsible for managing OHS on site; and

Do the responsibilities of the person responsible for managing OHS on site include:

1.2 Monitoring, reviewing and updating the Plan?

1.3 The overall compliance for site OHS requirements?

1.4 Receiving and communicating OHS information, safety rules and OHS induction

and training on site?

1.5 Receiving, safely storing and using materials and hazardous substances?

1.6 Receiving and maintaining accident and emergency procedures and first aid

equipment?

1.7 Ensuring compliance with relevant regulations, standards, codes and Principal

Contactor responsibilities?

2. RISK MANAGEMENT & CONSULTATION

2.1 Are there mechanisms for consultation and communication?

2.2 Is there a process for hazard identification and risk assessment?

2.3 Do employees receive hazard and risk assessment training?

2.4 Is there a process for recording of the risk analysis process?

2.5 Are Work Method Statements provided? (see also element 8)

2.6 Is Protective Clothing, footwear & PPE provided/Required?

3. OHS INDUCTION AND TRAINING – Are procedures clearly defined for the following:

3.1 The training of management, supervisors and employees?

3.2 Employee OHS induction, task training and refresher training?

3.3 Records of OHS training?

4. QUALIFICATIONS AND LICENSING – Are there processes to ensure the following:

4.1 Licensing and qualifications of personnel?

4.2 Dangerous goods licensing requirements?

4.3 Vehicle and equipment licences?

4.4 Keeping appropriate records of licences and qualifications?

5. INCIDENT/INJURY MANAGEMENT

Are there processes in place to ensure the following:

5.1 Recording and reporting of incidents of unsafe work practices?

5.2 Injury Management & Return To Work Plans?

5.3 General site safety procedures?

5.4 First aid and emergency procedures that address site needs?

5.6 Incident/accident investigation reporting and recording?

5.7 Corrective action reporting?

5.8 incident statistics?

6. INSPECTION AND TESTING

Do inspections and testing procedures include at least the following:

6.1 Monitoring site work activities?

6.2 Incoming materials, products and equipment?

6.3 Safe access and egress?

6.4 Electrical equipment & appliances?

6.5 Plant and equipment?

7. HANDLING, STORAGE, PACKAGING AND DELIVERY

7.1 Licensing and qualification of anyone who will be engaged in hazardous

occupations?

7.2 Identifying, transporting, storing and using hazardous substances (eg. Material

Safety Data Sheets)?

7.3 Materials Handling

8. WORK METHOD STATEMENTS - Are there Work Method Statements for the work to be performed under the

contract. (eg)

Asbestos (management) Work

Confined spaces work

Electrical practices/work

Excavations and trenching

Fire protection

Hot work

Inspection and test reports

Safety Rules (Access Authority System if applicable)

Material handling

Material handling and mobile plant

Scaffolding erection, registration and inspection

Dust control

Working at heights

Handling, storage and transport of dangerous goods

Tool, equipment and pressure vessel inspections

Waste management

Construction work

Easement work

Contract Name & No._____________________________________________________________________

Contractor

Represenatative__________________________________________________________________