CPCCBC4001A

Apply building codes and standards to the construction process for low rise building projects

THEORY EXAM INSTRUCTIONS - This exam will occur under standard assessment conditions. - An oral examination may be allowed under certain circumstances. Answers will be documented and FT003 (Oral examination declaration form) must be completed. - Participants must provide enough detail in their responses to demonstrate their knowledge and skills. - Please fill in the details below, providing your name, signature and date of assessment. - Your signature acknowledges that this is your own work. - If a participant initially answers a question incorrectly but modifies their response, they must follow the instructions below: - If a participant changes their response in writing, they must put their initials next to the written change. - If a participant changes their response verbally, this must be noted on the exam paper by the assessor.

| Participant name | Gavin Keeffe |
| --- | --- |
| Participant signature |  |

| Assessor name |  |
| --- | --- |
| Assessor signature |  |

| Date | 10/12/2018 |
| --- | --- |

| Number of questions | Number of questions answered correctly | Satisfactory? |  |
| --- | --- | --- | --- |
| 35 |  | Yes | No |

Assessor Comments

The diagram below represents an external house wall, shows part of roof and eave and a window in the wall and the vertical boundary line fence is shown a prescribed measurement of 900mm from the house wall to allow light from the sun to reach the window.

- What type of regulation could allow a lesser distance to be used if appropriate justification was provided?

In what document/s might you find the appropriate information?

| Answer | Performance based regulations could allow a lesser distance to be used if appropriate justifications was provided. |  |
| --- | --- | --- |

In regard to the above 900mm distance from house wall to boundary fence and in using or referencing performance-based regulations in the BCA what else should you be aware of and consider?

| Answer | However when using performance based reulations you must be aware of other considerations such as: - In an holistic reading of the BCA, there are other performance requirements to consider. For example: this dimension must also comply with: -part 3.7.1 Fire separation -Parts 3.7.1.3, 3.7.1.5 Figures 3.7.1.2, 3.7.1.3 (This wall is required to have a Fore-resistance leve (FRL) of 60/60/60, so this consideration must be taken into account to maintain the FRL of the external wall of the residence when locating opening windows near boundaries) 2.Dimensions between external walls and boundaries may also be subject to local government planning laws. |  |
| --- | --- | --- |

Who has responsibility for producing and maintaining The Building Code of Australia (BCA) and who is it done on behalf of?

| Answer | The building code of Australia is produced and maintained by the Australian Building Codes Board (ABCB) on behalf of the Commonwealth Government and each State and Territory Government. |  |
| --- | --- | --- |

Fill in the missing words to complete the following two sentences.

provisions

technical

design

construction

document

Performance-based

The BCA is a uniform set of ___________ ______________ for the __________ and ______________ of buildings and other structures throughout Australia.

legislative

requirements

It is a ______________________ ________________ that is referenced so that your building system or material can demonstrate that it meets certain performance requirements in order to meet __________________ ____________________.

| Answer |  |  |
| --- | --- | --- |

What is the principal goal of the Building Code of Australia (BCA)?

| Answer | BCA’s goal is to enable the achievement of nationally consistent, minimum necessary standards of safety, heath, amenity and sustainability objectives. |  |
| --- | --- | --- |

How many volumes are there in the BCA and to what do the volumes refer?

| Answer | There are two BCA volumes: - Volume one; -Class 2-9 buildingd -Access requirements for people with a disability in Class 1b and 10a buildings -Certain Class10b structures including access requirements for people with a disability in class 10b swimming pools 2. Volume two; -Class 1 and 10a buildings -Certain Class 10b structures, other than access requirements for people with a disability in Class 10b -Class 10c |  |
| --- | --- | --- |

Explain the BCA performance requirements for low rise projects from the diagram below.

| Answer | Performance requirements – core of the BCA -These outline a suitable level of performance for building material, components, design factors, and constructions methods in order for a building to meet the relevant functional statements and, in turn, the relevant objectives. -E.g. “A room/space must be of a height that does not unduly interfere with its intended function”. |  |
| --- | --- | --- |

What is the intent of the ‘Relevant Performance Requirements’ in the BCA?

| Answer | The intent of the Relevant performance Requirements is to set out the method of determining the appropriate Performance Requirements to be used when an Alternative Solution is used to prove that a Building Solution complies with the BCA |  |
| --- | --- | --- |

Building solutions set out the means of achieving compliance with the performance requirements. The BCA provides for two methods that can be followed to develop a building solution. Explain these two methods.

| Answer | - Complying with the deemed to satisfy provisions - Formulating an alternative solutionehich: - Complies with the performance requirements - Is shown to be equivalent to the deemed to satisfy provisions - A combinations of (a) and (b) |  |
| --- | --- | --- |

The deemed-to-satisfy building solution establishes a clear and concise process for compliance for a builder, building surveyor or the like (building certifier) who does not want to develop a new means of achieving performance requirements; what does ‘deemed-to-satisfy’ mean?

| Answer | Deemed to satisfy means – that the building solution complies in an equivalent or superior way to a deemed-to-satisfy provision. |  |
| --- | --- | --- |

Write an example of a ‘deemed-to-satisfy’ provision for a class 1 building including deemed-to-satisfy requirements for kitchen, bathroom, laundry and sanitary facilities.

Nominate where you found the information in the BCA.

| Answer | i.a kitchen sink and facilities for the preparation and cooking of food; and ii.a bath or shower; and iii.clothes washing facilities, comprising at least one washtub and space in the same room for a washing machine; and iv.a closet pan and washbasin. (from BCA Volume Two, P2.4.3: Facilitties) |  |
| --- | --- | --- |

Who and what is Standards Australia?

| Answer | Standards Australia is Australias peak Standard body, recognised through a Memorandum of Understanding with the Commonwealth Gavernment. It is an independent, non-government, not for profit organisation. In consultation with government, business, industry, community, academia and consumers, Standards Australia develops internationally aligned Australian Standards and related publications to help ensure the safety, reliability and performance of a range of product, services and systems. |  |
| --- | --- | --- |

What are Australian Standards?

| Answer | Australian Standards are published documents setting out specifications and procedures designed to ensure products, services and systems are safe, reliable and consistently perform the way they were intended to. They establish a common language which defines quality and safety criteria. |  |
| --- | --- | --- |

The classification of a building or part of a building is determined by the purpose for which it is designed, constructed or adapted to be used. Please summarise the 10 building classifications below.

| Answer | Class | Summary |  |
| --- | --- | --- | --- |
|  | 1 | One or more buildings which in association constitute: a. Class 1a – a single dwelling b. Class 1b – boarding house, hostel |  |
|  | 2 | A building containing 2 or more sole-occupancy units each being separate dwelling |  |
|  | 3 | A residential building, other than a building of class 1 or 2, which is a common place of long term or transient living for a number of unrelated persons (eg; boarding house, school, hotel) |  |
|  | 4 | A dwelling in a building that is Class 5, 6, 7, 8 or 9 if it is the only dwelling in the building |  |
|  | 5 | An office building used for professional or commercial purposes, excluding buildings Class 6, 7, 8 or 9 |  |
|  | 6 | A shop or other building for the sale of goods by retail or the supply of services direct to the public |  |
|  | 7 | A building which Class 7a (a car park) or class 7b (for storage or display of goods or produce for sale) |  |
|  | 8 | A laboratory or building for the production, assembling, altering, repairing, packing, finishing or cleaning of goods for sale |  |
|  | 9 | A building of public nature: Class 9a 0 health care building, Class 9b – an assembly building, Class 9c – aged care building |  |
|  | 10 | A non-habitable building or structure: Class 10a – non-habitable building, Class 10b – fence, mast, pool, Class 10c - Shelter |  |

Other than the 10 BCA building classifications (A3.2), there are also multiple classifications (A3.3) where each part of a building is classified separately. 

Where would you find a full list of Past A3 classification of Buildings and Structures?

| Answer | Within the Building Codes Australia |  |
| --- | --- | --- |

True or False (Tick your response): If a building or part of a building has more than one classification applying to the whole building or part in accordance with, that building or part must comply with all the relevant provisions of the BCA for each classification.

| Answer | ☒ | True |  |  |
| --- | --- | --- | --- | --- |
|  | ☐ | False |  |  |

Familiarity with plans and specifications for a project when interpreting a building solution and therefore trying to interpret clauses and other referenced documents in the BCA is important.

What do plans and specifications include?

| Answer | -Floor level plans -Elevation plans -Sectional drawings -All specifications |  |
| --- | --- | --- |

You must have a clear picture of the building to be constructed and be able to identify the criteria that you will need to compare to the Deemed-To-Satisfy (DTS). What is it you must also consider when constructing complex buildings?

| Answer | In complex buildings you will find that requirements of one BCA clause may have an impact on the requirements of another |  |
| --- | --- | --- |

Complete the missing words from the sentence below and explain the difference between these points.

BCA Performance Requirements are _________________ and Deemed-to-Satisfy provisions are ______________.

| Answer | BCA Performance Requirements are Alternative Solultions and Deemed – to – Satisfy provisions are a combination of (a) and (b) |  |
| --- | --- | --- |

What is a Building Solution?

| Answer | Building Solution – a solution which complies with the Performance Requirements and is – - an Alternatice Solution; or b)a solution which complies with the deemed to satisfy provisions; or c)a combination of (a) and (b) Q21. Referring to the BCA, what are the objectives of Section C Fire Resistance? - Safeguard people from illness or injusry due to a fire in a building; and - Safeguard occupants from illness or injury while evacuating a building during a fire; and - Facilitate the activites or emergency services personnel; and - Avoid the spread of fire between building; and - Protect other property from physical damage caused by structural failure of a building as a result of fire. |  |
| --- | --- | --- |

Referring to the BCA, what are the objectives of Section C Fire Resistance?

| Answer |  |  |
| --- | --- | --- |

Why is it necessary to identify and document performance-based solutions?

| Answer | -Comply with organisational quality and processes -Apply and interpret relevant documentation and codes -accurately apply National and State and Territory OHS requirememtns relating to construction workplace -identify faults and problems impacting on OHS and proposing appropriate action to rectify |  |
| --- | --- | --- |

In the context of the Building Code of Australia what are Assessment Methods used to determine?

| Answer | Whether a Building Solution complies with the relevant BCA Perfrmance requirements. |  |
| --- | --- | --- |

Explain the importance of maintaining detailed documentation for a building project.

| Answer | It is important that you maintain a detailed level of documentation to ensure that the building is compliant and can pass assessment |  |
| --- | --- | --- |

With regard to detailed documentation what are some of the documents that must be provided and maintained by contractors?

| Answer | All calculations of building areas, site areas, site coverage, floor areas, building heights, habitable rooms, windows. Drawings, maintain all necessary notes, specifications and analysis. Disclose full procedures and documentation, all submissions necessary. |  |
| --- | --- | --- |

Other than the Builder maintaining detailed documentation, who will also have responsibility to resolve and correct errors for any ambiguity identified in the plans?

| Answer | A building certifiers responsibility in relation to examination of details in plans and documents for compliance with building with building legislation and standards. |  |
| --- | --- | --- |

The threat of an accidental fire in a building and to prevent it are important to understanding fire and taking all steps to prevent or confine fire and to prevent fire spreading within the structure as well as to adjoining or adjacent buildings. 

In this regard Fire Protection Systems are paramount and are subject to?

| Answer | -building regulations -fire regulations -insurance company requirements -local government requirements -other regulatory authorities |  |
| --- | --- | --- |

Briefly explain the following fire definitions:

| Answer | Term | Explanation |  |
| --- | --- | --- | --- |
|  | Fire | Is a rapid oxidation of a gas, liquid or solid substance accompanied by the release of eat and light. |  |
|  | Passive Fire Protection | Is an integral component of the threecomponents of structural fire protectionand fire safety in a building. Passive fire protection attempts to contain fires or slow the spread through the use of fire resistant walls floors and doors. |  |
|  | Active Fire Protection | Isan integral part of fireprotection and is characterised by itmes and systems which require a certain amount of motion and response in order to work. |  |

The purpose of fire protection is to:

- 1. Prevent/reduce the possibility of fire and 
2. Reduce the spread of fire within and around a building

Name the two categories or systems that provide measurement and arrangements for fire protection.

| Answer | Active Systems – portable fire extinguishers -fire hydrants/hose reel -sprinkler systems -smoke detection and alarm systems Passive Systems – fire isolated and passageways -fire resistant materials(walls, roofs, openings) -fire doors -fire curtains -fire rated ceilings -fire stop collars (in floor slabs) |  |
| --- | --- | --- |

With respect to the general level of fire protection explain separately the terms ‘Fire Load’ and ‘Fire Load Density’?

| Answer | Fire load – refers to the amount ot potential heat that can be literated during the fire of the combustible contents of a given enclosure. It is expressed as a numerical value represented as kJ/kg (kilojoule per kilogram) or as Mj/kg (megajoules per kilogram Fire load density is the fire load of a given enclosure or building divided by floor area. It is expressed as fore load per unit area of floor space (the greater the fire load the more severe the fire) |  |
| --- | --- | --- |

Using Volume 2 of the BCA respond to the following:

- Where in the BCA would you look to find requirements for building in bushfire prone areas for Class 1 and 10 buildings?

- Where in the BCA would you look to find requirements for building in bushfire prone areas for Class 2-9 buildings?

- What Australian Standard must be complied with to satisfy the Deemed to Satisfy Provisions for construction of Class 2 and 3 buildings in bushfire prone areas?

| Answer | a) | NCC 2015 BCA Volume two, addresses the requirements for fire safety for Class 1 and 10 buildings https://www.qbcc.qld.gov.au/sites/default/files/NCC2015_BCA_Volume_Two.pdf |  |
| --- | --- | --- | --- |
|  | b) | NCC 2015 BCA Volume one, Section C ‘fire resistance’ addresses the fire resist |  |
|  | c) |  |  |

What is a Fire Safety Schedule and its relationship to the approval of development of a class 2 – 9 building?

| Answer | A fire Safety Schedule |  |
| --- | --- | --- |

What are building certifiers responsible for?

| Answer | They are responsible for ensuring specific compliance is achieved and theu do this by conducting visual inspections. |  |
| --- | --- | --- |

What are building certifiers not responsible for?

| Answer | They are not responsible for the quality of workmanship within the construction process as this responsibility is that of the builder to the client. |  |
| --- | --- | --- |

Where in the BCA would you determine the level of fire resistance required for the construction of buildings?

| Answer | Building Classifications Class 1 – 10 and Volume 1 (section C) and Volume 2 (part3.7) |  |
| --- | --- | --- |