CPCCBC4053 Apply building codes and standards to the construction process for Class 2 to 9,

Documented evidence of determining a compliant solution on a project including: (e.g. correspondence for example letters, emails and certifier reports, instructions etc.)

Other compliance documentation for a project including: (e.g. council or private certifier inspection reports, structural inspection certificates, occupation certificates etc.)

Under the relevant Queensland legislation, building inspections on dwellings must be performed at the following stages:

- excavation

- footing

- slab

- frame

- final.