CPCCBC4012

Read and interpret plans and specifications

ASSESSMENT SUMMARY

The assessment activities for CPCCBC4012 Read and interpret plans and specifications cover all aspects of the unit of competency. For Apprentices/Trainees, this includes supervisor completion of the Apprentice/Trainee Record (ATR).

Participants must read all the information given before starting any assessment task. The assessment tasks are intended to be fair, flexible, valid and reliable. If a Participant has any questions or requires alternative arrangements to be made such requests should be directed to their Trainer/Assessor, who should note such arrangements in the ‘Assessor Comments’ on the affected assessment. If a Participant feels they are not yet ready to be assessed, they should discuss their options with their Trainer/Assessor.

To satisfactorily complete the assessment, the Participant is required to answer all questions correctly and demonstrate their skills to industry standards. If a Participant does not answer all questions or perform all tasks, they will be deemed ‘Not Satisfactory’ for the task and ‘Not Yet Competent’ for the unit of competency.

The Trainer/Assessor can provide the Participant with additional information on interpreting the assessment outcomes and guide the Participant’s options. If a Participant is still deemed ‘Not Satisfactory’ they will have the opportunity to undertake a supplementary assessment or appeal the result as per the process in the Student Handbook.

By signing below, the Participant acknowledges:

- They understand the assessment instructions and requirements, and consent to being assessed.

- The work submitted is to be their own work – with the work of/with others needing to be clearly acknowledged and documented.

- They consent to any photo/video recording of their work that occurs during assessment.

| Participant name | Shauna White |
| --- | --- |
| Participant signature |  |

Pre-requisite unit(s) to be achieved and authenticated prior to undertaking assessment

Not applicable

| Task | Date completed | Assessment Results |  |
| --- | --- | --- | --- |
| Theory Exam | Select Date. | Satisfactory | Not Satisfactory |
| Workbook | Select Date. | Satisfactory | Not Satisfactory |
| Practical Assessment | Select Date. | Satisfactory | Not Satisfactory |
| Outcome for CPCCBC4012 | Select Date. | Competent | Not Yet Competent |

| Evidence requirements checklist (ticked by assessor and evidence supplied to RTO) |  |
| --- | --- |
| Theory Exam Workbook Practical Assessment | Slab Plan for Activity 3 (HO3 available) Cost Estimation Sheet for Prac (HO5 available) |

| Assessor name |  |
| --- | --- |
| Assessor signature |  |

CPCCBC4012

Read and interpret plans and specifications

THEORY EXAM

| Participant name | Shauna White |
| --- | --- |

FOR THE PARTICIPANT

Instructions

- You will complete written questions as outlined on the following pages. You must attempt all questions and provide enough detail in your responses to demonstrate your knowledge. - It is anticipated that you should complete this assessment within two (2) hours, but additional time may be allowed upon negotiation with the Assessor. - You must complete all questions unassisted by the Assessor or other personnel but may refer to reference material as needed. All questions must be answered correctly for a ‘Satisfactory’ assessment outcome to be awarded. - An oral examination may be allowed under certain circumstances, whereby your answers will be documented by another party. - Any written questions that are incomplete, or not answered satisfactorily will need to be completed again after further training support. - If you answer a question incorrectly but modify your response, put your initials next to the written change (or the Assessor must initial a verbal change).

Resources required

Pen

FOR THE ASSESSOR

Instructions

- Where oral examination has occurred, ensure that this is acknowledged in writing (e.g. FT001 and Assessor Comments) - All questions must be satisfactorily demonstrated by the Participant for a Satisfactory determination (indicated by an Assessor tick to the right of the question). - Assessors are to complete marking in pen of a different colour to the Participant. - If the Participant verbally modifies their response, write in the modified response verbatim and put your initials next to the written change.

ASSESSOR COMMENTS

As necessary, outline: - Details on reattempts, alternative arrangements or reasonable adjustments made. - Where a Participant is deemed ‘Not Satisfactory’, provide recommendations for future training.

What is the significance of concept drawing/sketches?

| Answer | Concept drawings are essential in the creative process, providing a visual foundation for the development of ideas and designs across different disciplines. They play a crucial role in the early stages of a project, helping creators articulate and communicate their vision. |  |
| --- | --- | --- |

Discuss when you may come across concept drawings/sketches.

| Answer | Concept drawings/sketches are the early stages of the design process. They are a visual representation of an architects ideas and design concepts for a building or structure. |  |
| --- | --- | --- |

Explain what is meant by architectural plans.

| Answer | Architectural plans are the overall design of a building. Architectural plans have information regarding the aesthetic, function and just a general feel of the building |  |
| --- | --- | --- |

Provide four (4) plans that are considered part of the architectural plans.

| Answer | - Architectural floor plan - Site plan - Elevations - section |  |
| --- | --- | --- |

Describe what structural plans are.

| Answer | These are drawings that can be used to acquire information about the structural aspects. Ie load bearing beams etc |  |
| --- | --- | --- |

How is a structural plan different from an architectural plan?

| Answer | Structural plans show load bearing beams, structural components where architectural is more aesthetics ie look & general feel |  |
| --- | --- | --- |

Explain what a civil plan is.

| Answer | Civil plans are an overview of all construction site elements ie landscape, levels etc |  |
| --- | --- | --- |

Discuss how civil plans may be similar to other plans.

| Answer | Civil plans generally contain details that can be found on both architectural plans and structural plans. |  |
| --- | --- | --- |

What is the purpose for mechanical plans?

| Answer | These drawings contain specifications related to mechanical equipment ie heating, cooling & ventilation. |  |
| --- | --- | --- |

Discuss three (3) details you may find in mechanical plans.

| Answer | - Size, type, and layout - HVAC layout - Heat-loss and heat gain calculations |  |
| --- | --- | --- |

When would electrical plans be used?

| Answer | These drawings are used to acquire & locate electrical systems or circuits |  |
| --- | --- | --- |

Provide three (3) examples of details contained in electrical plans.

| Answer | - Wiring layout - Location of panels & switches - Schedule of loads |  |
| --- | --- | --- |

What are plumbing and drainage plans used for?

| Answer | To guide you in the installation of water supply & drainage |  |
| --- | --- | --- |

Discuss what may be needed when plans display council pipework.

| Answer | Council plumbing approval |  |
| --- | --- | --- |

Why is it important to check and ensure that the plans you are using are the current version?

| Answer | It is important to have the correct version of plans so that mistakes are not made when doing cost estimates or purchasing non-compliant materials that will lead to faulty installation of construction elements. Overall having the correct version of plans will lead to correct building/construction of a project. |  |
| --- | --- | --- |

What can occur if an outdated version of the plans is used?

| Answer | Having outdated versions of plans & specifications will lead into incorrect building/construction of a project and also costs estimates being incorrect. |  |
| --- | --- | --- |

Discuss what site plans are drawn to reflect.

| Answer | Site plans provides an overview of the entire property. It gives you an idea of the entire scope of works. |  |
| --- | --- | --- |

Discuss the purpose of reading the floor plan.

| Answer | A floor plan is a graphical representation of the building. So it’s a view from the top of the building looking down to ground level. It shows the elements such as walls, columns, doors, and windows. It shows the different spaces of a project. |  |
| --- | --- | --- |

Discuss two (2) key differences between elevation view and section view.

| Answer | - Elevations are a vertical projection of the building which can be seen on the outside - Sections show the imaginary vertical plane that cuts through it. It allows you to see through a section of the structure as if it was an imaginary line/wall. |  |
| --- | --- | --- |

Discuss the purpose of reading detail drawings.

| Answer | These are details that provide large scale (up close) views of parts or components of a building. This helps analyse more intricate details. |  |
| --- | --- | --- |

Why is it important to measure from a datum point?

| Answer | Measuring from the datum point identifys the building location and is important since it defines the state/territory requirements that the building and construction project must follow |  |
| --- | --- | --- |

Discuss what reduced levels (RL) are and how these are established in construction drawings.

| Answer | Reduced levels are vertical measurements taken from the datum |  |
| --- | --- | --- |

Describe the purpose of the title block and what it contains.

| Answer | The purpose of the title block provides specific information about the project ie project address, name of draftsman/men, date of publication, project title etc |  |
| --- | --- | --- |

Where is the title block usually located on the plans?

| Answer | A title block is located in a portion of the drawing sheet |  |
| --- | --- | --- |

Describe the purpose of using scale drawings in construction.

| Answer | An accurate scale drawing lets you see exactly how each component will fit and how much space you'll have, both empty and filled. |  |
| --- | --- | --- |

Describe each ratio of standard scale ranges below.

| Answer | Ratio | Description |  |
| --- | --- | --- | --- |
|  | 1:100 | For one unit of the drawing, the real size of the object is 100 times bigger |  |
|  | 1:2 | For one unit of the drawing, the real size of the object is two times bigger |  |
|  | 1:50 | For one unit of the drawing, the real size of the object is 50 times bigger |  |

Describe why examining detail drawings is important.

| Answer | Detail drawings provide a larger scale view which gives you more information on how to build a certain section/portion. Ie size, thickness, diameter. |  |
| --- | --- | --- |

What is the difference between utilities plans and specifications and services plans and specifications in the context of building construction?

| Answer | Utilities plans & specifications are information on the supply of electricity, water, lifts, gas supply, sewage and Services plans & specifications is used for information on the flow of operations ie fire safety detection & protection, lighting, security & alarm systems |  |
| --- | --- | --- |

Describe what is meant by each of the following drawing descriptions.

| Answer | Drawing description | Meaning |  |
| --- | --- | --- | --- |
|  | Isometric drawings | Are 3D drawings on a 2D surface where the same scale is used of all axes |  |
|  | Oblique drawings | Are the 2D projection of 3D drawings that represent an object accurately by showing the true shape and form of the object based on the point of view of the observer |  |
|  | Perspective drawings | 3D drawings which show an approximate representation of what it might look like |  |
|  | Orthographic drawings | Wherein 3D images are presented in 2D, in which three views are generally produced. |  |

What are CAD drawings? Explain how CAD is used in building and construction.

| Answer | CAD is a computer technology used to develop plans/drawings. Which are then used for construction. |  |
| --- | --- | --- |

Provide a brief description of the given classes of buildings according to the National Construction Code.

| Answer | Building Class | Description |  |
| --- | --- | --- | --- |
|  | Class 1a building | One or more buildings forming a single dwelling |  |
|  | Class 2 building | Apartment buildings |  |
|  | Class 4 building | a part of a building that is the only dwelling or residence within the building |  |
|  | Class 5 building | An office building used for professional or commercial purposes, except for buildings of class 6,7,8 or 9.. |  |
|  | Class 7b building | Warehouse, storage buildings, buildings used to display or produce wholesale goods |  |
|  | Class 10a building | Garage, carport and/or shed |  |

What is building information modelling (BIM)?

| Answer | BIM is used to design and document building & infrastructure designs. It then generates more visualisation representation |  |
| --- | --- | --- |

Explain how the NCC is relevant to construction drawings.

| Answer | The NCC sets out the technical provisions for the design, construction, and performance of buildings, plumbing and drainage systems. |  |
| --- | --- | --- |

Discuss the importance of complying with standards during a building and construction project.

| Answer | You need to comply with the NCC which contains the rules and instructions |  |
| --- | --- | --- |

Discuss how you would identify wind bracing and tie-down requirements from construction plans.

| Answer | Wind bracing and tie-down information will be located on the structural plans and also details within the specifications. |  |
| --- | --- | --- |

Discuss why you would access AS 1684.2 Residential timber-framed construction, Part 2: Non-cyclonic areas, when reading plans and specifications.

| Answer | Which would access this Australian standard if the plans & specifications call for it. It will show the design and construction details for timber framed construction in non-cyclonic areas. |  |
| --- | --- | --- |

Reasonable allowances are made by builders for the different construction items in a building project. Discuss what Prime Cost (PC) items are.

| Answer | Prime Cost is an allowance for supply and installation of items where prices can’t be determined or confirmed at the time of the contract is entered. |  |
| --- | --- | --- |

Explain what Provisional Sum (PS) items are.

| Answer | A provisional sum is an allowance for construction work that will be carried out but are not yet determined and the builder is unable to establish a accurate cost. |  |
| --- | --- | --- |

Explain how to locate installation points of the services to the building from the plans.

| Answer | Key features like installation points for services can be viewed on utilities and services plan |  |
| --- | --- | --- |

Explain how to locate connection points of services to the building from the plans.

| Answer | Viewing the utilities and services plan |  |
| --- | --- | --- |

Explain how to locate fixtures from the plans.

| Answer | Fixtures can be located on the architectural floor plans and/or specifications sheet |  |
| --- | --- | --- |

CPCCBC4012

Read and interpret plans and specifications

WORKBOOK

| Participant name | Shauna White |
| --- | --- |

FOR THE PARTICIPANT

Instructions

- You will complete written activities as outlined on the following pages. You must attempt all questions and provide enough detail in your responses to demonstrate your knowledge. - The timeframe for these tasks will be established by your Assessor or Training Plan, but additional time may be allowed upon negotiation with the Assessor. - You must complete all questions unassisted by the Assessor or other personnel but may refer to reference material as needed. All questions must be answered correctly for a ‘Satisfactory’ assessment outcome to be awarded. - An oral examination may be allowed under certain circumstances, whereby your answers will be documented by another party. - Any written questions that are incomplete, or not answered satisfactorily will need to be completed again after further training support. - If you answer a question incorrectly but modify your response, put your initials next to the written change (or the Assessor must initial a verbal change).

Resources required

Pen

FOR THE ASSESSOR

Instructions

- Where oral examination has occurred, ensure that this is acknowledged in writing (e.g. FT001 and Assessor Comments) - All questions must be satisfactorily demonstrated by the Participant for a Satisfactory determination (indicated by an Assessor tick to the right of the question). - Assessors are to complete marking in pen of a different colour to the Participant. - If the Participant verbally modifies their response, write in the modified response verbatim and put your initials next to the written change.

ASSESSOR COMMENTS

As necessary, outline: - Details on reattempts, alternative arrangements or reasonable adjustments made. - Where a Participant is deemed ‘Not Satisfactory’, provide recommendations for future training.

NOTE

At times, you will be provided with a specific business context to which you must respond, otherwise it is anticipated that you will use a workplace of your choosing (your own, or hypothetical) to provide the context to the task.

At all times, the responses in your assessment must reference Australian (Queensland or Federal) documentation, including legislation, regulations, codes of practice, standards and guidance publications.

For the following activities, name the State/Territory you will base your research on.

| State/ Territory | NSW |
| --- | --- |

Research and document your findings regarding legislation and codes that apply in your state/territory relevant to the following three (3) items. Summarise the requirements relevant to building drawings and sketches you identified and provide the URL where you sourced your responses. - Smoke alarms in a new building - Pool fences - Protection of waterways

- Smoke alarms

Name of Legislation (Commonwealth or State)

Environmental Planning and assessment Act 1979 Division 7A of Part 9 of the Environmental Planning and assessment regulation 2000. Australian standard AS3786

Summary of relevant excerpt/requirement

The owner of a class 1a building or relocatable home must ensure that the building or home is equipped with smoke alarms that are located on or near the ceiling— (a) in any storey of the building or home containing bedrooms—in every corridor or hallway associated with a bedroom, and if there is no such corridor or hallway associated with a bedroom, between that part of the building or home containing the bedroom and the remainder of the building or home, and (b) in any other storey of the building not containing bedrooms. (3) The owner of a class 1b building must ensure that the building is equipped with smoke alarms that are located, on or near the ceiling— (a) in any storey of the building containing bedrooms— (i) in every bedroom, and (ii) in every corridor or hallway associated with a bedroom, and if there is no such corridor or hallway associated with a bedroom, between each part of the building containing the bedroom and the remainder of the building, and (b) in any other storey of the building not containing bedrooms.

Source (URL or web source)

Environmental Planning and Assessment Regulation 2000 - NSW Legislation

- Pool fence installation

Name of Legislation (Commonwealth or State)

Swimming pools regulation 2008

Summary of relevant excerpt/requirement

Restriction of access to outdoor swimming pools 5 General requirements for outdoor swimming pools For the purposes of sections 7 (1) (b) and 12 (d) of the Act, the prescribed standards in accordance with which a child-resistant barrier surrounding a swimming pool is to be designed, constructed, installed and maintained are the standards set out in AS 1926.1—2007 (excluding Clause 2.8). Note. The provisions of AS 1926.1—2007 about doorsets

Source (URL or web source)

Pool fencing requirements ¦ NSW Fair Trading & sl-2008-399 (nsw.gov.au)

- Protection of waterways

Name of Legislation (Commonwealth or State)

# Water Management Act 2000 No 92

Summary of relevant excerpt/requirement

Water management principles (1) The principles set out in this section are the water management principles of this Act. (2) Generally— (a) water sources, floodplains and dependent ecosystems (including groundwater and wetlands) should be protected and restored and, where possible, land should not be degraded, and (b) habitats, animals and plants that benefit from water or are potentially affected by managed activities should be protected and (in the case of habitats) restored, and (c) the water quality of all water sources should be protected and, wherever possible, enhanced, and (d) the cumulative impacts of water management licences and approvals and other activities on water sources and their dependent ecosystems, should be considered and minimised, and (e) geographical and other features of Aboriginal significance should be protected, and (f) geographical and other features of major cultural, heritage or spiritual significance should be protected, and (g) the social and economic benefits to the community should be maximised, and (h) the principles of adaptive management should be applied, which should be responsive to monitoring and improvements in understanding of ecological water requirements.

Source (URL or web source)

Water Management Act 2000 No 92 - NSW Legislation

| Satisfactory Outcome |  |  |
| --- | --- | --- |

Access Handout 1 (HO1 - Floor Plan with dimensions) and respond to the following: - What is used for the internal wall lining? - What is used for the external cladding? - What roofing cladding is required? - How do you identify the smoke alarm installation points?

- What is used for the internal wall lining?

Clay Bricks

- What is used for the external cladding?

Painted render finish

- What roof cladding is required?

You are unable to identify what roof cladding is required on the floor plans. You need to refer to the structural plans and/or roof detail drawings.

- How do you identify the smoke alarm installation points?

‘S’ symbol denotes smoke detector

| Satisfactory Outcome |  |  |
| --- | --- | --- |

Access Handout 2 (HO2 - Footing Plan) and Handout 3 (HO3 - Slab Plan) and respond to the following: - Specify the size and type of reinforcing to be used for BP.1 in Handout 2 (HO2 - Footing Plan) - How do you determine where each BP.1 footing pier should be placed? - Mark each of the load bearing points in Handout 3 (HO3 - Slab Plan)

- Specify the size and type of reinforcing to be used for BP.1

Vertical 5.N12 Ligs R6 Helix – 200mm Pitch Cover 40mm top + sides 75mm Base of pier

- How do you determine where each BP.1 footing pier should be placed?

They are located on the footing plan as BP1, 12 in total

- Mark each of the load bearing points in Handout 3 (HO3 - Slab Plan)

Done. Highlighted purple.

| Satisfactory Outcome |  |  |
| --- | --- | --- |

Access Handout 4 (HO4 - Residential Floor Plan) and respond to the following: - Which drawings are shown in these plans? - Which Australian Standard must be referenced when installing termite protection? - Make a list of the finishes noted on the document.

- Which drawings are shown in these plans?

Floor plans with dimensions and elevations

- Which Australian Standard must be referenced when installing termite protection?

AS 3660 SE

- Make a list of the finishes noted on the document.

Roof – custom orb deep ocean colorbond Gutter/fascia – Deep ocean colorbond Walls – Dulux cargo river Corbells – Dulux calf skin Window frames – powdercoat anotech grey Paving – lifestyle paving liquid limestone

| Satisfactory Outcome |  |  |
| --- | --- | --- |

CPCCBC4012

Read and interpret plans and specifications

PRACTICAL ASSESSMENT

| Participant name | Shauna White |
| --- | --- |

FOR THE PARTICIPANT

Instructions

- The tasks outlined on the following pages will require performance of normal workplace activities, as a result of a structured activity set by an Observer in the workplace or a simulated activity set by your Assessor/Observer. - The timeframe for these tasks will be established by your Assessor/Observer, in consideration of location conditions and industry requirements. - You must complete all tasks unassisted by the Assessor or other personnel, unless the steps note this assistance. - You must attempt all tasks (and itemised steps) for a ‘Satisfactory’ assessment outcome to be awarded. - For any observation conducted that is incomplete, or without satisfactory performance, the observation will need to be completed again after further training support.

FOR THE ASSESSOR/OBSERVER

Instructions

- The following observation record should be used to judge and record your observations of the Participant as they complete the task(s) set. You must record your observations of the Participant’s performance. - For each occasion, indicate the task performed and whether it was a simulation or workplace-based task. - Any simulated assessment must ensure the Participant still performs under workplace conditions which reflect industry standards. - In the comments, provide clear detail regarding the task that the Participant was required to do (e.g. PPE used, materials handled, attachments connected, plant types). - All steps must be satisfactorily demonstrated by the Participant for a ‘Satisfactory’ determination (indicated by an Assessor tick to the right of each itemised step, or an Observer tick to the right of each itemised step, and confirmation by an Assessor in the Assessor Comments). - Where you have determined that one or more task steps have not been satisfactorily demonstrated, provide the Participant with additional support and outline details of such assistance in the Assessor/Observer Comments. Allow the Participant two (2) further opportunities to demonstrate the task again to allow an opportunity for a ‘Satisfactory’ assessment outcome to be achieved. - If after three (3) attempts the Assessor determines that the Participant cannot demonstrate the required steps, a ‘Not Satisfactory’ outcome is to be determined.

| TASK OUTCOME |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Task | Date | Task Type (Tick) | Location | Task outcome (Tick) |  |
|  |  |  |  | Satisfactory | Not Satisfactory |
| Task 1 | 27/03/2024 | Workplace Simulation |  |  |  |

ASSESSOR COMMENTS: GENERAL

As necessary, outline: - Details on reattempts, alternative arrangements or reasonable adjustments made. - Where a Participant is deemed ‘Not Satisfactory’, provide recommendations for future training.

| ASSESSOR COMMENTS: PRACTICAL TASK 1: OCCASION 1 |  |  |
| --- | --- | --- |
| Individual student (as named on cover page) Multiple students [ All from Attendance Report, Specific students involved – identify students] |  |  |
| Task | Provide detail |
| 1.1A. 1.1B. | Specify type of plan and NCC class determined: Structural and architectural plans Class 1A – single storey dwelling |
| 1.1A. 1.1C. | Specify how currency of documents was confirmed: Confirmed via email that Rev S dated 30/01/2023 were current plans. In this instance there was a revision for ‘upper window height adjustment’ |
| 1.1D. | Specify environmental controls determined from plans/specifications. Determined that the house is to be built in Qld so need to refer to Qld environmental act to minimise the impact on the environment |
| 1.2B. 1.2D. | Specify how building layout, material requirements spaces and dimensions were determined from plans and specifications. The building layout refers to the exact position and orientation of the building which is taken from the site plans. In this instance the house is facing north west and is almost a rectangle with one side being longer then the other. Building spaces are located on the floor plan and are the divisions of spaces i.e. kitchen/bathroom/living room etc Building dimensions are the measurements of each individual space and building perimeter which are taken off the floor plans also. |
| 1.2G. | Specify services identified on site: Refer to site plans and identified that the sewer line is located at the back of the property, stormwater is located at the front of the property across the road. |
| 1.2H. | Specify site features located to be removed/ retained: The site plan in this instance doesn’t identify any items that need to be retained or removed. |
| 1.2J. | Specify variations found: No variations found. |
| 1.3A. | Specify concrete footing and slab information identified: Refer to concrete slab/footing plan. Drawing S100 & S101 These plans show you the positions of the footings which are labelled |
| 1.3B. | Specify how load bearing points were recognised: Refer to the slab/footing plan and locate the schedule which identifies the load bearing point. In this case the legend column identifies the loading bearing points labelled C1. You can also refer to the schedule on the right hand side which contains other load bearing information. 3.2 Concrete quality. |
| 1.3C. | Specify how wind bracing and tie down requirements were confirmed: Refer to the roof framing plans and locate the schedule details. This will tell you the requirements of the wind bracing & tie down. In this scenario on the plans they are labelled XB.3 & XB.1 |
| 1.4B. 1.4C. | Specify how installation points and fixtures were determined: Installation points are usually located on the floor plans and be located in bathrooms and/or ensuites/kitchens. On floor plans they can be identified as water closet (WC), floor waste (FW) and shower recess (SHR) drains. Fixtures are located on floor plans and are in bathrooms i.e shower/tub/sink, Doors & windows, electrical installations i.e light fittings/power points. |
| 1.4B. | Specify how connection points were determined: Connection points were identified by referring to the site plans and locating these points outside the building, which are usually consumer poles (for electricity, sewer connections for floor wastes etc to drain too & main water supply where water is to be supplied too ie bathroom taps/kitchen taps. |
| 1.4C. | Specify where finishing details were located: Finishes are identified and detailed in the finishes specification document which include, but not limited to painting, tiles, flooring, windows. In this instance paint colour for internal walls 2 coats of low sheen acrylic wall paint in colour dune. |

CPCCBC4012

Read and interpret plans and specifications

| Practical Task 1 |  |
| --- | --- |
| Description of task: The participant must demonstrate skills and knowledge to identify and interpret building and construction information from plans and specifications in a workplace (or a similar environment) in the context of a construction project including: - Identify types of plans. - Check and confirm that the current version of plans, specifications and amendments is being used. - Use the appropriate plans and aspects of drawings for relevant purposes. - Confirm that the details on plans comply with the specifications. - Identify environmental controls from plans/specifications. - Read and interpret the plans. - Read and confirm standards of work and tolerances from job specifications. - Determine building layout, spaces and dimensions from floor plan. - Recognise and confirm job specifications located in drawings, notes, and descriptions. - Determine internal linings, external cladding and roof materials needed from plans and specifications. - Determine material sizes, thickness and construction methods related to three (3) materials for one room from detail drawings for estimates. (Template available for use HO5 - Cost Estimation) - Apply information from plans to estimation, planning and supervisory tasks. - Gain access to the site, achieve orientation and identify services, datum and reduced levels. - Locate site features to be removed or retained. - Determine the building location from the site plans to actual. - Verify plans recognising variations between the plans and the actual site, reporting findings as required. - Appropriately communicate with others to be understood. - Adhere to site safety requirements, including requirements relating to hazard identification. - Identify structural details. - Identify concrete footing and slab sizes and position and type of reinforcing required. - Identify structural load bearing points of the building and compare information from specification. - Identify wind bracing and tie-down requirements checking for accuracy against the wind bracing table. - Identify non-structural details. - Identify two (2) provisional sum (PS) and prime cost (PC) items when estimating costs. - Locate installation and connection points of services to the building. - Identify location of fixtures from plans and details of finishes from specifications. These tasks may be simulated or real. The Participant is to gather evidence of how they have completed each component of the Practical Task, which is to be submitted with this Practical Assessment sheet. The Observer is to provide detailed comments on the tasks completed by the Participant (on the Observer Comments, overleaf). The Assessor is to verify the Observer’s comments, noting their findings in the Assessor Comments (on the back of the Practical Assessment cover page) and provide the assessment outcome. |  |
| Resources required: Work site; plans and specifications, quality documentation; access to the internet/access legislation, current building and construction codes and standards and the NCC. PC applications and software to access CAD. Templates for estimating. HO1 through HO5 available. |  |
| Observer details |  |
| Name of observer: | Josh Northcott |
| Role of observer (Confirm suitability to sign) | Project Manager |
| Email address of observer | Josh.northcott@aldercon.com.au |
| Signature of observer: |  |
| Date: | 27/03/2024 |

| When completing the task, did the Participant: | Tick if satisfactorily completed. Provide comments if left unticked. |
| --- | --- |
| 1 Identify types of plans |  |
| Check and confirm that the current version of plans, specifications and amendments are being used. |  |
| Use the appropriate plans and aspects of drawings for relevant purposes. |  |
| Confirm that the details on plans comply with the specifications. |  |
| Identify environmental controls from plans/specifications. |  |
| 2 Read and interpret the plan |  |
| Read and confirm standards of work and tolerances from job specifications. |  |
| Determine building layout, spaces and dimensions from floor plan. |  |
| Determine internal linings, external cladding and roof materials from plans and specifications. (Template available for use HO5 - Cost Estimation) |  |
| Determine material sizes, thickness and construction methods from detail drawings. (Template available for use HO5 - Cost Estimation) |  |
| Recognise and confirm job specifications located in drawings, notes, and descriptions. |  |
| Apply information from plans to estimation, planning and supervisory tasks. (Template available for use HO5 - Cost Estimation) |  |
| Gain access to the site, achieve orientation and identify services, datum and reduced levels. |  |
| Locate site features to be removed or retained. |  |
| Determine the building location from the site plans to actual. |  |
| Verify plans recognising variations between the plans and the actual site, reporting findings as required. |  |
| Appropriately communicate with others to be understood. |  |
| Adhere to site safety requirements, including requirements relating to hazard identification. |  |
| 3 Identify structural details |  |
| Identify concrete footing and slab sizes and position and type of reinforcing required. |  |
| Identify structural load bearing points of the building and compare information from specification. |  |
| Identify wind bracing and tie-down requirements checking for accuracy against the wind bracing table. |  |
| 4 Identify non-structural details |  |
| Identify provisional sum (PS) and prime cost (PC) items when estimating costs. (HO5) |  |
| Locate installation and connection points of services to the building. |  |
| Identify location of fixtures from plans and details of finishes from specifications. |  |

Observer comments: