Copyright

This document was developed by TotalVET Training Resources.

© 2021 TotalVET Training Resources.

All rights reserved.

No part of this publication may be reproduced, stored in a retrieval system, or transmitted in any form or by any means, electronic, mechanical, photocopying, recording, or otherwise without the prior written permission of TotalVET Training Resources.

Version Control & Document History

| Date | Summary of Modifications | Version |
| --- | --- | --- |
| 9 February 2021 | Version 1.0 released for publishing | 1.0 |

Table of Contents

Introduction	5

Competency-Based Assessments	6

Assessing Nationally-Recognised Training	7

Dimensions of Competency	8

Reasonable Adjustment	9

The Unit of Competency	10

The Context of Assessment	10

Assessment Methods	11

Resources Required for Assessment	12

Assessment Workbook Cover Sheet	14

Knowledge Assessment	15

Practical Assessment	35

Candidate Instructions	35

Preliminary Assessment Information	36

Practical Assignment	37

Overview	37

Workplace Assessment	41

Overview	41

Task 1 Confirm Currency of Plans, Specifications, and Amendments	43

Task 2 Confirm Details on Plans Comply with the Specifications	44

Task 3 Examine Detail Drawings to Determine Sizes and Thickness	45

Task 4 Discuss Details During the Planning Phase	46

Task 5 Supervise Construction Works	47

Practical Oral Assignment	48

Overview	48

Task 1 Types of Plans and Aspects	50

Task 2 Construction Plans	57

Task 3 Materials from Specifications	62

Task 4 Concrete Footing and Slab	63

Task 5 Load Bearing Points	65

Task 6 Load Bearing Information	66

Task 7 Wind Bracing and Tie-Down Requirements	67

Task 8 Wind Bracing Materials and Tie-Down Methods	68

Task 9 Provisional Sum and Prime Cost Items	69

Task 10 Installation and Connection Points of Services	70

Task 11 Location of Fixtures	71

Task 12 Details of Finishes	72

Assessment Workbook Checklist	73

Record of Assessment (Assessor’s Use Only)	78

Introduction

The assessments in this workbook are divided into three categories: Knowledge Assessment and Practical Assessment.

The Knowledge Assessment is a set of general and workplace questions testing your knowledge and understanding of the general theory behind the unit.

You must answer all Knowledge Assessment Questions using your own words. However, you may refer to your Learner Guide and other relevant resources and learning materials to complete this assessment.

Some questions cover processes you would likely encounter in a workplace. Ideally, you should be able to answer these questions based on the processes that are currently in place in your workplace. However, if you do not currently have access to a workplace, then answer the questions based on processes that should be implemented in a typical workplace setting.

The Practical Assessment is made up of the Practical Assignment, Workplace Assessment, and Practical Oral Assessment. This assessment tests your practical skills with respect to the requirements of the unit of competency relevant in this workbook.

The Practical Assessment requires you to complete and submit workplace documents and other documentation relevant to the unit of competency.

The evidence you submit must be your own work except where due reference is made and where you are required to submit supplementary workplace documents such as policies and procedures.

When completing the assessments included in this workbook:

- Read the instructions provided in each task carefully before attempting to complete the task. The instructions will guide you on how to answer the question or complete the task satisfactorily.

- Follow the steps provided in each task.

  - If the question instructs you to describe, provide a description as your response. If the question instructs you to list, provide a list as your response.

  - Where there is a number of required responses, provide the required number of responses. For example, if you are asked to list three responses, provide three responses.

- Ensure that all your submissions for this assessment indicate your first and last name and that these submissions have been named according to the file naming convention prescribed in each task.

Competency-Based Assessments

Definition of Competency

Assessment in this context can be defined as the fair, valid, reliable, and flexible gathering and recording of evidence to support the judgement on whether competency has been achieved. Skills and knowledge (developed in a structured learning situation, at work, or in some other context) are assessed against national standards of competence required by industry, rather than compared with the skills and knowledge of other candidates.

The features of a competency-based assessment system are:

- It is focused on what candidates can do and whether it meets the criteria specified by the industry as competency standards.

- Assessment should mirror the environment the candidate will encounter in the workplace.

- Assessment criteria should be clearly stated to the candidate at the beginning of the learning process.

- Assessment should be holistic. That is, it aims to assess as many elements and/or units of competency as is feasible at one time.

- In competency assessment, a candidate receives one of only two outcomes – ‘competent’ or ‘not yet competent.’

- The basis of assessment is in applying knowledge for some purpose. In a competency system, knowledge for the sake of knowledge is seen to be ineffectual unless it assists a person in performing a task to the level required in the workplace.

- The emphasis in assessment is on assessable outcomes that are clearly stated for the trainer and candidate. Assessable outcomes are tied to the relevant industry competency standards where these exist. Where such competencies do not exist, the outcomes are based upon those identified in a training needs analysis.

Assessing Nationally-Recognised Training

Developing and conducting assessment, in an Australian Vocational Education and Training (VET) context, is founded on the Principles of Assessment and the Rules of Evidence:

Principles of Assessment

- Assessment must be valid

  - Assessment must include the full range of skills and knowledge needed to demonstrate competency.

  - Assessment must include the combination of knowledge and skills with their practical application.

  - Assessment, where possible, must include judgements based on evidence drawn from a number of occasions and across a number of contexts.

- Assessment must be reliable

  - Assessment must be reliable and must be regularly reviewed to ensure that assessors are making decisions in a consistent manner.

  - Assessors must be trained in national competency standards for assessors to ensure reliability.

- Assessment must be flexible

  - Assessment, where possible, must cover both the on- and off-the-job components of training within a course.

  - Assessment must provide for the recognition of knowledge, skills, and attitudes regardless of how they have been acquired.

  - Assessment must be made accessible to candidates through a variety of delivery modes, so they can proceed through modularised training packages to gain competencies.

  - Assessment must be mutually developed and agreed upon between assessor and the assessed.

  - Assessment must be able to be challenged. Appropriate mechanisms must be made for reassessment as a result of challenge.

- Assessment must be fair

  - Assessment process must consider the individual needs of the candidate.

  - Assessment must provide for reasonable adjustments, where appropriate, to consider the individual candidate’s needs.

(Source: Standards for RTOs 2015, Clauses 1.8 – 1.12)

Rules of Evidence

When collecting evidence, certain rules apply to that evidence. All evidence must be valid, sufficient, authentic, and current:

- Valid

Evidence gathered should meet the requirements of the unit of competency. This evidence should match, or at least reflect, the type of performance that is to be assessed, whether it covers knowledge, skills, or attitudes.

- Sufficient

This rule relates to the amount of evidence gathered. Enough evidence must be gathered to satisfy the requirements that the candidate be competent in all aspects of the unit of competency.

- Authentic

When evidence is gathered, the assessor must be satisfied that evidence is the candidate’s own work.

- Current

This relates to the recency of the evidence and whether the evidence relates to current abilities.

(Source: Training in Australia by M Tovey, D Lawlor)

Dimensions of Competency

The national concept of competency includes all aspects of work performance and not only narrow task skills. The four dimensions of competency are:

- Task skills

- Task management skills

- Contingency management skills

- Job or role environment skills

Reasonable Adjustment

‘Reasonable adjustment’ in VET is the term applied to modifying the learning environment or making changes to the training delivered to assist a candidate with a disability. A reasonable adjustment can be as simple as changing classrooms to be closer to amenities or installing a particular type of software on a computer for a person with vision impairment.

Why make a reasonable adjustment?

We make reasonable adjustments in VET to make sure that candidates with a disability have:

- The same learning opportunities as candidates without a disability, and

- The same opportunity to perform and complete assessments as those without a disability.

Reasonable adjustment applied to participation in teaching, learning, and assessment activities can include:

- Customising resources and assessment activities within the training package or accredited course

- Modifying the presentation medium

- Learner support

- Use of assistive/adaptive technologies

- Making information accessible both before enrolment and during the course

- Monitoring the adjustments to ensure candidate needs continue to be met

Assistive/Adaptive Technologies

Assistive/Adaptive technology means ‘software or hardware that has been specifically designed to assist people with disabilities in carrying out daily activities’ (World Wide Web Consortium - W3C). It includes screen readers, magnifiers, voice recognition software, alternative keyboards, devices for grasping, visual alert systems, digital note-takers.

(Adapted Reasonable Adjustment in teaching, learning and assessment for learners with a disability - November 2010 - Prepared by - Queensland VET Development Centre)

IMPORTANT:

Reasonable adjustment made for collecting candidate assessment evidence must not impact on the standard expected by the workplace, as expressed by the relevant unit(s) of competency. For example, if the assessment were gathering evidence of the candidate’s competency in writing, allowing the candidate to complete the assessment verbally would not be a valid assessment method. The method of assessment used by any reasonable adjustment must still meet the competency requirements.

The Unit of Competency

The units of competency specify the standards of performance required in the workplace.

This assessment addresses the following unit of competency:

CPCCBC4012 – Read and interpret plans and specifications (Release 1.0)

- Identify types of plans

- Read and interpret the plan

- Identify structural details

- Identify non-structural details

A complete copy of the above unit of competency can be downloaded from the TGA website:

https://training.gov.au/Training/Details/CPCCBC4012

The Context of Assessment

To complete the assessments in this workbook, students need to have access to their learning materials and the Internet. The Knowledge Assessment may be completed wholly at the candidate’s home or chosen place of study. The Practical Assessment must be completed in a workplace or a simulated environment.

Assessment Methods

This workbook uses the following assessment method/s:

- Knowledge Assessment

A set of general and workplace questions testing the candidate’s general knowledge and understanding of the general theory behind the unit.

- Practical Assignment

A series of written practical tests assessing the candidate’s practical knowledge and understanding of the unit of competency.

- Workplace Assessment

A set of tasks or activities completed according to set instructions and guidelines to meet the requirements of the relevant unit. These tasks and activities require you to have access to a workplace or a similar environment.

- Practical Oral Assessment

A series of oral assessment tasks testing the candidate’s practical knowledge and understanding of the unit of competency. The candidate needs to provide their responses to these assessment tasks orally while being observed by the assessor. The assessor will then record important details from the candidate’s oral response.

Resources Required for Assessment

The Training Organisation to provide/organise candidate with access to:

- Assessor to supervise and observe candidate as they complete assessments, where required.

- Workplace, or a similar environment, where the candidate can complete the assessments, and that will allow them access to:

  - Building and construction project

  - Relevant construction personnel whom the candidate will be meeting with in the planning phase of the building and construction project.

  - Relevant construction personnel whom the candidate will be confirming the currency of plans, specifications and amendments with.

  - Relevant construction personnel whom the candidate will be verifying details on the construction plans and specifications with.

  - Construction plans

  - Construction specifications

  - Detail drawings

  - Organisational policies and procedures relevant to the supervising of construction works

  - Workplace safety requirements relevant to safe design in planning building and construction

  - Workplace’s processes for preparing building construction plans

  - Documentation templates, including:

    - Meeting minutes template

    - Construction Plan Details Verification Checklist

    - Material Quantity Takeoff Form

  - Means to record any comments or issues found while supervising construction works (e.g. pen and paper)

  - Relevant government building and construction and contract legislation

  - Current building and construction codes and standards

  - The National Construction Code (NCC)

  - Computers, applications and software to access CAD.

The candidate will need access to:

- Computer with Internet, email access, and a working web browser

- Installed software: MS Word, Adobe Acrobat Reader

Assessment Workbook Cover Sheet

To the candidate: Print this cover sheet and complete it by filling in all the required information and signing in the space provided. Your signature must be handwritten. Scan the completed cover sheet and submit it along with your evidence submissions. Use the filename: CPCCBC4012 Cover Sheet

| Workbook | CPCCBC4012 |
| --- | --- |
| Title | Read and interpret plans and specifications (Release 1.0) |
| First and Last Name | Dawei Yang |
| Phone | 0433036069 |
| Email | davied928@gmail.com |

| Please read the Candidate Declaration below and if you agree to the terms of the declaration, sign and indicate the date in the spaces provided. By submitting this work, I declare that: - I have been advised of the assessment requirements, have been made aware of my rights and responsibilities as an assessment candidate, and choose to be assessed at this time. - I am aware that there is a limit to the number of submissions that I can make for each assessment, and I am submitting all documents required to complete this Assessment Workbook. - I have organised and named the files I am submitting according to the instructions provided. I am aware that my assessor will not assess work that cannot be identified and may request the work be resubmitted according to the correct process. - This work is my own and contains no material written by another person except where due reference is made. I am aware that a false declaration may lead to the withdrawal of qualification or statement of attainment. - I am aware that there is a policy of checking the validity of qualifications that I submit as evidence as well as the qualifications/evidence of parties who verify my performance or observable skills. I give my consent to contact these parties for verification purposes. |  |  |
| --- | --- | --- |
| Name: Dawei Yang | Signature: | Date signed: 31/10/2022 |

Knowledge Assessment

- Answer the following questions about concept drawing/sketches.

- What is the significance of concept drawing/sketches? Concept drawing/sketches are simple 2D drawings that are usually created through the free-hand method

- What are sketch plans? Sketch plans are scaled drawings that show the true proportions of the building and its components

- How do you create presentation drawings? They are usually created using computer-aided design and highlights important features of the building such as elevations and sections of the building, 3D isometric and perspective views, and landscaping

- Answer the following questions about architectural plans.

- What is an architectural plan? Architectural plans are drawings that can be used to acquire details about the architectural aspects of a building and how architectural elements are integrated into the building.

- List down four details contained in an architectural plan. - Floor plans - site plans - section - detail views

- Answer the following questions about structural plans.

- What is a structural plan? Structural plans are drawings that can be used to acquire information about the structural aspects of the building

- How is a structural plan different from an architectural plan? architectural plans are concerned with information regarding the aesthetic, function, and general feel of the building, structural plans are concerned with elements that make the building strong and stable against expected external forces.

- List four details that can be found in a structural plan. - structral floor plan - foundation plan - section - connection details

- Answer the following questions about civil plans.

- What is a civil plan? Civil plan show an overview of all construction site elements and how these are integrated into each other during the construction phase.

- List two details contained in a civil plan that can be found in an architectural plan. - architectural floor plan - structural

- List two details contained in a civil plan that can be found in a structural plan. - foundation - elevation

- Answer the following questions about mechanical plans.

- What is a mechanical plan? Mechanical plans are drawings that contain the specifications related to mechanical equipment and processes

- List down two types of equipment included in a mechanical plan. - heating - cooling

- List down three details that are included in a mechanical plan. - air-conditioning units - lifts - heaters

- Answer the following questions about electrical plans.

- What is an electrical plan? Electrical plans are drawings that can be used to acquire information about building elements related to electrical systems or circuits

- List down three details contained in an electrical plan. - Wiring layout for power - Wiring layout for light - location of pannels and switches

- Answer the following questions about plumbing and drainage plans.

- What is a plumbing and drainage plan? Plumbing and draining plans provide visual representations of elements related to plumbing systems

- What is the purpose of a plumbing and drainage plan? These plans can be used as a guide in the installation of water supply and drainage components

- What are the two primary concerns addressed by a plumbing and drainage plan? - pipes - fixtrues

- List down two details contained in a plumbing and drainage plan that are related to water supply system. - size of water supply pipes - pump capacity

- List down two details contained in a plumbing and drainage plan that are related to drainage system. - mainhole sechdule - septic tank layout

- Answer the following questions about parts of a plan.

- What is a site plan? A site plan is a drawing which provides an overview of the entire property

- List five key features of a site plan. - Block identification - boundary - Road identification - verge - North point

- What is a floor plan? A floor plan is a graphical representation of a building section’s top view

- What information can be acquired from a floor plan? List five. - location of appliances - layout of walls - width of doors and windows - width of stairs - arrangement of furnitre

- What are two key differences between elevation view and section view? - Elevations are views that show the vertical projection of the building as it can be seen on the outside. - sections are views showing how a structure looks like with respect to an imaginary vertical plane that cuts through it

- List three types of information that can be found in an elevation view. - wall finish - floor to celling height - roof height

- List three types of information that can be found in a section view. - floor to celling height - demensions of doors windows and other opening - demensions of fixtrues furniture and equipment

- What is the purpose of detail views? Details are drawings that provide large scale views of parts or components of a building in order for one to examine and analyse intricate details and any complex configuration.

- Answer the following questions about datum and reduced levels (RL).

- What is the purpose of a datum in construction? a datum can be an arbitrary horizontal plane or a point outside or within the property, either real or imaginary, that is used as a reference for all vertical measurements made in the construction project.

- List two ways of how datum can be established in construction drawings. - setting at the ground floor of building - setting the lowest part of building

- What are reduced levels (RL)? vertical measurements which are established based on the datum are referred to as reduced levels (RL)

- List two ways of establishing reduced levels in construction drawings. - Using positive and negative symbols to indicate whether the reduced level is above or below - Explicitly stating whether a reduced level is above or below the reference point

- Answer the following questions about title blocks.

- What is a title block? A title block is a portion on the drawing sheet which provides general information about the drawings

- Where is a title block usually located? It is usually located at the bottom portion or at the sides (usually the right-hand side) of the drawing sheet

- List five types of information that can be obtained from the title block. - project title - project site address - date of publication - scale - sheet number

- Answer the following questions about scale and dimension drawing conventions.

- What are scale drawings used for? Scale refers to the ratio that dictates the size of scale drawings, which are drawings used for accurately illustrating real-life building components or items at fixed, reduced, and enlarged sizes.

- Describe each ratio of standard scale ranges below. Ratio; Description. - 1:100; - For one unit of the drawing, the real size of the object is 100 times bigger; or Given the real size of the object, the drawing is 100 times smaller.. - 1:2; - For one unit of the drawing, the real size of the object is two times bigger; or Given the real size of the object, the drawing is two times smaller.. - 1:1000; - For one unit of the drawing, the real size of the object is 1000 times bigger; or Given the real size of the object, the drawing is 1000 times smalle. - 1:50; - For one unit of the drawing, the real size of the object is 50 times bigger; or Given the real size of the object, the drawing is 50 times smaller.

- What is the importance of dimensions in construction drawings? Dimensions are numerical values expressed in units of measurement which are important in defining the size and other measurements of an object, including length, width, height, thickness, and the like.

- What system of measurement is used for dimensions in Australian construction drawings? metric system

- List three ways of how dimensions can be displayed in construction drawings. - decimal points - comma or space - dimension terminators

| - Listed below are the different types of plans. Identify the corresponding terminologies used and the equivalent abbreviation for the type of plan indicated. |  |  |
| --- | --- | --- |
| Type of Plan | Building and construction terminology | Abbreviation |
| - Architectural | Downpipe | DP |
|  | Plasterboard | PB |
| - Structural | Wall tie | WT |
|  | Universal beam | UB |
| - Mechanical | Air conditioning unit | ACU |
|  | Access Panel | A/p |
| - Electrical | Main switch board | MSB |
|  | General power outlet | GPO |
| - Plumbing and drainage | Water closet | WC |
|  | Urinal | U |

- Answer the following questions about utilities and services plans and specifications.

- What is the difference between a utilities plan and a services plan in the context of building construction? the utilities plan is concerned with providing information regarding the supply for electricity and water, lifts, gas supply, sewage, and other considerations necessary for the construction phase. On the other hand, the services plan is concerned with systems necessary for the smooth flow of construction operations, including fire safety detection and protection, lighting, and security and alarm.

- What is the importance of utilities specifications? Utilities specifications are important since they contain information about utilities that cannot be fully presented in the utilities drawings.

- What is the importance of services specifications? they contain information about services that cannot be presented in the services drawings.

| - Describe the aspects of drawings provided below. |  |
| --- | --- |
| Aspects of Drawings | Description |
| - Isometric drawings | Isometric drawings are 3D drawings on a 2D surface where the same scale is used for all axes. |
| - Oblique drawings | Oblique drawings are the 2D projection of 3D drawings that represent an object accurately by showing the true shape and form of the object based on the point of view of the observer. |
| - Perspective drawings | Perspective drawings are 3D drawings which show an approximate representation of an object as it is perceived by the eye. |
| - Orthographic drawings | Orthographic drawings are drawings wherein 3D images are presented in 2D, in which three views are generally produced |

- Answer the following questions about CAD drawings.

- What does CAD stands for? computer-aided design

- What are CAD drawings? CAD drawings are drawings created and modified with the use of computer software.

- How is CAD used in building and construction? CAD design is used by architects, construction managers and engineers and has replaced manual drafting. It helps users create designs in either 2D or 3D to visualise construction and enables the development, modification and optimisation of the design process.

| - Provide a brief description of the given classes of buildings according to the National Construction Code. |  |
| --- | --- |
| Building Class | Description |
| - Class 1a building | One or more buildings forming a single dwelling like: - a detached house; and - two or more attached buildings separated by a fire-resisting wall, e.g. a row house, terrace house. |
| - Class 1b building | One or more buildings which together form: - a guest house, boarding house, a hostel or something similar which does not accommodate more than 12 people and more than 300m2 floor area; or - four or more dwellings in one allotment, used for short-term accommodations for holidays. A Class 1b building cannot be located above or below another dwelling or another building class (except for a private garage). |
| - Class 2 building | A building containing two or more sole-occupancy units, each being a separate dwelling. |
| - Class 3 building | Class 3 buildings are residential buildings other than Class 1 or 2. These are long-term or transient living accommodations for unrelated people. These include the following: - boarding house, guest house, a hostel or backpackers larger than the limits of a Class 1b building - dormitory-style accommodation or workers’ quarters - healthcare facilities like accommodations for children, elderly or people with disability which must not be considered under Class 9 residential parts of motels, hotels, schools, hospitals, or jails |  |
| - Class 4 building | A Class 4 building is the only dwelling or residence within any Class 5, 6, 7, 8 or 9 buildings. |  |
| - Class 5 building | An office building used for professional or commercial purposes, except for buildings of Class 6, 7, 8 or 9. Examples include: - law office office for general medical practitioners |  |
| - Class 6 building | Buildings that directly sell goods by retail or supply services to the public, such as: - restaurants or cafés - markets, shopping centres and malls - public laundry hairdressers and barbershops |  |
| Building Class | Description |  |
| - Class 7a building | A building which is a car park. |  |  |

| - Class 7b building | The following buildings are classified under Class 7b: - warehouses - storage buildings buildings used to display or produce wholesale goods |
| --- | --- |
| - Class 8 building | These are process-type buildings such as: - buildings used for production, assembling, altering, repairing, finishing, packing or cleaning of goods or produce laboratories (classified as such because of their high potential for fire hazard) |
| - Class 9a building | Healthcare buildings in which occupants are either: - undergoing or have undergone medical treatment; or in need of physical assistance in the evacuation during emergencies. |
| - Class 9b building | Assembly buildings used for social, theatrical, political, religious or civil purposes. The following are examples of Class 9b buildings: - schools - universities - childcare centres - pre-schools - sporting facilities - night clubs public transport buildings |
| - Class 9c building | An aged care building. An aged care building is defined as residential accommodation for elderly people who are: - provided with personal care services; and - need 24-hour staff assistance to evacuate the building in an emergency. |
| - Class 10a building | A private garage, carport, shed or the like. |

| Building Class | Description |
| --- | --- |

| - Class 10b building | Structures like: - fence - mast - antenna - retaining wall - swimming pool - other such similar structures |
| --- | --- |
| - Class 10c building | A private bushfire shelter. |

| - The Building Code of Australia is divided into three volumes. Briefly describe the scope of each volume. |  |
| --- | --- |
| Volume | Description |
| - Volume One | Volume One contains technical design and construction requirements for all Classes 2 to 9 buildings (multi-residential, commercial, industrial, and public assembly buildings) and their associated structures. |
| - Volume Two | Volume Two contains technical design and construction requirements for certain residential and non-habitable buildings and structures, specifically Class 1 and Class 10 buildings. |
| - Volume Three | Volume Three contains technical requirements for the design and construction for plumbing and drainage systems in new and existing buildings. |

- Explain how the Building Code of Australia is relevant to construction drawings.

BCA sets out the technical provisions for design, construction, and performance of buildings and plumbing and drainage systems.

- Answer the following questions about NCC requirements.

- Explain what the General Requirements of buildings are. Also known as Governing Requirements, the General Requirements contain the rules and instructions for using and complying with the NCC.

- Explain what the Performance Requirements of buildings are. – These are requirements that state the minimum level of performance for buildings, as well as plumbing and drainage installations

- Explain the relationship between a building’s Performance Requirements and compliance options (e.g. performance solutions, deemed-to-satisfy solutions). These requirements can be achieved through compliance options

- Answer the following questions about standards applicable to building and construction projects.

- Explain the importance of complying with standards during a building and construction project. Complying with standards is one way to achieve compliance with government minimum requirements set out in the NCC.

- List two current standards relevant to the specification and interpretation of engineering drawings. - Dimensions AS 1100.101-1992 - AS ISO 128.20-2005

| - Specify your state/territory, and: - Identify three building and construction regulations that apply in your state/territory. - Summarise the regulatory requirements relevant to building drawings and sketches under each regulation you identified. - Provide a URL where you sourced your responses. |  |
| --- | --- |
| State/territory | QLD |

| Regulations | Regulatory requirements | URL/Source |
| --- | --- | --- |
| - smoke alarm installation | A smoke alarm must be installed in each bedroom of the domestic dwelling in a place that complies with section 12. (2) Each smoke alarm— (a) must comply with AS 3786–2014; and (b) must contain a photoelectric sensor and not an ionisation sensor; and (c) must be hardwired to the domestic dwelling’s electricity supply; and (d) must be interconnected to every other smoke alarm installed in the dwelling. | https://www.legislation.qld.gov.au/view/pdf/inforce/current/sl-2021-0126 |
| - Poor safety inspectors | means an activity undertaken by a person for the purpose of the person’s professional development relating to pool safety, including, for example, a course, seminar, workshop or conference; but (b) does not include work experience, unless the work experience is gained while the person is employed by the State or a local government. | https://www.legislation.qld.gov.au/view/pdf/inforce/current/sl-2021-0126 |
| - Work for 2 or more detached dwellings | This section applies if— (a) residential construction work includes building work for 2 or more detached dwellings; and (b) section 34 or 35 does not apply in relation to the work. (2) The insurable value of the residential construction work for each living unit is calculated by dividing the insurable value of the residential construction work by the number of living units for which the work is to be carried out. | https://www.legislation.qld.gov.au/view/pdf/inforce/current/sl-2018-0138 |

- Answer the following questions about building information modelling (BIM).

- What is building information and modelling (BIM)? Building Information Modelling (BIM) is a 3D model-based process that utilises tools and technologies that enable the creation and management of digital representations of physical and functional characteristics of structures/buildings/places.

- What is BIM used for? BIM is used to design and document building and infrastructure designs.

| - Listed in the table below are common building and construction methods you usually encounter when reading and interpreting plans. Briefly describe each method. |  |
| --- | --- |
| Building and construction methods | Description |
| - Paintworks | - refer to the application of paint or coating to materials |
| - Tilework | - refers to the application of elements such as tiles, bricks and other masonry units |
| - Steelworks | refer to the methods related to the construction of steel building elements |
| - Concrete works | refer to methods related to the construction of concrete building elements |

Practical Assessment

Candidate Instructions

The Practical Assessment is a set of tasks that must be completed in a workplace, or in an environment with conditions similar to that of a real workplace.

This assessment will help you demonstrate skill requirements relevant to reading and interpreting plans and specifications.

The Practical Assessment includes the following:

- Practical Assignment

A series of written practical tests assessing the candidate’s practical knowledge and understanding of the unit of competency.

- Workplace Assessment

A set of tasks or activities completed according to set instructions and guidelines to meet the requirements of the relevant unit. These tasks and activities require you to have access to a workplace or a similar environment.

- Practical Oral Assessment

A series of oral assessment tasks testing the candidate’s practical knowledge and understanding of the unit of competency. The candidate needs to provide their responses to these assessment tasks orally while being observed by the assessor. The assessor will then record important details from the candidate’s oral response.

Preliminary Assessment Information

| The tasks in this practical assessment must be completed in a workplace (or a similar environment) and in the context of a building and construction project which you are currently a part of. E.g. You are a builder, a site manager in training, foreperson, or an apprentice in this project, etc. Please approach your Training Provider for further assistance on accessing the resources required for this assessment. Before starting the practical assessment, record the following information for your assessor’s reference. When completing the tasks in this practical assessment ensure that your responses and performance must align with the information you have provided below. For example (but not limited to): - If the task asks you to refer to building and construction legislation and regulatory requirements, refer to the requirements that apply to the state/territory where your nominated building and construction project is undertaken. - If the task requires you to follow organisational policies and procedures, refer to the policies and procedures in your nominated organisation/workplace. |  |
| --- | --- |
| Work role/title | builder |
| Organisation/workplace | Gatton |
| Building and construction project | proposed one-storey granney flat |
| Project overview | a. got plan from client b.offer quote and client accept the quote c. mkaing and review the plan before start d. start construction under the paln e.complete the projec |
| Building classification | Class 1a |
| Project site address | 95 woodlands road Gatton |
| State/territory where this project is being undertaken | QLD |

Practical Assignment

Overview

The goal of this assessment is to assess your practical knowledge of: - Workplace safety requirements - Workplace processes - Environmental requirements This assessment has three tasks: - Task 1 – Workplace Safety Requirements - Task 2 – Workplace Processes - Task 3 – Environmental Requirements This task must be completed in the context of the workplace you have nominated in the “Preliminary Assessment Information” section. You are required to: - Access and review your workplace’s safety requirements relevant to safe design in planning building and construction - Access and review your workplace’s processes for preparing building construction plans - Review the task instructions included in this Practical Assignment. - Record your response as required in the instructions. Resources required for assessment - Workplace documents: - Workplace safety requirements relevant to safe design in planning building and construction - Workplace processes for preparing building construction plan

- Access and review your workplace’s safety requirements relevant to safe design in planning building and construction and answer the following questions.

- Explain how your workplace meets safe design at the concept development phase of a structure or building. doing the deelopment underWork Health and Safety Act 2011

- Explain your workplace’s processes for achieving a safe design. all the construction pocesses under work kealthy and safety Act 2011

- What performance requirements must the building design meet in relation to movement to and within a building? walking surfaces must have safe gradients Any stairway or ramp must— (i)have suitable handrails where necessary to assist and provide stability to people using the stairway or ramp; and (ii)have suitable landings to avoid undue fatigue of users; and (iii)be suitable for safe passage in relation to the nature, volume and frequency of likely usage; an have slip-resistant walking surfaces on ramps, and on stairway treads or near the edge of the nosing.

- What performance requirements must the building design meet in relation to fall prevention barriers? (a)one or more— (i)from a floor or roof or through an opening (other than through an openable window) in the external wall; or (ii)due to a sudden change of level within or associated with a building; or (b)2m or more from a floor through an openable window in a bedroom; or (c)4m or more from a floor through an openable window not covered by (b), a brrier must be provided which must be— (d)contiuous and extend for the full extent of the hazard; and (e)of a height to protect people from accidentally falling from the floor or roof or through the opening or openable window; and (f)strtructed to prevent people from falling through the barrier; and (g)capablele of restricting the passage of children; and (h)of strength and rigidity to withstand— (i)the foreseeable impact of people; and (ii)there appropriate, the static pressure of people pressing against it.

- Access and review your workplace’s processes for preparing building construction plans and answer the following questions.

- What types of building construction documents does your workplace produce? Construction plan

- Summarise below your workplace’s processes for creating building construction plans, including drawings and sketches. - Assemble the Right Team. ... - Define “Complete” ... - Keep the Lines of Communication Open. ... - Be Aware of Risk. ... - Always Be Planning.

- What types of software does your workplace use to create building construction plans? Project scheduling software

- List all the local and or state/territory environmental requirements that your workplace must meet to conduct building and construction work.

- Fisheries Act 1994

- Biodiscovery Act 2004

- Coastal Protection and Management Act 1995

- Forestry Act 1959

- Queensland Heritage Act 1992

Workplace Assessment

Overview

The goal of this assessment is to assess your practical knowledge and skills in: - Identifying types of plans - Reading and interpreting the plan This workplace assessment is made up of five workplace tasks: Task 1 – Confirm Currency of Plans, Specifications, and Amendments Task 2 – Confirm Details on Plans Comply with the Specifications Task 3 – Examine Detail Drawings to Determine Sizes and Thickness Task 4 – Discuss Details During the Planning Phase Task 5 – Supervise Construction Works Each task comes with a set of instructions. You are to follow and perform these instructions while being observed by the assessor and submit any required documentation. Before starting this assessment, your assessor will also discuss with you these tasks as well as instructions and guidance for satisfactorily completing them. They will also organise the resources required for this assessment (listed below). You are required to: - Complete the tasks within the time allowed, as scheduled in-class roll. - Review the instructions in each task. - Identify types of plans. - Read and interpret the plan. - Perform the workplace task according to the instructions provided - Complete and submit any required documentation. Resources required for assessment: To complete this assessment, you will need access to the following: - A workplace or a similar environment that will allow you access to: - Building and construction project - Relevant construction personnel whom the candidate will be meeting with in the planning phase of the building and construction project. - Relevant construction personnel whom the candidate will be confirming the currency of plans, specifications and amendments with. - Relevant construction personnel whom the candidate will be verifying details on the construction plans and specifications with. - Construction plans - Construction specifications - Detail drawings - Organisational policies and procedures relevant to the supervising of construction works - Documentation templates, including: - Meeting minutes template - Construction Plan Details Verification Checklist - Material Quantity Takeoff Form - Means to record any comments or issues found while supervising construction works (e.g. pen and paper) - Relevant government building and construction and contract legislation - Current building and construction codes and standards - The National Construction Code (NCC) - Computers, applications and software to access CAD.

Task 1 Confirm Currency of Plans, Specifications, and Amendments

Meet with relevant construction personnel to confirm the currency of plans, specifications and amendments, while being observed by the assessor. The construction personnel to be consulted with must be: - Architects for architectural plan - Structural Designers for structural plan - Mechanical Engineer for mechanical plan - Electrical Engineer for electrical plans - Plumbing Engineer for plumbing and drainage plans - The developer of the specifications for the verifying of specifications Use your organisation’s template for documenting meeting minutes, or you may use the Generic Meeting Minutes template provided along with this workbook. You will be assessed on: - Practical knowledge of building and construction plans - Practical skills in confirming the currency of plans, specifications and amendments with relevant construction personnel Before starting this task, review the Workplace Assessment Task 1 – Observation Form provided along with this workbook. This form lists all the practical skills you need to demonstrate while completing this task. Your assessor will also: - Provide you with a copy of policies and procedures relevant to contacting and consulting relevant construction personnel and discuss these policies and procedures with you. - Provide you with copies of the construction plans and specifications. - Organise workplace resources required for you to complete this assessment. - Discuss with you the requirements listed in the Observation Form prior to the assessment. - Address your queries and concerns regarding this task. After completing this task, submit the following to your assessor: - Meeting minutes of your discussion with relevant construction personnel - Construction plans and specifications you used in the meeting

Task 2 Confirm Details on Plans Comply with the Specifications

Obtain a copy of the Construction Plan Details Verification Checklist from your assessor. Use this checklist to verify whether details on the construction plans comply with the specifications. You will be assessed on: - Practical knowledge of building and construction plans and specifications - Practical skills in confirming the compliance of the details specified in construction plans with the construction specifications Before starting this task, review the Workplace Assessment Task 2 – Assessor’s Checklist provided along with this workbook. This form lists the criteria your Construction Plan Details Verification Checklist submission must address to complete this task satisfactorily. Your assessor will also: - Provide you with copies of the construction plans and specifications. - Organise workplace resources required for you to complete this assessment. - Discuss with you the requirements listed in the Assessor’s Checklist prior to the assessment. - Address your queries and concerns regarding this task. After completing this task, submit the following to your assessor: - Completed Construction Plan Details Verification Checklist - Construction plans you reviewed - Project specifications used as reference for this assessment task

Task 3 Examine Detail Drawings to Determine Sizes and Thickness

Obtain a copy of the Material Quantity Takeoff Form from your assessor. Use this form to record the sizes, thickness, and quantity of the materials from the detail drawings used on the building and construction project. You will be assessed on: - Practical knowledge of the sizes, thickness and quantity of construction items - Practical skills in examining detail drawings to determine sizes and thickness - Practical skills in interpreting two-dimensional and three-dimensional drawings and applying to estimation Before starting this task, review the Workplace Assessment Task 3 – Assessor’s Checklist provided along with this workbook. This form lists the criteria your Material Quantity Takeoff Form submission must address to complete this task satisfactorily. Your assessor will also: - Provide you with copies of the detail drawings. - Organise workplace resources required for you to complete this assessment. - Discuss with you the requirements listed in the Assessor’s Checklist prior to the assessment. - Address your queries and concerns regarding this task. After completing this task, submit the following to your assessor: - Completed Material Quantity Takeoff Form - Detail drawings you used as basis in determining the sizes, thickness and quantity of materials

Task 4 Discuss Details During the Planning Phase

While being observed by your assessor, discuss the details of your Material Quantity Takeoff Form submission with relevant construction personnel during the planning phase of the construction project. You will be assessed on: - Practical knowledge of two-dimensional and three-dimensional drawings - Practical skills in interpreting two-dimensional and three-dimensional drawings and applying to planning Before starting this task, review the Workplace Assessment Task 4 – Observation Form provided along with this workbook. This form lists all the practical skills you need to demonstrate while completing this task. Your assessor will also: - Provide you with copies of the construction plans and detail drawings, for your reference. - Organise workplace resources required for you to complete this assessment. - Discuss with you the practical skills listed in the Observation Form prior to the assessment. - Address your queries and concerns regarding this task. After completing this task, submit the following to your assessor: - Material Quantity Takeoff Form you used during the discussion - Construction plans and detail drawings you used as reference during the discussion

Task 5 Supervise Construction Works

While being observed by your assessor, supervise the construction of the items specified in your Material Quantity Takeoff Form submission. Activities you supervise may include but are not limited to: - Installation of cabinetry and appliances (e.g. oven, refrigeration, dishwashing) - Installation of walls (e.g. bricks, panels, framing) - Installation of tiles (e.g. wall tiles, floor tiles) You will be assessed on: - Practical knowledge of the sizes, thickness and quantity of construction items - Practical skills in interpreting two-dimensional and three-dimensional drawings and applying to supervisory tasks Before starting this task, review the Workplace Assessment Task 5 – Observation Form provided along with this workbook. This form lists all the practical skills you need to demonstrate while completing this task. Your assessor will also: - Provide you with the a copy of policies and procedures relevant to the supervising of construction works, for your reference; and discuss these policies and procedures with you. - Provide you with copies of the construction plans and detail drawings, for your reference. - Organise workplace resources required for you to complete this assessment. - Discuss with you the practical skills listed in the Observation Form prior to the assessment. - Address your queries and concerns regarding this task. After completing this task, submit the following to your assessor: - A record of your comments or any issues found while supervising the construction works - Material Quantity Takeoff Form you used during the supervising of construction works - Construction plans and detail drawings you used during the supervising of construction works

Practical Oral Assignment

Overview

The goal of this assessment is to assess your practical knowledge and skills in: - Identifying types of plans - Reading and interpreting plans - Identifying structural details - Identifying non-structural details This assessment is divided into 12 oral assessment tasks. Task 1 – Types of Plans and Aspects Task 2 – Construction Plans Task 3 – Materials from Specifications Task 4 – Concrete Footing and Slab Task 5 – Load Bearing Points Task 6 – Load Bearing Information Task 7 – Wind Bracing and Tie-Down Requirements Task 8 – Wind Bracing Materials and Tie-Down Methods Task 9 – Provisional Sum and Prime Cost Items Task 10 – Installation and Connection Points of Services Task 11 – Location of Fixtures Task 12 – Details of Finishes The assessment items included in this assessment will require you to demonstrate your knowledge and skills relevant to reading and interpreting plans. This assessment will be conducted by your assessor. You will not record anything in this workbook when completing the assessments here. However, you will be required to provide your responses to the assessments orally while being observed by your assessor. Your assessor will then record important details from your response which will then be assessed. You are required to: - Complete the tasks within the time allowed, as scheduled in class roll. - Listen carefully to your assessor’s instructions for each assessment task. - Provide the responses as required in the instructions for each assessment task. Resources required for assessment: To complete this assessment, you will need access to the following: - Construction plans, including: - Site plan - Floor plan - Detail drawings - Structural drawings - Construction specifications - Wind bracing table - Construction contract

Task 1 Types of Plans and Aspects

Review the construction plans for the project you are undertaking for this assessment. Your assessor will be asking you a series of questions about these construction plans. Answer each question carefully and as instructed by your assessor. Your assessor will record your responses in the spaces provided in each item. You will be assessed on: - Practical knowledge of the types of plans and aspects of drawings - Practical skills in identifying the types of plans and aspects of drawings specific for the intended purpose

- While being observed by your assessor: - Identify what type of plan each one is. - Explain the purpose of each plan. Your assessor will record your responses below.

| Type of Plan |  | Did the candidate identify this plan correctly? | Purpose |
| --- | --- | --- | --- |
| 1 | Concept drawing/sketches | YES NO | Concept drawing/sketches are simple 2D drawings that are usually created through the free-hand method. |
| 2 | Architectural plans | YES NO | offer the details and elements of the building. |
| 3 | Structural plans | YES NO | make the building strong and stable against expected external forces. |
| 4 | Civil plans | YES NO | These drawings show an overview of all construction site elements and how these are integrated into each other during the construction phase.. |

| Type of Plan |  | Did the candidate identify this plan correctly? | Purpose |
| --- | --- | --- | --- |
| 5 | Mechanical plans | YES NO | as a reference is when you need to locate where the different types of mechanical equipment are placed in the building. |
| 6 | Electrical plans | YES NO | .as a reference in instances where you need to quantify the number of lights in a specific area ( |
| 7 | Plumbing and draining plans | YES NO | as a guide of water sysytem installation |

- While being observed by your assessor: - Identify what aspect of drawing each one is. - Explain the purpose of each aspect.

| Aspects of Drawings |  | Did the candidate identify this aspect of drawings correctly? | Purpose |
| --- | --- | --- | --- |
| 1 | Site plan | YES NO | all site elements to be considered in the construction of a building and gives an idea of the entire scope of work involved in the project |
| 2 | Floor plan | YES NO | arrangement of elements such as walls, columns, doors, and windows and defines the limits of the building’s different spaces. |
| 3 | Elevations | YES NO | how the building façade looks like at the front (front view), back (rear view), and sides (right side and left side view). |
| 4 | Sections | YES NO | views allow one to look at the building interior, one can analyse the relationships among and integration of building interior elements. |

| Aspects of Drawings |  | Did the candidate identify this aspect of drawings correctly? | Purpose |
| --- | --- | --- | --- |
| 5 | Details | YES NO | detail drawings are used for the purpose of seeing and understanding exactly how a job is to be properly done |
| 6 | Isometric drawings | YES NO | Isometric drawings are used for the purpose of viewing a 3D image with the corresponding scaled dimensions since these drawings represent a non-distorted version of an object. |
| 7 | Oblique drawings | YES NO | directly looking at certain features of an object based on the desired view of the viewer. |
| 8 | Perspective drawings | YES NO | having a realistic look at the building. The image shown is an example of a perspective drawing. |

| Aspects of Drawings |  | Did the candidate identify this aspect of drawings correctly? | Purpose |
| --- | --- | --- | --- |
| 9 | Orthographic drawings | YES NO | examining how building spaces or elements look in a top, front, or side view, and identifying relationships among building elements based on the view. |

Task 2 Construction Plans

Review the construction plans for the project you are undertaking for this assessment. Your assessor will be asking you a series of questions about these construction plans. Answer each question carefully and as instructed by your assessor. Your assessor will record your responses in the spaces provided in each item. You will be assessed on: - Practical knowledge of the construction plans - Practical skills in reading and interpreting the plans

- While being observed by your assessor, identify one key feature for each of the following plans: - Concept drawing/sketches - Architectural plans - Structural plans - Civil plans - Mechanical plans - Electrical plans - Plumbing and draining plans - Utilities and services plans Explain how each indicated key feature distinguishes the plan from other types of plans.

| Type of Plan | Key Feature | How does this key feature distinguish the plan from the other types of plans? |
| --- | --- | --- |
| - Concept Drawing/Sketches | - Preliminary design concepts Preliminary 2D and 3D views of the building | use of pen and paper |

| Type of Plan | Key Feature | How does this key feature distinguish the plan from the other types of plans? |
| --- | --- | --- |
| - Architectural Plans | - Architectural floor plan - Site plan - Elevations - Section view - Perspective view - Detail views of architectural elements Schedule of windows and doors | all the details of building |
| - Structural Plans | - Structural floor plan - Foundation plan - Elevations - Section view - Detail views - Connection details Schedule of materials (e.g. beams, footing, etc.) | make the building strong |
| - Civil Plans | contours of the landscape | typically provided to Civil Engineers. |
| - Mechanical Plans | - Size, type, and layout of ducting - HVAC layout - Thermostat type and location Heat-loss and heat-gain calculations | Location size and layout of equipment |
| - Electrical Plans | - Wiring layout for power - Wiring layout for lighting - Location of panels and switches Schedule of loads | identify all electrical stuff |
| - Plumbing and Draining Plans | - Sizes of water supply pipes - Pump capacity - Quantity of pumps - Layout of piping for potable and non-potable water - Manhole schedule - Septic tank layout - Location of sanitary fixtures Slope of drainage pipes | wate and drainage sysytem only |
| - Utilities and Services Plans | - Location and connection layout of electric, water, plumbing, gas, and mechanical utilities Location and specifications for lighting, security and alarm systems, and fire detection and protection | supplement the drawings contained in the utilities and services plan |

- While being observed by your assessor, answer the following questions about site plans.

| Questions | Candidate Responses |
| --- | --- |
| What is the address of the building project? | 72 colemans road Dandenong South VIC |
| What is the block number of the land where the building is to be constructed? | LOT 63 |
| What is the name of the road adjacent to the block of land? | Road identification |
| Based on the north point, describe the orientation of: | Wattle drive |
| - The proposed building | - Lot 62 LOT64 LOT67 |
| - The road used to access the entrance of the property | Brkpv path brkpv drive way |
| What is the elevation of the datum? | 15 |
| What are the elevations (reduced levels) of the site contours? | 15.43 |
| Describe the contour of the land based on the site contour. | the land is uniformly sloping from the rear-left corner to the front-right corner of the property. |

| Questions | Candidate Responses |
| --- | --- |
| What are the site features to be removed? | no features are specified to be removed |
| What are the site features to be retained? | trees |

- While being observed by your assessor, answer the following questions about floor plans.

| Questions | Candidate Responses |
| --- | --- |
| Describe the shape of the layout of the building. | straightforward |
| Identify all the building spaces in the floor plan and their corresponding dimensions. | Building Space: overall site Dimensions: 1517.8m2 |
|  | Building Space: strata lot1 Dimensions: 680.87m2 |
|  | Building Space: strata lot2 Dimensions: 630.86m2 |
|  | Building Space: house Dimensions: 263.29m2 |
|  | Building Space: garage Dimensions: 51.57m2 |
|  | Building Space: porch Dimensions: 6.25m2 |
| - While being observed by your assessor, answer the following questions about internal linings, external cladding and roof materials. |  |

| Questions | Candidate Responses |
| --- | --- |
| What materials are used for the internal linings of the building? | Plasterboards |
|  | timberboard |
| What materials are used for the external cladding of the building? | coatings |
|  | bricks |
| What are the different roof materials used in the building project? | - Steel or timber rafters |
|  | - Steel or timber purlins |
|  | - Sarking |
|  | - Roof tiles (e.g. concrete, clay, metal) |
|  | - Shingles |
|  | Various profile metal sheeting |

- Based on the detail drawings, what are the methods of construction applied for the building project?

Paintworks or coating works

Earthworks

Concrete works

Steelworks or reinforcement works

Carpentry works

Tile/brick/block work

Task 3 Materials from Specifications

Review the specifications document for the project you are undertaking for this assessment. While being observed by your assessor, answer the following questions. Your assessor will record your responses in the spaces provided below. You will be assessed on: - Practical knowledge of the specifications document - Practical skills in identifying materials from the specifications document

| Questions | Candidate Responses |  |
| --- | --- | --- |
| What materials are used for the internal linings of the building? | plaster smooth float and set |  |
|  | gyprock type of plaste |  |
| What materials are used for the external cladding of the building? | maxi |  |
|  | verticorc with painted render |  |
| What are the different roof materials used in the building project? |  | - Zincalume flashing |
|  |  | - Silicon purpose made Colorbond flashing |
|  |  | - Zincalume Klip-Lok roof sheeting |
|  |  | - Steel purlins |
|  |  | - Steel angle |

Task 4 Concrete Footing and Slab

Review the construction plans for the project you are undertaking for this assessment, and while being observed by your assessor: - Identify the position of each footing and slab-on-ground in the plans by pointing to each of them. - For each one located, identify the following: - Size of footing - Size of slab-on-ground - The type of reinforcing applied Your assessor will record your responses in the spaces provided below. You will be assessed on: - Practical knowledge of concrete footing and slab sizes and position and type of reinforcing - Practical skills in identifying the concrete footing and slab sizes and position and type of reinforcing

| Footing |  |  |  |
| --- | --- | --- | --- |
| Position | Candidate was able to identify the footing in this position | Size | Type of reinforcing |
| 1 - SF1 | YES NO | 800x300DP | L8TM |
| 2 - PF1 | YES NO | 1200x1200x300DP | N12-200CTS |
| 3 - PF3 | YES NO | 1200X1200X300DP | N12-200CTS |
| 4 - SF2 | YES NO | 600X300DP | L8TM |

| Slab-on-ground |  |  |  |
| --- | --- | --- | --- |
| Position | Candidate was able to identify the slab in this position | Size | Type of reinforcing |
| 1 - Office Slab | YES NO | 100 | SL62 |
| 2 - Warehouse slab | YES NO | 125 | SL72 |

Task 5 Load Bearing Points

Review the construction plans for the project you are undertaking for this assessment, and while being observed by your assessor, locate the load bearing points (or columns) in the plans by pointing to each of them in the plan. Your assessor will record your responses in the spaces provided below. You will be assessed on: - Practical knowledge of the load bearing points of the building - Practical skills in identifying the load bearing points of the building

| Load bearing points (or columns) | The candidate correctly locates this load bearing point in the plan. |
| --- | --- |
| 1 | YES NO |
| 2 | YES NO |
| 3 | YES NO |
| 4 | YES NO |
| 5 | YES NO |
| 6 | YES NO |
| 7 | YES NO |
| 8 | YES NO |
| 9 | YES NO |

Task 6 Load Bearing Information

Review the structural drawings of structural members (e.g. columns, beams) and the specifications document for the project you are undertaking for this assessment. While being observed by your assessor: - Identify the strength of steel and concrete from the structural drawings. - Indicate whether the strength of steel and concrete identified from the structural drawings are consistent with the information in the project specifications. If your answer is NO, explain why the information in the structural drawings are not consistent with the specifications. Your assessor will record your responses in the spaces provided below. You will be assessed on: - Practical knowledge of load bearing information from plans and specifications - Practical skills in identifying structural load bearing information of the building and comparing information from specifications

| Strength of Steel: | 170 to 450 N/mm². |
| --- | --- |
| Is the strength of steel specified in the structural drawings, consistent with the information in the project specifications? YES NO Explanation (Candidate to explain if their response is no) |  |
| Strength of Concrete: | N25 |
| Is the strength of concrete specified in the structural drawings, consistent with the information in the project specifications? YES NO Explanation (Candidate to explain if their response is no) |  |

Task 7 Wind Bracing and Tie-Down Requirements

Review the construction plans and specifications for the project you are undertaking for this assessment. While being observed by the assessor, identify the wind bracing requirements and tie-down requirements for the building project. Your assessor will record your responses in the spaces provided below. You will be assessed on: - Practical knowledge of wind bracing and tie-down requirements - Practical skills in identifying wind bracing and tie-down requirements

What are the wind bracing requirements?

cross bracing

a triangulation system

roof framing plan

roof details

What are the tie-down requirements?

galvanised nails

bolts

steel pannels

Task 8 Wind Bracing Materials and Tie-Down Methods

Review the construction plans and specifications for the project you are undertaking for this assessment. Confirm whether the wind bracing materials and tie-down methods found in the plans and specifications are accurate against the wind bracing table provided by your assessor. Your assessor will record your responses in the spaces provided below. You will be assessed on: - Practical knowledge of wind bracing and tie-down requirements - Practical skills in identifying wind bracing and tie-down requirements

| Wind bracing materials (Assessor to list wind bracing materials below) | Candidate’s confirmation to whether the wind bracing material is accurate against the wind bracing table |
| --- | --- |
| e.g. 45 x 19 mm hardwood timber | y |
| e.g. galvanised metal angle (18 x 16 x 1.2 mm) | y |
| e.g. 30 x 0.8 mm tensioned metal brace | n 30 x 2.8 mm |

| Tie-down methods (Assessor to list tie-down methods below.) | Candidate’s confirmation to whether the tie-down method is accurate against the wind bracing table |
| --- | --- |
| e.g. 1/50 x 2.8 mm Ø galvanised flat-head nail driven to fix brace to stud and plate | n |
| e.g. 2/30 x 2.8 mm Ø galvanised flat-head nail driven to fix brace to plate | n |
| e.g. 1/30 x 2.8 mm Ø nail driven to fix brace to studs | y |

Task 9 Provisional Sum and Prime Cost Items

Review the construction plans and specifications, as well as the construction contract, for the project you are undertaking for this assessment. Identify the following based on the documents you reviewed: - Provisional sum (PS) items - Prime cost (PC) items Your assessor will record your responses in the spaces provided below. You will be assessed on: - Practical knowledge of provisional sum and prime cost items - Practical skills in identifying provisional sum and prime cost items

What are the prime cost items?

kitchen over

Multimedia room floor tiles

What are the provisional sums items?

Pool excavation

Front yard landscapin

Task 10 Installation and Connection Points of Services

Review the construction plans for the project you are undertaking for this assessment, and while being observed by your assessor: - Locate the installation points of services by pointing to each one in the plan - Locate the connection points of services by pointing to each one in the plan Your assessor will record your responses in the spaces provided below. You will be assessed on: - Practical knowledge of the installation and connection points of building services - Practical skills in locating the installation and connection points of building services

| Installation Points of Services (Assessor to list all installation points of services) | The candidate correctly locates this installation point in the plan. |
| --- | --- |
| e.g. Gas supply at kitchen | YES NO |
| e.g. Air conditioning at master's bedroom | YES NO |
| e.g. Fire detection at kitchen | YES NO |

| Connection Points of Services (Assessor to list all connection points of services) | The candidate correctly locates this connection point in the plan. |
| --- | --- |
| e.g. Sewer connection point | YES NO |
| e.g. Utility pole | YES NO |
| e.g. Water supply connection point | YES NO |

Task 11 Location of Fixtures

Review the construction plans for the project you are undertaking for this assessment, and while being observed by your assessor, locate fixtures in the plans by pointing each one in the plan Your assessor will record your responses in the spaces provided below. You will be assessed on: - Practical knowledge of fixtures - Practical skills in identifying the location of fixtures from plans

| Fixtures (Assessor to list all fixtures) | The candidate correctly locates this fixture in the plan. |
| --- | --- |
| e.g. water closet bowl | YES NO |
| e.g. ceiling fan | YES NO |
| e.g. sprinkler system | YES NO |

Task 12 Details of Finishes

Review the specifications document for the project you are undertaking for this assessment. Identify details of finishes from the specifications. Your assessor will record your responses in the spaces provided below. You will be assessed on: - Practical knowledge of wind bracing and tie-down requirements - Practical skills in identifying wind bracing and tie-down requirements

| Finishes | Details of finishes from the specifications |
| --- | --- |
| Ceilings | - sealed all over with pigmented sealer and applied with two coats of white painting. |
| Walls | applied with two coats of low sheen acrylic wall paint |
| Wet area ceilings | applied with two coats of semi gloss enamel |

Assessment Workbook Checklist

TO THE CANDIDATE When you have completed this assessment workbook, review your work, and ensure that: - You have completed all the Knowledge Assessments Questions. - You have completed the Practical Assessments in this workbook - Practical Assignment - Workplace Safety Requirements - Workplace Processes - Environmental Requirements - Workplace Assessment - Confirm Currency of Plans, Specifications, and Amendments - Confirm Details on Plans Comply with the Specifications - Examine Detail Drawings to Determine Sizes and Thickness - Discuss Details During the Planning Phase - Supervise Construction Works - Practical Oral Assignment - Types of Plans and Aspects - Construction Plans - Materials from Specifications - Concrete Footing and Slab - Load Bearing Points - Load Bearing Information - Wind Bracing and Tie-Down Requirements - Wind Bracing Materials and Tie-Down Methods - Provisional Sum and Prime Cost Items - Installation and Connection Points of Services - Location of Fixtures - Details of Finishes - You have saved and submitted the following evidence: - This completed workbook - Assessment Workbook Cover Sheet signed and scanned - You have saved and submitted the following evidence: - Workplace Assessment Task 1 - Meeting minutes of your discussion with relevant construction personnel - Construction plans and specifications you used in the meeting - Workplace Assessment Task 2 - Completed Construction Plan Details Verification Checklist - Construction plans you reviewed - Project specifications used as reference for this assessment task - Workplace Assessment Task 3 - Completed Material Quantity Takeoff Form - Detail drawings you used as basis in determining the sizes, thickness and quantity of materials - Workplace Assessment Task 4 - Material Quantity Takeoff Form you used during the discussion - Construction plans and detail drawings you used as reference during the discussion - Workplace Assessment Task 5 - A record of your comments or any issues found while supervising the construction works - Material Quantity Takeoff Form you used during the supervising of construction works - Construction plans and detail drawings you used during the supervising of construction works IMPORTANT: You must achieve a satisfactory result in ALL assessment tasks to be deemed COMPETENT for the unit/s relevant to this workbook. To be deemed competent in the unit/s of competency relevant to this workbook, you must successfully complete all the requirements listed above according to the prescribed benchmarks provided to the assessor.

TO THE ASSESSOR When you have completed assessing the assessment workbook, review the candidate’s submission against the checklist below: - The candidate has completed all the Knowledge Assessments Questions. - The candidate has completed the Practical Assessments in this workbook - Practical Assignment - Workplace Safety Requirements - Workplace Processes - Environmental Requirements - Workplace Assessment - Confirm Currency of Plans, Specifications, and Amendments - Confirm Details on Plans Comply with the Specifications - Examine Detail Drawings to Determine Sizes and Thickness - Discuss Details During the Planning Phase - Supervise Construction Works - Practical Oral Assignment - Types of Plans and Aspects - Construction Plans - Materials from Specifications - Concrete Footing and Slab - Load Bearing Points - Load Bearing Information - Wind Bracing and Tie-Down Requirements - Wind Bracing Materials and Tie-Down Methods - Provisional Sum and Prime Cost Items - Installation and Connection Points of Services - Location of Fixtures - Details of Finishes - The candidate has saved and submitted the following evidence: - This completed workbook - Assessment Workbook Cover Sheet signed and scanned - The candidate has saved and submitted the following evidence: - Workplace Assessment Task 1 - Meeting minutes of their discussion with relevant construction personnel - Construction plans and specifications they used in the meeting - Workplace Assessment Task 2 - Completed Construction Plan Details Verification Checklist - Construction plans they reviewed - Project specifications used as reference for this assessment task - Workplace Assessment Task 3 - Completed Material Quantity Takeoff Form - Detail drawings they used as basis in determining the sizes, thickness and quantity of materials - Workplace Assessment Task 4 - Material Quantity Takeoff Form they used during the discussion - Construction plans and detail drawings they used as reference during the discussion - Workplace Assessment Task 5 - A record of their comments or any issues found while supervising the construction works - Material Quantity Takeoff Form they used during the supervising of construction works - Construction plans and detail drawings they used during the supervising of construction works IMPORTANT: The candidate must achieve a satisfactory result in ALL assessment tasks to be deemed COMPETENT for the unit/s relevant to this workbook. To be deemed competent in the unit/s of competency relevant to this workbook, the candidate must successfully complete all the requirements listed above according to the prescribed benchmarks.

Record of Assessment (Assessor’s Use Only)

| RECORD OF ASSESSMENT |  |
| --- | --- |
| Candidate’s Name |  |
| RTO Name |  |
| RTO Contact Number |  |
| RTO Email Address |  |
| Assessor’s Name |  |
| Unit of Competency |  |

| Knowledge Assessment | S | NYS |
| --- | --- | --- |
| Question 1 |  |  |
| Question 2 |  |  |
| Question 3 |  |  |
| Question 4 |  |  |
| Question 5 |  |  |
| Question 6 |  |  |
| Question 7 |  |  |
| Question 8 |  |  |
| Question 9 |  |  |
| Question 10 |  |  |
| Question 11 |  |  |
| Question 12 |  |  |
| Question 13 |  |  |
| Question 14 |  |  |
| Question 15 |  |  |
| Question 16 |  |  |
| Question 17 |  |  |
| Question 18 |  |  |
| Question 19 |  |  |
| Question 20 |  |  |
| Question 21 |  |  |
| Question 22 |  |  |
| Question 23 |  |  |

| Practical Assessment |  |  |
| --- | --- | --- |
| Practical Assignment | S | NYS |
| Task 1 |  |  |
| Task 2 |  |  |
| Task 3 |  |  |
| Workplace Assessment | S | NYS |
| Task 1 |  |  |
| Task 2 |  |  |
| Task 3 |  |  |
| Task 4 |  |  |
| Task 5 |  |  |
| Practical Oral Assignment | S | NYS |
| Task 1 |  |  |
| Task 2 |  |  |
| Task 3 |  |  |
| Task 4 |  |  |
| Task 5 |  |  |
| Task 6 |  |  |
| Task 7 |  |  |
| Task 8 |  |  |
| Task 9 |  |  |
| Task 10 |  |  |
| Task 11 |  |  |
| Task 12 |  |  |

| Rules of Evidence | S | NYS |
| --- | --- | --- |
| All knowledge and skills evidence submissions are valid |  |  |
| All knowledge and skills evidence submissions are authentic |  |  |
| All knowledge and skills evidence submissions are sufficient |  |  |
| All knowledge and skills evidence submissions are current |  |  |

| Signature Authentication Checklist This checklist will guide you in authenticating the signatures provided by the candidate in their assessment workbook and evidence submissions. Read each checklist item and tick the box only if you confirm that the item is a true and accurate reflection of the signature authentication you have conducted. |  |
| --- | --- |
| Checklist | Completed |
| I have checked the signature provided by the candidate in the Assessment Workbook Cover Sheet against the signature they provided to the Training Provider. |  |
| I confirm the signature provided by the candidate in the Assessment Workbook Cover Sheet matches the signature they provided to the Training Provider. |  |
| I confirm ALL signatures provided by the candidate in their evidence submissions match with the signature they provided to the Training Provider. |  |

Third-Party Verification Log Instructions for the Assessor: You are required to contact all third-party personnel involved in the candidate’s assessment to verify the candidate’s performance and evidence submissions and to confirm with them whether the candidate’s evidence submissions are true and accurate. Complete this Third-Party Verification Log to document your completion of this process. When completing this log, provide all of the following required information for each third-party personnel: - Name of third-party personnel contacted - Role in the candidate’s assessment (e.g. workplace supervisor, observer, or candidate) - Contact details (phone number or email address) - Date contacted You must also confirm that third-party personnel have verified the candidate’s evidence submissions are true and accurate.

| Name of Third-party Contacted | Role in the Candidate’s Assessment | Contact Details (Phone number or email address) | Date contacted | Third-Party verifies evidence submissions of the candidate are true and accurate? |
| --- | --- | --- | --- | --- |
|  |  |  |  | Yes No Assessor’s Notes |
|  |  |  |  | Yes No Assessor’s Notes |
|  |  |  |  | Yes No Assessor’s Notes |
|  |  |  |  | Yes No Assessor’s Notes |

| Overall Result for this Workbook | S | NYS |
| --- | --- | --- |
| Overall Result |  |  |

Assessor’s comments/feedback

| Assessor Declaration I declare that the results recorded in this Record of Assessment are true and accurate. |  |
| --- | --- |
| Assessor’s name | Assessor’s signature |
| Date signed |  |

End of Record of Assessment (For the Assessor’s Use Only)

End of Document