## Sheet1
Item | Description | Unit | Qty | Rate | Amount
| ESTABLISHMENT | Item | 1 | 3500 | 3500
All rates to be reviewed once final design is available. As stated in Tender request these are budetary rates.
STORMWATER DRAINAGE
| Installation of steel-reinforced concrete pipe culvert components, Class [2], [300] mm diameter, [B1] environment. | m | 273 | 95 | 25935
| Installation of steel-reinforced concrete pipe culvert components, Class [2], [375] mm diameter, [B1] environment. | m | 127 | 95 | 12065
| Installation of steel-reinforced concrete pipe culvert components, Class [2], [450] mm diameter, [B1] environment. | m | 14 | 100 | 1400
| Supply and installation of Field Inlet 900 x 900 Grate Cover Type 2 No Apron | no | 11 | 1250 | 13750
SEWER RETICULATION
| Supply and Installation of Sewer Reticulation Within Lot 1 - 150mm dia. SN8 Pipe | m | 75 | 110 | 8250
| Connection to Main Lot 1 - 2.5m depth to main. Application and fees by others. | no | 1 | 3500 | 3500
| Supply and Installation of Sewer Reticulation Within Lot 3 - 150mm dia. SN8 Pipe | m | 100 | 110 | 11000
| Connection to Main Lot 3 - 1.9m depth to main. Application and fees by others. | no | 1 | 3200 | 3200
| Testing and CCTV of Sewer Mains | Item | 1 | 2500 | 2500
WATER RETICULATION
| Supply and Installation of Water Reticulation Within Lot 1 - 150mm dia. PN16 Pipe | m | 300 | 100 | 30000 | Allow some bends/fittings
| Connection to Main Lot 1 - 2.5m depth to main. Application and fees by others. | no | 1 | 2500 | 2500
| Supply and Installation of Water Meter 150mm diameter | no | 1 | 8300 | 8300
| Supply Installation of Water Reticulation Within Lot 2 - 150mm dia. PN16 Pipe | m | 75 | 100 | 7500 | Allow some bends/fittings
| Supply and Installation of Water Reticulation Within Lot 3 - 150mm dia. PN16 Pipe | m | 200 | 100 | 20000 | Allow some bends/fittings
| Connection to Main Lot 3 - 2.5m depth to main. Application and fees by others. | no | 1 | 2500 | 2500
| Supply and Installation of Water Meter 150mm diameter | no | 1 | 8300 | 8300
| Testing and Chlorination of Water Mains | Item | 1 | 2200 | 2200
166400