Jeremy Tydd

CPCCBC4010 Apply structural principles to residential and commercial constructions

Photographic evidence of projects, description including structural elements.

All structural steel works is in accordance with AS4100, AS1418, AS/NZS1554

C1 Members are 100x 5mm SHS Columns, these are the two large posts holding the structure up on the outside.

C2 members are 76x4.5 mm CHS  and there is 4 off them the are able to be a little smaller as there is 4, as 76mm sits on the top plate of the house a lot neater.