CPCCBC4001A

Apply building codes and standards to the construction process for low rise building projects

THEORY EXAM INSTRUCTIONS - This exam will occur under standard assessment conditions. - An oral examination may be allowed under certain circumstances. Answers will be documented and FT003 (Oral examination declaration form) must be completed. - Participants must provide enough detail in their responses to demonstrate their knowledge and skills. - Please fill in the details below, providing your name, signature and date of assessment. - Your signature acknowledges that this is your own work. - If a participant initially answers a question incorrectly but modifies their response, they must follow the instructions below: - If a participant changes their response in writing, they must put their initials next to the written change. - If a participant changes their response verbally, this must be noted on the exam paper by the assessor.

| Participant name | Justin Skehan |
| --- | --- |
| Participant signature |  |

| Assessor name |  |
| --- | --- |
| Assessor signature |  |

| Date | 6/05/2018 |
| --- | --- |

| Number of questions | Number of questions answered correctly | Satisfactory? |  |
| --- | --- | --- | --- |
| 35 |  | Yes | No |

Assessor Comments

The diagram below represents an external house wall, shows part of roof and eave and a window in the wall and the vertical boundary line fence is shown a prescribed measurement of 900mm from the house wall to allow light from the sun to reach the window.

- What type of regulation could allow a lesser distance to be used if appropriate justification was provided?

In what document/s might you find the appropriate information?

| Answer | You will find the information in the Building Code Vol.2 3.7.1 Fire Safety As this is a performance base regulation the regulation could allow a lesser distance to the boundary line if an appropriate justification can be provided. You may also find relevant standards like AS 3959-2009 Construction of buildings in bushfire-prone areas |  |
| --- | --- | --- |

In regard to the above 900mm distance from house wall to boundary fence and in using or referencing performance-based regulations in the BCA what else should you be aware of and consider?

| Answer | You may also have to consider compliance to sections Part 3.7.1 Fire Separation Parts 3.7.1.3, 3.7.1.5 Figures 3.7.1.2, 3.7.1.3. (This wall is required to have a Fire-resistance level (FRL) of 60/60/60, so this consideration must be considered to maintain the FRL of the external wall of the residence when locating opening windows near boundaries). Dimensions between external walls and boundaries may also be subject to local government planning laws. |  |
| --- | --- | --- |

Who has responsibility for producing and maintaining The Building Code of Australia (BCA) and who is it done on behalf of?

| Answer | The Australian Building Codes Board (ABCB) on behalf of the Commonwealth Government and each State and Territory Government has the responsibility of producing and maintaining the Building Code of Australia (BCA) . |  |
| --- | --- | --- |

Fill in the missing words to complete the following two sentences.

provisions

Technical

Design

construction

Document

Performance based

The BCA is a uniform set of ___________ ______________ for the __________ and ______________ of buildings and other structures throughout Australia.

Legislative

Requirements

It is a ______________________ ________________ that is referenced so that your building system or material can demonstrate that it meets certain performance requirements in order to meet __________________ ____________________.

| Answer |  |  |
| --- | --- | --- |

What is the principal goal of the Building Code of Australia (BCA)?

| Answer | The principal goal of the BCA is to enable the achievement of a set of nationally consistent, minimum necessary standards of safety, health, amenity and sustainability objectives. |  |
| --- | --- | --- |

How many volumes are there in the BCA and to what do the volumes refer?

| Answer | There are 3 volumes with amendments there are listed below - NCC 2016 Guide Amendment 1 - Provides guidance to NCC 2016 Vol.1 Amndmnt 1 for multi-res, commercial, industrial and public buildings and structures. - NCC 2016 Volume One Amendment 1 - Vol.1 Amndmnt 1 contains the requirements for multi-res, commercial, industrial and public buildings and structures. - NCC 2016 Volume Two - Contains the requirements for residential and non-habitable buildings and structures. - NCC 2016 Volume Three - Contains the requirements for plumbing and drainage for all classes of buildings. - NCC 2016 Consolidated Performance Requirements Amendment 1 - Contains all the Performance Requirements and supporting General Requirements as extracted from NCC 2016 Volume One Amendment 1, Volume Two and Volume Three. |  |
| --- | --- | --- |

Explain the BCA performance requirements for low rise projects from the diagram below.

| Answer | The Building Code of Australia’s performance requirements for low rises projects, outline the suitable level of performance for building materials, components, design factors, and construction methods for a building to meet the relevant functional statements and, in turn, the relevant objectives A ‘Performance requirement’ is defined as the level of performance which a Building Solution must meet. . |  |
| --- | --- | --- |

What is the intent of the ‘Relevant Performance Requirements’ in the BCA?

| Answer | The ‘Relevant Performance Requirements’ intent, is to set out the method of determining the appropriate Performance Requirements to be used when an Alternative Solution is used to prove that a Building Solution complies with the BCA. |  |
| --- | --- | --- |

Building solutions set out the means of achieving compliance with the performance requirements. The BCA provides for two methods that can be followed to develop a building solution. Explain these two methods.

| Answer | The BCA outlines 2 methods that can be followed to develop a building solution: Method-1) Deemed-to-satisfy provisions include examples of materials, components, design factors, and construction methods which, if used, will result in compliance with the performance requirements of the BCA. Method- 2) Alternative solutions the key to the performance-based BCA is that there is no obligation to adopt any particular material, component, design factor or construction method. An approval authority may still issue an approval if a building proposal differs in whole or in part from deemed-to-satisfy provisions described in the BCA and if it can be demonstrated that the design complies with the relevant performance requirements. |  |
| --- | --- | --- |

The deemed-to-satisfy building solution establishes a clear and concise process for compliance for a builder, building surveyor or the like (building certifier) who does not want to develop a new means of achieving performance requirements; what does ‘deemed-to-satisfy’ mean?

| Answer | The deemed-to-satisfy building solution establishes a clear and concise process for compliance. Builders, Building Surveyors or other people who want to develop a new means of achieving performance requirements may choose to adopt the deemed-to-satisfy building solution as outlined in the BCA. This essentially means that the building solution complies in an equivalent or superior way to a deemed-to-satisfy provision. |  |
| --- | --- | --- |

Write an example of a ‘deemed-to-satisfy’ provision for a class 1 building including deemed-to-satisfy requirements for kitchen, bathroom, laundry and sanitary facilities.

Nominate where you found the information in the BCA.

| Answer | Information on deemed to satisfy requirement for kitchens can be found in Section 3.8.3.2 Required facilities of the BCA and is shown below (a) A Class 1 building must be provided with— - (1) a kitchen sink and facilities for the preparation and cooking of food; and - (2) a bath or shower; and - (3) clothes washing facilities, comprising at least one washtub and space in the same room for a washing machine; and - (4) a closet pan; and - (5) a washbasin. (b) If any of the facilities in (a) are detached from the main building, they must be set aside for the exclusive use of the occupants of the building. Information on deemed to satisfy requirement for wet area such as bathrooms, laundries and Sanitary Facilities can be found in Section 3.8.1.1 Wet area and External Waterproofing 3.8.1.1 Application Compliance with this acceptable construction practice satisfies Performance Requirements P2.2.2 for external waterproofing and P2.4.1 for wet areas. 3.8.1.2 Wet Areas Building elements in wet areas within a building must— (a) be waterproof or water resistant in accordance with Table 3.8.1.1; and (b) comply with AS 3740. |  |
| --- | --- | --- |

Who and what is Standards Australia?

| Answer | Standards Australia is Australia’s peak Standards body, recognised through a Memorandum of Understanding with the Commonwealth Government. It is an independent, non-government, not-for-profit organisation. In consultation with government, business, industry, community, academia and consumers, Standards Australia develops internationally aligned Australian Standards and related publications to help ensure the safety, reliability and performance of a range of products, services and systems. |  |
| --- | --- | --- |

What are Australian Standards?

| Answer | Australian Standards are published documents that set out specifications and procedures that are designed to ensure products, services and systems are safe, reliable and consistently perform the way they were intended to. They establish a common language and standard which define quality and safety criteria.” |  |
| --- | --- | --- |

The classification of a building or part of a building is determined by the purpose for which it is designed, constructed or adapted to be used. Please summarise the 10 building classifications below.

| Answer | Class | Summary |  |
| --- | --- | --- | --- |
|  | 1 | One or more buildings which in association constitute: a. Class 1a – a single dwelling b. Class 1b – boarding house, hostel |  |
|  | 2 | A building containing 2 or more sole-occupancy units each being a separate dwelling |  |
|  | 3 | A residential building, other than a building of class 1 or 2, which is a common place of long term or transient living for a number of unrelated persons (E.g.: boarding house, school, hotel) |  |
|  | 4 | A dwelling in a building that is Class 5, 6, 7, 8 or 9 if it is the only dwelling in the building |  |
|  | 5 | An office building used for professional or commercial purposes, excluding buildings of Class 6, 7, 8 or 9 |  |
|  | 6 | A shop or other building for the sale of goods by retail or the supply of services direct to the public |  |
|  | 7 | A building which is Class 7a (a car park) or class 7b (for storage or display of goods or produce for sale) |  |
|  | 8 | A laboratory or building for the production, assembling, altering, repairing, packing, finishing or cleaning of goods for sale |  |
|  | 9 | A building of a public nature: Class 9a – health-care building, Class 9b – an assembly building, Class 9c – aged care building |  |
|  | 10 | A non-habitable building or structure: Class 10a – non-habitable building, Class 10b – fence, mast, pool, Class 10c - Shelter |  |

Other than the 10 BCA building classifications (A3.2), there are also multiple classifications (A3.3) where each part of a building is classified separately. 

Where would you find a full list of Past A3 classification of Buildings and Structures?

| Answer | A full list of Past A3 classification of Buildings and Structures can be found in the BCA |  |
| --- | --- | --- |

True or False (Tick your response): If a building or part of a building has more than one classification applying to the whole building or part in accordance with, that building or part must comply with all the relevant provisions of the BCA for each classification.

| Answer | ☒ | True |  |  |
| --- | --- | --- | --- | --- |
|  | ☐ | False |  |  |

Familiarity with plans and specifications for a project when interpreting a building solution and therefore trying to interpret clauses and other referenced documents in the BCA is important.

What do plans and specifications include?

| Answer | Plans and specifications include: Floor level plans Elevation plans Sectional drawings All Specifications Structural Plans |  |
| --- | --- | --- |

You must have a clear picture of the building to be constructed and be able to identify the criteria that you will need to compare to the Deemed-To-Satisfy (DTS). What is it you must also consider when constructing complex buildings?

| Answer | When constructing a complex building you must keep in mind that one requirement of the BCA may have an impact or be related to another requirement in the same structure |  |
| --- | --- | --- |

Complete the missing words from the sentence below and explain the difference between these points.

mandatory

optional

BCA Performance Requirements are _________________ and Deemed-to-Satisfy provisions are ______________.

| Answer | BCA Performance Requirements are mandatory and must be met. These can be met using standard or known methods however an alternate method can be used if required by using the deemed to comply method |  |
| --- | --- | --- |

What is a Building Solution?

| Answer | Building Solution means a solution which complies with the Performance Requirements and is either or (a) an Alternative Solution; or (b) a solution which complies with the Deemed-to-Satisfy Provisions; or (c) a combination of (a) and (b). |  |
| --- | --- | --- |

Referring to the BCA, what are the objectives of Section C Fire Resistance?

| Answer | The objective of the BCA provisions in this part is to ensure that during a fire: - The risk to people is minimised - Evacuation routes are provided - Emergency services personnel can undertake search and rescue operations - The risk of fire spreading is minimised - Structural failures (buildings, allotment, road) does not occur |  |
| --- | --- | --- |

Why is it necessary to identify and document performance-based solutions?

| Answer | It is very important to maintain a detailed level of documentation to ensure that the building is compliant and can pass assessment. Keeping detailed documentation allows you to provide vital reference documents required for inspections of key building elements, this ensures they are not inadvertently overlooked. You can also refer to your state legislation to learn more about completing relevant documentation in accordance with BCA requirements. |  |
| --- | --- | --- |

In the context of the Building Code of Australia what are Assessment Methods used to determine?

| Answer | In the BCA Assessment Methods are used to determine whether a Building Solution complies with the relevant BCA Performance Requirements. Outlined in the Hierarchy of the Performance-Based BCA, a Building Solution can be achieved through complying with the Deemed-to-Satisfy Provisions, or by using an Alternative Solution to achieve the Performance Requirements. |  |
| --- | --- | --- |

Explain the importance of maintaining detailed documentation for a building project.

| Answer | It is important to keep accurate and up to date documentation on a building project. Documentation on Current Plans, all calculations, current specifications and full details of any Alternate or Proposed Solutions. This documentation will enable the authorities to determine the project meets all the relevant Acts, Regulations and BCA requirements |  |
| --- | --- | --- |

With regard to detailed documentation what are some of the documents that must be provided and maintained by contractors?

| Answer | Documents that must be provided ad maintained include - Detailed Construction Drawings that include all calculations of building areas, site areas, site coverage, floor areas, building heights, habitable rooms, windows and secluded private open space on adjoining allotments - Project Specifications - Regulations and specifications for things like smoke alarms or fire protection systems - Full Details of any Alternate of Proposed building solutions used on the project including calculations and procedures - Engineering Drawings - All Building submissions and approvals |  |
| --- | --- | --- |

Other than the Builder maintaining detailed documentation, who will also have responsibility to resolve and correct errors for any ambiguity identified in the plans?

| Answer | The Building Certifier also has a responsibility to examine the details in plans and documents for compliance with building legislation and standards and to correct errors. |  |
| --- | --- | --- |

The threat of an accidental fire in a building and to prevent it are important to understanding fire and taking all steps to prevent or confine fire and to prevent fire spreading within the structure as well as to adjoining or adjacent buildings. 

In this regard Fire Protection Systems are paramount and are subject to?

| Answer | Fire protection systems are subject to the following: - Building regulations - Fire regulations - Insurance company requirements - Local government requirements - Other regulatory authorities |  |
| --- | --- | --- |

Briefly explain the following fire definitions:

| Answer | Term | Explanation |  |
| --- | --- | --- | --- |
|  | Fire | Fire is the rapid oxidation of a gas, liquid or solid substance accompanied by the release of heat and light. Chemically, fire represents an exothermic or heat-producing reaction. |  |
|  | Passive Fire Protection | Passive fire protection is an integral component of the three components of structural fire protection and fire safety in a building. Passive fire protection attempts to contain fires or slow the spread, using fire resistant walls, floors and doors. |  |
|  | Active Fire Protection | Active fire protection is an integral part of fire protection and is characterised by items and systems which require a certain amount of motion and response to work such as fire sprinkler system or fire detection devices. |  |

The purpose of fire protection is to:

- 1. Prevent/reduce the possibility of fire and 
2. Reduce the spread of fire within and around a building

Name the two categories or systems that provide measurement and arrangements for fire protection.

| Answer | The 2 categories that provide measurement and arrangements are Active Fire Systems and Passive Fire Systems. Each are outlined below Active Fire Systems - Portable fire extinguishers - Fire hydrants/hose reels - Sprinkler systems - Smoke detection and alarm systems Passive Systems - Fire isolated stairs and passageways - Fire resistant materials (walls, roofs, openings) - Fire doors - Fire curtains - Fire rated ceilings - Fire stop collars (in floor slabs) |  |
| --- | --- | --- |

With respect to the general level of fire protection explain separately the terms ‘Fire Load’ and ‘Fire Load Density’?

| Answer | The term Fire load refers to the amount of potential heat that can be yielded during the fire of the combustible contents of a given enclosure. It is expressed as a numerical value represented as kJ/kg (kilojoule per kilogram) or as MJ/kg (megajoules per kilogram). The term Fire load density is the fire load of a given enclosure or building divided by floor area meaning the amount fuel verse area. It is expressed as fire load per unit area of floor space. The greater the fire loads the more severe the fire. |  |
| --- | --- | --- |

Using Volume 2 of the BCA respond to the following:

- Where in the BCA would you look to find requirements for building in bushfire prone areas for Class 1 and 10 buildings?

- Where in the BCA would you look to find requirements for building in bushfire prone areas for Class 2-9 buildings?

- What Australian Standard must be complied with to satisfy the Deemed to Satisfy Provisions for construction of Class 2 and 3 buildings in bushfire prone areas?

| Answer | a) | Building Code Vol. 2 Section 3.7.4 |  |
| --- | --- | --- | --- |
|  | b) | Building Code Vol.1 Section C3 |  |
|  | c) | AS 3959-2009 Construction of buildings in bushfire-prone areas |  |

What is a Fire Safety Schedule and its relationship to the approval of development of a class 2 – 9 building?

| Answer | A fire Safety Schedule is issued usually with the construction Certificate when the development of a Class 2-9 Building is approved. The Fire Safety Schedule lists all the Essential Fire Safety Measures that should be installed in the building and the performance standard to which each of these measures must be capable of operating. |  |
| --- | --- | --- |

What are building certifiers responsible for?

| Answer | Building certifiers are responsible for ensuring compliance for specific standards and regulations are achieved and they do this by conducting visual inspections. Inspections are the most effective way of confirming that the details of the documentation are reflected in the actual on-site construction. |  |
| --- | --- | --- |

What are building certifiers not responsible for?

| Answer | Building certifiers are not responsible for the quality of workmanship within the construction process as this responsibility is that of the builder to the client. |  |
| --- | --- | --- |

Where in the BCA would you determine the level of fire resistance required for the construction of buildings?

| Answer | You will find information in Building Code Vol. 2 Section and Building Code Vol.1 Section C3 |  |
| --- | --- | --- |