Quality

Management Plan

for

<Enter Project # and name>

| Rev | Date | Revision Description | Prepared | Reviewed | Approved |
| --- | --- | --- | --- | --- | --- |
| 1 | 09/05/2014 | Reformat | Fiona O’Dea | Jeremy Clay | John Martinkovic |
| 2 | 11/12/2015 | Revised based on current company structure | Jeremy Clay | Jeremy Clay | John Martinkovic |
| 3 | 22/09/2016 | Revised ITP section based on operational review | Jeremy Clay | Jeremy Clay | John Martinkovic |
| 4 | 06/08/2018 | Quality Policy added and ISO references updated | Kim Halliwell |  | Michelle Rooney |
| 5 | 24/09/2019 | Updated organisation chart and amended corporate details | Kim Halliwell |  | Michelle Rooney |
| 6 | 22/07/2020 | Full review of content | Kim Halliwell | Toby Clarke | Michelle Rooney |
| 7 | 17/06/2021 | General review and incorporation of Part B & C | Matt Dickens | Kim Halliwell | Lucy Ward |
| 8 | 8/11/2021 | Part C references removed and sign on table added | Kim Halliwell | Murray Aitken | Lucy Ward |
| 9 | 8/11/2022 | Full annual review including Part C reference reinstatement | Kim Halliwell | Matt Dickens/ Murray Aitken | Lucy Brant |
|  | <Enter date> | Made site specific | <Enter name> | <Enter name> | <Enter name> |

Contents

PART A – QUALITY MANAGEMENT PLAN	5

1.	Quality Plan Details	5

1.1.	McNab Overview	5

1.2.	Purpose of the Project Quality Management Plan (QMP)	5

1.3.	Access to the Quality Management Plan	5

1.4.	Approval procedure for changes to this document	6

1.5.	Review procedure for the Quality Management Plan	6

1.6.	Quality Management Plan – objectives	6

1.7.	Project specific quality objectives	6

2.	Scope of Works	7

2.1.	Client details and contacts	7

2.2.	Project description	7

2.3.	Extent of work	7

2.3.1.	Description of work	7

3.	Organisational Chart	7

3.1.	Personnel organisation chart	7

3.2.	Contact details	7

4.	Corporate Details:	8

4.1.	Toowoomba	8

4.2.	Brisbane	8

4.3.	Gold Coast	8

4.4.	Sunshine Coast	8

5.	Responsibilities	9

5.1.	Design Manager	9

5.2.	Project Manager	9

5.3.	Quality Manager	10

5.4.	Site Manager/Foreman	10

5.5.	McNab employees	10

5.6.	McNab suppliers and subcontractors	11

5.7.	Acceptance of Responsibilities	12

6.	Quality Management System	13

6.1.	Handover from Estimating and Design to Project Management	13

6.1.1.	Internal Handover Process	13

6.2.	Procurement and Commencement	13

6.2.1.	Dilapidation Report	13

6.2.2.	Construction Methodology	13

6.2.3.	Procurement/Letting Schedule	13

6.2.4.	Construction Budget	13

6.3.	Construction	14

6.3.1.	Inductions and Training	14

6.3.2.	Program, Cost and Quality Control	14

6.3.3.	Construction Method Statements	15

6.3.4.	Communication	15

6.3.5.	Requests for Information (RFI)	15

6.3.6.	Variations	15

6.3.7.	Construction Works	15

6.3.8.	Maintenance of Plant and Equipment	15

6.3.9.	Internal Compliance Audit of Project and Site	15

6.3.10.	Subcontractor Management and Compliance	16

6.4.	Defect Completion / Defect Punch List	16

6.5.	Practical Completion / Close Out	16

6.5.1.	Project Commissioning and Handover Plan	16

6.5.2.	Operational & Maintenance Manual	16

6.5.3.	Commissioning and Commissioning Results	16

6.5.4.	Acceptance and Completion	17

6.5.5.	Certifying the Works	17

6.5.6.	Building Awareness Training	17

6.6.	Defect Liability Period	17

6.6.1.	Building maintenance during defect liability period	17

7.	Design Control	17

7.1.	Design Management	17

7.2.	Design Change Management	17

7.3.	Safety in Design	18

8.	Document and Data Control	18

8.1.	McNab Document Management System	18

8.2.	Documentation Authorisation and Approval	18

8.2.1.	Design, Drawings, Specifications	18

8.2.2.	Certificates and Data	18

8.2.3.	Workshop Drawings	18

8.2.4.	As-built Drawings and Specifications	18

8.2.5.	Subcontractor Provided Documentation	18

8.2.6.	Project Documentation	18

9.	Control of Quality Records	19

9.1.	Record Control	19

9.2.	Project Management and Control	19

9.3.	Program of Work	19

10.	Purchasing - Procurement Activities	19

10.1.	McNab procurement process	19

10.2.	McNab Subcontractor Procurement Process	20

11.	Product Identification	20

11.1.	HVAC Product Traceability	20

11.2.	Structural Steel	20

11.3.	Weld Traceability	20

11.4.	Concrete	20

11.5.	Tilt Panels	20

11.6.	Plant and Equipment	20

12.	Australian Standards (AS) Compliance Guides	21

12.1.	AS Compliance Guides	21

13.	Inspections	21

13.1.	Inspection and Test Plans (ITPs)	21

13.2.	Third Party Inspections	21

14.	Inspection, Measuring and Testing Equipment	22

14.1.	Survey Equipment	22

14.2.	Testing Equipment	22

14.3.	Monitoring and Measuring Equipment	22

14.4.	Inspection and Test Status	22

14.5.	Lay Down Areas	22

14.6.	On Site	22

15.	Control of Non-conformances	23

15.1.	Non-conformances	23

15.2.	Corrective and Preventative Action	23

16.	Training	23

16.1.	Competence, Training and Awareness	23

16.2.	Maintenance of Training Records	24

16.3.	Alerts and Tips	24

17.	Compliance and Monitoring	24

17.1.	Audit Schedule	24

17.2.	Internal Audit of Works	24

17.3.	Internal Compliance Audit of Project and Site	24

17.4.	Client Audits	24

18.	Receipt, Handling and Preservation of Materials	24

18.1.	Delivery Considerations	24

18.2.	Loading and Unloading Considerations	24

18.3.	Storage of Materials	25

19.	Quality Records (Material Documents)	25

19.1.	Concrete	25

19.2.	Reinforcing Steel	25

19.2.1.	Reinforcement Processing to Australian Standards	25

19.2.2.	Reinforcement Mesh Manufacturer	25

19.3.	Structural and Cast in Steel	25

19.3.1.	Structural Steel Product Certification	25

20.	Quality Submission Requirements	26

20.1.	Test Reports	26

20.1.1.	Concrete Strength Test Reports	26

20.1.2.	Hydraulics	26

20.1.3.	Electrical	26

20.1.4.	Structural steel	26

20.2.	Certificates	26

20.3.	As Constructed Drawings	26

21.	Risk Management and Quality Control	26

21.1.	Material Supply	26

21.2.	Structural Steel	26

21.3.	Structural Framing	26

21.4.	Prefabrication of Joinery / Cabinets	27

21.5.	Labour and Equipment Supply	27

21.6.	Concrete Supply	27

22.	Defect Liability Period	27

22.1.	Defect Notification Process – post Handover	27

23.	Appendix 1 – Quality Policy	28

29

30

PART B – Planning for Quality	31

PART C – McNab Minimum Standards	33

# PART A – QUALITY MANAGEMENT PLAN

# Quality Plan Details

## McNab Overview

At McNab, it’s all about building relationships for the longer term. Our team are flexible, collaborative and committed to delivering a caring, easy and certain experience on every project we undertake. Combine this with outstanding HSEQ performance and it’s easy to understand why we’re increasingly chosen as the flexible alternative to Tier One Contractors in General Construction and Civil.

McNab is certified to International Standards for Quality, Environment and Safety.

## Purpose of the Project Quality Management Plan (QMP)

McNab’s Quality Management Plan details the way in which McNab intends to build a quality product. This plan details controls from the overarching Quality Management Systems Manual and outlines project specific details that are unique to the project. Where there are differences in process or procedure between the Project Quality Management Plan and the McNab Quality Management System Manual, the Project Quality Management Plan will take precedence on this particular project.

This Plan is instrument in providing a Quality Management Framework for the project as well as an operational framework. It seeks to minimise and control risk, consequence and contributing factors to project non-conformances, incidents and injuries.

The Quality Management Plan is made up of two parts;

- Part A – Controls from overarching Quality Management System Manual (edited to reflect any project specific requirements),

- Part B – Planning for Quality - Assessment of any project specific quality considerations, and plan for addressing and ongoing review.

- Part C – McNab Minimum Standards – Mandatory technical requirements outside or above Australian Standard.

The Plan may be read in conjunction with the other McNab documents including:

McNab Quality Management Systems Manual

McNab Health and Safety Management Systems Manual

McNab Environmental Management Systems Manual

Project Health and Safety Management Plan (Parts A, B and C)

Project Environmental Management Plan

Safe Work Method Statements

Project Inspection and Testing Plans

This Plan is a controlled document; please refer to the Document Control Procedure for further information.

## Access to the Quality Management Plan

The Project Manager shall:

Ensure the McNab Project Team have read and understood this plan and acknowledge by signing off in section 5.7;

Ensure the Quality Management Plan is available for Subcontractors during site induction;

Ensure that when the Quality Management Plan is updated, the McNab Project Team are advised and Subcontractors are given appropriate and timely advice as to what has changed and why it has changed;

Allow anyone working at the workplace access to a copy of the Quality Management Plan.

## Approval procedure for changes to this document

This Quality Management Plan is a Controlled Document. The Quality Site Manager and Project Manager will enter project details to make it project specific.

The controlled document is stored electronically within the Job File on Procore. The printed copy should be checked to see that the revision number is the same as the electronic version. The person in possession of the physical copy is responsible for ensuring their copy is up to date.

The Project Manager will consult with the Quality Site Manager for advice on how to manage the changes and the best way to implement new processes.

## Review procedure for the Quality Management Plan

This Quality Management Plan shall be reviewed quarterly with any changes updated and highlighted in the document.

## Quality Management Plan – objectives

Objectives of the Quality Management Plan are to:

Document the Quality Controls and Inputs

Ensure that requirements are set to meet or exceed the standards for Quality Management Systems (ISO 9001:2015)

Address any particular client, contractual requirements or special requirements for the Project

Identify the quality outcome/s being sought by the Client

Address the General and Special Conditions of Contract

Identify how McNab intends to achieve these outcomes and control the risks (i.e. mitigation measures)

Identify the risks which might prevent McNab from achieving the Project outcome/s and objectives

Identify how McNab measures its performance against the Contract specifications, outcomes and objectives

Identify performance measures, monitoring systems, and reporting requirements for the Project

Identify how to deal with non-conformances, complaints and incidents

Provide documented processes for:

- Risk prevention/internal control measures

- Monitoring, measuring, verification and validation systems (where applicable)

- Reviewing requirements, responsibilities and accountabilities and communication linkages for achieving the Project outcomes and objectives

## Project specific quality objectives

- The specific quality objectives for this project are:

Demonstrate the ability of McNab to provide building and construction services that consistently meet Client’s needs and applicable regulatory requirements

Address Client satisfaction through the effective application of a Quality Management System, including processes for continual improvement and prevention of problems and complaints

Minimal defects at hand over and contract delivered on time

Represented in this Plan and ‘Quality at McNab’ (Part B) as project specific details.

# Scope of Works

## Client details and contacts

Client	<Enter client details>

Contact Number	<Enter client contact number>

Date of letter of offer	<Enter date of offer>

Contract Description	<Enter scope>

Client Rep or Superintendent	<Enter Client rep or Superintendent name>

Phone	<Enter Client rep or Superintendent contact number>

Email	<Enter Client rep or Superintendent email>

## Project description

Project address	<Enter site address>

Design start date: 	<Enter design start date>

Construction start date:	<Enter construction start date>

Planned construction duration:	<Enter duration>

## Extent of work

Detail scope of works

### Description of work

Further detail scope of works

# Organisational Chart

## Personnel organisation chart

For the McNab Organisational Structure please refer to 22-DOC-001.

## Contact details

Project Manager	        	<Enter PM name>			
Phone: <Enter PM phone number>
Email: <Enter PM email address @mcnab.net.au>

Quality Manager	Phone: 07 3252 6900
Email: quality@mcnab.net.au

Site Manager	<Enter SM name>
Phone: <Enter SM phone number>
Email: <Enter SM email address @mcnab.net.au>

Contract Administrator	<Enter CA name>
Phone: <Enter CA phone number>
Email: <job>@mcnab.net.au

# Corporate Details:

Company:	<Enter McNab Company Name>

ABN:	<Enter McNab ABN>

QBCC Number:	<Enter McNab QBCC Number>

Email:	info@mcnab.net.au

Website	www.mcnab.net.au

## Toowoomba

Location	Level 1, 12 Neil St, Toowoomba Q 4350

Postal	PO Box 2304, Toowoomba Q 4350

Phone:	07 4620 0700

Fax:	07 4638 7376

## Brisbane

Location	Level 2, 10 Browning Street, WEST END, Q 4101

Postal	PO Box 5054, WEST END, Q 4101

Phone:	07 3252 6900

Fax:	07 3846 7555

## Gold Coast

Location	Suite E312, Level 3, Oracle East Building, 
4-6 Charles Avenue, 
BROADBEACH, Q 4218

Postal	PO Box 2304, Toowoomba Q 4350

Phone:	07 5629 0400

Fax:	07 3846 7555

## Sunshine Coast

Location	Level 5, Tower 2 Suite 509-511
Kon-Tiki Building, 55-59 Plaza Parade, 
MAROOCHYDORE, Q 4558

Postal	PO Box 2304, Toowoomba Q 4350

Phone:	07 5408 2300

Fax:	07 3846 7555

# Responsibilities

## Design Manager

The duties and responsibilities of the Design Manager include:

Ensuring the processes and objectives of the Design elements of the McNab Quality Management System and this Quality Management Plan are implemented and monitored throughout the design phase of this project

Pre-populating the Quality at McNab (Part B) with information relevant to the delivery of the project. Set up a handover meeting with Project Manager and Quality Manager

Being responsible to the Construction Manager and Project Manager for efficient and timely performance, in fulfilment of the contract outcomes

Establishing design objectives with the Client Representative and ensuring the requirements of the Contract are understood by and communicated to all parties

Managing the development of specifications, drawings and all associated design documentation by consultants and ensuring compliance with Client requirements

Maintain communication and consultation throughout the design phase with relevant stakeholders,

Review, evaluate and record any proposed changes to design, seek approval and authorisation and communicate change to relevant stakeholders

Validation and verification activities in relation to design of the Project

Ensuring all safety, environmental and quality assurance considerations are met and addressed practicably throughout the design phase

Ensuring a timely and thorough handover with the Project Manager for seamless progression into construction phase of the Project

## Project Manager

- The duties and responsibilities of the Project Manager include:

Ensuring the processes and objectives of the McNab Quality Management System and this Quality Management Plan are implemented and monitored throughout this project

Implementation of the Quality at McNab (Part B) with scheduled reviews

Being responsible to the Construction Manager for efficient and timely performance, in fulfilment of the contract outcomes

Establishing contract objectives with the Client Representative and ensuring the requirements of the Contract are understood by and communicated to all parties

Review of specification and drawings prior to works commencing

Preparation of Inspection Test Plans, and all other Client required documentation, and submittal and achievement of approval from Client as required

Programming the works to ensure contract requirements are met and maintaining the works program throughout construction

Planning, acquiring and managing of all resources and applicable approvals required to complete the works in time and to the specified quality, including staff, subcontractors, suppliers and service providers

Managing all financial aspects of the contract

Ensuring the processes and objectives of the McNab Quality Management System and this Quality Management Plan are implemented and monitored throughout this project,

Liaising with the Client Representative to ensure timely submission of all administrative requirements including progress payment schedules, variations, quality records, etc.

Ensuring all WHS obligations of McNab are met

Ensuring all environment obligations of McNab are met

Preparing and organising handover

Ensure all services, equipment, motors, pumps, mechanical etc. are started and operationally tested prior to handover

Document all necessary certificates and warranties

Provide a structural building certificate

Maintaining project records as defined in the Attachment to this Quality Management Plan

Providing an Operation and Maintenance Manual at the completion of the project

## Quality Manager

The McNab Quality Manager shall oversee the Quality Team and shall hold ultimate responsibility and authority for the quality system to that defined in McNab Quality Management System Manual i.e.:

Maintains and controls all documents and data concerning the Quality System

Coordinates the application and maintenance of the system throughout the organisation, ensuring all staff are aware of their roles in the functioning of the System

Continually monitors the effectiveness of the system and plans and conducts audits and reviews to establish that the requirements of the System are being met

Together with the Project Manager, ensures QMP is drawn up for each project

Reports all quality issues to the Managing Director either at management review meetings or on an individual basis

Customer Care Management

## Site Manager/Foreman

The duties and responsibilities of the Site Manager/Foreman are:

Being responsible to the Project Manager for efficient and timely performance, in fulfilment of the contract outcomes

Assist the Project Manager with implementation and scheduled reviews of the Quality at McNab (Part B)

Complete and implement McNab and Australian Standard Compliance Guides

Review of specification and drawings prior to works commencing

Maintain Inspection Test Plans Records

Ensuring day-to-day control of labour and subcontractors for the completion of the works, including supply co-ordination and inspections (as stated in contract and specification), subcontractor’s control and maintaining Quality in the construction/installation process

Ensuring all certifications are completed in accordance with the relevant work processes

Maintaining Project records in accordance with this Quality Management Plan and the McNab Quality Management system

## McNab employees

All McNab employees are responsible for:

Maintaining a positive attitude to quality work standards

Actively participating in training and Site Induction

Bringing to the attention of the Site Manager/Foreman any sub-standard work carried out by any personnel, suppliers or Subcontractors

Promptly reporting any new hazards to the Site Manager/Foreman

Initiating action to prevent the occurrence of non-conformances

Identifying and reporting to the Site Manager/Foreman quality, safety or environmental problems/issues

Initiating, recommending and providing answers to quality, safety or environmental problems/issues

All responsibilities as outlined in the Health and Safety Management Plan for this Project

## McNab suppliers and subcontractors

Subcontractors performing work on behalf of McNab throughout the duration of this project will:

Be required to prepare and submit safe work method statements for all construction activities for approval by McNab, and prepare and submit inspection and test plans for all required activities to McNab

Be audited to ensure continued compliance with statutory requirements, contractual obligations, and safe work practices

Provide certificates, warranties and operational manuals as outlined in contract/specification or as instructed by McNab

Work with McNab to produce and implement Inspection Test Plans, certification of tested systems and product compliance information

May be requested to submit details of their workplace health and safety, quality and environmental systems to McNab for review.

## Acceptance of Responsibilities

Each member of the McNab site team agree to perform the above responsibilities on this project and are required to complete the following acknowledgement of understanding.

I have read and understand the responsibilities for my position on the project and confirm that I will undertake this role and associated responsibilities.

| Name | Signature | Role | Date | Version |
| --- | --- | --- | --- | --- |

# Quality Management System

Steps to deliver a quality construction project include:

Planning

Design

Internal Handover

Procurement and commencement

Construction

Practical Completion

Defect liability

## Handover from Estimating and Design to Project Management

### Internal Handover Process

This includes the passing of information from the Estimating and Design Departments through to the Operational Component of the Business in preparation for commencement on site.

The McNab Estimating and Design Manager is responsible for managing the Design Team to achieve safe, high-quality design that adheres to Client and Statutory requirements. Throughout the Design phase there is ongoing involvement by the nominated Project Management team to ensure a thorough and detailed knowledge of the project prior to commencement of construction activities on site.

Communication from the Estimating and Design teams is critical to the successful project commencement. Key E&D staff lead a handover of information to the Project Management team [Form 05.46]. This communication of information also involves Finance, Infrastructure, Plant and Equipment, Administration, Health and Safety and Quality to ensure all departments understand the project and the Client specific requirements.

## Procurement and Commencement

### Dilapidation Report

A dilapidation report documents the existing condition of the construction site and neighbouring properties and infrastructure prior to construction commencing. After the report has been finalised, McNab will submit a copy to the Client and Superintendent if requested and also retain a copy on site.

### Construction Methodology

Construction Methodology is defined as the series of activities undertaken in a methodical sequence in order to deliver a construction job.

The Project Manager will define a project specific construction program. The program identifies critical path trades as being the key activities throughout the construction process. This program will be submitted to the Client prior to commencement.

### Procurement/Letting Schedule

The Procurement (or Letting) Schedule will be set by the Project Manager. This Schedule identifies critical trades and lead times, and determines the milestones and timeframes for all letting on the Project to ensure high-quality Subcontractors are engaged in a timely manner. This Schedule will be submitted to the Client prior to commencement.

### Construction Budget

The Construction Budget is defined as the detailed cost breakdown and budget prepared to deliver a construction job.

The relevant Construction Manager will support the Project Manager to define a project-specific construction budget based on the estimate. This budget shall be reviewed and approved by the Construction Manager prior to project commencement.

## Construction

### Inductions and Training

All employees, Subcontractors and others undertaking works on site shall complete a project-specific induction and training program. Refer to the Project Health and Safety Management Plan (08-DOC-002) for more information.

Visitors to site shall be required to undertake an induction relevant to the nature and duration of their visit to site.

McNab uses a needs analysis process to identify the necessary competence for personnel performing work affecting conformity to product requirements through selection of appropriately training people for the task at hand. This is documented via the Training Matrix.

### Program, Cost and Quality Control

#### Program

The approved Construction Program developed in the initial phase is made available to the Client and Project Management Team.

Daily planning and monitoring of activities, progress and procurement via Daily Pre-Start Meetings [Form 06.17].

Every week a detailed fortnightly program is prepared on site and measured against the overall Construction Program [Form 05.12].

Key Subcontractors submit detailed programs at the formal weekly Subcontractor Meetings and report on man-hours and milestones as applicable.

These programs are read in conjunction with the Lead Time Schedule and Procurement Schedules for the project.

#### Cost

The approved Construction Budget developed in the Initiate phase is monitored frequently with formal fortnightly and monthly cost and cash-flow reporting and projections [Form 05.42, Form 05.81].

Procurement and contract letting is submitted for approval to the Client as required.

Key Subcontractors submit procurement and lead time schedules for approval prior to commencement on site, specific to trade and scope of works. Daily Pre-Start Meetings and weekly Subcontractor Meetings ensure progress against these schedules is closely monitored.

#### Quality Control

Monthly quality progress reports summarising results of evaluations, inspections and testing and identifying any key issues,

Continual monitoring of Subcontractor product and workmanship via formal and informal means, including;

    - Inspection and Test Plans,

    - Daily Pre-Start Meetings [Form 06.17],

    - Inspections,

    - Audits,

    - Weekly/fortnightly/monthly reporting and meetings,

    - Maintaining frequent communication with Clients and consultants to review expectations and monitor progress against Project Quality Objectives and Targets,

    - Subcontractor management (refer 6.3.10).

### Construction Method Statements

Construction method statements shall be prepared by the Project Manager and submitted to the Client as required. The method statements shall be documented within the Construction Management Plan.

### Communication

Communication is key to the success of the Project to facilitate a safe, efficient and compliant building process. McNab has developed a documented procedure to outline project-specific communication strategies, refer to McN-QP-101 Project Communication and Correspondence.

### Requests for Information (RFI)

The RFI form is to be used when requesting information. McNab shall submit RFIs to the Client and maintain a register of RFIs throughout the project.

Refer documented McNab procedure McN-QP-108 Requests for Information.

### Variations

The Variation process is used when requesting a deviation from the Contract specifications. McNab shall submit Variations to the Client in accordance with the contract and maintain a register of Variations throughout the project.

### Construction Works

#### Working Hours

The working hours and working days shall comply with the requirements of the DA.

#### Delay or Disruption to Works

McNab shall maintain records of all delays in an Extension of Time Register and upon the Client’s request make such records available to the Client for inspection and copying.

For the purposes of this clause, the term “inclement weather” means weather at or in the vicinity of the Site adversely affecting the progress of the works on site or deliveries to the site. In determining if the weather can be reasonably deemed to be inclement, regard shall be given to the measures McNab has reasonably taken to mitigate the effect of inclement weather.

### Maintenance of Plant and Equipment

The Project team will be responsible for ensuring that all plant and equipment used on site is maintained in accordance with the McNab project procedure McN-QP-117 Receipt, Handling and Preservation of Materials and Equipment.

All plant and equipment that requires preventive maintenance shall be serviced and maintained in accordance with manufacturers’ requirements.

All plant on site shall be subject to an inspection on arrival [Form 06.89] and subject to applicable daily inspections.

All plant used on site under a McNab contract shall comply and meet all applicable legislation / local regulatory requirements, records of which shall be maintained.

### Internal Compliance Audit of Project and Site

Internal compliance, auditing and monitoring shall be undertaken in accordance with the McNab procedure McN-QP-112 Compliance and Monitoring and Section 17 of this Quality Management Plan.

### Subcontractor Management and Compliance

Once suppliers and Subcontractors are found to be acceptable, in accordance with Section 10.2 Subcontractor Procurement, McNab undertakes the following:

Preparation of detailed scopes of work and contract

In-depth kick-off meetings outlining clear expectations on safety, quality of workmanship, program, resources, Client requirements, procurement, progress schedules etc

Unscheduled Subcontractor Performance Assessments if deemed part of required preventative action to address a non-conformance are captured in Procore

Preparation of pre-approved Inspection & Test Plans to form part of each subcontract and implemented throughout construction

Project Manager and Subcontractors liaising regularly to monitor ordered product, product in transit and product delivered to ensure just-in-time scheduling as best as practicable

Continual monitoring in accordance with applicable Inspection and Test Plans throughout construction

Formal weekly meetings and progress reporting with all Subcontractors throughout construction

## Defect Completion / Defect Punch List

McNab continually monitor the quality of the work produced on a daily basis.

Prior to the planned handover of the Project, McNab will commence an internal defect management process in Procore and identify potential defects and rectifying whilst trades are still on site.

Prior to Performance Testing of the Project, the Client and McNab Project Management team shall identify and document any defects in Procore.

McNab will co-ordinate a final inspection by the Client to manage all identified defects and achieve Final Acceptance.

## Practical Completion / Close Out

### Project Commissioning and Handover Plan

A Project Commissioning and Handover Plan details:

The planned testing and commissioning required,

Building Awareness Training Requirements,

Deliverables from all Subcontractors for inclusion in the Operational & Maintenance Manual, and

The Quality Assurance Records that McNab is to provide to the Principal confirming compliance.

McNab will compile a Project Specific Project Commissioning and Handover Plan for this project. Refer to the documented McNab procedure McN-QP-122 Project Commissioning and Handover.

### Operational & Maintenance Manual

An Operational & Maintenance Manual is a document containing all certificates, warranties, operational Manuals and Commissioning and Test Results. Upon completion of the Project and receipt of acceptance for the Plant, the Master Operational & Maintenance Manual shall be submitted to the Client Representative to achieve Final Acceptance.

### Commissioning and Commissioning Results

Commissioning is a quality checking process of verifying and documenting that the performance and maintainability of the building and its services fulfil the functional and operational needs of the Client and Owner of the building.

McNab shall hand over all documentation summarising the predefined inspection, checks and testing that has been performed and signed-off as acceptable in the form of an Operational & Maintenance Manual.

Throughout the construction phase McNab shall compile all documentation for the Handover; this ‘live’ documentation shall be made available for review throughout the Project if required by the Client Representative.

Refer to the McNab procedure McN-QP-122 Project Commissioning and Handover.

### Acceptance and Completion

#### Pre-operational Completion and Performance Testing

McNab shall advise the Client of Completion for the Project prior to commencing Performance Testing

McNab Subcontractors, under McNab supervision, are responsible for the performance testing of the equipment installed as part of their subcontract

Within 7 days of completion of successful performance testing, McNab shall forward the results of performance testing to the Client

The Project shall be considered “accepted” upon receipt of acceptance from the Client

Records of acceptance shall be compiled in the Operational & Maintenance Manual

### Certifying the Works

McNab will provide certification of the works upon completion of the contract in the form of an Operational & Maintenance Manual and certificate of classification for the Project.

### Building Awareness Training

- Building awareness training is carried out by the project delivery team with the end user who will be responsible for operation and maintenance of the facility.

Building awareness training ensures end users are adequately trained in the purpose, function, operation and maintenance of the building and its installed components.

Building Awareness Training is identified and documented in the Project Handover and Commissioning Plan.

Records shall be maintained of delivery of Building Awareness Training.

## Defect Liability Period

### Building maintenance during defect liability period

A detailed maintenance schedule shall be provided as part of the Operational & Maintenance Manual. Records of maintenance activities undertaken shall be maintained. Refer to the documented McNab procedure McN-QP-122 Project Commissioning and Handover.

Refer Section 21 Defect Liability Period for further information.

# Design Control

## Design Management

Upon award of the Contract, McNab shall commence the Design Management Process. Design stages include Concept Design, Preliminary Design and Final Design, and each stage involves the following steps: review, verification and validation, in accordance with McNab procedure McN-QP-104 Design Management Plan.

## Design Change Management

McNab shall register all design change requests and maintain records of approvals.

## Safety in Design

McNab shall ensure the integration of hazard identification and risk assessment methods throughout the design process to eliminate or minimise safety risk throughout the life of the product, structure or system being designed.

The formal Safety in Design risk assessment shall commence at Concept Design and continue through the Preliminary and Final Design phases. Consultants shall be provided training in McNab Safety in Design Risk Assessment procedures. The risk assessments shall be documented as outlined in McN-QP-104 Design Management Plan.

# Document and Data Control

## McNab Document Management System

The documented McNab procedure McN-QP-102 Control of Documents details the approval, review, update, identification and availability of controlled documents; and the removal of superseded or voided documentation.

## Documentation Authorisation and Approval

McNab designs, drawings, specifications, samples, certificates and data shall be submitted in accordance with Client requirements.

### Design, Drawings, Specifications

All drawings shall be submitted in PDF, stamped by the relevant Consultant, named in accordance with the Client naming conventions and submitted to the Client for review allowing required days for review.

### Certificates and Data

All certificates shall be clearly identifiable and submitted to the Client for review allowing required days for review.

### Workshop Drawings

All workshop drawings shall be submitted in PDF from the relevant Subcontractor to McNab. Workshop drawings shall be submitted to the Client for review if required.

### As-built Drawings and Specifications

Progress As-Built Drawings and Progress As-Built Specifications shall be retained on site and available for review by the Client Representative throughout the construction phase if required.

Final As-Built Drawings and Final As-Built Specifications shall be submitted as part of the Operational & Maintenance Manual to the Client prior to Final Acceptance (refer Section 6.5.2).

### Subcontractor Provided Documentation

As required, calculations, procedures, data sheets and engineering drawings prepared by suppliers and subcontractors shall be reviewed by the McNab team for consistency and compliance to the engineering design and standards.

### Project Documentation

All McNab Project-related “Controlled” documents, such as this Quality Management Plan, the Work Health and Safety Management Plan and the Environmental Management Plan are to be reviewed and authorised by the Project Manager and then as applicable, reviewed by the Client’s Representative.

# Control of Quality Records

## Record Control

The project related records which, as a minimum, will provide the records of compliance with this Quality Management Plan are outlined in the documented McNab procedure McN-QP-103 Project Records.

The Project Manager will ensure that the Quality Records required by the Client’s Representative, shall be legible and clear and stored in such a way that they are easily retrievable.

The McNab Quality Manager will ensure that the full Quality Records for the Contract, both for McNab and all Subcontractors, are safely and securely filed and stored for a minimum period of ten (10) years from the date of Completion of the Contract to comply with legislation.

## Project Management and Control

The works under the Contract will be undertaken by McNab in accordance with:

The Contract specifications

This Quality Management Plan

McNab Quality Management System Procedures

McNab Construction and Technical Procedures

Contract Documents and Drawings

Approved Consultants’ drawings

The Quality System Manual, Quality Management System Procedures, AS Compliance Documents, Inspection and Test Plans also form part of this Quality Management Plan.

The Project Manager will ensure that copies of the Contract Specifications and any construction and technical procedures, material samples, manufacturer’s brochures, Safety Data Sheets, charts, diagrams, etc. are available at the Site Office and at Contract workplaces - to ensure all personnel are aware of the process requirements of each activity.

## Program of Work

The Project Manager is responsible for the development of the program and construction methodology for the Project.

As this program is updated, the Project Manager shall supply the revised Construction Program to the Client Representative.

The Site Foreman is responsible for the day to day implementation of the program and sub-programs to meet the construction targets and deadlines.

The Project Manager and Site Foreman regularly discuss, review and plan the program to ensure target dates are met.

# Purchasing - Procurement Activities

## McNab procurement process

Procurement activities for this project shall take place in accordance with McNab and Client requirements. In accordance with these requirements:

All major McNab material and equipment requisitions and applicable purchase orders (unpriced) shall be approved by the Project Manager prior to issue.

McNab shall prepare a Shop Inspection Schedule for major materials and equipment supply and provide to the Client Representative with invitation to attend any inspection.

Reporting may include:

Monthly status reporting against the approved Procurement Schedule.

Any additional reporting required ensuring Client requirements are met.

## McNab Subcontractor Procurement Process

Subcontractors and suppliers are subject to a rigorous assessment process prior to engagement on the Project.

All Subcontractors engaged shall participate in a kick-off meeting, outlining specific details of the Project and ensuring all required processes are in place.

Refer Section 6.3.10 for further information on Subcontractor Management.

# Product Identification

## HVAC Product Traceability

All major electrical and mechanical (HVAC) equipment shall be traceable to supplier, testing history, installation history and final acceptance. The equipment tag and unique serial number for these items shall be recorded on the Inspection and Test Plan records which form part of the material and construction report at the completion of the Project.

## Structural Steel

All structural steel members shall be identified by a hard-stamped unique number. All plates will be hard-stamped with a unique part number. This unique number shall be recorded on all quality control and inspection records from fabrication to erection and form part of the material and construction report at the completion of the project.

## Weld Traceability

All welds shall be traceable to the welder, type and date of weld. This shall be recorded on ITPs and weld documentation in accordance with the submitted Weld Procedures. This information shall form part of the material and construction report at the completion of the Project.

## Concrete

For every concrete pour, positive identification is via the batch records. McNab keeps detailed records of the pour on a Concrete Placement Register [Form 11.08] and corresponding Inspection and Test Plan. The key information from this project is uploaded onto a Concrete Pour Register which forms part of the material and construction report at the completion of the project.

## Tilt Panels

For every tilt panel, details of the panel are marked on the panel itself where practicable, and retained on the corresponding Inspection and Test Records. These Panel records form part of the material and construction report at the completion of the project.

## Plant and Equipment

As per the McNab Work Health and Safety Management Plan:

All Plant used on site shall be inspected and compliance verified prior to its arrival and use on site.

All lifting equipment shall be registered and tagged in accordance with applicable legislation.

All electrical equipment shall be inspected and tested prior to arrival and use on site, and shall be re-inspected and tested in accordance with applicable legislation.

All equipment used on site shall be registered and approved for use.

Refer Section 14 for Inspection, Measuring and Testing Equipment.

# Australian Standards (AS) Compliance Guides

## AS Compliance Guides

Creating ITPs is about developing a system of checks (a tool) for specified works that ensures McNab delivers a high quality defect free product, which meets and/or exceeds project specific requirements and Australian Standards. Our approach must be proactively focused on caring about and planning for these outcomes first and foremost.

Completion of the AS Compliance Guides by the McNab team is MANDATORY and MUST be read in conjunction with appropriate standards, Manufacturer’s recommendations, project specific design requirements and reference documents.

This AS Compliance Guides are designed to inform, create outcomes and advise on:

- Technical detail,

- How to achieve AS compliance,

- ITPs and quality management procedures,

- Successful engagement with subcontractors and Manufacturer’s through delivering clarity and accountability.

# Inspections

## Inspection and Test Plans (ITPs)

An Inspection Test Plan records the inspection and testing requirements for specific work or activity to verify conformance of product or service provided to the specified requirements. An ITP shows the verification measures to be taken during the construction process and the criteria for acceptance for each inspection or test. Refer McNab procedure McN-QP-106 Inspection and Test Plans.

Process:

ITPs shall be prepared, reviewed and approved prior to the start of each activity.

McNab Site Management team in conjunction with the McNab and Subcontractor team shall manage and facilitate the completion of ITP records.

As a minimum, McNab shall prepare ITPs for Concreting, Tiling, Waterproofing, Roofing and Fire Protection. Refer to McNab Quality ITP Standards on Procore for examples. McNab Mandatory ITPs must be reviewed and approved by a McNab Quality Representative.

## Third Party Inspections

McNab will engage an independent third party consultant to inspect Waterproofing and Fire Protection Systems upon commencement of installation and upon completion, to ensure the work is compliant and performing and to support the engagement and education of employees, suppliers and subcontractors.

# Inspection, Measuring and Testing Equipment

## Survey Equipment

Inspection, measuring and test equipment (IM&TE) used by McNab employees include lasers, dump levels and theodolites.

McNab will obtain calibration certification from Subcontractors using survey equipment on this Project to verify the accuracy of the equipment.

All IM&TE shall be clearly labelled and maintained in accordance with the documented McNab procedure McN-QP-115 Calibration.

## Testing Equipment

McNab will obtain calibration certification from Subcontractors using testing equipment on this Project to verify the accuracy of the equipment.

Refer to the documented McNab procedure McN-QP-115 Calibration.

## Monitoring and Measuring Equipment

McNab shall maintain current calibration records of all monitoring and measuring equipment supplied by McNab for use on site, which may include gas monitors, alcohol breathalysers and audio-metric testing equipment. All records shall be maintained in accordance with the documented McNab procedure McN-QP-115 Calibration.

## Inspection and Test Status

The inspection and test status of products and works shall be clearly identifiable throughout the inspection and testing process. All relevant records shall form part of the Operational & Maintenance Manual at the completion of the Project.

Inspection and test records shall have full traceability to the equipment, material or service that was inspected or tested. Records shall identify equipment tag or area of work where inspection or test was conducted.

## Lay Down Areas

All product, plant and equipment arriving at the designated lay down areas on site shall be accompanied by relevant documentation demonstrating the compliance of the product, plant or equipment. For high-risk procurement, McNab shall ensure product, plant and equipment is stored in a defined area and marked so as to prevent accidental use until compliance has been verified.

Any non-conforming product, plant or equipment shall be segregated and marked in a practical way, such as ‘Tagged Out’ or ‘Do Not Use’, and tracked through Procore. Refer Section 14.

## On Site

All product, plant and equipment on site shall be stored in a defined area and marked so as to prevent accidental use until compliance has been verified. Works shall be undertaken in accordance with the approved ITP and where a Hold Point is nominated, works will not continue until the acceptance criteria are released by nominated personnel.

# Control of Non-conformances

## Non-conformances

McNab shall ensure that materials, items, processes or products containing a non-conformance are promptly detected, identified, segregated and documented in accordance with Client requirements and McNab requirements.

All non-conformances shall be recorded in Procore.

The Site Management team will review procedures and Subcontractor checklists and will revise and reissue, as necessary, any document required to prevent future re-occurrences of nonconforming processes, Works or products.

## Corrective and Preventative Action

Corrective and Preventative Action will be managed as follows:

Review non-conformance reports

Determine the cause of non-conformances

Evaluate the need for action to ensure non-conformances do not recur

Determine and implement the action needed

Record and review the results of corrective action taken

In addition, McNab has a documented procedure for preventative action, McN-QP-114 Preventative Action, which defines the requirement to:

Determine potential non-conformances and their causes

Evaluate the need for action to prevent non-conformances

Determine and implement action needed

Record and review the results of action taken.

McNab will undertake both scheduled and unscheduled audits of the works in the course of corrective and preventative action throughout the construction phase.

# Training

## Competence, Training and Awareness

McNab determines the necessary competence for personnel performing work affecting conformity to product requirements through selection of appropriately training people for the task at hand.

McNab has an extensive learning and development training program than undertakes to provide employees with the opportunity to achieve the necessary competence. This is documented via a Training Matrix and the McNab procedure McN-QP-111 Competence, Training and Awareness.

Subcontractors shall be required to submit details of their employees and employee qualifications prior to commencing on site. Copies of licences, tickets and relevant qualifications may be taken on site.

Prior to arrival on site, all personnel shall undertake the required inductions, as outlined in the Project Health and Safety Management Plan. This shall include all required verification of competency for their tasks.

Throughout the duration of the construction phase, McNab shall continually provide training and development to personnel on site on a range of health, safety, environmental, quality, procedural and technical topics.

McNab shall review the Training Program at regular intervals to verify its effectiveness and relevance.

## Maintenance of Training Records

All training performed shall be documented and records retained throughout the construction phase by the McNab HR team in conjunction with the HSE and Quality teams.

## Alerts and Tips

To share critical information and support learning, McNab will issue Alerts and Tips, which are shared with employees and relevant parties via toolbox talks, and signed onto to record attendance.

# Compliance and Monitoring

## Audit Schedule

The McNab Quality Manager shall maintain an audit schedule. The schedule shall delineate audit activities for this Project according to risk, and detail audit requirements and relevant references.

## Internal Audit of Works

The McNab Site Manager is continually monitoring the quality of the workmanship of the Subcontractors on site through informal visual inspections as well as via formal Inspection Test Plans.

Site audits shall be undertaken at key milestones identified by the Quality Manager and/or the Site Management Team. Audit reports shall be issued to the Client as requested.

Specific audit criteria shall be prepared from approved Specifications and Construction-Issue drawings.

## Internal Compliance Audit of Project and Site

Internal compliance, auditing and monitoring shall be undertaken in accordance with the documented McNab procedure McN-QP-112 Compliance and Monitoring.

Should a deficiency be identified through the audit process, it shall be documented via Procore and addressed accordingly [Form 03.04]. Refer Section 14.

## Client Audits

Client attendance to audits and audit reports are at the option of the client.

# Receipt, Handling and Preservation of Materials

McNab will handle, store, package and deliver all materials and equipment in accordance with the documented McNab procedure McN-QP-117 Receipt, Handling and Preservation of Materials and Equipment.

## Delivery Considerations

The McNab Project Manager shall direct Subcontractors and suppliers to plan and undertake deliveries to the Project site.

The delivery of materials to site by Subcontractors and suppliers will be carried out in accordance with the regulatory requirements including the Chain of Responsibility, Client requirements and McNab approved procedures.

## Loading and Unloading Considerations

The loading and unloading of materials onsite will vary throughout the Project. To overcome unexpected and unplanned deliveries each particular delivery will be assessed and planned for in advance of arrival.

With any other large or dangerous deliveries an independent review of each particular aspect will be carried out by the McNab team and the Subcontractor to ensure a safe and efficient working environment at all times.

Loading and unloading on the Project shall be via mechanical means where practicable. All loading and unloading shall be subject to Client and McNab requirements and the applicable Safety considerations as outlined in the Health and Safety Management Plan for the Project.

## Storage of Materials

Storage and maintenance of permanent plant, equipment and materials shall be in accordance with manufacturers’ recommendation and documented in the handover documentation. McNab shall ensure that storage and performance of maintenance activities are maintained. Maintenance records shall be maintained.

# Quality Records (Material Documents)

## Concrete

McNab shall maintain records of every concrete pour via a Concrete Pour Record and accompanying Inspection and Test Plans. This documentation shall be accompanied by records of all batch receipts and applicable test reports.

Submission of material documents shall be in accordance with technical specifications provided by the Client and the IFC McNab specifications.

## Reinforcing Steel

McNab shall adhere to the requirements of the technical specifications provided by the Client and the IFC McNab specifications. Where a requirement in the Specifications is greater than the Australian Standard, the Specification shall take precedence.

### Reinforcement Processing to Australian Standards

McNab shall maintain reinforcement processing records in accordance with AS/NZA 4671, AS 5100 and AS/NZS 2870.

### Reinforcement Mesh Manufacturer

McNab shall maintain records from the manufacture of reinforcement mesh certifying compliance with AS/NZA 4671.

## Structural and Cast in Steel

McNab shall adhere to the requirements of the technical specifications provided by the Client and the IFC McNab specifications. Where a requirement in the Specifications is greater than the Australian Standard, the Specification shall take precedence.

### Structural Steel Product Certification

McNab shall maintain records of all structural steel production. A mill certificate will be supplied on completion of the structural steel being fabricated certifying compliance has met the relevant building codes and Australian Standards.

# Quality Submission Requirements

## Test Reports

### Concrete Strength Test Reports

Submission of test reports shall be in accordance with technical specifications provided by the Client and the IFC McNab specifications. McNab will provide concrete strength reports at the completion of the Project in the Operational & Maintenance Manual in accordance with AS 3600 and the project specifications.

### Hydraulics

Submission of test reports shall be in accordance with technical specifications provided by the Client and the IFC McNab specifications.

### Electrical

Submission of test reports shall be in accordance with technical specifications provided by the Client and the IFC McNab specifications.

### Structural steel

Submission of test reports shall be in accordance with technical specifications provided by the Client and the IFC McNab specifications.

## Certificates

Upon completion of the project McNab will provide in the form of an Operational & Maintenance Manual the all applicable Form 15s and Form 16s for certification.

## As Constructed Drawings

McNab will provide As Constructed Drawing/Documents for all trades in accordance with the Client Requirements. These will be provided to the Client at the completion of the project in the form of the Operational & Maintenance Manual.

# Risk Management and Quality Control

## Material Supply

Whilst McNab intend to source locally where possible, there may be occurrences where sourcing products from offshore suppliers will be required. McNab will comply with all requirements for offshore procurement in this instance.

## Structural Steel

All structural steel frame elements will be shop-drawn and manufactured off-site. Manufacture shall commence immediately upon receipt of approval of shop drawings. All elements will be fabricated in advance of the required dates to meet the construction program.

## Structural Framing

McNab shall explore in design where possible prefabricated structural steel framing systems for the main buildings. The structural framing system would consist of internal wall, external walls and roof trusses. The fabrication of these elements would occur off site in various locations by several Clients. All elements can be made well in advance of programmed dates for installation.

## Prefabrication of Joinery / Cabinets

McNab intends to prefabricate cabinets and joinery items for the Project off-site, well in advance of the required timeframes. Containerised delivery will ensure delivery times are met and maintained.

The lay down areas designated by McNab will be sufficient to store prefabricated elements as required, reducing erection times and potential for delivery delays.

## Labour and Equipment Supply

The Project will require hired plant and subcontract labour to carry out a considerable portion of the works, resulting in risk in relation to adequately maintaining labour force on site, and risk in relation to reliable equipment hire.

McNab utilises a stringent due diligence process as part of the Procurement Procedure (refer section 10) which minimises risk in relation to capability. Additionally, McNab retains a significant labour force of direct employees including carpenters, labourers, concreters and a Plant and Equipment (P&E) team. McNab shall induct a significant proportion of its direct labour force to allow flexibility over the duration of the Project without jeopardising critical path. The McNab P&E team shall be mobilised to support provision of equipment required for the duration of the Project.

## Concrete Supply

Strategies relating to specific size and timing of pours, concrete temperature controls and curing shall be prepared in conjunction with the local plants throughout the construction of the Project.

# Defect Liability Period

The Defect Liability Period (DLP) for this project is <Enter number> months from date of Practical Completion, as outlined in the Head Contract.

Throughout the Defect Liability Period, McNab Delivery Team is responsible for ensuring all defects identified are rectified.

Defects are registered on a defect register in Procore which may be controlled by McNab or the Superintendent.

## Defect Notification Process – post Handover

Throughout the Defect Liability Period McNab Delivery Team is responsible for ensuring that all correctly identified defects are rectified.

Should the end user or Client identify a problem with the building, they are to follow the defect notification process as detailed in the Defects Fact Sheet in the Handover Manual 05.77.

# Appendix 1 – Quality Policy

This page has been left intentionally blank

# PART B – Planning for Quality

Insert copy of Planning for Quality spreadsheet

This page has been left intentionally blank

# PART C – McNab Minimum Standards

Insert a copy of 03-DOC-013, once agreed with PM & Quality Site Representative