RESIDENTIAL PROJECT

- Bill of Quantities created by manual methodology as we are a small business in the path of growing.  Currently we are in communication with various costing software companies and are in the process of searching one to proceed with soon – I have attached confirmation emails for your ease of reference and information on this matter.  Kindly accept our manual methodology at this stage.  Thank you

- Construction project plans and specifications used as basis in creating the Bill of Quantities – please refer to project plans and specifications attached to Task 2 of this course.  Thanks

| Material | Description | Measurement of material | Unit price | Total price |
| --- | --- | --- | --- | --- |
| Demolition – Jack Hammer | Demolish the 17 sqm of existing storage, supporting walls, wall tiles, flooring, sink etc. at all levels as required carefully and disposing off and clearing away the debris | sqm | $310 | $5270 |
| Kitchen Elevation Bench Drawers Spice rack Brushed stainless steel laminate Ducting Overheads Shelves Caesarstone bench top Island Sink cupboard Paint Cabinetry - Blum Tandembox antaro h. Fronted pull-out C - DQC5JY, D - DQC69A, DQCB6M Urbane Castella 192mmCTC handle | Kitchen elevation 2730x2550Hx600mm diameter or expressed as 2.7mx2.55mx0.6m Bench height 1000mm with 3 sets of 3 blum tip drawers with 1 of orga line spice rack insert Brushed stainless steel laminate kick face Ducting for downdraft cooktop to run behind draws Overheads 650mm Height with 1 of adjustable shelf with doors hanging below as finger pull and LED strip lighting to underside Internal 16mm HMR with 1mm ABS PVC match edge Fronts in 18mm white sating with 2 pac satin finish 40mm Caesarstone bianco drift bench top with cutout for drop in cooktop Kitchen island 3000x1000Wx1000 D – LH side with pull out drawer with 2x35L bin inserts Sink cupboard with 1 door housing undermount single bowl sink with 3 sets of 4 blum tip on drawers with 1 of cutlery insert and 2 of utensil insert. Internals 16mmwh HMR with 1mm ABS PVC matching edge. All fronts in 18mm wh sat with 2pac satin finish | mm, m L W, H, D, thickness, pieces | $4500 $2500 $500 $2600 $9850 $3345 $1000 $12400 | $36695 |
| Butlers Pantry Door sink cupbard Bins Dishwasher Drawers Shelves Overheads Paint | 4480x2550 Hx620mm D pantry or expressed as 4.48m x 2.550m x 0.620m with door sink cupboard and 2x20L bins Dishwasher opening 600mm 3 sets of 3 blum tip on drawers with 885mm pantyr to RH side 2 door pantry unit with 5 blum soft close internal drawers and 4 adj shelves Overheads 3595x650 Hx400mm D with 1 adj shelf with doors hanging below as finger pull | Mm, m L W, H, D, thickness, pieces | $4500 $2320 $2500 $2430 $4505 | $‎16255 |
| Laundry Laundry tub unit Shelves Bench Caesartone top 6131 Bianco Drift, 4600 Organic white Shute cupboard Overheads Drawers Tall cupboard Brushed SS laminate Single door cupboard Paint | L shaped laundry 2450x2520x2550mm or expressed as 2.45m x 2.52m x 2.55m with 4 door laundry tub unit with 1 adj shelf with bench at 1000mm H 40mm Caesarstone organic white top running wall to wall below laundry shute cupboard and 20mm thick splashback 150mm height 4 door overhead cupboard with 2 adj shelves and dorrs hanging down as finger pull above dryer and washing machine openings with flat pull out shelves and 1 of blum soft close drawer below 2 door Tall broom storage cupboard to right side with 1 of blum soft close drawer below 1 0f internal adj shelf Brushed stainless steel laminate kick face Single door cupboard 600x600mm on opposite wall 1000mm height bench top. All internals 16mm white HMR with 1mm ABS PVCedge. All fronts in 18mm white sating with 2 pac satin finish Dryer and washing machine panels, bottoms in 32mm MDF with 2pac finish | mm, L, m W, H, D, thickness, pieces | $1000 $2950 $3200 $1900 $990 $2960 | $‎13000 |
| Plumbing Franke Ancona single bowl undermount sink Double bowl undermount sink Mizu drift sink mixer Mizu smothe sq sink mixer | Island & laundry - franke ancona single bowl undermount sink – anx 110-48 Pantry - franke ancona double bowl undermount sink - anx 120 Island & pantry - mizu drift mk2 gooseneck sink mixer pull-out Laundry - mizu soothe square gooseneck sink mixer | 4 pcs | $900 $1650 $1400 $2300 | $6250 |
| Electrical Light LED tape | Beacon Herman 1 light pendant 14 watt led tape and recess led profile under overhead cupboards Single phase underground power connection from existing supply point. Led light strip under island bench Cooktop isolation switch | 2 pcs | $1900 $1150 | $3050 |
| Tiling Timber look tile flooring Ceramic tile splashback – kitchen and laundry Kitchen timber look tile to match floors Brushed stainless steel laminate | New timber look tile flooring Kitchen – timber look tiles to match floors 1200x x230mm Laundry and kitchen - ceramic tile splashback - Snow Brillo Tile Sc19 A7615, Amber Tiles To Match Cabinets. 130mmx130mm Brushed stainless steel laminate kick face 130 sqm | Sqm, mm | $69 | $8970 |
| Butlers Pantry - Fixed Glass Window | New fixed glass window to suit existing opening width frame 1800x600mm Colour to match exiting and tinted to client requirement (customized) | 1 pcs, mm | $1790 | $1790 |
| French Doors - Triple Slider | New Triple Slider With Screens To Match Existing Profile & Colour 2710x2100mm | 1 pc, mm | $4800 | $4800 |
| Dining Room Slider - Reverse Opening | Slider with reversed opening with screen to match existing profile and colour 1810mmx2100mm | 1 pc, mm | $2850 | $2850 |
| Removal of Debris Cleaning material Skip bin | Cleaning materials Skip bins | 1 pc 2 pcs | $500 $1400 | $1900 |
| TOTAL ESTIMATED COST OF MATERIAL /SUPPLY |  |  |  | $100830 |

| Relevant construction works/services | Description/scope | Hrs | Unit price | Total price |
| --- | --- | --- | --- | --- |
| Demolition labour | Demolish existing kitchen and make good Dismantling the existing storage, slab platform including supporting walls, wall tiles, flooring, sink etc. at all levels as required carefully and disposing off and clearing away the debris Slabs to be chased to allow for new plumbing | 16 | $425 | $6800 |
| Kitchen Labour | Installation of supply mentioned above | 138.4 | $60 | $8305 |
| Butlers Pantry Labour | Installation of supply mentioned above | 35 | $50 | $1745 |
| Laundry Labour | Installation of supply mentioned above | 40 | $50 | $2000 |
| Plumbing | Installation of supply mentioned above Slabs to be chased to allow for new plumbing Plumbing cap off and reconnections Plumbing dis-connections to existing serviceable connection points and connections Water dis-connection and connections from pre-tapped water main | 33.3 | $75 | $2500 |
| Electrical | Installation of supply mentioned above Electricity cap off and reconnections Electricity dis-connections to existing serviceable connection points and connections Duct work for bench mount exhaust to run through back of drawers and wall to external wall and motor Cooktop downdraft ventilation system | 29 | $110 | $3200 |
| Building / Carpentry Labour | Labour for scopes of work described excluding the installation of above fixtures New stud plasterboard wall to be build New fixed glass window to existing opening Enclose wall above and below to match existing Window tint to be discussed with client New doors to match switch opening with screens New doors to match triple slider with screens New Laundry door location cavity slider to match existing Tambour door in kitchen New Laundry window to suit existing opening width over dishwasher | 230 | $65 | $15000 |
| Tiling Labour | Installation of supply mentioned above | 122 | $65 | $7930 |
| Butlers Pantry - Fixed Glass Window Labour | Installation of supply mentioned above | 2 | $80 | $160 |
| French Doors - Triple Slider Labour | Installation of supply mentioned above | 3 | $80 | $240 |
| Dining Room Slider - Reverse Opening Labour | Installation of supply mentioned above | 5 | $80 | $400 |
| Removal of Debris | Labour and clean-up | 8 | $75 | $600 |
| TOTAL ESTIMATED COST OF CONSTRUCTION WORKS/SERVICES |  |  |  | $48880 |

TOTAL SUM OF THE PROJECT

| TOTAL ESTIMATED COST OF MATERIAL /SUPPLY | $100830 |
| --- | --- |
| TOTAL ESTIMATED COST OF CONSTRUCTION WORKS/SERVICES | $48880 |
| Subtotal | $149710 |
| GST 10% | $14971 |
| TOTAL COST OF THE PROJECT | $164681 |