Demolition Checklist

Prior to demolition commences:

- Prepare SWMS

- Obtain asbestos register

- Identify risks and hazards

- Implement control measures

- Consult with workers –

- Demolition methods

- Types of risk control measures

- Interaction with other trades

- SWMS

- Provision of appropriate amenities

- Procedures to deal with emergencies

- Consult with other duty holders

Planning of demolition work:

- Notify the regulator

- Design safety reports

- Demolition licensing

- Asbestos licensing

- Adjacent or adjoining building preparation

- Essential services (gas, water, sewerage, telecommunications, electricity, chemicals, fuel and refrigerant in pipes or lines)

- Underground essential services

Controlling of risks:

- Associate hazards with the design

- Hazardous chemicals and materials (asbestos, lead, polychlorinated biphenyls and synthetic mineral fibres)

- Securing work areas (exclusion zones, public access and protection)

- Plant and equipment (ensure you have the right equipment and they are in safe working order)

- Powered mobile plant (if used, ensure driver has correct license and traffic management)

- Removal of debris

- Fall prevention

- Electricity

- Fire prevention

- Information, training, instruction and supervision

Demolition methods:

To ensure demolition work runs safe and smooth, you must choose what type of demolition work the building will require;

- Manual demolition – hand tools are used

- Mechanical demolition – powered mobile plant and hand tools are used

- Induced collapse – removal of key structural members to result in controlled collapse

Demolition of special structures:

- Fire damaged, ruinous and structurally unsound buildings or structures (identify hazards)

- Masonry and brick arches (use correct sequence)

- Independent chimneys and spires

- Façade retention (exclusion zones for the public)

- Storage tank and pipelines (remove any hazardous chemicals prior)