Practical Activity 2

Review the attached development application and create a report detailing the following information:

DEVELOPMENT APPLICATION REPORT

509 AND 511 RODE ROAD, CHERMSIDE, QLD 4032

- Document submissions required prior to commencement of construction

The contractor must submit the following documents to support the development application prior to commencement of construction:

- Traffic Engineering Assessment Report prepared by BCM Traffic

- Traffic Engineering Assessment addendum:  Letter prepared by BCM Traffic

- Surveys and reports

- Driveway materials and finishes schedule

- Earthwork Drawings

- Landscape Plan

- As constructed drawings to include asset register for the installation of concrete paths

- Development Assessment certification – Professional report to address - Acoustic Barriers comply

- The approval of a Building Certifier to support DA application

- Construction Management plan

- Engineered approved plans for retaining walls

- Earthwork Drawings

- Surveys and reports

- Garbage collection application

- Subdivision plan

- Plan of subdivision

- Internal drainage system plan

- Site drainage drawings

- Water approval

- Dial before you dig documentation – as constructed drawings

- Certification from Telecommunications office

- Agreement with electricity supplier

- Meetings required prior to commencement of construction

- Construction Management plan implementation meeting

- Meeting to implement approved earthworks drawings

- Inspections and approvals required during construction

- Earthworks drawings

- Plan of Subdivision

- Site drainage drawings

- As constructed drawings – plumbing and electrical service conduits and mains

- Water approval

- Telecommunications

- Agreement with electricity supplier