CPCCBC6001

Apply building codes and standards to the construction process for large building projects

ASSESSMENT SUMMARY

The assessment activities for CPCCBC6001 Apply building codes and standards to the construction process for large building projects cover all aspects of the unit of competency. For Apprentices/Trainees, this includes supervisor completion of the Apprentice/Trainee Record (ATR).

Participants must read all the information given before starting any assessment task. The assessment tasks are intended to be fair, flexible, valid and reliable. If a Participant has any questions or requires alternative arrangements to be made such requests should be directed to their Trainer/Assessor, who should note such arrangements in the ‘Assessor Comments’ on the affected assessment. If a Participant feels they are not yet ready to be assessed, they should discuss their options with their Trainer/Assessor.

To satisfactorily complete the assessment, the Participant is required to answer all questions correctly and demonstrate their skills to industry standards. If a Participant does not answer all questions or perform all tasks, they will be deemed ‘Not Satisfactory’ for the task and ‘Not Yet Competent’ for the unit of competency.

The Trainer/Assessor can provide the Participant with additional information on interpreting the assessment outcomes and guide the Participant’s options. If a Participant is still deemed ‘Not Satisfactory’ they will have the opportunity to undertake a supplementary assessment or appeal the result as per the process in the Student Handbook.

By signing below, the Participant acknowledges:

- They understand the assessment instructions and requirements, and consent to being assessed.

- The work submitted is to be their own work – with the work of/with others needing to be clearly acknowledged and documented.

- They consent to any photo/video recording of their work that occurs during assessment.

| Participant name | Ross Snelgrove |
| --- | --- |
| Participant signature |  |

Pre-requisite unit(s) to be achieved and authenticated prior to undertaking assessment

Not applicable

| Task | Date completed | Assessment Results |  |
| --- | --- | --- | --- |
| Theory Exam | Select Date. | Satisfactory | Not Satisfactory |
| Workbook | Select Date. | Satisfactory | Not Satisfactory |
| Practical Assessment | Select Date. | Satisfactory | Not Satisfactory |
| Outcome for CPCCBC6001 | Select Date. | Competent | Not Yet Competent |

| Evidence requirements checklist (ticked by assessor and evidence supplied to RTO) |  |
| --- | --- |
| Theory Exam Workbook Practical Assessment | Workplace Quality document/s and/or Quality Assurance Template Existing building fire protection checklist Site and Working Plans |

| Assessor name |  |
| --- | --- |
| Assessor signature |  |

CPCCBC6001

Apply building codes and standards to the construction process for large building projects

THEORY EXAM

| Participant name | Ross Snelgrove |
| --- | --- |

FOR THE PARTICIPANT

Instructions

- You will complete written questions as outlined on the following pages. You must attempt all questions and provide enough detail in your responses to demonstrate your knowledge. - It is anticipated that you should complete this assessment within two (2) hours, but additional time may be allowed upon negotiation with the Assessor. - You must complete all questions unassisted by the Assessor or other personnel but may refer to reference material as needed. All questions must be answered correctly for a ‘Satisfactory’ assessment outcome to be awarded. - An oral examination may be allowed under certain circumstances, whereby your answers will be documented by another party. - Any written questions that are incomplete, or not answered satisfactorily will need to be completed again after further training support. - If you answer a question incorrectly but modify your response, put your initials next to the written change (or the Assessor must initial a verbal change).

Resources required

Pen

FOR THE ASSESSOR

Instructions

- Where oral examination has occurred, ensure that this is acknowledged in writing (e.g. FT001 and Assessor Comments) - All questions must be satisfactorily demonstrated by the Participant for a Satisfactory determination (indicated by an Assessor tick to the right of the question). - Assessors are to complete marking in pen of a different colour to the Participant. - If the Participant verbally modifies their response, write in the modified response verbatim and put your initials next to the written change.

ASSESSOR COMMENTS

As necessary, outline: - Details on reattempts, alternative arrangements or reasonable adjustments made. - Where a Participant is deemed ‘Not Satisfactory’, provide recommendations for future training.

Explain why it is important to understand references the NCC makes to Australian Standards.

| Answer | It is important to understand references in the NCC because it is a set of technical standards that apply across Australia for design, construction and performance of buildings, plumbing and drainage systems. The NCC sets the minimum requirements concerning structure, fire, access and egress, accessibility, health and amenity and sustainability. |  |
| --- | --- | --- |

You have been asked to develop a tender proposal for a large government building in your State/Territory. Discuss in depth any legislation and Codes your submission must comply with?

| Answer | When submitting a tender, it is important to make sure that it is complying with all applicable laws, and codes of practice, Including the code for the tendering and performance of building works. It is also important to make sure you meet the QBCC’s minimum financial requirements policy. |  |
| --- | --- | --- |

Describe the listed NCC compliance assessment methods used to determine compliance using a Performance Solution pathway.

| Answer | Assessment method | Description |  |
| --- | --- | --- | --- |
|  | Evidence of suitability | Can typically be given in support of a proposition that a material, product, method of construction or design meets a performance requirement deemed to satisfy provision. |  |
|  | Verification methods | Verification methods prescribe alternative ways in which a solution complies with performance requirements. |  |
|  | Comparison with DTS Provisions | The performance solution will be deemed to meet the relevant performance criterion if it can be proven to an approval authority that it conforms in a comparable or superior manner to a deemed to satisfy provision. |  |
|  | Expert Judgement | Needed when performance criteria are difficult to measure and is based on an expert’s knowledge with reference material and papers to support conclusion. |  |

Discuss the importance of documenting quality assurance and quality control processes relevant to the build.

| Answer | It is important to document a quality assurance and quality control process relevant to the build. This includes important documentation of documents related to the projects quality requirements to make them available for effective use. It is the process of identifying or deciding on all the quality requirements for a project . The success of a construction project depends on these processes. Needs to meet quality guidelines and guarantee high industry standards. |  |
| --- | --- | --- |

Discuss the basic principles of structural design and how stress or strain occurs.

| Answer | Structural design is the discipline of calculating the various load requirements of various structures and designing a structure of withstanding worse case scenarios. Stress and strain in materials relates to the deformation cause by external forces. When a force is applied to a material it causes the material to deform. |  |
| --- | --- | --- |

Discuss compressive and tensile stresses on buildings?

| Answer | Compression is a force that pushes the particles of a material closer together. Tensile stress is a force which tends to elongate materials. |  |
| --- | --- | --- |

Describe considerations you make when writing workplace procedures.

| Answer | Procedures should communicate information that you need to know e.g., the correct processes, health and safety requirements, code of conduct, hazardous materials register and manual handling. |  |
| --- | --- | --- |

Discuss the listed levels found in the NCC Performance Hierarchy.

| Answer | Performance Hierarchy | Description |  |
| --- | --- | --- | --- |
|  | Objectives | Describe the community’s expectations for buildings under this section. |  |
|  | Functional statements | Explains how the building will meet the goals |  |
|  | Performance requirements | Defines the minimum level of performance that the building must achieve to accomplish the objectives and functional statements. |  |
|  | Building Solutions | A performance solution or a deemed to satisfy solution can be used to meet the performance requirements. |  |

Discuss two (2) properties, two (2) characteristics and two (2) limitations of concrete when used for buildings.

| Answer |  | Concrete |  |
| --- | --- | --- | --- |
|  | Properties | Aggregates stone / size of stone Shrinkage, concrete can shrink as it dries which can result in cracking. |  |
|  | Characteristics | Concrete is high temperature resistant. Concrete has great durability |  |
|  | Limitations | The tensile strength of concrete is very low. It develops more cracks on the surface than other binders A rough surface is responsible for increasing strength but workability decreases. |  |

Discuss three (3) benefits of using glass in buildings?

| Answer 1. 2. 3. | Transparency, allows light from the outside to enter the building. Recyclable glass can be recycled without compromising quality or purity. Helps reduce both heating and cooling costs. Helps achieve green star rating. |  |
| --- | --- | --- |

Describe information you can determine from the working drawings and specifications when organising the excavation for the site of a three (3) storey unit block with underground parking.

| Answer | You will be able to determine the site lay out of your project. You will be able to also find information on the excavation depth and profile of your project You can find information for drainage and dewatering measures to manage ground water and surface water during excavation. |  |
| --- | --- | --- |

Who would you discuss materials and plans with to ensure compliance with NCC Performance Requirements and site safety. Provide two (2) and explain your answers.

| Answer | You can talk to Architects and Engineers, they are responsible for the design of the building and they ensure that it structure meets the relevant building codes and regulations. Health and safety officers, they can provide guidance of safe work practices, risk assessments, and compliance with occupational health and safety. . |  |
| --- | --- | --- |

Why may you need to use a combination of Performance Solutions and Deemed-to-Satisfy (DtS) solutions to comply with the Performance Requirements of the NCC

| Answer | You may need to use a combination of both because they provide designers and builders with flexibility, adaptability and efficiency to meet the performance requirements of the NCC across a range of construction projects. |  |
| --- | --- | --- |

CPCCBC6001

Apply building codes and standards to the construction process for large building projects

WORKBOOK

| Participant name | Ross Snelgrove |
| --- | --- |

FOR THE PARTICIPANT

Instructions

- You will complete written activities as outlined on the following pages. You must attempt all questions and provide enough detail in your responses to demonstrate your knowledge. - The timeframe for these tasks will be established by your Assessor or Training Plan, but additional time may be allowed upon negotiation with the Assessor. - You must complete all questions unassisted by the Assessor or other personnel but may refer to reference material as needed. All questions must be answered correctly for a ‘Satisfactory’ assessment outcome to be awarded. - An oral examination may be allowed under certain circumstances, whereby your answers will be documented by another party. - Any written questions that are incomplete, or not answered satisfactorily will need to be completed again after further training support. - If you answer a question incorrectly but modify your response, put your initials next to the written change (or the Assessor must initial a verbal change).

Resources required

Pen

FOR THE ASSESSOR

Instructions

- Where oral examination has occurred, ensure that this is acknowledged in writing (e.g. FT001 and Assessor Comments) - All questions must be satisfactorily demonstrated by the Participant for a Satisfactory determination (indicated by an Assessor tick to the right of the question). - Assessors are to complete marking in pen of a different colour to the Participant. - If the Participant verbally modifies their response, write in the modified response verbatim and put your initials next to the written change.

ASSESSOR COMMENTS

As necessary, outline: - Details on reattempts, alternative arrangements or reasonable adjustments made. - Where a Participant is deemed ‘Not Satisfactory’, provide recommendations for future training.

NOTE

At times, you will be provided with a specific business context to which you must respond, otherwise it is anticipated that you will use a workplace of your choosing (your own, or hypothetical) to provide the context to the task.

At all times, the responses in your assessment must reference Australian (Queensland or Federal) documentation, including legislation, regulations, codes of practice, standards and guidance publications.

Access the NCC via the internet to determine the Building Classification/s that apply to the building diagram below. The building is to contain offices in the upper floors, one caretaker flat on the first floor and shops and cafes on the ground floor. Explain your findings below.

Answer

The office space on the upper floors falls under the class 5 office buildings classification for commercial structure offices The first floor flat falls under a class 4 building as it is a dwelling for a caretaker. The ground floor falls under a class 6 building, which is utilised for the sale of goods and supply of services.

| Satisfactory Outcome |  |  |
| --- | --- | --- |

Access the NCC via the internet to locate the requirements applicable to a building development in the Brisbane area, containing 6 sole-occupancy units, two (2) on each level, each being a separate dwelling. This building includes one (1) basement level designated for car parking. The proposed building structure requires reinforced concrete floors and columns. Document your findings or where in the NCC the information can be located.

Building Description

Classification

The classification for this building is class 2 and class 7

Rise in Storeys

This can be found in volume 1 part C2D3 of the NCC

Number of Storeys

This can be found in volume 1 part C2D3 of the NCC

Type of construction

A building may be of mixed types of construction where it is separated in accordance with C3D8 and the type of construction is determined in accordance with C2D2 and C2D4

Climate Zone and description

The climate zone for this project is a warm temperate zone. (zone3)

Fire resistance and stability

Locate fire resistance information

This can be located under volume 1 section C part C1 of the NCC

Compartmentation and fire separation

This can be found in volume 1 section C part C3 of the NCC

Fire hazard properties of materials, assemblies, fixtures and linings

This can be found in volume 1 section C specification 7 of the NCC

Material requirements

Reinforced concrete requirements relative to Australian Standards

The information for this can be found in volume 1, part B1. To be with in accordance with AS3600

Glazing requirements specifically for windows, sliding doors with frames and balconies.

This can be found in volume 1 of the NCC section 7 part B1

| Satisfactory Outcome |  |  |
| --- | --- | --- |

The building discussed in ACTIVITY 2 includes one (1) basement level designated for car parking. Provide information required for - Bored piling to retain the soil and enable basement walls. - Work Health and Safety - Water proofing - Water ingress Document your findings or where the information can be located.

Bored piling to retain soil and enable basement walls

Information can be found in AS 2159

Work Health and Safety

Found in Volume 1 part F

Water proofing

Information for this can be found under section F part F1

Water ingress

Information for this can be found under section F part F1

| Satisfactory Outcome |  |  |
| --- | --- | --- |

CPCCBC6001

Apply building codes and standards to the construction process for large building projects

PRACTICAL ASSESSMENT

| Participant name | Ross Snelgrove |
| --- | --- |

FOR THE PARTICIPANT

Instructions

- The tasks outlined on the following pages will require performance of normal workplace activities, as a result of a structured activity set by an Observer in the workplace or a simulated activity set by your Assessor/Observer. - The timeframe for these tasks will be established by your Assessor/Observer, in consideration of location conditions and industry requirements. - You must complete all tasks unassisted by the Assessor or other personnel, unless the steps note this assistance. - You must attempt all tasks (and itemised steps) for a ‘Satisfactory’ assessment outcome to be awarded. - For any observation conducted that is incomplete, or without satisfactory performance, the observation will need to be completed again after further training support.

FOR THE ASSESSOR/OBSERVER

Instructions

- The following observation record should be used to judge and record your observations of the Participant as they complete the task(s) set. You must record your observations of the Participant’s performance. - For each occasion, indicate the task performed and whether it was a simulation or workplace-based task. - Any simulated assessment must ensure the Participant still performs under workplace conditions which reflect industry standards. - In the comments, provide clear detail regarding the task that the Participant was required to do (e.g. PPE used, materials handled, attachments connected, plant types). - All steps must be satisfactorily demonstrated by the Participant for a ‘Satisfactory’ determination (indicated by an Assessor tick to the right of each itemised step, or an Observer tick to the right of each itemised step, and confirmation by an Assessor in the Assessor Comments). - Where you have determined that one or more task steps have not been satisfactorily demonstrated, provide the Participant with additional support and outline details of such assistance in the Assessor/Observer Comments. Allow the Participant two (2) further opportunities to demonstrate the task again to allow an opportunity for a ‘Satisfactory’ assessment outcome to be achieved. - If after three (3) attempts the Assessor determines that the Participant cannot demonstrate the required steps, a ‘Not Satisfactory’ outcome is to be determined.

| TASK OUTCOME |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Task | Date | Task Type (Tick) | Location | Task outcome (Tick) |  |
|  |  |  |  | Satisfactory | Not Satisfactory |
| Task 1 | Select Date. | Workplace Simulation |  |  |  |

ASSESSOR COMMENTS: GENERAL

As necessary, outline: - Details on reattempts, alternative arrangements or reasonable adjustments made. - Where a Participant is deemed ‘Not Satisfactory’, provide recommendations for future training.

| ASSESSOR COMMENTS: PRACTICAL TASK 1 |  |
| --- | --- |
| Individual student (as named on cover page) Multiple students [ All from Attendance Report, Specific students involved – identify students] |  |
| Task | Provide detail |
| 1.1A. | Specify how scope of work was determined: |
| 1.1A. | Specify how general requirements and prescriptive requirements of the NCC were determined and documented: |
| 1.1B. | How were relevant Australian Standards identified and located: |
| 1.2A. 1.2B. 1.3A. 1.3H. 1.5C. 1.5D. | Specify () where building classifications, criteria requirements and performance solutions were documented: Workplace Quality document Quality Assurance Template Other (please specify): Document attached as evidence |
| 1.3F. | Specify () who was consulted regarding compliance options: Project management Relevant tradesperson Builder Supplier Other (please specify): |
| 1.4A. 1.4B. | Specify () where NCC requirements for passive and active fire protection and performance solutions were documented: Workplace Quality document Quality Assurance Template Other (please specify): Document attached as evidence |
| 1.4C. | Specify existing buildings checked for compliance with active fire protection requirements: Is checklist used attached as evidence? |
| 1.5A. 1.5B. | Specify () communication methods applied to manage construction and other trades compliance: Emails Schedule Memos Daily meetings Site induction Other (please specify): |
| 1.5E. | Specify how non-confirming building materials and products were managed using evidence of suitability: |

CPCCBC6001

Apply building codes and standards to the construction process for large building projects

| Practical Task 1 |  |
| --- | --- |
| Description of task: The participant must demonstrate the skills and knowledge to make a range of critical decisions in relatively complex situations while applying building codes and standards to one (1) building project over three (3) storeys, with below ground construction to meet the requirements of the National Construction Code (NCC) prior to the build commencing. The participant must also inspect existing buildings for fire compliance. Assessor and observer will be looking for evidence including: - Interpret relevant codes and standards’ requirements. - Determine the scope of works and NCC general requirements and Performance Requirements to achieve a DtS solution. - Identify Australian Standards referenced in the NCC Relevant to the build and confirm the requirements. - Classify the building/s. - Determine the use and arrangement of the building and apply the appropriate NCC classification/s. - Locate and document NCC requirements for multiple classifications. - Apply solutions to construction problems. - Determine the range of NCC criteria required to ensure project compliance. - Identify alternative, compliant solutions for construction problems to comply with NCC Performance Requirements. - Meet the Performance Requirement of the NCC by applying a Performance Solution supported by one or a combination of the Assessment Methods. - Use a Deem-to-Satisfy (DTS) solution supported by one or a combination of Assessment Methods to meet NCC compliance. - Use a combination of Performance Solutions and DTS solutions to comply with the Performance Requirements of the NCC. - Discuss compliance options with relevant construction personnel to ensure compliance with NCC Performance Requirements. - Identify and complete relevant documentation to meet Performance Requirements of the NCC. - Apply fire protection requirements. - Read the NCC requirements to determine fire resistance required for all classes and types of buildings. - Identify and apply NCC requirements with respect to passive and active fire protection to all classes and types of buildings. - Check existing buildings for compliance with passive and active fire protection requirements according to NCC requirements. (See HO2 and NCC to create checklist) - Implement strategy to manage construction compliance. - Establish strategies to manage construction compliance of large, complex and high-rise buildings with the NCC. - Implement and coordinate the work of professionals involved in the development and management of the building process. - Seek effective design solutions for buildings of more than three storeys to meet the needs of clients and ensure compliance with the NCC. - Design and implement quality assurance processes to ensure effective and compliant management of the construction process. - Detect non-conforming building materials and products and manage the evidence of suitability as required in the NCC. These tasks may be simulated or real. The Participant is to gather evidence of how they have completed each component of the Practical Task, which is to be submitted with this Practical Assessment sheet. Evidence includes site plan and workplace documents covering the information required. A template is available. The Observer is to provide detailed comments on the tasks completed by the Participant (on the Observer Comments, overleaf). The Assessor is to verify the Observer’s comments, noting their findings in the Assessor Comments (on the back of the Practical Assessment cover page) and provide the assessment outcome. |  |
| Resources required: Construction schedules, plans, drawings and specifications for one (1) building project over three (3) storeys, with below ground construction; workplace quality policies and procedures; technology to access building and related industry codes, standards and manufacturer product information and materials specifications; Technology to access the NCC and current relevant Acts and Regulations. PPE as required. |  |
| Observer details |  |
| Name of observer: |  |
| Role of observer (Confirm suitability to sign) |  |
| Email address of observer |  |
| Signature of observer: |  |
| Date: | Select Date. |

| When completing the task, did the Participant: | Tick if satisfactorily completed. Provide comments if left unticked. |
| --- | --- |
| 1 Interpret relevant codes and standards’ requirements |  |
| Determine the scope of works and NCC general requirements and Performance Requirements to achieve a DtS solution. |  |
| Identify Australian Standards referenced in the NCC Relevant to the build and confirm the requirements. |  |
| 2 Classify the building |  |
| Determine the use and arrangement of the building and apply the appropriate NCC classification/s. |  |
| Locate and document NCC requirements for multiple classifications. |  |
| 3 Apply solutions to construction problems |  |
| Determine the range of NCC criteria required to ensure project compliance. |  |
| Identify alternative, compliant solutions for construction problems to comply with NCC Performance Requirements. |  |
| Apply a Performance Solution supported by one or a combination of the Assessment Methods to meet the Performance Requirement of the NCC. |  |
| Use a Deem-to-Satisfy (DTS) solution supported by one or a combination of Assessment Methods to meet NCC compliance. |  |
| Use a combination of Performance Solutions and DTS solutions to comply with the Performance Requirements of the NCC. |  |
| Discuss compliance options with relevant construction personnel to ensure compliance with NCC Performance Requirements. |  |
| Lead discussions to explore solutions to complex design problems with relevant construction personnel. |  |
| Identify and complete relevant documentation to meet Performance Requirements of the NCC. |  |
| 4 Apply fire protection requirements |  |
| - Read the NCC requirements to determine fire resistance required for all classes and types of buildings. |  |
| - Identify and apply NCC requirements with respect to passive and active fire protection to all classes and types of buildings. |  |
| - Check existing buildings for compliance with passive and active fire protection requirements according to NCC requirements. (See HO2 and NCC to create checklist) |  |
| 5 Implement strategy to manage construction compliance |  |
| Establish strategies to manage construction compliance of large, complex and high-rise buildings with the NCC. |  |
| Implement and coordinate the work of professionals involved in the development and management of the building process. |  |
| Seek effective design solutions for buildings of more than three storeys to meet the needs of clients and ensure compliance with the NCC. |  |
| Design and implement quality assurance processes to ensure effective and compliant management of the construction process. |  |
| Detect non-conforming building materials and products and manage the evidence of suitability as required in the NCC. |  |

Observer comments: