CPCCBC4053

Apply building codes and standards to the construction process for Class 2 to 9 Type C buildings

ASSESSMENT SUMMARY

The assessment activities for CPCCBC4053 Apply building codes and standards to the construction process for Class 2 to 9 Type C buildings cover all aspects of the unit of competency. For Apprentices/Trainees, this includes supervisor completion of the Apprentice/Trainee Record (ATR).

Participants must read all the information given before starting any assessment task. The assessment tasks are intended to be fair, flexible, valid and reliable. If a Participant has any questions or requires alternative arrangements to be made such requests should be directed to their Trainer/Assessor, who should note such arrangements in the ‘Assessor Comments’ on the affected assessment. If a Participant feels they are not yet ready to be assessed, they should discuss their options with their Trainer/Assessor.

To satisfactorily complete the assessment, the Participant is required to answer all questions correctly and demonstrate their skills to industry standards. If a Participant does not answer all questions or perform all tasks, they will be deemed ‘Not Satisfactory’ for the task and ‘Not Yet Competent’ for the unit of competency.

The Trainer/Assessor can provide the Participant with additional information on interpreting the assessment outcomes and guide the Participant’s options. If a Participant is still deemed ‘Not Satisfactory’ they will have the opportunity to undertake a supplementary assessment or appeal the result as per the process in the Student Handbook.

By signing below, the Participant acknowledges:

- They understand the assessment instructions and requirements, and consent to being assessed.

- The work submitted is to be their own work – with the work of/with others needing to be clearly acknowledged and documented.

- They consent to any photo/video recording of their work that occurs during assessment.

| Participant name |  |
| --- | --- |
| Participant signature |  |

Pre-requisite unit(s) to be achieved and authenticated prior to undertaking assessment

Not applicable

| Task | Date completed | Assessment Results |  |
| --- | --- | --- | --- |
| Theory Exam | Select Date. | Satisfactory | Not Satisfactory |
| Workbook | Select Date. | Satisfactory | Not Satisfactory |
| Practical Assessment | Select Date. | Satisfactory | Not Satisfactory |
| Outcome for CPCCBC4053 | Select Date. | Competent | Not Yet Competent |

| Evidence requirements checklist (ticked by assessor and evidence supplied to RTO) |  |
| --- | --- |
| Theory Exam Workbook Practical Assessment | Documentation of design and construction (suitability or evidence of suitability) (HO1) Fire protection inspection checklist (HO2) |

| Assessor name |  |
| --- | --- |
| Assessor signature |  |

CPCCBC4053

Apply building codes and standards to the construction process for Class 2 to 9 Type C buildings

THEORY EXAM

| Participant name |  |
| --- | --- |

FOR THE PARTICIPANT

Instructions

- You will complete written questions as outlined on the following pages. You must attempt all questions and provide enough detail in your responses to demonstrate your knowledge. - It is anticipated that you should complete this assessment within two (2) hours, but additional time may be allowed upon negotiation with the Assessor. - You must complete all questions unassisted by the Assessor or other personnel but may refer to reference material as needed. All questions must be answered correctly for a ‘Satisfactory’ assessment outcome to be awarded. - An oral examination may be allowed under certain circumstances, whereby your answers will be documented by another party. - Any written questions that are incomplete, or not answered satisfactorily will need to be completed again after further training support. - If you answer a question incorrectly but modify your response, put your initials next to the written change (or the Assessor must initial a verbal change).

Resources required

Pen

FOR THE ASSESSOR

Instructions

- Where oral examination has occurred, ensure that this is acknowledged in writing (e.g. FT001 and Assessor Comments) - All questions must be satisfactorily demonstrated by the Participant for a Satisfactory determination (indicated by an Assessor tick to the right of the question). - Assessors are to complete marking in pen of a different colour to the Participant. - If the Participant verbally modifies their response, write in the modified response verbatim and put your initials next to the written change.

ASSESSOR COMMENTS

As necessary, outline: - Details on reattempts, alternative arrangements or reasonable adjustments made. - Where a Participant is deemed ‘Not Satisfactory’, provide recommendations for future training.

Provide a brief description of the given classes of buildings according to the National Construction Code (NCC).

| Answer | Assessment method | Description |  |
| --- | --- | --- | --- |
|  | Class 2 building |  |  |
|  | Class 3 building |  |  |
|  | Class 4 building |  |  |
|  | Class 5 building |  |  |
|  | Assessment method | Description |  |  |
|  | Class 6 building |  |  |
|  | Class 7a building |  |  |
|  | Class 7b building |  |  |
|  | Class 8 building |  |  |

Discuss Class 9 buildings according to the NCC, including the difference between the three (3) Class 9 sub-classifications.

| Answer |  |  |
| --- | --- | --- |

A client is showing you the plans for a group of four (4) dwellings over two (2) storeys, above a common basement or carpark. Determine what classification would be assigned to this building. Explain your answer.

| Answer |  |  |
| --- | --- | --- |

Another client would like to build a new doctors surgery. Determine what classification would be assigned to this. Explain your answer.

| Answer |  |  |
| --- | --- | --- |

Explain why the plans for a warehouse that contains a caretakers residence may have more than one classification.

| Answer |  |  |
| --- | --- | --- |

What dictates how buildings must be constructed in Australia and how may this differ in your State or Territory?

| Answer |  |  |
| --- | --- | --- |

Explain why it is important to understand references the NCC makes to Australian Standards.

| Answer |  |  |
| --- | --- | --- |

Clarify the purpose of compliance with AS 3600.

| Answer |  |  |
| --- | --- | --- |

Provide a brief explanation of the listed NCC compliance assessment methods used to determine compliance using a Performance Solution pathway.

| Answer | Assessment method | Description |  |
| --- | --- | --- | --- |
|  | Evidence of suitability |  |  |
|  | Verification methods |  |  |
|  | Comparison with DTS Provisions |  |  |
|  | Expert Judgement |  |  |

Discuss the listed levels found in the NCC Performance Hierarchy.

| Answer | Performance Hierarchy | Description |  |
| --- | --- | --- | --- |
|  | Objectives |  |  |
|  | Functional statements |  |  |
|  | Performance requirements |  |  |
|  | Building Solutions |  |  |

Why may you need to use a combination of Performance Solutions and Deemed-to-Satisfy (DtS) solutions to comply with the Performance Requirements of the NCC?

| Answer |  |  |
| --- | --- | --- |

Discuss the workplace policies and procedures that should be held on-site.

| Answer |  |  |
| --- | --- | --- |

Describe the basic principles of structural design and how these align with large span structures.

| Answer |  |  |
| --- | --- | --- |

What type of information is determined from the working drawings and specifications when organising the excavation for a shopping centre with underground parking?

| Answer |  |  |
| --- | --- | --- |

Discuss compressive and tensile stresses on buildings.

| Answer |  |  |
| --- | --- | --- |

Briefly clarify the meaning of ‘water ingress’ when related to waterproofing a building.

| Answer |  |  |
| --- | --- | --- |

What do you check for to confirm product compliance with NCC requirements?

| Answer |  |  |
| --- | --- | --- |

Where do you record checks that you have made on products and materials that have arrived on-site?

| Answer |  |  |
| --- | --- | --- |

What are some indications that a construction company is abiding by environmental protection laws?

| Answer |  |  |
| --- | --- | --- |

Explain your understanding of the following concepts relating to sustainability.

| Answer | Concept | Explanation |  |
| --- | --- | --- | --- |
|  | Ecological footprint |  |  |
|  | Renewable energy |  |  |

Provide the six (6) bushfire attack level ratings that AS 3959 uses to establish the requirements for construction. Explain each rating.

| Answer 1. 2. 3. 4. 5. 6. |  |  |
| --- | --- | --- |

Complete the table below by identifying the type of fire-resisting construction (i.e. Type A, Type B, or Type C) given the following class of building and number of storeys each class of building has.

| Answer | Rise in Storeys | Class of building: 2,3,9 | Class of building: 5,6,7,8 |  |
| --- | --- | --- | --- | --- |
|  | 4 or more |  |  |  |
|  | 3 |  |  |  |
|  | 2 |  |  |  |
|  | 1 |  |  |  |

Respond to each of the following regarding zero-energy building.

| Answer |  | Zero energy building |  |
| --- | --- | --- | --- |
|  | Definition |  |  |
|  | One (1) technique used in zero energy building |  |  |
|  | The procedure in implementing the technique you have identified |  |  |

CPCCBC4053

Apply building codes and standards to the construction process for Class 2 to 9 Type C buildings

WORKBOOK

| Participant name |  |
| --- | --- |

FOR THE PARTICIPANT

Instructions

- You will complete written activities as outlined on the following pages. You must attempt all questions and provide enough detail in your responses to demonstrate your knowledge. - The timeframe for these tasks will be established by your Assessor or Training Plan, but additional time may be allowed upon negotiation with the Assessor. - You must complete all questions unassisted by the Assessor or other personnel but may refer to reference material as needed. All questions must be answered correctly for a ‘Satisfactory’ assessment outcome to be awarded. - An oral examination may be allowed under certain circumstances, whereby your answers will be documented by another party. - Any written questions that are incomplete, or not answered satisfactorily will need to be completed again after further training support. - If you answer a question incorrectly but modify your response, put your initials next to the written change (or the Assessor must initial a verbal change).

Resources required

Pen

FOR THE ASSESSOR

Instructions

- Where oral examination has occurred, ensure that this is acknowledged in writing (e.g. FT001 and Assessor Comments) - All questions must be satisfactorily demonstrated by the Participant for a Satisfactory determination (indicated by an Assessor tick to the right of the question). - Assessors are to complete marking in pen of a different colour to the Participant. - If the Participant verbally modifies their response, write in the modified response verbatim and put your initials next to the written change.

ASSESSOR COMMENTS

As necessary, outline: - Details on reattempts, alternative arrangements or reasonable adjustments made. - Where a Participant is deemed ‘Not Satisfactory’, provide recommendations for future training.

NOTE

At times, you will be provided with a specific business context to which you must respond, otherwise it is anticipated that you will use a workplace of your choosing (your own, or hypothetical) to provide the context to the task.

At all times, the responses in your assessment must reference Australian (Queensland or Federal) documentation, including legislation, regulations, codes of practice, standards and guidance publications.

Access the National Construction Code (NCC) to: - Determine where to locate the technical building requirements for Class 2 to 9 buildings. - What is stated in Volume One– Queensland Part B1 Structural provisions? - What is stated in Volume One Schedule 5 – NSW Part A6G7 Class 6 buildings?

- Determine where to locate the technical building requirements for Class 2 to 9 buildings.

- What is stated in Volume One Amendment 1 – Queensland Part B1 Structural provisions?

- What is stated in Volume One Schedule 5 – NSW Part A6G7 Class 6 buildings?

| Satisfactory Outcome |  |  |
| --- | --- | --- |

Access the National Construction Code (NCC) Volume One Amendment 1 - Section A Governing Requirements - Part A2 Compliance with the NCC and respond to the following: - What does this Part explain? - What methods are available to achieve the Performance requirements? - How is a performance solution shown to comply with the relevant Performance Requirements?

- What does this Part explain?

- What methods are available to achieve the Performance requirements?

- How is a performance solution shown to comply with the relevant Performance Requirements?

| Satisfactory Outcome |  |  |
| --- | --- | --- |

Some occupants of a brick apartment building have complained about plaster damage, mould build up, damaged skirting and floorboards. The issue seems to affect rooms beside or including bathrooms. Given the information above, access the NCC ABCB Housing Provisions 10 Health and amenity Part 10.2 Wet area waterproofing to: - Identify factors that may have contributed to the damage issue. - Identify which Part from the NCC Volume 1 was not properly applied. - Briefly explain how the identified Part from the NCC Volume 1 was not properly applied. - Identify which Australian standard was not properly applied. - Briefly explain how the identified Australian standard was not properly applied. - Identify what other defect the building may have considering the deviations of the construction from the code and standard. - Describe the extent of the work that needs to be done to rectify the issue.

- Identify what contributed to the damage issue.

- Identify which Part from the NCC Volume 1 was not properly applied.

- Briefly explain how the identified Part from the NCC Volume 1 was not properly applied.

- Identify which Australian standard was not properly applied.

- Briefly explain how the identified Australian standard was not properly applied.

- Identify what other defect the building may have considering the deviations of the construction from the code and standard.

- Describe the extent of the work that needs to be done to rectify the issue.

| Satisfactory Outcome |  |  |
| --- | --- | --- |

Access the NCC via the internet to locate the requirements applicable to a building development in the Brisbane area, containing 6 sole-occupancy units, two (2) on each level, each being a separate dwelling. This building includes one (1) basement level designated for car parking. The proposed building structure requires reinforced concrete floors and columns. Document your findings or where in the NCC the information can be located.

Building Description

Classification

Rise in Storeys

Number of Storeys

Type of construction

Climate Zone and description

Fire resistance and stability

Locate fire resistance information

Compartmentation and fire separation

Fire hazard properties of materials, assemblies, fixtures and linings

Material requirements

Reinforced concrete requirements relative to Australian Standards

Glazing requirements specifically for windows, sliding doors with frames and balconies.

| Satisfactory Outcome |  |  |
| --- | --- | --- |

The building discussed in ACTIVITY 4 includes one (1) basement level designated for car parking. Provide information required for - Bored piling to retain the soil and enable basement walls. - Work Health and Safety - Water proofing - Water ingress Document your findings or where the information can be located.

Bored piling to retain soil and enable basement walls

Work Health and Safety

Water proofing

Water ingress

| Satisfactory Outcome |  |  |
| --- | --- | --- |

A newly-built hotel needed to have its second-storey elevator lobby renovated, so customers had to take the stairs to get to the second storey of the hotel. On more than one occasion, people with visual impairment have had trouble finding the first step of the stairway, with some even misjudging the first step and falling over. No serious injury has happened yet, but the hotel manager decided something had to be done with the lack of indication of the first step of the stairway. An investigation was made after the third person tripped over the first step, and the investigation revealed that no research on who could possibly use the stairs was done. Respond to the following: - Identify one factor that contributed to the failure of the people with visual impairment to find the stairs of the hotel. - Identify which clause from the NCC Volume 1 was not properly applied. - Briefly explain how the clause from the NCC Volume 1 was not properly applied. - Identify which Australian standard was not properly applied. - Describe the extent of work that needs to be done to rectify the breach.

- Identify one factor that contributed to the failure of the people with visual impairment to find the stairs of the hotel.

- Identify which clause from NCC Volume 1 was not properly applied.

- Briefly explain how the identified clause from the NCC Volume 1 was not properly applied.

- Identify which Australian standard was not properly applied.

- Describe the extent of work that needs to be done to rectify the breach.

| Satisfactory Outcome |  |  |
| --- | --- | --- |

CPCCBC4053

Apply building codes and standards to the construction process for Class 2 to 9 Type C buildings

PRACTICAL ASSESSMENT

| Participant name |  |
| --- | --- |

FOR THE PARTICIPANT

Instructions

- The tasks outlined on the following pages will require performance of normal workplace activities, as a result of a structured activity set by an Observer in the workplace or a simulated activity set by your Assessor/Observer. - The timeframe for these tasks will be established by your Assessor/Observer, in consideration of location conditions and industry requirements. - You must complete all tasks unassisted by the Assessor or other personnel, unless the steps note this assistance. - You must attempt all tasks (and itemised steps) for a ‘Satisfactory’ assessment outcome to be awarded. - For any observation conducted that is incomplete, or without satisfactory performance, the observation will need to be completed again after further training support.

FOR THE ASSESSOR/OBSERVER

Instructions

- The following observation record should be used to judge and record your observations of the Participant as they complete the task(s) set. You must record your observations of the Participant’s performance. - For each occasion, indicate the task performed and whether it was a simulation or workplace-based task. - Any simulated assessment must ensure the Participant still performs under workplace conditions which reflect industry standards. - In the comments, provide clear detail regarding the task that the Participant was required to do (e.g. PPE used, materials handled, attachments connected, plant types). - All steps must be satisfactorily demonstrated by the Participant for a ‘Satisfactory’ determination (indicated by an Assessor tick to the right of each itemised step, or an Observer tick to the right of each itemised step, and confirmation by an Assessor in the Assessor Comments). - Where you have determined that one or more task steps have not been satisfactorily demonstrated, provide the Participant with additional support and outline details of such assistance in the Assessor/Observer Comments. Allow the Participant two (2) further opportunities to demonstrate the task again to allow an opportunity for a ‘Satisfactory’ assessment outcome to be achieved. - If after three (3) attempts the Assessor determines that the Participant cannot demonstrate the required steps, a ‘Not Satisfactory’ outcome is to be determined.

| TASK OUTCOME |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Task | Date | Task Type (Tick) | Location | Task outcome (Tick) |  |
|  |  |  |  | Satisfactory | Not Satisfactory |
| Task 1 (Occasion 1) | Select Date. | Workplace Simulation |  |  |  |
| Task 1 (Occasion 2) | Select Date. | Workplace Simulation |  |  |  |

ASSESSOR COMMENTS: GENERAL

As necessary, outline: - Details on reattempts, alternative arrangements or reasonable adjustments made. - Where a Participant is deemed ‘Not Satisfactory’, provide recommendations for future training.

| ASSESSOR COMMENTS: PRACTICAL TASK 1: OCCASION 1- Class 2, 3 or 9 |  |
| --- | --- |
| Individual student (as named on cover page) Multiple students [ All from Attendance Report, Specific students involved – identify students] |  |
| Task | Provide detail |
| 1.1A. 1.1B. 1.1C. 1.1D. | Specify () where building classifications, criteria requirements and performance solutions were documented: Workplace Quality document Quality Assurance Template Other (please specify): Document attached as evidence |
| 1.2D. | Specify () who was consulted regarding compliance options: Project management Relevant tradesperson Builder Supplier Other (please specify): |
| 1.3C. | Specify building checked for compliance with active fire protection requirements: Is checklist used attached as evidence |

| ASSESSOR COMMENTS: PRACTICAL TASK 1: OCCASION 2 - Class 5 to 8 |  |
| --- | --- |
| Individual student (as named on cover page) Multiple students [ All from Attendance Report, Specific students involved – identify students] |  |
| Task | Details |
| 1.1A. 1.1B. 1.1C. 1.1D. | Specify () where building classifications, criteria requirements and performance solutions were documented: Workplace Quality document Quality Assurance Template Other (please specify): Document attached as evidence |
| 1.2D. | Specify () who was consulted regarding compliance options: Project management Relevant tradesperson Builder Supplier Other (please specify): |
| 1.3C. | Specify building checked for compliance with active fire protection requirements: Is checklist used attached as evidence |

CPCCBC4053

Apply building codes and standards to the construction process for Class 2 to 9 Type C buildings

| Practical Task 1 (2X) |  |
| --- | --- |
| Description of task: The participant must demonstrate the skills and knowledge to apply building codes and standards to the construction process for Class 2 to 9 Type C buildings. - Occasion 1 - Class 2, 3 or 9 - Occasion 2 - Class 5 to 8 Documented evidence of all criteria must be presented (template (HO1) available for use if required) The participant must also inspect one existing building for fire protection compliance using workplace or created document (See HO2 for information). Assessor and observer will be looking for evidence including: - Classify building and document findings. - Read the plans and specifications to determine the nature of the building, its use and arrangement. - Read and correctly interpret relevant Parts of the NCC and related Australian Standards for the project. - Determine and document the classifications applicable to the building. (template available- HO1) - Identify and interpret multiple classifications from NCC. - Determine construction compliance requirements. - Determine NCC Performance Requirements relevant to Class 2 to 9 Type C building projects. - Determine range of criteria to ensure that construction methods comply with NCC Performance Requirements. - Identify and document faults or non-conforming construction methods against NCC Performance Requirements. (template available- HO1) - Propose Performance Solution during discussion with design and building professional. - Analyse and apply Assessment Methods to determine compliance with Performance Solution or Deem-to-Satisfy Solution (DTS). (template available- HO1) - Meet the evidence of suitability requirements for building materials and products stated in the NCC. - Complete documentation demonstrating how the project design and construction will meet NCC requirements (template available- HO1) including: - Structure - Access and egress - Services and equipment - Health and amenities - Ancillary provisions - Energy efficiency - Determine fire protection requirements. - Read the NCC and other legislative requirements for passive and active fire control elements in buildings. - Write or obtain a checklist describing the level of fire resistance required for the construction of various buildings. - Inspect one building for compliance with passive and active fire protection requirements. These tasks may be simulated or real. The Participant is to gather evidence of how they have completed each component of the Practical Task, which is to be submitted with this Practical Assessment sheet. The Observer is to provide detailed comments on the tasks completed by the Participant (on the Observer Comments, overleaf). The Assessor is to verify the Observer’s comments, noting their findings in the Assessor Comments (on the back of the Practical Assessment cover page) and provide the assessment outcome. |  |
| Resources required: Construction plans, drawings and specifications of two Type C building projects- one(1) Class 2, 3 or 9 and one (1) Class 5 to 8.; workplace quality policies and procedures; technology to access building and related industry codes, standards and manufacturer product information and materials specifications; Technology to access the NCC and current relevant Acts and Regulations. PPE as required. Documentation of design and construction (suitability or evidence of suitability) (template available - (HO1)). Fire protection checklist (HO2). |  |
| Observer details |  |
| Name of observer: |  |
| Role of observer (Confirm suitability to sign) |  |
| Email address of observer |  |
| Signature of observer: |  |
| Date: | Select Date. |

| When completing the task, did the Participant: | Tick if satisfactorily completed. Provide comments if left unticked. |  |
| --- | --- | --- |
|  | 1st Occasion | 2nd Occasion |
| 1 Classify buildings. |  |  |
| Read the plans and specifications to determine the nature of the building, its use and arrangement. |  |  |
| Read and correctly interpret relevant Parts of the NCC and related Australian Standards for the project. |  |  |
| Determine and document the classifications applicable to the building. (template available- HO1) |  |  |
| Identify and interpret multiple classifications from NCC. |  |  |
| 2 Determine construction compliance requirements from NCC. |  |  |
| Determine NCC Performance Requirements relevant to Class 2 to 9 Type C building projects. - Occasion 1- Class 2, 3 or 9 - Occasion 2 - Class 5 to 8 |  |  |
| Determine range of criteria to ensure that construction methods comply with NCC Performance Requirements. |  |  |
| Identify and document faults or non-conforming construction methods against NCC Performance Requirements. (template available- HO1) |  |  |
| Propose Performance Solution during discussion with design and building professional. |  |  |
| Analyse and apply Assessment Methods to determine compliance with Performance Solution or Deem-to-Satisfy Solution (DTS). (template available- HO1) |  |  |
| Meet the evidence of suitability requirements for building materials and products stated in the NCC. |  |  |
| Complete documentation demonstrating how the project design and construction will meet NCC requirements for structure. (template available- HO1) |  |  |
| Complete documentation demonstrating how the project design and construction will meet NCC requirements for access and egress. (template available- HO1) |  |  |
| Complete documentation demonstrating how the project design and construction will meet NCC requirements for services and equipment. (template available- HO1) |  |  |
| Complete documentation demonstrating how the project design and construction will meet NCC requirements for health and amenities. (template available- HO1) |  |  |
| Complete documentation demonstrating how the project design and construction will meet NCC requirements for ancillary provisions. (template available- HO1) |  |  |
| Complete documentation demonstrating how the project design and construction will meet NCC requirements for energy efficiency. (template available- HO1) |  |  |
| Complete documentation demonstrating how the project design and construction will meet NCC requirements for fire protection. (template available- HO1) |  |  |
| 3 Determine fire protection requirements. |  |  |
| Read the NCC and other legislative requirements for passive and active fire control elements in buildings. |  |  |
| Write or obtain a checklist describing the level of fire resistance required for the construction of various buildings. |  |  |
| Inspect one building for compliance with passive and active fire protection requirements. |  |  |

Observer comments: