CPCCBC4012B

Read and interpret plans and specifications

THEORY EXAM INSTRUCTIONS - This exam will occur under standard assessment conditions. - An oral examination may be allowed under certain circumstances. Answers will be documented and FT003 (Oral examination declaration form) must be completed. - Participants must provide enough detail in their responses to demonstrate their knowledge and skills. - Please fill in the details below, providing your name, signature and date of assessment. - Your signature acknowledges that this is your own work. - If a participant initially answers a question incorrectly but modifies their response, they must follow the instructions below: - If a participant changes their response in writing, they must put their initials next to the written change. - If a participant changes their response verbally, this must be noted on the exam paper by the assessor.

| Participant name | Miljan Tepic |
| --- | --- |
| Participant signature |  |

| Assessor name |  |
| --- | --- |
| Assessor signature |  |

| Date | 15/07/2019 |
| --- | --- |

| Number of questions | Number of questions answered correctly | Satisfactory? |  |
| --- | --- | --- | --- |
| 87 |  | Yes | No |

Assessor Comments

Plans and specifications are used to inform which of the following processes? Tick all that apply.

| Answer | Choice | Possible Answers |  |
| --- | --- | --- | --- |
|  |  | Building contracts |  |
|  |  | Development applications |  |
|  |  | Estimation |  |
|  |  | Planning |  |
|  |  | Supervisory tasks |  |
|  |  | Tenders |  |

Which compass direction is always shown on plans and drawings?

| Answer | North |  |
| --- | --- | --- |

What information is provided on a location plan?

| Answer | Location plan shows a top-down view of a site in a street. Aids in understanding where a site is located and the general orientation of the site. |  |
| --- | --- | --- |

What detail does a site or block plan contain?

| Answer | Site plan provides details of a site on which a development is proposed. Usually drawn at 1:500 and shows the datum and orientation to North. |  |
| --- | --- | --- |

What do floor plans identify?

| Answer | Floor plans show details of a specific structure including features such as rooms, walls, fixtures, door/window openings. |  |
| --- | --- | --- |

What is a landscape plan and what information might it provide?

| Answer | Landscape plans show the 2D landscape layout of the site. It may contain contours, slope direction, details of plants, paths, garden layouts and retaining walls. |  |
| --- | --- | --- |

What are elevation views? What do they provide to the plan reader?

| Answer | Elevation views are side views of a building. They usually show 4 sides; North, East, South and West. |  |
| --- | --- | --- |

What is a section?

| Answer | Section is a side view showing a cut-through which shows details that are not visible from elevation views. |  |
| --- | --- | --- |

What are detailed drawings?

| Answer | Detailed drawings show specific items or locations that give additional details not shown on general drawings. |  |
| --- | --- | --- |

What are specifications?

| Answer | They are written details requirements that accompany drawings. They contain details such as the colour required, materials required and installation standards. |  |
| --- | --- | --- |

Explain the meaning of the abbreviations in the table below.

| Answer | Abbreviation | Meaning |  |
| --- | --- | --- | --- |
|  | ACRYL | Acrylic |  |
|  | AS | Australian Standard |  |
|  | ASSD | Assumed Datum |  |
|  | B | Basin |  |
|  | BN | Bull Nose |  |
|  | BTH | Bathroom |  |
|  | BWK | Brickwork |  |
|  | CB | Concrete Block |  |
|  | CF | Concrete Floor |  |
|  | CG | Clear Glass |  |
|  | CJ | Ceiling Joist |  |
|  | CORR | Corrugated |  |
|  | CWT | Cold Water Tank |  |
|  | DG | Double Glazing |  |
|  | DH | Double Hung |  |
|  | DPC | Damp Proof Course |  |
|  | DSB | Distribution Switch Board |  |
|  | DW | Dishwasher |  |
|  | EJ | Expansion Joint |  |
|  | FPBD | Fibrous Plaster Board |  |
|  | FFL | Finished floor level |  |
|  | FHR | Fire hose reel |  |
|  | GPO | General Purpose Outlet |  |
|  | HBD | Hardboard |  |
|  | HTR | Hot Water Unit |  |
|  | HWD | Hardwood |  |

Name each of the drawing symbol images shown in the table below.

| Answer | Name | Image |  |
| --- | --- | --- | --- |
|  | Cavity brick |  |  |
|  | Brick and stud wall |  |  |
|  | Stud wall |  |  |
|  | Window (internal sill) |  |  |
|  | Window (sill external) |  |  |
|  | Door – swing angle |  |  |
|  | Door – double |  |  |
|  | Door – sliding into pocket |  |  |
|  | Door - sliding exposed on wall |  |  |
|  | Socket outlet - power |  |  |

Identify what the following window symbols represent on elevations.

| Answer | Item | Drawing |  |
| --- | --- | --- | --- |
|  | Hinged at side |  |  |
|  | Hinged at top |  |  |
|  | Sliding horizontal doors |  |  |
|  | Fixed |  |  |

What does a clouded area on a plan indicate?

| Answer | Indication of change detail – to draw the reader to changes since last drawing revision. |  |
| --- | --- | --- |

An amendment to specifications could relate to which of the following? Tick all that apply.

| Answer | Choice | Possible Answers |  |
| --- | --- | --- | --- |
|  |  | Contact details of all construction crew members |  |
|  |  | Materials or products used |  |
|  |  | Methods of carrying out specified work |  |

Refer to the title block below to respond to Q16. to Q18.

Source: http://www.dtwd.wa.gov.au/sites/default/files/teachingproducts/BC1934_CCBY.PDF

On what date was an amendment made to the window details?

| Answer | 05/10/2011 |  |
| --- | --- | --- |

True or False (Tick your response): Details of the window in Q16. should also be reflected in the specifications and confirmed with the client.

| Answer |  | True |  |  |
| --- | --- | --- | --- | --- |
|  |  | False |  |  |

What amendment occurred on 08/11/2011?

| Answer | Bedroom 3 wardrobe deleted |  |
| --- | --- | --- |

Refer to the site plan below to respond to Q19. to Q26.

What structure is being built on this site? Tick your response.

| Answer | Choice | Possible Answers |  |
| --- | --- | --- | --- |
|  |  | Residence |  |
|  |  | Road |  |
|  |  | Shed |  |
|  |  | Water meter |  |

What is the Lot number of this site?

| Answer | 16 |  |
| --- | --- | --- |

What is the size of this lot?

| Answer | 3653m2 |  |
| --- | --- | --- |

Is the shed at the north-east of the proposed structure to be removed or retained? Tick your response.

| Answer | Choice | Possible Answers |  |
| --- | --- | --- | --- |
|  |  | Removed |  |
|  |  | Retained |  |

True or False (Tick your response): The sewer is at the eastern boundary of the property.

| Answer |  | True |  |  |
| --- | --- | --- | --- | --- |
|  |  | False |  |  |

True or False (Tick your response): The driveway is located to the south of the proposed property.

| Answer |  | True |  |  |
| --- | --- | --- | --- | --- |
|  |  | False |  |  |

What size is the easement on the eastern boundary of the site?

| Answer | 5m |  |
| --- | --- | --- |

True or False (Tick your response): The stormwater drain is constructed from PVC pipe.

| Answer |  | True |  |  |
| --- | --- | --- | --- | --- |
|  |  | False |  |  |

Refer to the contour plan below to respond to Q27. to Q28.

What is the level at the northernmost point of the site?

| Answer | 3.94 |  |
| --- | --- | --- |

Which end of the site has the lowest level? Tick your response.

| Answer | Choice | Possible Answers |  |
| --- | --- | --- | --- |
|  |  | East |  |
|  |  | West |  |

Refer to the sectional drawing below to respond to Q29. to Q49.

Give a brief description about the building from the detail available in the sectional drawing. Is it the same structure proposed in Q19. to Q26.?

| Answer | Yes, same structure. It is a 2-storey residential, standalone building. This cross-sectional drawing shows family room, bathroom and 2 bedrooms, pitch of roof. |  |
| --- | --- | --- |

Who is the client?

| Answer | H&M Smith |  |
| --- | --- | --- |

Where is this project to be built?

| Answer | Lot 16 Glenvalley Rd, Richmond |  |
| --- | --- | --- |

What are the contact details for the draftsman?

| Answer | Draftsman is DJA Contact details are Joe Foreman, ph: 03 9514 2311 mob: 0413 113 113. |  |
| --- | --- | --- |

What sheet number is this drawing?

| Answer | Lot 16 |  |
| --- | --- | --- |

What timber is required for loading and non-load bearing walls?

| Answer | Loading: Pine battens, LVL joists, Plywood flooring. Non-Loading: Weatherboard cladding |  |
| --- | --- | --- |

What spacing is recommended for common studs?

| Answer | 600mm |  |
| --- | --- | --- |

What type of roof truss is to be installed?

| Answer | Scissor Trusses at 900 Spacing. |  |
| --- | --- | --- |

What centres are the trusses positioned at?

| Answer | 900mm |  |
| --- | --- | --- |

What size are the veranda posts?

| Answer | 90 x 90 mm |  |
| --- | --- | --- |

What timber species are the veranda posts to come from?

| Answer | DAR Oregon |  |
| --- | --- | --- |

What pitch is the roof?

| Answer | 30 degrees |  |
| --- | --- | --- |

What size are the noggings and at what spacing?

| Answer | 35 x 70 mm at 1350mm spacings |  |
| --- | --- | --- |

What size are the ceiling joists?

| Answer | HJ 240 joints |  |
| --- | --- | --- |

What timber is used for roof battens and what spacing?

| Answer | Pine battens at 900mm spacing |  |
| --- | --- | --- |

What thickness is the plasterboard sheeting?

| Answer | 10mm |  |
| --- | --- | --- |

What type of flooring is to be installed?

| Answer | Not specified |  |
| --- | --- | --- |

What is the roof cladding material?

| Answer | Colorbond corrugated metal roofing |  |
| --- | --- | --- |

Where will you find information about the footings?

| Answer | Foundation / Excavation Drawings |  |
| --- | --- | --- |

What do the letters ‘DAR’ refer when timber ordering?

| Answer | Dressed all round. |  |
| --- | --- | --- |

Explain what ‘240 x 63 LVL’ refers to on the sectional drawing. What do the letters ‘LVL’ refer to?

| Answer | 240mm depth by 63 mm thick, laminated veneer lumber. |  |
| --- | --- | --- |

Refer to the drawing below to respond to Q50. to Q65.

What is the number of the drawing?

| Answer | 2 |  |
| --- | --- | --- |

What is the Job Number?

| Answer | OOR-112 |  |
| --- | --- | --- |

What is the scale of the drawing?

| Answer | 1-100 |  |
| --- | --- | --- |

What does the drawing show?

| Answer | Elevation views |  |
| --- | --- | --- |

Which view shows the front of the house?

| Answer | East elevation |  |
| --- | --- | --- |

How many motor vehicles can be parked in the garage?

| Answer | 2 |  |
| --- | --- | --- |

What are the window and doors made from?

| Answer | Aluminium frame windows, timber doors. |  |
| --- | --- | --- |

What is the size of the eaves?

| Answer | 450mm |  |
| --- | --- | --- |

What are the eaves lined with?

| Answer | Gutters |  |
| --- | --- | --- |

What type of roof structure is the roof built from?

| Answer | Timber framed roof trusses. Concrete tile cladding. |  |
| --- | --- | --- |

Which Part of the NCC should be read for more detail about the requirements for the roof structure in Q59.?

| Answer | NCC Volume 2: Clause 3.11.6 |  |
| --- | --- | --- |

Which Australian Standard should be read for more detail about the roof structure in Q59. ?

| Answer | AS 1720 |  |
| --- | --- | --- |

What is the roof cladding materials made from?

| Answer | Concrete Tile |  |
| --- | --- | --- |

Which Part of the NCC should be read for more detail about the roof cladding materials in Q62. ?

| Answer | NCC Volume 2: Clause 3.5.1.0 and 3.5.1.2. |  |
| --- | --- | --- |

Which Australian Standard should be read for more detail about the roof cladding materials in Q62. ?

| Answer | AS 2049 |  |
| --- | --- | --- |

What is the roof pitch?

| Answer | 22.5 degrees |  |
| --- | --- | --- |

Identify one (1) regulatory body you may need to submit plans to for approval?

| Answer | City Council |  |
| --- | --- | --- |

Briefly describe the approval process and timeframes for an approval through the regulatory body in Q66.

| Answer | Approvals begin with lodgement of a development application that will be assessed. Assessment time can vary from a few to many months and even years depending on the complexity and scale of the development application. Once a determination is made and the application approved, work can commence once a construction certificate has been issued. Following completion of works which can take months and even years, a occupation certificate is issued allowing the finished home to be occupied and used as a functioning home. |  |
| --- | --- | --- |

What is a prime cost (PC) item? Give an example.

| Answer | Prime cost – amount of money included in contract sum to purchase specific materials. The cost is estimated at contract signing, but the specific item is not selected until a later stage. EG: Client selects a more expensive door ($500) than the PC ($400). The total contract amount is now increased to $100 |  |
| --- | --- | --- |

What is a provisional sum (PS) item? Give an example.

| Answer | An amount of money included in contract sum to cover work and/or materials not detailed when entering the contract. EG: Underground items not known before excavation works begin. Therefore Provisional Sum made for unknown costs. |  |
| --- | --- | --- |

Refer to the Bill of Quantities below to respond to Q70. to Q76.

Source: http://organizedbuilders.com.au/sites/default/files/BOQ-Summary.pdf

True or False (Tick your response): This Bill of Quantities represents a job for a two-storey house.

| Answer |  | True |  |  |
| --- | --- | --- | --- | --- |
|  |  | False |  |  |

Identify two (2) materials being used for the floors?

| Answer | Carpet and Vinyl |  |
| --- | --- | --- |

True or False (Tick your response): A landscaper has been contracted for this job.

| Answer |  | True |  |  |
| --- | --- | --- | --- | --- |
|  |  | False |  |  |

How much does the contracted plasterer cost?

| Answer | $12,900 |  |
| --- | --- | --- |

How much do the kitchen appliances cost?

| Answer | $2,700 |  |
| --- | --- | --- |

What percentage of the total cost does the fixing stage represent of the building contract?

| Answer | 23% |  |
| --- | --- | --- |

What percentage of the total cost does the completion stage represent of the building contract?

| Answer | 17% |  |
| --- | --- | --- |

Refer to the Purchase Order below to respond to Q77. to Q82.

Source: http://organizedbuilders.com.au/sites/default/files/Databuild-Bill-of-Quantities.pdf

How many Pine F5 90 x 45 studs (2.4m long) are required?

| Answer | 100 |  |
| --- | --- | --- |

If the material in Q77. increased in cost to $2.75 each, what would be the total cost for this material?

| Answer | $275 |  |
| --- | --- | --- |

How many sheet of ply are required in total (i.e. all sizes)?

| Answer | 13 sheets |  |
| --- | --- | --- |

What material has the highest total cost?

| Answer | Pine 90 x 45 long lengths |  |
| --- | --- | --- |

How many metres are required of the material in Q80. ?

| Answer | 322.5m |  |
| --- | --- | --- |

What beam is identified as being a better option than F17?

| Answer | E14 |  |
| --- | --- | --- |

Refer to the labour chart below to respond to Q83. to Q86.

Source: https://www.archsd.gov.hk/media/89170/sor2013_vol1_builders_works_2013_11_04.pdf

Based on the hourly rates given, which is the least expensive trade to contract?

| Answer | Asphalter |  |
| --- | --- | --- |

If the trade in Q83. were to be contracted for two (2) hours’ work, how much would this cost?

| Answer | $214.80 |  |
| --- | --- | --- |

Based on the hourly rates given, which is the most expensive trade to contract?

| Answer | Bar bender and fixer |  |
| --- | --- | --- |

If the trade in Q85. were to be contracted for six (6) hours’ work, how much would this cost?

| Answer | $1,285.80 |  |
| --- | --- | --- |

Name the building legislation (Act and Regulations) that apply within your jurisdiction and should be referenced when reading plans and building contracts.

| Answer | NSW: Home Building Act 1989 and Building Regulation 2014 |  |
| --- | --- | --- |