PRACTICAL ACTIVITY 2

DEVELOPMENT APPLICATION REPORT

Document submissions required prior to commencement of construction:

16(a) Implement Protection Measures

20(a) Transport Noise Corridor Design

22) Construction Management Plan (Minor)

25(a) Submit Earthworks Drawings

33(a) Submit Plan of Subdivision

33(b) Lodge Notated Plan

34(a) Submit Site Drainage Drawings

36) Water Approval

Meetings required prior to commencement of construction:

16(a) Implement Protection Measures

22) Construction Management Plan (Minor)

31(a) Arrange Refuse Collection

37) Service Conduits and Mains

Inspections and approvals required during construction:

1) Approved Drawings and Documents

3) Overall Height - Survey Certification

PRACTICAL ACTIVITY 3

Contract Variation                                                                   Date: 06/03/2022

Variation details:

The construction of a pointed brick fence at the front end of the house, approximately 43m long x 1.5m heigh with engaged piers every 2m.

Works to be completed:

- Pointed brick fence 43m in length x 1.5m in height

- Engaged piers every 2m

- Concrete footing 43m x 0.6m x0.4m

- Stater bars at every engaged pier

Cost:

Pointed brick fence with engaged piers: $8452.5 + GST

Concrete Footings with stater bars: $4945 + GST

Total variation cost: $13397.5 + GST

Delays:

I estimate that the variation works will delay contractual works for a minimum of minimum of 6 working days subject to delivery of materials and any other unforeseen circumstances.

Date and Signature:

06/03/2022