RIIMPO402D

Apply the principles of earthworks construction

ASSESSMENT SUMMARY

The assessment activities for RIIMPO402D Apply the principles of earthworks construction cover all aspects of the unit of competency. For Apprentices/Trainees, this includes supervisor completion of the Apprentice/Trainee Record (ATR).

Participants must read all the information given before starting any assessment task. The assessment tasks are intended to be fair, flexible, valid and reliable. If a Participant has any questions or requires alternative arrangements to be made such requests should be directed to their Trainer/Assessor, who should note such arrangements in the ‘Assessor Comments’ on the affected assessment. If a Participant feels they are not yet ready to be assessed, they should discuss their options with their Trainer/Assessor.

To satisfactorily complete the assessment, the Participant is required to answer all questions correctly and demonstrate their skills to industry standards. If a Participant does not answer all questions or perform all tasks, they will be deemed ‘Not Satisfactory’ for the task and ‘Not Yet Competent’ for the unit of competency.

The Trainer/Assessor can provide the Participant with additional information on interpreting the assessment outcomes and guide the Participant’s options. If a Participant is still deemed ‘Not Satisfactory’ they will have the opportunity to undertake a supplementary assessment or appeal the result as per the process in the Student Handbook.

By signing below, the Participant acknowledges:

- They understand the assessment instructions and requirements, and consent to being assessed.

- The work submitted is to be their own work – with the work of/with others needing to be clearly acknowledged and documented.

- They consent to any photo/video recording of their work that occurs during assessment.

| Participant name | Benjamin Wixon |
| --- | --- |
| Participant signature |  |

Pre-requisite unit(s) to be achieved and authenticated prior to undertaking assessment

Not applicable

| Task | Date completed | Assessment Results |  |
| --- | --- | --- | --- |
| Theory Exam | Select Date. | Satisfactory | Not Satisfactory |
| Practical Assessment | Select Date. | Satisfactory | Not Satisfactory |
| Outcome for RIIMPO402D | Select Date. | Competent | Not Yet Competent |

| Evidence requirements checklist (ticked by assessor and evidence supplied to RTO) |  |
| --- | --- |
| Theory Exam | Practical Assessment Copy of Job Plan completed by participant |

| Assessor Name |  |
| --- | --- |
| Assessor Signature |  |

RIIMPO402D

Apply the principles of earthworks construction

THEORY EXAM

| Participant name | Benjamin Wixon |
| --- | --- |

FOR THE PARTICIPANT

Instructions

- You will complete written questions as outlined on the following pages. You must attempt all questions and provide enough detail in your responses to demonstrate your knowledge. - It is anticipated that you should complete this assessment within a two (2) hour period, but additional time may be allowed upon negotiation with the Assessor. - You must complete all questions unassisted by the Assessor or other personnel but may refer to reference material as needed. All questions must be answered correctly for a ‘Satisfactory’ assessment outcome to be awarded. - An oral examination may be allowed under certain circumstances, whereby your answers will be documented by another party. - Any written questions that are incomplete, or not answered satisfactorily will need to be completed again after further training support. - If you answer a question incorrectly but modify your response, put your initials next to the written change (or the Assessor must initial a verbal change).

Resources required

Pen

FOR THE ASSESSOR

Instructions

- Where oral examination has occurred, ensure that this is acknowledged in writing (e.g. FT001 and Assessor Comments) - All questions must be satisfactorily demonstrated by the Participant for a Satisfactory determination (indicated by an Assessor tick to the right of the question). - Assessors are to complete marking in pen of a different colour to the Participant. - If the Participant verbally modifies their response, write in the modified response verbatim and put your initials next to the written change.

ASSESSOR COMMENTS

As necessary, outline: - Details on reattempts, alternative arrangements or reasonable adjustments made. - Where a Participant is deemed ‘Not Satisfactory’, provide recommendations for future training.

- What information can you obtain by reading the project plans, surveys, drawings and specifications during planning for earthworks?

| Answer | These documents define the scope of work, showing cut and fill areas, design levels, grades, and alignments that guide how the earthworks are shaped. Understanding this helps with scheduling, resource allocation, and ensuring the job meets design intent. Surveys and geotechnical data show existing ground levels, soil types, and potential problem areas like acid sulfates or unstable ground, allowing you to plan the right materials and equipment. Drawings and specifications detail material types, compaction and testing requirements, and environmental or heritage constraints, helping maintain quality and compliance. |  |
| --- | --- | --- |

- Why is project site hydrological data important to earthworks planning and where this can be accessed?

| Answer | Project site hydrological data is important in earthworks planning because it shows how surface water and groundwater will affect construction activities. It helps identify drainage paths, flood-prone areas, groundwater levels, and soil moisture conditions, which are all needed for designing stable cuts and fills, locating drainage structures, and preventing erosion or flooding during works. Without this information, you risk slope failure, soft ground, or water damage to completed sections. It can be accessed from project surveys and engineering plans, geotechnical and environmental reports, and the Environmental Management Plan prepared for the site. It may also come from local council flood maps, Bureau of Meteorology data, or on-site inspections and monitoring |  |
| --- | --- | --- |

- What is the purpose and procedure for conducting a proof roll test to the subgrade?

| Answer | A proof roll test checks the strength and uniformity of the subgrade before placing the next pavement layer. Its purpose is to identify soft or unstable areas that could cause pavement failure. The test is done by driving a fully loaded water truck or similar slowly over the compacted surface and watching for deflection, rutting, or movement. Weak spots are marked, excavated, and reworked or stabilised before retesting. |  |
| --- | --- | --- |

- What is the purpose of geotechnical investigation reports and how they inform earthworks planning?

| Answer | The purpose of a geotechnical investigation report is to provide detailed information about the soil and ground conditions at a project site. It identifies the type, strength, stability, and moisture behaviour of soils and rock, helping engineers and supervisors understand how the ground will perform during and after construction. This information is vital for earthworks planning because it guides decisions on excavation methods, material suitability, compaction requirements, drainage design, and slope stability. The report also highlights problem areas, such as soft soils, high groundwater, or reactive clays, allowing planners to design appropriate treatments like undercutting, lime stabilisation, or drainage installation. |  |
| --- | --- | --- |

- What information would you expect to see in a job plan?

| Answer | - Human resources – crew numbers, roles, and responsibilities. - Plant and equipment requirements – machinery, tools, and support vehicles. - Materials – type, source, delivery, and testing requirements. - Subcontractor support – who’s involved and their scope of work. - Waste disposal and environmental controls – methods for handling spoil, erosion, or dust. - Coordination and scheduling – activity sequence, delivery timing, and milestones. - Risk management – identified hazards, control measures, and contingency plans. - Safety and quality requirements – SWMS references, testing, and inspection points. - Traffic and communication plans – access routes, signage, and reporting procedures. |  |
| --- | --- | --- |

- How would you identify if any drainage or dewatering issues need to be addressed at the site and how you would promptly and effectively manage these once identified?

| Answer | You can identify drainage or dewatering issues by closely observing the site conditions and reviewing design information before and during construction. Signs include ponding water, slow surface runoff, seepage from cut faces, saturated subgrades, or high groundwater levels. These can also be predicted by checking hydrological data, geotechnical reports, and site surveys, which show natural drainage paths, soil permeability, and water table depths. There are a few ways to help deal with this, incuding - Installing temporary drains or sump pumps - Constructing diversion banks/drains - Using silt fencing and sediment basins to prevent environmental impacts. - Stabalising with geofabric/soil binders |  |
| --- | --- | --- |

- What is the importance of understanding the relationship between the different areas of civil work when planning and sequencing work tasks, providing examples?

| Answer | Understanding how different areas of civil work relate is important because each stage depends on another being completed correctly and in sequence. If tasks aren’t coordinated, it can cause delays, rework, and safety risks. For example, drainage needs to be installed before final earthworks to prevent water damage, and earthworks must be finished and compacted before pavement or kerb work begins. Likewise, structures such as culverts or retaining walls often need to be built before surrounding fill can continue. |  |
| --- | --- | --- |

- Before commencing a project, what would you estimate to effectively determine resource and sequencing requirements?

| Answer | Before starting a project, you would estimate several key factors to accurately determine resource and sequencing requirements. This includes calculating the quantities of earthworks, such as cut and fill volumes, to understand how much material, time, and machinery will be needed. You’d also assess the types of materials available and their haul distances, as this affects production rates and fuel use. Next, you’d estimate the labour and plant requirements: how many operators, trucks, excavators, and compactors are needed to meet the schedule efficiently. You’d also factor in support services, like survey, testing, and subcontractors, to align with critical stages of work. Finally, you’d review the construction sequence, determining the most logical and safe order of tasks |  |
| --- | --- | --- |

- What is the definition of the following material properties and test results that are applicable to earthworks?

| Answer | Test | Definition |  |
| --- | --- | --- | --- |
|  | Compaction test | Determines the relationship between moisture content and dry density of a soil. It identifies the Optimum Moisture Content and Maximum Dry Density — the point where soil achieves its greatest density for a given compactive effort. |  |
|  | Soil density/ moisture | Measures the in-situ (on-site) density and moisture content of compacted soil and compares it to the laboratory MDD and OMC values. This confirms whether compaction meets specification, typically expressed as a percentage (e.g., 95% of MDD). It’s often done using a nuclear density gauge or by sand replacements depending on states. |  |
|  | Plasticity | Shows how plastic or reactive a soil is. High PI indicates clayey material that may shrink or swell with moisture changes. |  |
|  | Particle size distribution | Determines grading and suitability for use as fill, subgrade, or pavement material. |  |

- What resources must you confirm are available before the job plan can be implemented?

| Answer | Labour, plant and equipment, materials, subbies, permits/documents (swms/dials), survey, testing |  |
| --- | --- | --- |

- Outline the information you will be discussing with the work team during the pre-start meeting.

| Answer | Overall jobs for the day, labour allocation, maintenance, changes to VMP |  |
| --- | --- | --- |

- What methods can you apply to confirm instructions provided have been understood?

| Answer | Get workers to repeat information back Observing the work being done Demonstrations |  |
| --- | --- | --- |

- What would you do if you come across conflict between sub-contractors?

| Answer | stay neutral and gather the facts: find out exactly what the disagreement is about by speaking to each party separately. This helps avoid escalation and ensures you understand both sides. Next, bring the parties together in a calm setting to discuss the issue, focusing on the project goals and contract requirements, not personal opinions. Encourage clear communication and look for a practical compromise that keeps work progressing safely and to schedule. If the conflict can’t be resolved on site, I would report it to the project manager so they can review the contractual or scope details. Always document the issue and any agreed actions in case further follow-up is needed. |  |
| --- | --- | --- |

- Discuss what you would do if you noticed a client walking onto the site with no PPE and they haven’t signed in.

| Answer | I’d approach them calmly, stop them from going any further, and explain that they’re in a controlled work area where PPE and sign-in are mandatory for safety reasons. I’d then walk them back to the site office or entry point, help them sign in properly, and make sure they have the correct PPE — like a hard hat, high vis, and boots before entering again. Once they’re sorted, I’d let my supervisor or site manager know what happened so it can be logged and any gaps in the process can be fixed. |  |
| --- | --- | --- |

- Discuss the importance of accurate setting out of offsets.

| Answer | If offsets are wrong, it can lead to incorrect excavation or fill levels, alignment errors, or drainage and pavement issues that cause rework and delays. Precise setting out also helps maintain quality control and safety, as it ensures batters, grades, and structures are positioned correctly and meet design tolerances. |  |
| --- | --- | --- |

- You have noticed a worker who is assisting during setting out, doesn’t seem to know what they are doing. How will you respond to this situation?

| Answer | I’d step in straight away to prevent mistakes and maintain safety. I’d stop the task politely and have a quick chat with them to check their understanding and experience. If it’s clear they’re unsure, I’d would lead by example and show them the correct way, explaining my steps along the way. Once I was confident the worker understood, I would get them to re-set out the job, or potentially set up the next job under supervision to ensure its done correctly. |  |
| --- | --- | --- |

- After speaking with the worker from the previous question, you establish that this worker has difficulty calculating percentage of slope, as well as other things. Provide a simple equation you can provide to assist the workers learning.

| Answer | I would tell them the easiest way I know with an example. Rise/Run x 100. then I would give an example of 1m Rise, 2m run, 1m rise 4m run etc to keep the examples simple and easy to comprehend. |  |
| --- | --- | --- |

- What tool and equipment maintenance would direct the team about before setting out the site?

| Answer | I’d remind the team to check, clean, and maintain all tools and equipment to make sure everything is accurate and ready to use. This includes: - Survey equipment – check that levels, total stations, GPS units, and lasers are calibrated and fully charged - Hand tools – make sure hammers, pegs, tapes, and markers are clean, not damaged, and suitable for the - Marking gear – ensure paint, nails, and stakes are available and easy to read on site. - Vehicles and small plant – check fuel, tyres, and safety features if they’re used for moving materials or equipment. |  |
| --- | --- | --- |

- Describe how you ensure all workers understand the communication methods used on site and all appropriate equipment before beginning work tasks.

| Answer | During the pre-start meeting or toolbox talk, I go over how we’ll communicate throughout the day,whether it’s by two-way radio, hand signals, mobile phones, or verbal instructions. I also demonstrate radio procedures and hand signals if needed, making sure everyone can use the equipment correctly and understands site-specific call signs or channels. For workers who are new or less experienced, I check their understanding by asking them to repeat instructions or demonstrate the communication method back to me or put them with an experienced person who can show them during the day |  |
| --- | --- | --- |

- Calculate the amount of road base required for an area of 200m in length, 12.4m in width and a depth of 250mm. Answer using cubic metres (m³). Allow an extra 20% for compaction.

| Answer | Volume=Length×Width×Depth Volume =200×12.4×0.25=620 m³ Total volume=620×1.20=744 m³ |  |
| --- | --- | --- |

- Calculate the following to determine the percentage of grade. A rise of 820 millimetres and a run of 60 metres (Round up to two (2) decimal points).

| Answer | Rise/Run %=.82/60x100 =1.37% |  |
| --- | --- | --- |

- How do supervisors know that they are working according to client and organisational requirements when conducting excavation work?

| Answer | Supervisors ensure excavation work meets client and organisational requirements by following the approved plans, specifications, and job documentation. They check that work matches design levels and dimensions, follows the SWMS, method statements, and quality assurance procedures, and complies with safety and environmental standards. Regular inspections, testing, and communication with engineers and the client confirm the work is being carried out correctly, safely, and in line with all project and company requirements |  |
| --- | --- | --- |

- Briefly describe two (2) situations that would require supervisors to make changes to the work practices or job plan.

| Answer 1. | Unexpected ground conditions – for example, discovering soft spots, rock, or groundwater during excavation that wasn’t shown in the geotechnical report. The supervisor would need to adjust the method, equipment, or sequencing to maintain safety and quality. |  |
| --- | --- | --- |
| 2. | Weather or environmental impacts – such as heavy rain causing flooding or erosion on site. The supervisor may need to delay work, install extra drainage, or modify the plan to protect the site and meet environmental requirements |  |

- What are two (2) types of reports an organisation could use to record how installation against required outcomes is progressing and identify opportunities for improvement in relation to safety, efficiency, and effectiveness.

| Answer 1. | Site Progress Reports – used to record daily or weekly progress against planned targets, including quantities completed, delays, and safety observations. These reports help track performance, identify issues early, and plan corrective actions. |  |
| --- | --- | --- |
| 2. | Safety Observation Reports: which record hazards, incidents, or deviations from standards. They help identify opportunities to improve safety, efficiency, and work practices across the project |  |

- Why should written information be clearly expressed?

| Answer | Written information should be clearly expressed so that everyone can understand instructions, requirements, and expectations without confusion. Clear writing helps prevent mistakes, delays, and safety incidents by ensuring all workers, supervisors, and contractors interpret the information the same way |  |
| --- | --- | --- |

- What is the purpose of levelling equipment and why is routine inspection, proper handling and regular calibration important?

| Answer | The purpose of levelling equipment is to accurately measure and transfer heights, grades, and levels on site Routine inspection, proper handling, and regular calibration are vital because even small errors can cause major issues like uneven surfaces and drainage problems. Regular checks and servicing keep the instruments accurate, while careful handling prevents damage to sensitive components. Calibration confirms that readings remain precise |  |
| --- | --- | --- |

RIIMPO402D

Apply the principles of earthworks construction

PRACTICAL ASSESSMENT

| Participant name | Benjamin Wixon |
| --- | --- |

FOR THE PARTICIPANT

Instructions

- The tasks outlined on the following pages will require performance of normal workplace activities, as a result of a structured activity set by an Observer in the workplace or a simulated activity set by your Assessor/Observer. - The timeframe for these tasks will be established by your Assessor/Observer, in consideration of location conditions and industry requirements. - You must complete all tasks unassisted by the Assessor or other personnel unless the steps note this assistance. - You must attempt all tasks (and itemised steps) for a ‘Satisfactory’ assessment outcome to be awarded. - For any observation conducted that is incomplete, or without satisfactory performance, the observation will need to be completed again after further training support.

FOR THE ASSESSOR/OBSERVER

Instructions

- The following observation record should be used to judge and record your observations of the Participant as they complete the task(s) set. You must record your observations of the Participant’s performance. - For each occasion, indicate the task performed and whether it was a simulation or workplace-based task. - Any simulated assessment must ensure the Participant still performs under workplace conditions which reflect industry standards. - In the comments, provide clear detail regarding the task that the Participant was required to do (e.g. PPE used, materials handled, attachments connected, plant types). - All steps must be satisfactorily demonstrated by the Participant for a ‘Satisfactory’ determination (indicated by an Assessor tick to the right of each itemised step, or an Observer tick to the right of each itemised step, and confirmation by an Assessor in the Assessor Comments). - Where you have determined that one or more task steps have not been satisfactorily demonstrated, provide the Participant with additional support and outline details of such assistance in the Assessor/Observer Comments. Allow the Participant two (2) further opportunities to demonstrate the task again to allow an opportunity for a ‘Satisfactory’ assessment outcome to be achieved. - If after three (3) attempts the Assessor determines that the Participant cannot demonstrate the required steps, a ‘Not Satisfactory’ outcome is to be determined.

| TASK OUTCOME |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Task | Date | Task Type (Tick) | Location | Task outcome (Tick) |  |
|  |  |  |  | Satisfactory | Not Satisfactory |
| Task 1 (Occasion 1) | Select Date. | Workplace Simulation |  |  |  |
| Task 1 (Occasion 2) | Select Date. | Workplace Simulation |  |  |  |

ASSESSOR COMMENTS

As necessary, outline: - Details on reattempts, alternative arrangements or reasonable adjustments made. - Where a Participant is deemed ‘Not Satisfactory’, provide recommendations for future training.

| ASSESSOR COMMENTS: PRACTICAL TASK 1: OCCASION 1 |  |
| --- | --- |
| Individual student (as named on cover page) Multiple students [ All from Attendance Report, Specific students involved – identify students] |  |
| Task | Provide detail |
| 1.1A | Specify () documents read and confirmed: Plans/ Drawings/Maps Specifications TMP EMP Site Safety Plan SWMS Engineering survey data Site cultural and heritage information Sources of material Labour resources required, including sub-contractors Schedule Costing requirements Other (please specify): |
| 1.1B | Specify () specifications clarified: Scheduling requirements Milestones Testing requirements Materials Site soil/rock and geological data Other (please specify): |
| 1.1D | Specify () job plan inclusions: HR requirements Plant and machinery requirements Construction materials requirements Sub-contractor support requirements Waste disposal requirements Coordination requirements Activity scheduling Materials delivery scheduling Risk assessment and management requirements WHS requirements Quality management requirements, including testing scheduling requirements Traffic management requirements Environmental requirements Task monitoring requirements Task performance monitoring requirements Communication requirements Reporting requirements Other (please specify): |
| 1.2K | Specify () test results read and correctly understood: Compaction test results Soil/ density/ moisture relationship Plasticity index Particle size distribution Other (please specify): |
| 1.3B | Specify adjustments made: |
| 1.4B. | Specify recommendations made: |

| ASSESSOR COMMENTS: PRACTICAL TASK 1: OCCASION 2 |  |
| --- | --- |
| Individual student (as named on cover page) Multiple students [ All from Attendance Report, Specific students involved – identify students] |  |
| Task | Details |
| 1.1A | Specify () documents read and confirmed: Plans/ Drawings/Maps Specifications TMP EMP Site Safety Plan SWMS Engineering survey data Site cultural and heritage information Sources of material Labour resources required, including sub-contractors Schedule Costing requirements Other (please specify): |
| 1.1B | Specify () specifications clarified: Scheduling requirements Milestones Testing requirements Materials Site soil/rock and geological data Other (please specify): |
| 1.1D | Specify () job plan inclusions: HR requirements Plant and machinery requirements Construction materials requirements Sub-contractor support requirements Waste disposal requirements Coordination requirements Activity scheduling Materials delivery scheduling Risk assessment and management requirements WHS requirements Quality management requirements, including testing scheduling requirements Traffic management requirements Environmental requirements Task monitoring requirements Task performance monitoring requirements Communication requirements Reporting requirements Other (please specify): |
| 1.2K | Specify () test results read and correctly understood: Compaction test results Soil/ density/ moisture relationship Plasticity index Particle size distribution Other (please specify): |
| 1.3B | Specify adjustments made: |
| 1.4B. | Specify recommendations made: |

RIIMPO402D

Apply the principles of earthworks construction

Practical Task 1 (2X)

Description of task: The participant must demonstrate the ability to apply the principles of earthworks construction while undertaking the role of a civil construction supervisor on two (2) occasions including demonstration of: - During planning and preparation of work: - Reading and applying requirements set out in project plans and specifications - Complying with site safety plan and organisational policies and procedures when confirming resource availability - Complete a job plan showing best use of available resources to meet task requirements - Prepare to lead pre-start meeting - When implementing the job plan: - Confirm availability of resources at site - Lead daily pre-start meeting providing clear instructions to meet schedule and safety requirements - Set out the job and allocate tasks to others - While supervising the execution of tasks: - Monitor the installation, checking against performance requirements and identifying gaps - Initiate adjustments to process or work practice to ensure achievement of expected outcomes - Oversee plant, equipment and tool maintenance procedures and ensure written documentation is completed - During reporting: - Complete all written reporting requirements in a timely manner - Make recommendations for changes to improve efficiency, effectiveness, and safety during the execution of tasks Tasks are at the Assessor’s Discretion, but detail of tasks undertaken must be recorded in the Assessor’s Comments (on the back of the Practical Assessment cover page).

Resources required: Project site, project documents, labour, plant, equipment and tools, construction materials.

| When completing the task, did the Participant: | Tick if satisfactorily completed. Provide comments if left unticked. |  |
| --- | --- | --- |
|  | 1st Occasion | 2nd Occasion |
| 1 Plan and prepare for earthworks construction |  |  |
| - Locate and read all appropriate earthworks construction documentation to confirm compliant activities. |  |  |
| - Read and clarify specific task information and requirements from technical specifications and notes. |  |  |
| - Meet with project management as required to confirm client requirements are met. |  |  |
| - Develop a job plan that meets task requirements and makes best use of resources. Assessor attach a copy of the job plan with participant name and date showing as permitted by workplace. Alternatively note job plan observed. |  |  |
| - Recognise training requirements for team and allocate tasks to ensure safety. |  |  |
| - Prepare for site meetings (toolbox/ pre-start) by preparing notes and resources required. |  |  |
| 2 Implement the job plan |  |  |
| - Confirm availability of all resources required for safe and effective task completion. |  |  |
| - Lead pre-start meeting providing clear, legible and timely instructions from job plan to team members and others both verbal and in written form. |  |  |
| - Allocate tasks to others in a manner to be understood. |  |  |
| - Manage team and other relationships in a manner to diffuse friction and induce work production. |  |  |
| - Monitor checking of plant tools and equipment for serviceability. |  |  |
| - Read and interpret project engineering surveys. |  |  |
| - Undertake set out of offsets according to plans and drawings. |  |  |
| - Adhere to manufacturer and workplace requirements for use of levelling tools and equipment to achieve accurate set out and offset marking. |  |  |
| - Correctly calculates resource consumption, supply rate, volumes, areas, grades and percentages |  |  |
| - Communicate offset requirements using approved workplace methods of marking. |  |  |
| - Interpret information from site soil/rock, hydrological and geological data test results. |  |  |
| - Recognise and address drainage issues according to site requirements. |  |  |
| 3 Oversee the execution of tasks |  |  |
| - Apply performance monitoring skills, checking measurements, making calculations and assessing performance against schedule and requirements for any gaps. |  |  |
| - Make adjustments, or recognise adjustments made to work practices or the job plan and implements these to ensure achievement of the required outcomes |  |  |
| - Monitor performance, recognising and acting on training needs of workers. |  |  |
| - Demonstrate knowledge of plant and equipment capabilities and limitations. |  |  |
| - Adhere to or alter materials delivery scheduling according to requirements and procedures. |  |  |
| - Oversee plant, equipment and tool maintenance procedures on completion of tasks including documentation of maintenance records |  |  |
| - Inspect work to ensure outcomes conform with requirements, applying testing where required. |  |  |
| - Organise or apply mentoring to workers requiring training and monitoring. |  |  |
| 4 Report on task execution |  |  |
| - Complete and submits reports including all test results. |  |  |
| - Adhere to continuous improvement by making reasonable recommendations for improvement of processes or procedures. |  |  |