Handout 1 - Compliance Review

| Participant name | Jeremy Tydd |
| --- | --- |
| Date | 27-4-25 |

| Building and construction project | Kima av |
| --- | --- |
| Project overview | New house build |
| Building classification | Class 1 – 10 buildings, max two storeys Class 2 – 9 building, Type C only constructions Specify class: |
| Project site address | 27 Kaima av |
| State/territory where project is undertaken | QLD |
| Construction plan documents reviewed | Yes |

Building Legislation

List two (2) relevant legislations

| Building legislation | Plans comply |  | Explanation |
| --- | --- | --- | --- |
| Example: Electrical Safety Act | Yes | No | Smoke alarm locations shown in floor plans - photoelectric (AS 3786-2014) hardwired and interconnected. |
| Plumbing and drainage act | Yes | No | Plumbing and drainage act 2018 vol 3 NCC |
| Barriers and handrails | Yes | No | 3.9.2 barriers and handrails NCC |

Australian Standards

Provide two (2) relevant standards

| Australian Standards | Plans comply |  | Explanation |
| --- | --- | --- | --- |
| Example: AS/NZS 3786 | Yes | No | called up in the NCC as the required minimum for smoke alarms to comply with. |
| AS/NZS 3500 | Yes | No | called up in the NCC as the required minimum for plumbing |
| AS /1428 | Yes | No | called up in the NCC as the required minimum handrails |

NCC Requirements

Fire Safety x 1

| Requirements | Plans comply |  | Explanation |
| --- | --- | --- | --- |
| Ncc requirements | Yes | No | called up in the NCC as the required minimum |

Health and amenity x 1

| Requirements | Plans comply |  | Explanation |
| --- | --- | --- | --- |
| Ncc requirements | Yes | No | called up in the NCC as the required minimum |

Safe movement and access x 1

| Requirements | Plans comply |  | Explanation |
| --- | --- | --- | --- |
| Ncc requirements | Yes | No | called up in the NCC as the required minimum |

Energy efficiency x 1

| Requirements | Plans comply |  | Explanation |
| --- | --- | --- | --- |
| Ncc requirements | Yes | No | called up in the NCC as the required minimum |