Inspection checklist

# Scaffold vicinity

- Has public protection been provided?

- Have enough safeguards against electric powerlines been provided?

- Do you need control over vehicle movement?

- Are scaffolds erected a safe distance away from trenches or excavations?

# Supporting structure

- Is the supporting structure in good condition?

- Does the supporting structure have satisfactory strength?

- Are there controls to prevent deterioration of the supporting structure?

- Is the scaffold built on solid ground? If built on soft ground, are soleboards used to properly distribute the load?

# Soleboards and baseplates

- Are there enough soleboards?

- Are the soleboards of suitable material?

- Are the soleboards secure?

- Are there enough baseplates?

- Are the baseplates serviceable and of suitable dimensions?

- Are the baseplates secure?

# Scaffold structure

- Are the standards bearing firmly?

- Are the standards plumb (or as designed)?

- Are the longitudinal standard spacings correct?

- Are the transverse standard spacings correct?

- Are the joints in standards correctly positioned?

- Are the joints in standards correctly secured (special duty or hung scaffold)?

- Are the ledgers level (or as designed)?

- Are the ledgers continuous (or as designed)?

- Are the lift heights correct?

- Are the horizontal ledger spacings correct?

- Are the ledgers correctly secured?

- Are ledger joints correctly positioned (tube and coupler scaffold)?

- Are the joints in ledgers correctly secured (tube and coupler scaffold)?

- Are there sufficient transoms/putlogs?

- Are the transoms/putlogs correctly positioned and secured?

- Is the bracing adequate?

- Is the scaffold sufficiently stable?

- Are the ties correctly positioned and correctly fixed?

# Platforms

- Does the scaffold have the required number of working platforms?

- Are the working platforms at the required locations?

- Are the platforms and supporting scaffold constructed for the appropriate duty live loads?

- Are the platform dimensions suitable for the intended work?

- Is there adequate edge protection?

- Are the platforms correctly constructed?

- Are planks secured against wind?

# Access and egress

- Is there safe access and egress to every scaffold platform?

- Are portable ladders of an industrial grade, serviceable and correctly installed?

- Are access ways and access platforms correctly installed?

# Containment sheeting

- Has the scaffold been designed for wind loading on any containment sheeting?

- Are the fixing ties secure?

- Are there any rips or tears?

- Are the overlap joints satisfactory?

# General fitness for purpose

- Is there adequate provision for material handling?

- Are the clearances between the scaffold and adjacent structures correct?

- Is there adequate protection from falling debris?

- Has the scaffold been adequately designed to support all attachments?

- Are all approaches and platforms effectively lit?

# Notes:

- The person with management or control of a scaffold at a workplace must ensure that the scaffold and its supporting structure are inspected by a competent person:

- before the scaffold is used

- before use of the scaffold is resumed after an incident occurs that may reasonably be expected to affect the stability of the scaffold

- before use of the scaffold is resumed after repairs

- at least every 30 days.

# Inspection records

Inspections need to be completed by both the site manager AND the scaffolder.
Please fill in the table below once you have completed the checklist.

| Name | Date & Time | Location | Comments | Sign |
| --- | --- | --- | --- | --- |