CPCCBC4006B

Select, procure and store construction materials for low rise projects

ASSESSMENT SUMMARY

The assessment activities for CPCCBC4006B Select, procure and store construction materials for low rise projects cover all aspects of the unit of competency required. To demonstrate competence in this unit, a participant must undertake all tasks and complete them satisfactorily and consistently. For Apprentices and Trainees, this includes employer completion of the Employer Record Book (ERB).

Participants must read all the information given before starting any assessment task. The assessment tasks are intended to be equitable, fair and flexible. If a participant has any questions or requires alternative arrangements to be made such requests should be directed to their Trainer/Assessor, who should note such arrangements in the ‘Assessor Comments’ on the affected assessment. If a participant feels they are not yet ready to be assessed, they should discuss their options with their Trainer/Assessor.

To satisfactorily complete the assessment, the participant is required to answer all questions correctly and demonstrate their skills to industry standards. If a participant does not answer some questions or perform some tasks, they will be deemed ‘Not Satisfactory’ for the task and ‘Not Yet Competent’ for the unit of competency. The Trainer/Assessor is able to provide the participant with additional information on interpreting the assessment outcomes and provide guidance on the participant’s options. Should a participant still be deemed ‘Not Satisfactory’ they will have the opportunity to undertake a supplementary assessment or appeal the result.

By signing the cover page for each assessment item, the participant acknowledges they understand the assessment instructions and requirements and consent to being assessed. The participant also verifies and assures the RTO that the work submitted is their own work.

| Participant Name | Samantha Amos |
| --- | --- |

| Task | Assessment Results |  |
| --- | --- | --- |
| Theory Exam | Satisfactory | Not Yet Satisfactory |
| Practical Assessment | Satisfactory | Not Yet Satisfactory |
| Outcome for Unit of Competency | Competent | Not Yet Competent |

| Assessor Name |  |
| --- | --- |
| Assessor Signature |  |
| Unit Competence Determination Date | Click here to enter a date. |

CPCCBC4006B

Select, procure and store construction materials for low rise projects

THEORY EXAM INSTRUCTIONS - This exam will occur under standard assessment conditions. - An oral examination may be allowed under certain circumstances, whereby the Participant’s answers will be documented by a party other than the Participant. This must be acknowledged in writing (e.g. FT001 and Assessor Comments) - Participants must provide enough detail in their responses to demonstrate their knowledge and skills. - Please fill in the details below, providing your name, signature and date of assessment. - Your signature acknowledges that this is your own work. - Assessors are to complete marking in pen of a different colour to the Participant. - If a Participant initially answers a question incorrectly but modifies their response, they must follow the instructions below: - If a Participant changes their response in writing, they must put their initials next to the written change. - If a Participant changes their response verbally, this must be noted on the exam paper by the assessor.

| Participant name | Samantha Amos |
| --- | --- |
| Participant signature |  |
| Date | 12/03/2020 |

| Assessor name |  |
| --- | --- |
| Assessor signature |  |
| Date | Click here to enter a date. |

| Number of questions | Number of questions answered correctly | Task outcome (Tick) |  |
| --- | --- | --- | --- |
| 44 |  | Satisfactory | Not Yet Satisfactory |

ASSESSOR Comments

- Which of the following documents and/or people would you refer to when selecting materials for a building project? Tick all that apply.

| Answer | Choice | Possible Answers |  |
| --- | --- | --- | --- |
|  |  | Australian Standards |  |
|  |  | Contract |  |
|  |  | Drawings |  |
|  |  | Manufacturer |  |
|  |  | National Construction Code |  |
|  |  | Specifications |  |
|  |  | Tolerances |  |

- Identify the Volume and Parts of the NCC that relate to suitability of materials for Classes 1 and 10, and Classes 2 to 9.

| Answer | Classes 1 and 10 | Classes 2 to 9 |  |
| --- | --- | --- | --- |
|  | Volume 2 Part A5.1 | Volume 1 Part A5.1 |  |

- Identify the assessment methods used to verify a performance solution.

| Answer | This is a tailored solution, which is verified using one or a combination of the following Assessment Methods: -Evidence of suitability -A verification method -Expert judgement -Comparison with the Deemed-to-Satisfy provisions |  |
| --- | --- | --- |

- Which of the following solutions for material selection often references the Australian Standards? Tick your response.

| Answer | Choice | Possible Answers |  |
| --- | --- | --- | --- |
|  |  | Deemed-to-Satisfy solution |  |
|  |  | Performance solution |  |

- Identify five (5) materials commonly used for low rise buildings in your region. For each material, identify the following:

- Its name

- Properties of the material

| Answer | # | Material name | Properties |  |
| --- | --- | --- | --- | --- |
|  | 1 | Wood | Wood is a product of trees, and sometimes other fibrous plants, used for construction purposes when cut or pressed into lumber and timber, such as boards, planks and similar materials. It is a generic building material. |  |
|  | 2 | Concrete | Concrete is a composite building material made from the combination of aggregate (composite) and a binder, ie. Cement and it has been the predominant building material in modern age due to its longevity, formability, and ease of transport. |  |
|  | 3 | Brick/Block | A brick is a block made of kiln-fired materials, usually clay or shale, but also may be of lower quality mud, etc. Clay bricks are formed in a moulding (soft mud method), or in commercial manufacture by extruding clay through a die and wire-cutting them to the proper size (the stiff mud process). |  |
|  | 4 | Metal | Metal is used as structural framework for larger buildings such as skyscrapers, or as an external surface covering. Metal figures quite prominently in prefabricated structures used in most cosmopolitan cities. It requires a great deal of human labour to produce metal, especially in large amounts needed for the building industries. |  |
|  | 5 | Glass | Clear windows have been used since the invention of glass to cover small openings in a building. They provided people with the ability to both let light into rooms while keeping inclement weather outside. Glass is generally made from mixtures of sand and silicates, and is very brittle. |  |

- For each of the materials in Q5. identify the following:

- Quality of the material (i.e. durability, serviceability, cost effectiveness)

- Compatibility and non-compatibility of the material (i.e. what it would/would not be suitable for)

| Answer | # | Quality | Compatibility |  |
| --- | --- | --- | --- | --- |
|  | 1 | -Low energy material -Cost effective -Highly flammable -Extremely durable | Different structures can be built in most climates. Very flexible under loads, keeping strength while bending, incredibly strong when compressed vertically. Many types especially better for various uses than others. |  |
|  | 2 | -High energy material -Fire retardant | Concrete has a rather low tensile strength, it is generally strengthened using steel rods or bars (known as rebars), referred to as reinforced concrete. A vibrator is used to eliminate any air that been entrained when the liquid concrete mix is poured around the ironwork. |  |
|  | 3 | High energy material -Fire retardant | Bricks were widely used for a building material in the 1700, 1800 and 1900s. This was probably due to the fact that it was much more flame retardant than wood in the ever-crowding cities, and fairly cheap to produce. Another type of block replaced clay bricks in the late 20th century. It was the Cinder block and made mostly with concrete. |  |
|  | 4 | -High energy material -Extremely durable | Steel – a metal alloy whose major component is iron which is strong, flexible, and if refined well and/or treated lasts a long time. Aluminium alloys and tin are lower density/corrosive resistant. Brass was common but is usually restricted to specific used today. Other metals used include titanium, chrome, gold and silver. |  |
|  | 5 | -High energy material -Fragile and brittle | Modern glass “curtain walls” can be used to cover the entire façade of a building. Glass can also be used to span over a wide roof structure in a “space frame”. |  |

- Identify five (5) physical characteristics that may be considered when evaluating potential building materials.

| Answer | -Density and specific gravity -Strength -Electrical conductivity -Thermal conductivity and capacity -Moisture absorption -Acoustics |  |
| --- | --- | --- |

- Match the terms and definitions below by writing the appropriate letter next to each number in the centre column.

| Answer | Term |  | Answers | Definition |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | 1 | Carbon footprint | 1 - B | A | The amount of energy required to manufacture a product |  |
|  | 2 | CO2e | 2 - E | B | Total GHD emissions produced during manufacture construction and use |  |
|  | 3 | Embodied energy | 3 - A | C | Greenhouse gas emissions |  |
|  | 4 | Embodied water | 4 - D | D | The amount of water required to manufacture a product |  |
|  | 5 | GHG | 5 - C | E | CO2equivalent tonnes emitted into the atmosphere |  |

- Which of the following materials would be considered as ‘low energy content’? Tick all that apply.

| Answer | Choice | Possible Answers |  |
| --- | --- | --- | --- |
|  |  | Bricks |  |
|  |  | By-products of other industrial processes |  |
|  |  | Cement |  |
|  |  | Glass |  |
|  |  | Metals |  |
|  |  | Plastics |  |
|  |  | Sand |  |
|  |  | Stone |  |
|  |  | Timber |  |

- Refer to the table below and identify the wall material type that has the smallest embodied energy and emission impact.

| Answer | Wall timber frame fibro clad |  |
| --- | --- | --- |

- Identify the Volume and Parts of the NCC that relate to energy efficiency of materials for Classes 1 and 10, and Classes 2 to 9.

| Answer | Classes 1 and 10 | Classes 2 to 9 |  |
| --- | --- | --- | --- |
|  | Volume 2 Part 3.12.1 | Volume 1 Part J1 |  |

- Identify the relevant section of the Standards and Tolerances Guide and the associated Australian Standard that addresses residential slabs and footings.

| Answer | Standards and Tolerances Guide | Australian Standard |  |
| --- | --- | --- | --- |
|  | Section 3.2 | AS 2870 |  |

- Identify the relevant section of the Standards and Tolerances Guide and the associated Australian Standard that addresses roof tiles.

| Answer | Standards and Tolerances Guide | Australian Standard |  |
| --- | --- | --- | --- |
|  | Section 7.4 | AS 2049 – Roof Tiles and AS 2050 Installation of Roof Tiles |  |

- Identify the Volume and Parts of the NCC that relate to safety barriers for swimming pools for Classes 1 and 10, and Classes 2 to 9.

| Answer | Classes 1 and 10 | Classes 2 to 9 |  |
| --- | --- | --- | --- |
|  | Volume 2 Part 2.7.1 | Volume 1 Section G1.1 |  |

- In some states, barriers and fences for swimming pools are not entirely regulated by the NCC, as noted in the Ancillary Provisions and State and Territory Variations. Identify the applicable Act and Regulation that regulate safety barriers for swimming pools in your jurisdiction.

| Answer | Building Act 1975 and the Building Regulation 2006. |  |
| --- | --- | --- |

- Identify the Australian Standard that relates to safety barriers for swimming pools.

| Answer | AS 1926 |  |
| --- | --- | --- |

- True or False (Tick your response): According to the Standard in Q16. all gates must be fitted with a self-closing device that will return the gate to a closed position from any position without the use of manual force.

| Answer |  | True |  |  |
| --- | --- | --- | --- | --- |
|  |  | False |  |  |

- Identify the Volume and Parts of the NCC that relate to fire-resistance of building elements for Classes 1 and 10, and Classes 2 to 9.

| Answer | Classes 1 and 10 | Classes 2 to 9 |  |
| --- | --- | --- | --- |
|  | Volume 2 Schedule 5 | Volume 1 Schedule 5 |  |

- Identify the Australian Standard that relates to fire-resistance tests for elements of construction.

| Answer | AS 1530.4 |  |
| --- | --- | --- |

- For all NCC Classes, where the ground or subfloor space is excessively damp or subject to frequent flooding, which durability class must the subfloor framing must be used where above ground?

| Answer | A ) Where above ground – above ground durability Class 1 or 2 timbers of H3 preservative treated timbers |  |
| --- | --- | --- |

- Identify the Australian Standards that must be observed when meeting the requirements for Q20.

| Answer | In accordance with AS 1684.2, AS 1684.3 or AS 1684.4 |  |
| --- | --- | --- |

- True or False (Tick your response): Where materials are not used as intended (or without considering NCC requirements), this can make a significant difference to the life or serviceability of the structure.

| Answer |  | True |  |  |
| --- | --- | --- | --- | --- |
|  |  | False |  |  |

- Explain why durability and serviceability impact on the cost effectiveness of chosen materials.

| Answer | Where materials are not used as intended (or without considering NCC requirements), this can make a significant difference to the life or serviceability of the structure; therefore, you need to consider the short and long-term degradation of these materials. By choosing building materials wisely, such as considering the complete life cycle of the materials, you can provide advice to clients as well as reduce the impact of the project on the environment. Many clients are now requesting long-term environmentally sustainable solutions (life style costing LCC) which take energy and sustainable innovations, to a new level. 1 Life-Cycle Cost Analysis (LCCA) is a tool to determine the most cost-effective option. 2 Environmental impacts 3 Eco-friendly building benefits for all |  |
| --- | --- | --- |

- Provide an example of short term degradation of materials and describe its effects on a building on structure.

| Answer | Timber is often prone to short term degradation. When exposed to the weather it may suffer from weathering, causing splitting and crumbling or it is unprotected and remains damp for long periods, it will rot. Some timbers are naturally resistant to rot, for example western red cedar. These timbers form a protective skin on the surface that keeps them relatively intact. |  |
| --- | --- | --- |

- Provide an example of long term degradation of materials and describe its effects on a building on structure.

| Answer | Timber can be vulnerable to chemical attack, from liquids, fumes or pollution. Attach is normally rapid at higher temperatures and hardwoods tend to be more susceptible than softwoods. Most timbers are resistant to weak acids, but susceptible to strong acids. Exposure to steam, such as in high temperature steaming processes, can cause serious reduction in the strength of timber. |  |
| --- | --- | --- |

- You have spoken to a supplier who has indicated that some of the client’s desired materials are unavailable. When considering alternative building materials what must be taken into consideration (i.e. other than the client’s requirements)?

| Answer | When selecting building materials, you need to be aware of a number of considerations, such as: (other than client requirements) -Material availability or lack of availability -Environmental issues -Life Cycle Assessment methodology An alternative material or building practice should only considered if it is performance tested, efficient, environmentally sustainable or more cost-effective. A few material considerations are as follows: - Transportation - Handling - Testing - Waste reduction - Reuse/recycling - Renewable non renewable - Embedded energy - Fire resistance rating - Compatibility - Acoustic properties - Life-cycle cost - Short and long-term degradation |  |
| --- | --- | --- |

- Identify two (2) things that you should look for when receiving a delivery of materials.

| Answer | 1.Before the delivery person leaves and before you sign anything: confirm the correct quantity and confirm the condition of the delivery. 2.The contents must be in perfect condition. Perfect means no damages at all. If, however, the box is damaged but the contents are still intact, then this is not considered damage by the shipping company., |  |
| --- | --- | --- |

- If you encounter issues with delivery, what two (2) options do you have?

| Answer | 1.Accept the shipment with ‘conditions’ or, 2.Reject the entire shipment |  |
| --- | --- | --- |

- Which of the following should be assessed before shifting materials? Tick all that apply.

| Answer | Choice | Possible Answers |  |
| --- | --- | --- | --- |
|  |  | What needs to be relocated (e.g. size, weight) |  |
|  |  | The relocation area, site layout and obstacles |  |
|  |  | Distance and time to relocate load |  |
|  |  | Whether a team is available and/or appropriate |  |
|  |  | Whether PPE must be worn (e.g. for hazardous materials) |  |

- What document should you refer to for guidance on how to handle and store hazardous chemicals?

| Answer | Safety Data Sheets |  |
| --- | --- | --- |

- Name three (3) ways you can reduce the risk of injury if a load is too heavy for one person to carry, push or pull.

| Answer | -Ask for a helping hand from others -Utilise trolleys to lift load -Utilise a forklift if the load is extremely large and heavy |  |
| --- | --- | --- |

- In the diagram below a person is lifting a tool box.
Filling in the table, indicate how each body part should be used/placed.

F. Hands

E. Knees

D. Shoulders

C. Feet

B. Back

A. Neck

| Answer | Area of body (Letter) | How it should be placed |  |
| --- | --- | --- | --- |
|  | D | Level |  |
|  | A | Upright |  |
|  | F | Good grip |  |
|  | B | Natural curve |  |
|  | E | Bent |  |
|  | C | Flat, facing load |  |

- How should construction materials and components be handled? 
Tick all that apply.

| Answer | Choice | Possible Answers |  |
| --- | --- | --- | --- |
|  |  | Sorted to suit material type and size, separating hazardous material |  |
|  |  | Stacked or stockpiled for ease of identification and retrieval |  |
|  |  | Stored in access ways for ease of retrieval |  |
|  |  | Stored clear of access ways |  |
|  |  | Handled and positioned ready for installation |  |

- Identify the Australian Standard that relates to the storage and handling of LP gas.

| Answer | AS/NZS 1596 |  |
| --- | --- | --- |

- List one (1) testing method for each of the building materials listed below.

| Answer | Material name | Properties |  |
| --- | --- | --- | --- |
|  | Concrete | Concrete cylinders or cubes are normally tested in a hydraulic press. A universal machine for tension, compression and bending is also used. |  |
|  | Metals | Ductility is tested by bending a bar around a pin over a wide angle. |  |
|  | Timber | A stress grading machine test every individual piece of timber using a very fast and economical method. The test is based on the relationship between the strength and the deflection of timber. Each piece of timber is at several points along its length, and the deflection category marked by means of a spot of dye. |  |

- What Code gives detailed tables which state the required grade of timber for specific sizes and uses?

| Answer | The Australian Timber Framing Code |  |
| --- | --- | --- |

- Name two (2) ways that defects may be seen in timber.

| Answer | -Some of the defects found in timber are knots, splits, gym veins, pockets of resin and insect damage. -Certain timbers have specific defects associated with them; it is also important that you can determine visually whether timbers have been exposed to hazards, such as fire, termite or weathering. |  |
| --- | --- | --- |

- Identify two (2) tests that may be performed to determine the durability of stone.

| Answer | Other tests that may be performed on stone include tests on the durability of the stone; standard tests include acid immersion to test how quickly it dissolves under acidic conditions, wetting and drying and water absorption. -If water retention rates of the stone are important, for matching or for a particular area, then the porosity and the saturation coefficients of the stone can also b measured. The saturation coefficient is a measure of how much of the pore space in a stone will be full of water after soaking for a long time. |  |
| --- | --- | --- |

- Name two (2) ways that defects may be seen in stone.

| Answer | -Defects in stone are usually apparent as crack and fissures in the rock surface. -Visually, some may be ruled as unacceptable if they don’t confirm to the acceptable colour or grain size uniformity that is required for the job. |  |
| --- | --- | --- |

- True or False (Tick your response): Under a contract, builders and other specialist tradespersons are the ones most likely to rectify or remedy problems that arise from incorrect installation, application or placement of materials.

| Answer |  | True |  |  |
| --- | --- | --- | --- | --- |
|  |  | False |  |  |

- Name two (2) established methods that may be used to preserve timber.

| Answer | -Painting, adequate ventilation and detailing to prevent water remaining next to timbers are all useful in preventing fungal attacks -Preservative treatments can also be applied to deter either insects or fungi. This can be done by brushing or spraying, or by dip diffusion or pressure impregnation. |  |
| --- | --- | --- |

- Identify two (2) established methods that may be used to protect ferrous metals.

| Answer | -Painting -Other coatings such as galvanising provide even better protection |  |
| --- | --- | --- |

- Explain why the corrosion resistance of non-ferrous metals is superior to that of ordinary steel.

| Answer | It is a result of the production of ceramic coating of oxide or salt on the metal which protects it from further corrosion. |  |
| --- | --- | --- |

- When should aluminium be coated with bituminous paint? 
Tick all that apply.

| Answer | Choice | Possible Answers |  |
| --- | --- | --- | --- |
|  |  | At all times |  |
|  |  | When it is buried in soil |  |
|  |  | When it comes in contact with chemical materials |  |
|  |  | When it is immersed in water |  |
|  |  | When it is used on bitumen |  |

CPCCBC4006B

Select, procure and store construction materials for low rise projects

PRACTICAL ASSESSMENT INSTRUCTIONS - The following practical assessment will require the Participant to complete work related activities. - The Assessor will conduct observations of the Participant’s work to determine whether they display sufficient practical skills and knowledge. - Please fill in the details below – providing your name, signature and date of assessment. - The Participant’s signature acknowledges that the Assessor provided clear instructions and the Participant understood what was required to complete this assessment. - The Assessor may substitute a Practical Task with an alternate task of equal value. - Alternate tasks must be fully documented by the assessor in the Assessor Comments area.

| Participant name | Samantha Amos |
| --- | --- |
| Participant signature |  |
| Date | 16/07/2020 |

| Assessor name |  |
| --- | --- |
| Assessor signature |  |
| Date | Click here to enter a date. |

| Task | Task outcome (Tick) |  |
| --- | --- | --- |
|  | Satisfactory | Not Yet Satisfactory |
| Task 1 (Occasion 1) |  |  |
| Task 1 (Occasion 2) |  |  |

Assessor Comments

CPCCBC4006B

Select, procure and store construction materials for low rise projects

| Practical Task 1 (2X) |  |  |  |
| --- | --- | --- | --- |
| Description of task: On two (2) occasions, a suitable observer is to verify the participant’s ability to supervise systems through which materials are selected, acquired and stored on site for the following projects: - Occasion 1: Construction classified as Class 1 and 10 construction - Occasion 2: Construction classified in Classes 2 to 9 with a gross floor area not exceeding 2000 square metres, not including Type A or Type B construction The participant is to gather evidence of how they have completed each component of the Practical Task, which is to be submitted with this Practical Assessment sheet. Evidence to be submitted may include: - Copy of PO sent to site team for materials. - Email correspondence sighting need for materials, delivery of materials and storage of materials (if relevant). The observer is to provide detailed comments on the tasks completed by the participant. The assessor is to verify the observer’s comments in the Assessor Comments section, and provide the Practical Assessment outcome on the front cover of this document. |  |  |  |
| Resources required: Computer, Building Contract, Drawings, Specifications, Building materials (including timber, and ferrous and non-ferrous metal). |  |  |  |
| Assessment of task |  |  |  |
| Name of participant: | Samantha Amos |  |  |
| Name of observer: |  |  |  |
| Role of observer (Confirm suitability to sign) |  |  |  |
| Email address of observer |  |  |  |
| Signature of observer: |  |  |  |
| Date: | Click here to enter a date. |  |  |
| When completing the task, did the participant: |  | Tick if satisfactorily completed. Provide comments if left unticked. |  |
|  |  | 1st Occasion | 2nd Occasion |
| 1 Evaluate building materials |  |  |  |
| - Identify suitability of materials commonly used in the region for low rise buildings. |  |  |  |
| - Through research and testing, identify properties of different materials, their quality and compatibility and non-compatibility and maintain effective sampling and organisational record-keeping processes. |  |  |  |
| - Identify the environmental impacts of different materials. |  |  |  |
| - Identify the impact of allowable tolerances on the conversion of naturally occurring materials. |  |  |  |
| - Identify and check tolerances for installing and assembling materials with regard to the nature of the work being performed and the requirements of relevant construction industry Australian standards. |  |  |  |
| 2 Material selection |  |  |  |
| - Select materials structurally adequate and appropriate for the building system specified in the contract, drawings and specifications. |  |  |  |
| - Select materials after considering: - Safety - Required fire resistance rating - Suitability to the application - Durability - Serviceability and cost effectiveness - Compliance with NCC, legislation, regulations and Australian Standards |  |  |  |
| - Consider short and long-term degradation of materials in relation to the building’s proposed life cycle. |  |  |  |
| - Select and evaluate alternative materials, if specified materials were unavailable or unsuitable – justifying decisions to regulatory authorities, as necessary |  |  |  |
| - Finalise selection of materials in accordance with contractual requirements and in consultation with relevant professionals and the client, compiling results in a report. |  |  |  |
| - Effectively communicate using the following methods: - Language/concepts appropriate to cultural differences - Non-verbal communication |  |  |  |
| 3 Supervising materials on site |  |  |  |
| - Determine limitations and effects of transportation on material and components, taking action in potentially damaging circumstances. |  |  |  |
| - Ensure materials were correctly and safely handled on site using appropriate equipment and safe work practices. |  |  |  |
| - Communicate with manufacturers and suppliers to ensure materials are stored in accordance with specifications and Australian standards. |  |  |  |
| - Implement processes for inspecting all materials delivered on site for naturally occurring and/or manufactured defects before installation. |  |  |  |
| - Ensure personnel were aware of actions to be taken in the case of defects caused by incorrect installation, application or placement. |  |  |  |
| - Preserve and protect timber and ferrous and non-ferrous metal used in the construction process. |  |  |  |
| The Participant’s performance was: Satisfactory Not Satisfactory |  |  |  |

observer Comments