Material Inspection Checklist

SIMULATION PROJECT - The information is fictional and provided for the purpose of this simulation.

| Inspected by: | John Smith |
| --- | --- |
| Date: | 12/02/25 |

| # | Material | Date delivered | Quantity | Quality | Comment |
| --- | --- | --- | --- | --- | --- |
|  | Structural Steel Beams | 10/04/2023 | Met agreed amount. Agreed amount not met. Enough buffer | Met agreed: Dimensions Colour Weight | No visible defects, all beams are up to specification. |
|  | Ready-Mix Concrete | 08/04/2023 | Met agreed amount. Agreed amount not met. Enough buffer | Met agreed: Dimensions Colour Weight | Colour consistent; however, quantity short. Supplier notified for additional delivery. |
|  | Hardwood Timber | 12/04/2023 | Met agreed amount. Agreed amount not met. Enough buffer | Met agreed: Dimensions Colour Weight | Timber quality excellent, with extra stock for contingency. |
|  | Waterproofing Membranes | 14/04/2023 | Met agreed amount. Agreed amount not met. Enough buffer | Met agreed: Dimensions Colour Weight | All rolls are the correct length and width, ready for application. |
|  | Electrical Wiring and Components | 15/04/2023 | Met agreed amount. Agreed amount not met. Enough buffer | Met agreed: Dimensions Colour Weight | Wiring correctly colour-coded for phases, neutrals, and earths; components as specified. |
|  | PVC Piping | 11/04/2023 | Met agreed amount. Agreed amount not met. Enough buffer | Met agreed: Dimensions Colour Weight | Correct diameters and lengths as per order; no damage during transport. |
|  | Bricks and Masonry | 13/04/2023 | Met agreed amount. Agreed amount not met. Enough buffer | Met agreed: Dimensions Colour Weight | Shortage noted, supplier contacted for additional bricks; quality is satisfactory. |
|  | insulation Materials | 09/04/2023 | Met agreed amount. Agreed amount not met. Enough buffer | Met agreed: Dimensions Colour Weight | Insulation complies with specifications, extra supplied to cover any potential wastage. |
|  | Window Glass Panels | 16/04/2023 | Met agreed amount. Agreed amount not met. Enough buffer | Met agreed: Dimensions Colour Weight | All glass panels intact and protected; dimensions correct for window frames. |
|  | Landscaping Stones & Gravel | 17/04/2023 | Met agreed amount. Agreed amount not met. Enough buffer | Met agreed: Dimensions Colour Weight | Stones and gravel match sample provided; ready for landscaping phase. |