Copyright

This document was developed by TotalVET Training Resources.

© 2021 TotalVET Training Resources.

All rights reserved.

No part of this publication may be reproduced, stored in a retrieval system or transmitted in any form or by any means, electronic, mechanical, photocopying, recording or otherwise without the prior written permission of TotalVET Training Resources.

Version Control & Document History

| Date | Summary of Modifications | Version |
| --- | --- | --- |
| 11 May 2022 | Version 1.0 released for publishing | 1.0 |

# Table of Contents

This Learner Guide	6

I. Classify Buildings	14

1.1	Determine the Nature, Use and Arrangement of Buildings	15

1.1.1 The National Construction Code	15

1.1.2 Building Contract	16

1.2	Apply NCC Criteria to Determine the Defined Building Classification	22

1.3	Identify Relevant Performance Requirements of the NCC that Apply	31

1.3.1 Performance Hierarchy of the NCC	31

1.3.2 Relevant Performance Requirements	32

1.4	Identify Compliance and Assess Non-compliance with the NCC	41

1.4.1 Compliance with the NCC	41

1.4.2 Non-compliance with the NCC	48

1.4.3 Other Relevant Legislation and Requirements	52

State/Territory	55

Construction Code of Practice	55

Australian Capital Territory	55

ACT Construction Work Code of Practice	55

New South Wales	55

NSW Code of Practice Construction Work	55

Northern Territory	55

NT Construction Work Code of Practice	55

Queensland*	55

Qld Codes of Practice	55

South Australia*	56

SA Codes of Practice	56

Tasmania	56

Tasmania Construction work: Code of Practice	56

Victoria*	56

Vic Compliance Codes and Codes of Practice	56

Western Australia*	56

WA Codes of practice	56

II. Determine Compliance Solutions within the NCC	58

2.1 Determine Performance Solutions to meet the Performance Requirements	59

2.2 Discuss Options with Relevant Persons to Necessitate Design or Construction Change	61

2.2.1 Key Stakeholders	61

2.2.2 Means of Communication	65

2.2.3 Strategies to Stakeholder Engagement	67

2.2.4 Factors to Consider in Choosing Compliance Solutions	70

2.3 Apply Deemed-to-Satisfy (DTS) Solution with Supporting Evidence to Comply with the Performance Requirements	72

2.4 Consider Performance Solutions and Supporting Evidence to Achieve Compliance with Performance Requirements	74

2.5 Document Performance-Based Solutions in accordance with Organisational Quality Procedures and Processes	76

2.5.1 Quality Management	77

2.5.2 Development of Performance Solutions	78

2.6 Complete and Compile Relevant Documentation and Evidence that Complies with NCC Performance Requirements	82

III. Apply Fire Protection Requirements	86

3.1 Identify Passive and Active Fire Control Elements Required by Relevant Legislation	87

3.1.1 Passive Fire Control Elements	88

3.1.2 Active Fire Control Elements	90

3.1.3 Legislation Relevant to Fire Safety Systems	93

3.2 Determine Level of Fire Resistance Required for the Construction of Buildings up to Three Storeys	94

3.2.1 Fire Resistance Level	94

3.2.2 Required Type of Fire-resisting Construction	95

3.3 Apply NCC Requirements with Respect to Passive and Active Fire Protection to Buildings up to Three Storeys	96

3.3.1 Passive Fire Protection Requirements	96

3.3.2 Active Fire Protection Requirements	99

3.4 Check Passive and Active Fire Protection Requirements are Applied during and on Completion of Works	103

References	105

# This Learner Guide

CPCCBC5001 - Apply building codes and standards to the construction process for Type B construction

This unit of competency specifies the skills and knowledge required to access, interpret and apply relevant building codes and standards to the construction processes for Type B construction. It includes interpreting the National Construction Code (NCC) and other codes and standards related to a specific building.

It applies to NCC classifications:

- Commercial – Class 2 to 9, Type B

This unit of competency applies to builders, project managers and related construction industry professionals responsible for ensuring compliance with building codes and standards in the building and construction industry.

Completion of the general construction induction training program specified by the model Code of Practice for Construction Work is required for any person who is to carry out construction work. Achievement of CPCCWHS1001 Prepare to work safely in the construction industry meets this requirement.

Licensing, regulatory or registration requirements apply to this unit of competency in some jurisdictions. Relevant state and territory regulatory authorities should be consulted to confirm these requirements.

A complete copy of the above unit of competency can be downloaded from the TGA website:

Link to unit page on TGA

About this Unit of Study Introduction

As a worker, a trainee, or a future worker, you want to enjoy your work and become known as a valuable team member. This unit of competency will help you acquire the knowledge and skills to work effectively as an individual and in groups. It will give you the basis to contribute to the goals of the organisation which employs you.

It is essential that you begin your training by becoming familiar with the industry standards to which organisations must conform.

This Learner Guide Covers

Apply Building Codes and Standards to Construction Process for Type B Construction

- Classify Buildings

- Determine Compliance Solutions within the NCC

- Apply Fire Protection Requirements

Learning Program

As you progress through this unit of study, you will develop skills in locating and understanding an organisation’s policies and procedures. You will build up a sound knowledge of the industry standards within which organisations must operate. You will become more aware of the effect that your own skills in dealing with people have on your success or otherwise in the workplace. Knowledge of your skills and capabilities will help you make informed choices about your further study and career options.

Additional Learning Support

To obtain additional support you may:

- Search for other resources. You may find books, journals, videos and other materials which provide additional information about topics in this unit.

- Search for other resources in your local library. Most libraries keep information about government departments and other organisations, services and programs. The librarian should be able to help you locate such resources.

- Contact information services such as Infolink, Equal Opportunity Commission, Commissioner of Workplace Agreements, Union organisations, and public relations and information services provided by various government departments. Many of these services are listed in the telephone directory.

- Contact your facilitator.

Facilitation

Your training organisation will provide you with a facilitator. Your facilitator will play an active role in supporting your learning. Your facilitator will help you at any time during working hours to assist with:

- How and when to make contact,

- what you need to do to complete this unit of study, and

- what support will be provided.

Here are some of the things your facilitator may do to make your study easier:

- Give you a clear visual timetable of events for the semester or term in which you are enrolled, including any deadlines for assessments.

- Provide you with online webinar times and availability.

- Use ‘action sheets’ to remind you about tasks you need to complete, and updates on websites.

- Make themselves available by telephone for support discussion and provide you with industry updates by email where applicable.

- Keep in touch with you during your studies.

Flexible Learning

Studying to become a competent worker is an interesting and exciting thing to do. You will learn about current issues in this area. You will establish relationships with other students, fellow workers, and clients. You will learn about your own ideas, attitudes, and values. You will also have fun. (Most of the time!)

At other times, studying can seem overwhelming and impossibly demanding, particularly when you have an assignment to do and you aren’t sure how to tackle it, your family and friends want you to spend time with them, or a movie you want to see is on television.

Sometimes being a student can be hard.

Here are some ideas to help you through the hard times. To study effectively, you need space, resources, and time.

Space

Try to set up a place at home or at work where:

- You can keep your study materials,

- you can be reasonably quiet and free from interruptions, and

- you can be reasonably comfortable, with good lighting, seating, and a flat surface for writing.

If it is impossible for you to set up a study space, perhaps you could use your local library. You will not be able to store your study materials there, but you will have quiet, a desk and chair, and easy access to the other facilities.

Study Resources

The most basic resources you will need are:

- A chair

- A desk or table

- A computer with Internet access

- A reading lamp or good light

- A folder or file to keep your notes and study materials together

- Materials to record information (pen and paper or notebooks, or a computer and printer)

- Reference materials, including a dictionary

Do not forget that other people can be valuable study resources. Your fellow workers, work supervisor, other students, your facilitator, your local librarian, and workers in this area can also help you.

Time

It is important to plan your study time. Work out a time that suits you and plan around it. Most people find that studying, in short, concentrated blocks of time (an hour or two) at regular intervals (daily, every second day, once a week) is more effective than trying to cram a lot of learning into a whole day. You need time to ‘digest’ the information in one section before you move on to the next, and everyone needs regular breaks from study to avoid overload. Be realistic in allocating time for study. Look at what is required for the unit and look at your other commitments.

Make up a study timetable and stick to it. Build in ‘deadlines’ and set yourself goals for completing study tasks. Allow time for reading and completing activities. Remember that it is the quality of the time you spend studying rather than the quantity that is important.

Study Strategies

Different people have different learning ‘styles’. Some people learn best by listening or repeating things out loud. Some learn best by ‘doing’, some by reading and making notes. Assess your own learning style and try to identify any barriers to learning which might affect you. Are you easily distracted? Are you afraid you will fail? Are you taking study too seriously? Not seriously enough? Do you have supportive friends and family? Here are some ideas for effective study strategies:

- Make notes. This often helps you to remember new or unfamiliar information. Do not worry about spelling or neatness, as long as you can read your own notes. Keep your notes with the rest of your study materials and add to them as you go. Use pictures and diagrams if this helps.

- Underline keywords when you are reading the materials in this Learner Guide. (Do not underline things in other people’s books.) This also helps you to remember important points.

- Talk to other people (fellow workers, fellow students, friends, family, or your facilitator) about what you are learning. As well as help you to clarify and understand new ideas, talking also gives you a chance to find out extra information and to get fresh ideas and different points of view.

Using this Learner Guide

A Learner Guide is just that, a guide to help you learn. A Learner Guide is not a textbook. Your Learner Guide will:

- Describe the skills you need to demonstrate to achieve competency for this unit.

- Provide information and knowledge to help you develop your skills.

- Provide you with structured learning activities to help you absorb knowledge and information and practice your skills.

- Direct you to other sources of additional knowledge and information about topics for this unit.

How to Get the Most Out of Your Learner Guide

Some sections are quite long and cover complex ideas and information. If you come across anything you do not understand:

- Talk to your facilitator.

- Research the area using the books and materials listed under Resources.

- Discuss the issue with other people (your workplace supervisor, fellow workers, fellow students).

- Try to relate the information presented in this Learner Guide to your own experience and to what you already know.

- Ask yourself questions as you go. For example, ‘Have I seen this happening anywhere?’ ‘Could this apply to me?’ ‘What if...’ This will help you to ‘make sense’ of new material, and to build on your existing knowledge.

- Talk to people about your study. Talking is a great way to reinforce what you are learning.

- Make notes.

- Work through the activities. Even if you are tempted to skip some activities, do them anyway. They are there for a reason, and even if you already have the knowledge or skills relating to a particular activity, doing them will help to reinforce what you already know. If you do not understand an activity, think carefully about the way the questions or instructions are phrased. Read the section again to see if you can make sense of it. If you are still confused, contact your facilitator or discuss the activity with other students, fellow workers or with your workplace supervisor.

Additional Research, Reading, and Note-Taking

If you are using the additional references and resources suggested in the Learner Guide to take your knowledge a step further, there are a few simple things to keep in mind to make this kind of research easier.

Always make a note of the author’s name, the title of the book or article, the edition, when it was published, where it was published, and the name of the publisher. This includes online articles. If you are taking notes about specific ideas or information, you will need to put the page number as well. This is called the reference information. You will need this for some assessment tasks, and it will help you to find the book again if you need to.

Keep your notes short and to the point.  Relate your notes to the material in your Learner Guide. Put things into your own words. This will give you a better understanding of the material.

Start off with a question you want answered when you are exploring additional resource materials. This will structure your reading and save you time.

# I. Classify Buildings

Building classifications affect several aspects in any building work, such as the requirements, specifications and risks that you have to consider. As a builder, project manager or related construction industry professional tasked with ensuring compliance, you must be able to classify buildings correctly. Knowing the appropriate classification will help you avoid any safety or compliance issues that you may face in the future.

Chapter 1 will introduce the National Construction Code (NCC). The NCC provides the criteria for building classification and the minimum technical requirements that building works throughout Australia must follow.

Chapter 1 will also cover the solutions that can be applied to comply with these requirements and the methods to verify compliance. Aside from these, the following topics will also be discussed:

- building contracts and contractual requirements

- building classifications according to the NCC criteria

- relevant legislation specific to each state/territory according to building classifications

- performance hierarchy of the NCC

- compliance and non-compliance with the NCC

### Determine the Nature, Use and Arrangement of Buildings

#### 1.1.1 The National Construction Code

The Australian Building Codes Board (ABCB) produced and maintains the NCC on behalf of the Commonwealth, State and Territory Governments. It provides the minimum mandatory requirements for safety, health, amenity and sustainability for building works of both new and existing buildings throughout Australia. Building work is defined broadly in the NCC and includes the following activities:

- construction

- alteration

- extension

- restoration

- repair

- demolition

- dismantling

- installation of fittings such as heating, lighting, sanitation, ventilation, power supply, drainage, etc.

- any operation to prepare for or finish the activities mentioned above, including site clearance, laying of foundations, provision of access works, etc.

Based on What is ‘building work’ under the Code, used under CC BY 4.0. ©Commonwealth of Australia 2018

The NCC incorporates all building work requirements into a single code containing three volumes. The Building Code of Australia (BCA) is Volumes One and Two and the Plumbing Code of Australia (PCA) is Volume Three.

The Volumes of the NCC covers different building classifications:

- Volume One of the NCC covers the technical design and construction requirements for all Class 2 to 9 buildings (multi-residential, commercial, industrial and public assembly buildings) and all their associated structures.

- Volume Two of the NCC covers the technical design and construction requirements for certain residential and non-habitable buildings and structures, specifically Class 1 and 10 buildings.

- Volume Three of the NCC (Plumbing Code of Australia) pertains to plumbing and drainage system of all building classifications.

The NCC classifies buildings based on the nature, use and arrangement of buildings. These are defined as:

The NCC is given legal effect through the respective state/territory legislation. Any NCC provision may be overridden by or subject to the legislation of the state or territory. As such, they must always be read in conjunction with each other.

#### 1.1.2 Building Contract

Information regarding the nature, use and arrangement of a building are contained within the building contract of the project. A building contract refers to the principal agreement between the construction contractor or builder and the building owner or representative. As a builder, you may also enter into a contract with the Australian Government as long as you are accredited under the Australian Government Building and Construction OHS Accreditation Scheme.

A contract is an essential element of building works because it serves a number of functions, such as:

- provide information about the details and specifications of a project

- allocate the duties among the different parties

- recognise and distribute risks to the different parties

- allow parties to plan for the project and the future

- reduce uncertainties surrounding the project

Based on Construction Contract Basics. Fortney Law Group.

|  | Further Reading Read more about the Australian Government Building and Construction OHS Accreditation Scheme here. |
| --- | --- |

Types of Building Contract

There are different types of building contracts to cater to the needs of owners and contractors. The table below shows the common types of building contracts used in Australia.

| Type of Contract | Description |
| --- | --- |
| Lump sum contract | - Involves a total fixed price for all construction-related activities - Transfers the risk to the builder or contractor because there are fewer mechanisms to let them change the price - Applicable to both residential and commercial contracts |
| Commercial contracts | Used specifically for building commercial establishments |
| Cost plus contract | - An alternative to a lump sum contract - Allows flexibility and reduces the risk for the builder or contractor - Involves the client agreeing to reimburse the construction company for building expenses such as labour, materials and other construction-related costs, plus additional payment usually stated as a percentage of the contract’s full price - Applicable to both residential and commercial contracts |
| Residential contracts | Used specifically for building a dwelling |
| Subcontractor agreements | Used when the main contractor hires a subcontractor to do some specialist work on behalf of the main contractor |

Based on Types of construction contracts in Australia. Designing Buildings Wiki.

Contractual Requirements

All building contracts require working drawings and specifications. These documents must provide sufficient information about the dimensions, arrangement, location and characteristics of materials to be used in every part of the proposed building. Working drawings and specifications play various roles, including:

- minimising the delays in obtaining the necessary permits for the building project

- ensuring that the building design is strictly adhered to during the construction process

- instructing builders on what should be built

- lessening the potential for disputes over the terms and requirements of the project

- verifying that the proposed building is compliant with NCC requirements before construction commences

- reducing building defects

Based on Building Documentation. Master Builders of WA.

Together, working drawings and specifications make up a part of the contractual requirements. The description of each will be discussed in the next section.

Working Drawings or Plans

These refer to an accurate visual description of what will be built, where the building will be situated, the size of the rooms and the relationship of the elements within.

Working drawings or plans must follow the Australian Standard 1100 (AS 1100) which provides the standards for technical drawings, diagrams, charts and tables.

At the minimum, working drawings or plans should include the following information:

- a drawing title that indicates what the drawing relates to

- a drawing number and version

- the date the drawing was completed

- the block, section and division of the land

- the project street address

- the names of the landowners

- the name of the entity who prepared the plans, including the individual responsible for other relevant design work

They must also:

- clearly differentiate between the proposed building and other existing structures using colours, shadings or codes with associated legends;

- include final dimensions of elements such as timber, windows or structural beams;

- present information clearly and legibly;

- use appropriate drawing scales; and

- use drawing sheets appropriate to the type of drawing and its details.

There are different types of working drawings that show the different aspects and perspectives of a building work. These types are summarised in the table below.

| Type of Working Drawing or Plan | Description |
| --- | --- |
| Location Plan | High-level bird’s eye view of the area around the proposed building work Indicates the location of the proposed building work in relation to nearby streets or properties and other relevant features such as dams and waterways |
| Site Plan | Indicates the location of the proposed building work in relation to existing buildings, adjoining properties and boundaries Used to identify site constraints and site-specific topographic issues such as slopes and fire source features |

| Elevation | Shows the exterior of the faces of a building Generally produced for four directional views: north, south, east and west |
| --- | --- |
| Detail Drawing | - Details the junctions and interfaces between and within major building elements and special areas in a building |
| Section Plan | Looks similar to an elevation but shows a cross-section of the building Indicates the basic structural characteristics of the roof, walls, subfloor and footings |
| Floor Plan | Each building level must have a separate floor plan Shows how elements such as walls, windows, doors, stairs, lifts, ramps and so on are positioned relative to each other |
| Demolition Plan | Required if you intend to do demolition work Identifies which building or parts of a building should be demolished Identifies disconnection of services from public utilities Shows remedial work to be done on-site after demolition |

Based on Working Drawings. Designing Buildings Wiki.

Specifications

Specifications are written technical descriptions of the required quality of a component and its associated products. These may include the process for determining if the requirements of the specifications are met. They must also be specific to the project. Generic information such as “in accordance with the manufacturer’s specifications” must be avoided because these are unclear and can cause confusion to the builder.

Specifications perform different roles, including:

- a document showing compliance with relevant building codes and standards

- a written record of design decisions as well as required materials and standards to be met

- a tendering document

- a legal document

- an on-site working document

- a project management tool

Based on Specification Writing. NATSPEC

When creating specifications, consider the size of your project. For small projects, specifications can be documented in the form of notes on the working drawings. For larger projects, it may be more practical to prepare individual specifications.

These are some examples of specifications that you may need in a proposed project:

- earthworks

- erosion and sediment controls

- concrete works

- fencing

- building works

- roads

- electrical systems

- water reticulation systems

Construction specifications can be classified into three different types: Performance Specifications, Prescriptive Specifications and Direct/Proprietary Specifications. This is illustrated in the figure below.

Based on Performance specification. Designing Buildings Wiki.

|  | Checkpoint! Let’s review - Briefly discuss what the National Construction Code is. - Recall the three volumes of the NCC. What does each volume cover? - What are two documents required in a building contract? Discuss and differentiate each one. |
| --- | --- |

### Apply NCC Criteria to Determine the Defined Building Classification

In this subchapter, you will learn how to apply the NCC criteria to determine building classifications. You must be able to correctly identify a building classification because it determines the Performance Requirements that you have to comply with.

Building classifications are based on the nature, use and arrangement of a building. They are labelled in classes from Class 1 to Class 10. Some classifications include a sub-classification which is referred to by a letter after the number (e.g. Class 1a, Class 9b).

Here are the building classifications as defined by the NCC.

| Class | Sub-class | Definition |
| --- | --- | --- |
| Class 1 |  | Class 1 buildings are dwellings |
|  | Class 1a | One or more buildings forming a single dwelling like: - a detached house; and - two or more attached buildings separated by a fire-resisting wall, e.g. row house, terrace house |
|  | Class 1b | One or more buildings which together form: - a guest house, boarding house, a hostel or something similar which does not accommodate more than 12 people and more than 300m2 floor area; or - four or more dwellings in one allotment, used for short-term accommodations for holidays. A Class 1b building cannot be located above or below another dwelling or another building class (except for a private garage). |
| Class 2 |  | A building containing two or more sole-occupancy units. Each unit must be a separate dwelling. |

| Class 3 |  | Class 3 buildings are residential buildings other than Class 1 or 2. These are long-term or transient living accommodations for unrelated people. These include the following: - boarding house, guest house, a hostel or backpackers larger than the limits of a Class 1b building - dormitory-style accommodation or workers’ quarters, e.g. fruit-pickers - healthcare facilities like accommodations for children, elderly or people with disability which must not be considered under Class 9 - residential parts of motels, hotels, schools, hospitals or jails |
| --- | --- | --- |
| Class 4 |  | A Class 4 building is the only dwelling or residence within any Class 5, 6, 7, 8 or 9 buildings. |
| Class 5 |  | An office building used for professional or commercial purposes, except for buildings of Class 6, 7, 8 or 9. Examples include: - law office - office for general medical practitioners |
| Class 6 |  | Buildings that directly sell goods by retail or supply services to the public, such as: - restaurants or cafés - markets, shopping centres and malls - public laundry - hairdressers and barbershops |
| Class 7 | Class 7a | Carparks |
|  | Class 7b | The following buildings are classified under Class 7b: - warehouses - storage buildings - buildings used to display or produce wholesale goods |
| Class 8 |  | These are process-type buildings such as: - buildings used for production, assembling, altering, repairing, finishing, packing or cleaning of goods or produce - laboratories (classified as such because of their high potential for fire hazard) |
| Class 9 |  | Buildings of public nature |
|  | Class 9a | Healthcare buildings in which occupants are either: - undergoing or have undergone medical treatment; or - in need of physical assistance in the evacuation during emergencies. |
|  | Class 9b | Assembly buildings used for social, theatrical, political, religious or civil purposes. The following are examples of Class 9b buildings: - schools - universities - childcare centres - pre-schools - sporting facilities - night clubs - public transport buildings |
|  | Class 9c | An aged care building. An aged care building is defined as a residential accommodation for elderly people who are: - provided with personal care services; and - need 24-hour staff assistance to evacuate the building in an emergency. |
| Class 10 |  | Non-habitable buildings or structures |
|  | Class 10a | Sheds, carports and private garages |

|  | Class 10b | Structures like: - fence - mast - antenna - retaining wall - swimming pool - other such similar structures |
| --- | --- | --- |
|  | Class 10c | Private bushfire shelters |

Based on Understanding the NCC: Building Classifications. © 2017 Commonwealth of Australia and States and Territories of Australia

Mixed-use buildings

A building can also have different uses and multiple building classifications. For instance, look at the figure below:

Sourced from Understanding the NCC: Building Classifications. © 2017 Commonwealth of Australia and States and Territories of Australia

Notice that the building has different parts that are all classified separately; the basement is a carpark (Class 7a), the first floor contains shops (Class 6) and the second floor has apartments (Class 2). This kind of building is called a mixed-use building.

In classifying the different parts of a building, remember this: you should only classify parts separately if they take up more than 10 per cent of the storey’s floor area. If it is less than 10 per cent, then that part will be considered as ancillary to the major use instead.

For example, consider a hostel (Class 2 building) with an office (Class 5). The office only takes up 7 per cent of the floor area of the building. Since the office takes up less than 10 per cent of the floor area, it will not need to be classified separately. It will be considered ancillary to the hostel instead. Therefore, the entire building is classified as a Class 2 building.

Multiple building classifications

There are also cases where buildings (or parts of it) are designed to have multiple purposes. As an example, consider a building with spaces intended for lease for businesses. It is unclear at the design stage how the tenants will use the spaces. They may want to use it as a café or restaurant. Others may want to use it as an office.

In such cases where a building can be used for different purposes, multiple classifications are allowed. This means that the example above can be considered a Class 5/6/7 or whatever classification is deemed appropriate. Multiple building classifications allow flexibility regarding the use of a building over time.

Based on Understanding the NCC: Building Classifications. © 2017 Commonwealth of Australia and States and Territories of Australia

If you are unsure about how your building should be classified, it is best to consult with an Appropriate Authority.

What is an Appropriate Authority?

As defined by the NCC, an Appropriate Authority is an individual or entity with the statutory responsibility to approve building and plumbing and enforce relevant regulations. State and Territory building and plumbing regulations determine who is considered an Appropriate Authority. Generally, a person with interest in the building work cannot be appointed. An interest includes:

- legal or equitable interest in the land where the building work will be carried out;

- financial interest in the construction or completion of the work; or

- intention to carry out any of the building work, including the planning and design.

An Appropriate Authority is typically a building certifier, building surveyor or plumbing inspector.

State/territory legislation

Depending on the state/territory that you are in and the classification of your building, there are different acts and regulations that you must follow for your project.

Before proceeding, you must first understand the difference between acts and regulations which are defined as such:

In the table below, you can see some of the acts and regulations in each state/territory relevant to different building classifications.

| State/Territory | Act (Class 2, 3, and 9) | Regulations (Class 2, 3, and 9) | Act (Class 5, 6, 7, and 8) | Regulations (Class 5, 6, 7, and 8) |
| --- | --- | --- | --- | --- |
| Australian Capital Territory | Building Act 2004 | Building (General) Regulation 2008 | Building Act 2004 | Building (General) Regulation 2008 |
| New South Wales | Building Products (Safety) Act 2017 | Boarding Houses Regulation 2013 | Private Health Facilities Act 2007 | Private Health Facilities Regulation 2017 |
| Northern Territory | Building Act 1993 | Building Regulations 1993 | Building Act 1993 | Building Regulations 1993 |
| Queensland | Building Act 1975 | Building Regulation 2006 | Building Act 1975 | Building Regulation 2006 |

| South Australia | Supported Residential Facilities Act 1992 | Supported Residential Facilities Regulations 2009 | Health Care Act 2008 | Health Care Regulations 2008 |
| --- | --- | --- | --- | --- |
| Tasmania | Building Act 2016 | Building Regulations 2016 | Building Act 2016 | Building Regulations 2016 |
| Victoria | Residential Tenancies Act 1997 | Residential Tenancies (Rooming House Standards) Regulations 2012 | Public Health and Wellbeing Act 2008 | Public Health and Wellbeing Regulations 2019 |
| Western Australia | Housing Act 1980 | Health (Construction Work) Regulations 1973 | Private Hospitals and Health Services Act 1927 | Health (Aquatic Facilities) Regulations 2007 |

|  | Checkpoint! Let’s review - Discuss and recall at least one example for the following building classifications: - Class 1 building - Class 5 building - Class 9 building - Define what an Appropriate Authority is. Who is usually considered an Appropriate Authority? |
| --- | --- |

### Identify Relevant Performance Requirements of the NCC that Apply

#### 1.3.1 Performance Hierarchy of the NCC

The NCC is a performance-based code. Its fundamental principle is to develop innovative solutions by regulating building outcomes instead of providing quantitative measures of compliance.

This fundamental principle is guided by what you call a ‘performance hierarchy’ or a hierarchy of guidance and code compliance levels, as seen in the figure below:

Sourced from Understanding the NCC: How to Comply with the NCC. © 2017 Commonwealth of Australia and States and Territories of Australia

The Governing Requirements (also known as General Requirements of the NCC) are outlined in Section A of Volume One, Section 1 of Volume Two and Section A of Volume Three. These provide the rules and instructions for using and complying with the NCC, including the following:

- interpretation of the NCC

- referenced documents such as Australian Standards

- acceptance of design and construction (such as evidence of suitability and other related documentation)

- classification of buildings

The Performance Requirements sit at the top of the compliance hierarchy. These are requirements that state the minimum level of performance for buildings, plumbing and drainage installations.  Performance Requirements are qualitative statements that describe the needs of building occupants.

This qualitative nature allows you to choose your compliance options (also known as compliance solutions). Compliance options are defined as the methods to comply with the Performance Requirements. The compliance options provided by the NCC are the following:

- Performance Solutions

- Deemed-to-Satisfy (DTS) Solutions

- Combination of Performance Solutions and DTS Solutions

Section 1.4 will discuss more about compliance options.

#### 1.3.2 Relevant Performance Requirements

Building classifications determine the Performance Requirements that you must follow in any given project. Some of the Performance Requirements are only applicable to certain building classifications. Always check with the NCC or an Appropriate Authority if you are unsure which requirements you have to apply on your building.

In this part, you will learn about the Performance Requirements that you have to consider when undertaking your building work as determined in the NCC.

Structure

Structural stability and resistance

A building, during construction or use, must be able to sustain damage. At the same time, the structural system as a whole should remain stable. It must avoid causing damage to other properties.

A building must also be able to perform adequately against extreme or frequently repeated design actions. Some examples of design actions a building may be subjected to include, but are not limited to, the following:

- permanent actions such as dead loads

- imposed actions such as live loads from occupancy and use

- wind action

- earthquake action

- snow action

- liquid pressure action

- groundwater action

- rainwater action including ponding action

- earth pressure action

- differential movement

- time dependent effects like creeping and shrinkage

- thermal effects

- ground movement caused by any of the following:

  - swelling, shrinkage or freezing of the subsoil

  - landslip or subsidence

  - sitework associated with the building or structure

- construction activity actions

- termite actions

Glass installations

Glass installations, specifically those that are at risk of human impact, should have glazing that can resist reasonable human impact without breaking. If it can be broken on impact, it must break in a way that will not likely cause injury to people. Lastly, it must be protected or appropriately marked to reduce the likelihood of human impact in the first place.

Buildings in flood areas

Note that these Performance Requirements are only applicable to:

- a Class 2 or 3 building or Class 4 part of a building

- a Class 9a healthcare building

- a Class 9c building

Buildings in flood hazard areas are required to be designed or constructed in such a way that they can resist floatation, collapse or significant permanent movement resulting from a flood event.

Buildings are also expected to perform adequately against design actions and meet requirements such as:

- elevation requirements

- foundation and footing requirements

- requirements for enclosures below the flood hazard level

- requirements for utilities and materials equipment

- requirements for occupant egress

Fire resistance

A building is required to have elements that will, to the degree necessary, maintain structural stability during a fire. Performance Requirements for fire resistance of buildings relate to the following:

- structural stability during a fire

- spread of fire

- spread of fire and smoke in health and residential care buildings

- safe conditions for evacuation

- behaviour of concrete external walls in a fire

- fire protection of emergency and service equipment as well as openings and penetrations

- fire brigade access

Fire protection requirements will be discussed further in Chapter 3: Apply Fire Protection Requirements.

Access and egress

Access for people with a disability

A building must provide access for people with a disability. This will allow them to approach the building from road boundaries, any accessible carparking spaces and any accessible associated building. Additionally, carparking spaces should be designated and easy to find.

A building must also allow people with a disability to access the following:

- work and public spaces

- accommodation

- facilities for personal hygiene

Safe movement to and within a building

Occupants must be able to move safely to and within the building. Safe movement pertains to the construction of appropriate building elements such as:

- walking surfaces with safe gradients;

- doors that will prevent occupants from being trapped or having their egress impeded; and

- stairways and ramps that are slip-resistant and have suitable landings and handrails.

Fall prevention barriers

Barriers must be constructed in places where people could fall from the floor or roof or through a window. The barriers must:

- prevent people from falling through the barrier;

- be of appropriate height;

- be capable of restricting the passage of children; and

- have the strength and rigidity to withstand both impact of people and the static pressure of people pressing against them.

This requirement does not apply to the following:

- areas primarily intended for emergency purposes such as fire-isolated stairways and fire-isolated ramps

- Class 7 (other than carparks) and Class 8 buildings or parts of them

- areas where barriers are incompatible with the intended use of the area (e.g. the stage of a theatre)

Exits, fire-isolated exits, paths of travel to exits and evacuation lifts

Exits must be fire-isolated and constructed to allow occupants to evacuate safely. In specifying the dimensions of exits and paths of travel to exits, you must consider the following:

- the travel distances

- the characteristics of occupants (e.g. number and mobility of occupants)

- the function or use of the building

- the height of the building

- whether the exit is above or below ground level

Evacuation lifts may also be constructed to assist occupants in evacuating a building safely.

Communication systems for people with hearing impairment

Any inbuilt communication system used for entry, information, entertainment or provision of the service must be considered suitable for occupants who are deaf or with hearing impairment.

Services and equipment

Fire-fighting equipment

A building must have fire-fighting equipment such as:

- fire hose reels

- fire extinguishers

- fire hydrants

- automatic fire suppression systems

- fire control centres

Fire-fighting equipment must also be present even in buildings that are still undergoing construction. The requirements for each equipment will be discussed further in Chapter 3.

Smoke hazard management

A building must have systems for smoke hazard management such as automatic warning for sleeping occupants and safe evacuation routes. These will provide occupants enough time to evacuate.

Lift installations

Emergency lifts must be installed in:

- a building with an effective height of more than 25m; and

- a Class 9a building in which patient care areas do not have direct access to a road or open space.

The emergency lifts must have stretcher facilities. Signs or other means of emergency alerts must be provided to alert occupants about the use of these lifts during an emergency.

A passenger lift is required for people with a disability if a building is required to be accessible.

Visibility in an emergency, exit signs and warning systems

A building must facilitate safe evacuation during an emergency. This involves providing a system that ensures sufficient visibility and proper identification of exits and path of travel to exits. This system must continue to operate even when the power of the main lighting system fails.

Aside from this, emergency warning and intercom systems that are appropriate to the function, height and floor area of a building must be provided.

Health and amenity

Damp and weatherproofing

A building must be able to manage rainwater impact within the building and on adjoining properties. A rainwater draining system for the disposal of surface water from a storm must be provided.

The roof and external wall (including openings around windows and doors) must prevent water penetration. A building must also prevent damage from rising damp (moisture from the ground) and overflows from wet areas such as the bathroom, laundry facility or the like.

Sanitary and other facilities

This relates to facilities such as personal hygiene facilities, laundry facilities and kitchen facilities.

Laundering facilities must have suitable means for disposal of wastewater. Kitchen facilities must be provided means for washing and sanitary disposal of wastewater, cooking food and preparing food. Requirements for laundry and kitchen facilities are applicable only to the following:

- a Class 2 building or Class 4 part of a building

- a Class 9a healthcare building

- a Class 9b early childhood centre

- a Class 9c building

For a Class 9a or 9c building containing wards or bedrooms, suitable means of disposal of contaminated water from containers must be provided.

There must also be systems to control the accumulation of harmful levels of microorganisms in hot water, warm water and cooling water systems (not applicable to sole-occupancy units).

Room heights

A habitable room or space must be of a height that will not interfere with its intended function.

Light and ventilation

Sufficient openings must be provided for the entry of natural light for:

- a Class 2, 3 or 9 building

- a Class 4 part of a building

A building must also provide artificial lighting to enable safe movement by occupants and means of ventilation with outdoor air to maintain adequate air quality. Mechanical ventilation must be provided to control odours and contaminants such as microorganisms, pathogens and toxins. Contaminated air must also be disposed of properly to avoid harming occupants within and in adjoining buildings.

Sound transmission and insulation

A building must have the appropriate sound insulation for sound transmission through:

- walls

- floor and wall penetrations and door assemblies

Residential care buildings have specific requirements.

Condensation management

A sole-occupancy unit of a Class 2 building or a Class 4 part of a building must adequately manage risks associated with water vapour and condensation to minimise the impact on occupants’ health.

Ancillary provisions

Ancillary provisions refer to ancillary building structures and components which are not part of the primary purpose of a building but provide the necessary support.

Minor structures and components

Swimming pools must have a:

- drainage that is adequate and does not affect other property or cause illness;

- water recirculation system that incorporates safety measures to avoid injury to a person; and

- barrier with particular consideration to the safety of young children.

Any refrigerated or cooling chamber that is big enough for a person to enter must have a door that can be opened from the inside without a key. It must have adequate dimensions to allow occupants to escape readily. There must also be a means of communication to alert other occupants if there is an emergency.

Vaults that are big enough for a person to enter must have an external indicator that the room is occupied. Vaults must also have internal lighting that can only be controlled from within the room.

Outdoor play spaces in early childhood centres must have barriers that children cannot go through, over or under.

Boilers, pressure vessels, heating appliances, fireplaces, chimney and flues

A combustion appliance such as an open fireplace, chimney, flue, chute, hopper or the like must be able to:

- withstand temperatures generated by the appliance;

- prevent raising the temperature of other building elements to a level that will affect the function of the appliance; and

- prevent discharge that can cause fire to spread or smoke to penetrate to nearby combustible materials.

On the other hand, boilers and pressure vessels must be installed in such a way that the following is avoided:

- damage due to leakage from the vessel

- damage to the building or injury to occupants due to rupture or mechanical damage of the vessel

Construction in bushfire prone areas

If a building is constructed in a designated bushfire-prone area, it must be constructed to reduce the risk of ignition from a bushfire. It must be appropriate to the following:

- potential for ignition

- intensity of the bushfire building attack

Construction in bushfire-prone areas and its requirements will be discussed in detail in Chapter 3.

Special use buildings

Special use buildings include the following:

- Class 9b buildings

- public transport buildings and its elements including accessways, ramps, handrails and grabrails, doorways and doors, lifts, stairways, unisex accessible toilet, emergency warning systems and the like

- farm buildings and farm sheds and its elements including firefighting equipment, signs, lightings and the like

Based on the National Construction Code 2019. © Commonwealth of Australia and the States and Territories 2019, published by the Australian Building Codes Board.

|  | Checkpoint! Let’s review - Recall at least two Performance Requirements relating to access and egress. - Recall at least two Performance Requirements relating to structure. |
| --- | --- |

### Identify Compliance and Assess Non-compliance with the NCC

#### 1.4.1 Compliance with the NCC

To achieve compliance with the NCC, you must comply with the following:

- Governing Requirements

- Performance Requirements

The NCC gives you a choice on compliance options (also known as compliance solutions) to satisfy the minimum technical requirements for building works set in the Performance Requirements.

The table below explores each compliance option’s definition and the appropriate Assessment Methods to confirm its compliance with the NCC.

| Compliance Option | Definition |
| --- | --- |
| Performance Solution (known as Alternative Solutions in earlier editions of the Building Code of Australia) | This is a tailored solution for a given project situation. This solution is flexible in achieving the outcomes and encourages the use of innovation in design and technology. Performance Solutions are assessed by one or more of the following Assessment Methods: - Evidence of suitability - Expert judgement - Verification methods - Comparison with Deemed-to-Satisfy Provisions |

| Compliance Option | Definition |
| --- | --- |
| Deemed-to-Satisfy (DTS) Solution (also known as Prescriptive Solution) | A DTS Solution is achieved if you follow all relevant DTS Provisions in the NCC. DTS Provisions they tell you what, when and how to do something to meet the Performance Requirements. These include the materials, components, design factors and construction methods needed to meet the Performance Requirements. A DTS Solution is assessed using one or both of the following: - Evidence of Suitability - Expert Judgement |
| Combination of Performance Solution and DTS Solution | A combination of the two solutions can be used when satisfying a single Performance Requirement. This is possible when Performance Requirements cover several elements within a building. The Assessment Method to be used depends on which compliance option was applied. |

Based on Understanding the NCC: How to Comply with the NCC. © 2017 Commonwealth of Australia and States and Territories of Australia

Different Assessment Methods can be used to determine whether a DTS Solution or a Performance Solution achieves the relevant Performance Requirements. These are discussed below.

| Assessment Method | Definition |
| --- | --- |
| Evidence of Suitability | This is also known as ‘documentary evidence.’ This entails showing evidence that the use of material, plumbing and drainage product or form of construction or design meets the Performance Requirements or a DTS Provision. Consists of one or a combination of the following: - a CodeMark Australia or CodeMark Certificate of Conformity for Volumes One and Two of NCC (for Volume Three, a WaterMark licence is used instead) - a Certificate of Accreditation or a Certificate of Conformity |

|  | - a current certificate issued by a certification body (apart from the two mentioned above) accredited by the Joint Accreditation System of Australia and New Zealand (JAS-ANZ) - a report issued by an Accredited Testing Laboratory or a Registered Testing Authority - a report or certification from a professional engineer or another appropriately qualified person - other documents adequately showing suitability, such as but not limited to Product Technical Statements and detailed manufacturer’s specifications Any documentary evidence submitted must be a complete copy of the original certificate, report or document. IMPORTANT TO NOTE: The evidence of suitability varies slightly in each volume of the NCC. You must refer to the relevant volume for clarifications as to what is required. |
| --- | --- |
| Verification Methods | Commonly, Verification Methods include quantifiable or predetermined acceptable criteria that must be achieved by the given compliance option. There are different forms of Verification Methods, including: - Tests – verifies that a product or system reaches the required performance level using a technical procedure. It can be conducted either on-site or in a laboratory. - Inspections (or inspection reports) – typically a visual examination conducted by appropriately qualified persons to confirm that a certain component is constructed or installed according to the Performance Requirements. - Calculations – include analytical methods or mathematical methods. The methods to be used are not limited to those listed in the NCC. Other methods, such as overseas codes or standards (e.g. ISO Standards), can also be used as long as an Appropriate Authority approves them. |
| Expert Judgement | An expert can either be a person or an organisation with the necessary skills and experience to make a judgement concerning NCC compliance. The legal definition of an expert varies per State and Territories. In cases where you are unsure who qualifies as an expert, you must consult with an Appropriate Authority. The Appropriate Authority may refer to the following questions in deciding if a person or organisation can be recognised as an expert: - Does the person or organisation have current and relevant qualifications and experience? - Does the person or organisation have the experience that is appropriate to the given situation? - Does the person or organisation have the appropriate level of expertise consistent with the degree of complexity needed for the project? Expert judgement documentation varies in complexity. It can range from a simple email explanation to a fully developed technical paper. |
| Comparison with DTS Provisions | This method applies to Performance Solutions. It involves doing a comparative analysis to determine whether Performance Solutions provide the superior or same level of health, safety, amenity or sustainability as using the DTS provisions. There must be a defined benchmark provided to the building surveyor. This method is done by subjecting both the DTS Solution and Performance Solution to the same level of analysis using the same methodology. |

Based on Understanding the NCC: Using Assessment Methods. © 2018 Commonwealth of Australia and States and Territories of Australia

All Assessment Methods must be documented to demonstrate that a compliance option complies with the relevant DTS Provision or Performance Requirement. You will need different documentation, depending on the Assessment Method used. However, at the minimum, the documentation should show the following:

- the process of the Assessment Method used

- evidence that the option complies with the relevant DTS Provision or Performance Requirement

An Appropriate Authority's responsibility is to determine what level of detail is required when documenting Assessment Methods.

Compliance monitoring

The Australian Building and Construction Commission (ABCC) is responsible for promoting understanding and enforcing compliance within Australia’s building and construction industry.

Compliance checking is done by ABC inspectors. They make enquiries and obtain evidence by using their powers to do the following:

- enter premises

- inspect and create copies of any relevant record or document found on the premises or a computer on the premises

- interview any person

- require, with prior notice, persons to produce records or documents

You must ensure that ABC Inspectors are not hindered or obstructed to prevent problems.

ABC Inspectors monitor your compliance by conducting desktop audits, field audits and site inspections. The table below explains how each one is conducted.

| Type of Compliance Monitoring | Description |
| --- | --- |
| Desktop audits | Conducted when documentary evidence is sufficient to assess compliance. Desktop audits are done in response to an NCC report or notification. Compliance with a specific NCC requirement is done by requesting documents from any of the following: - a code-covered entity – an entity that has submitted an expression of interest (EOI) or tender for Commonwealth-funded building work on or after 2 December 2016 - funding entities – either a corporate or non-corporate Commonwealth entity When subjected to a desktop audit, you will be given 14 to 21 business days to produce the requested documents. You may also be asked to discuss or provide further documentation as necessary. |
| Field audits | Field audits check compliance with the NCC using a combination of: - documentary evidence - observations on-site - interviews with relevant witnesses These are undertaken: - in response to an NCC report or notification; - following a site inspection; - to check compliance with voluntary rectification measures; and - where documentary evidence alone does not suffice to determine compliance. |

|  | Typically, an ABC inspector will contact you a week before conducting the field audit. They will walk you through the audit process and schedule a date and time for the visit. They may also contact relevant parties to discuss on-site practices relevant to the audit process. |
| --- | --- |
| Site inspections | Unlike field audits, site inspections are conducted without prior notice from the ABC inspector. Similar to field audits, the ABC inspector conducts the following to check for compliance: - review documentation - conduct a site walk - interview relevant people on-site If previous compliance activities have already been conducted, the implementation of rectification measures will also be checked. |

Based on How the ABCC monitors compliance with the Code, used under CC BY 4.0. ©Commonwealth of Australia 2018

Once the reports from the field audits, desktop audits and site inspections have been analysed, the ABCC will then assess if there has been any breach in NCC compliance. You will be notified of any breaches. If appropriate, you will also be allowed to voluntarily rectify the matter. However, note that not all breaches can be satisfactorily rectified.

#### 1.4.2 Non-compliance with the NCC

All building work in Australia must comply with the NCC, no matter how complex or how big. This is to make sure that buildings remain safe and durable. However, there are times when non-compliance happens for several reasons, such as the use of non-conforming or non-complying building products. These products are defined as such:

To make it simple, NCBPs are bad products, whereas NCPs are products that are used badly. A product can be both non-conforming and non-compliant.

Based on A Guide to Australian Building Product Conformity, used under CC BY 4.0. © State of New South Wales (NSW Fair Trading). For current information go to http://fairtrading.nsw.gov.au/

Non-compliance can cause a lot of issues for your building project. One issue is related to the quality of your project. Failure to use suitable building products can lead to building defects and affect the durability of your building.

Another issue with non-compliance is related to the safety of the occupants. The NCC requirements are put in place to protect the occupants of the buildings you construct. As such, non-compliance can endanger building occupants, occupants of adjoining buildings and even passers-by. In the worst-case scenario, it can cause injury or even death.

NCC non-compliance penalties are different depending on the severity of the case and on the state/territory legislation. Sometimes, only formal warnings are given. Other times, prosecution and substantial fines may be given instead.

The ABCC may also give you an exclusion sanction. During the period of exclusion, you will not be allowed to tender for or be awarded Commonwealth-funded projects. An exclusion sanction may:

- last for a period that the Minister deems appropriate, but no longer than a year;

- be subject to conditions that apply the exclusion sanction only to a division of businesses within a particular state/territory; or

- be extended to other entities if the Minister decides.

Based on Consequence of non-compliance, used under CC BY 4.0. ©Commonwealth of Australia 2018

Remedial work for non-compliant buildings

Non-compliance does not always mean that an existing building is already unsuitable for its original purpose or that building elements are already unusable. Technical requirements change over time to make way for changes in the building and construction industry. Sometimes, these changes result in less conservative requirements. This means that it is possible for existing buildings and elements to surpass current requirements.

To determine whether an existing building complies with the current requirements and whether there is a need for remedial work to address any identified deficiencies, you may follow the steps outlined below:

Sourced from The Upgrading Existing Buildings Handbook© as released by the Australian Building Codes Board on behalf of the Commonwealth of Australia and States and Territories of Australia

Step 1: Discover documentation relating to the existing building.

Finding relevant documentation about the original characteristics of an existing building must be done to understand the extent of work that you may have to do.

Examples of relevant documentation include:

- building approval records

- architectural design plans

- structural design plans

- building services plans

- construction specifications

- building maintenance records

- heritage listings

- planning controls and records

These documents can be sourced from the following:

- building’s owner

- building designer

- relevant Appropriate Authority and local government authority (note that documentation from these sources is often limited)

Step 2: Undertake a site inspection and record descriptions of building characteristics addressed by the Performance Requirements.

Even if you already have complete documentation, you must not assume that this will match the actual characteristics of the existing building. Hence, you must still conduct on-site inspections to confirm.

When conducting on-site inspections, take note of the characteristics of the building connected to the current requirements. For example, if the current fire safety requirements have changed, then document the fire safety elements in your building.

There are various ways to go about doing this. In some cases, a simple visual inspection will suffice. For instance, you can easily see if the correct type of fire extinguishers and fire reel systems have been installed.

Other times, you may have to deconstruct and dismantle certain parts of the building to see the characteristics of the elements. This is necessary in cases where you must determine the extent of insulation in ceiling spaces or inspect pipes underground. In doing these kinds of activities, always get the consent of the building owner or representative first.

The results of the inspection(s) must be properly documented in the form of written documents and/or photographs.

Step 3: Identify potential deficiencies with respect to the Performance Requirements

Using the documentation of results from Step 2, Step 3 determines whether the level of performance of the characteristics of an existing building complies with current Performance Requirements. If the level does not comply, then this will be identified as a ‘potential deficiency.’

In this step, it is also essential to identify the existing building’s inherent strengths. You will need to determine whether these strengths are enough to compensate for the inherent weaknesses of the building. If not, then this weakness will be identified as a ‘potential deficiency.’

To understand this better, consider a building that has a lower level of passive fire protection (inherent weakness) but a higher level of active fire protection (inherent strength). After assessment, you determined that the higher level of active fire protection was able to compensate for the lower level of passive fire protection. This allows the building to still be able to meet the requirements for fire safety. Since this is the case, the lower level of passive fire protection will not be considered a potential deficiency.

By the end of this step, you must have documentation of the comparison between the expected performance of the existing building and the current Performance Requirements. The documentation should also include any identified potential deficiencies.

If you were able to confirm that all the characteristics comply with the relevant Performance Requirements, then there is no longer a need for any further analysis. However, if you found potential deficiencies, then you must proceed to the supplementary process outlined in Step 4.

Step 4: Determine whether potential deficiencies are actual deficiencies.

This step aims to assess whether potential deficiencies can be considered actual deficiencies. This can be done using the appropriate Assessment Methods discussed in Section 1.4.1.

Before starting with the assessment, you must first specify the goals of upgrading an existing building because this would determine the extent of remedial work that you have to do. Some examples of goals are:

- to comply with an Order issued by a regulatory authority

- to voluntarily upgrade a building to comply with the NCC

- to ensure the safety of building occupants

Step 5: Alleviate actual deficiencies

Following the identification of actual deficiencies in Step 4, the appropriate measures of countering the deficiencies must be applied. You may choose among the compliance solutions in the NCC; in choosing the appropriate compliance solution, consider other relevant legislation that you need to follow.

Based on The Upgrading Existing Buildings Handbook© as released by the Australian Building Codes Board on behalf of the Commonwealth of Australia and States and Territories of Australia

|  | Further Reading For case studies on the application of the process of upgrading existing buildings, you may download the handbook here: Upgrading Existing Buildings The case studies on fire safety, efficiency and people with a disability can be found on pages 16-28 of the handbook. |
| --- | --- |

#### 1.4.3 Other Relevant Legislation and Requirements

Aside from the applicable provisions of the NCC, there are also other legislation and requirements that you must be aware of. These are important because these affect the design, construction and/or required performance of the building. It may not be possible to have a full understanding of all of these, but it is still important to familiarise yourself with them.

Australian Consumer Law (ACL)

The ACL sets out safety provisions that suppliers must comply with. It covers:

- consumer goods which are things intended or likely to be used for personal, domestic or household use or consumption; and

- product-related services which are services for or relating to the installation, maintenance, repair, cleaning, assembly or delivery of consumer goods.

The ACL is enforced by:

- the State and Territory consumer protection or fair-trading agency at the local level; and

- the Australian Consumer and Competition Commission at the national level.

Competition and Consumer Act (CCA) 2010

The CCA promotes fair trading and competition and provides consumer protection. It covers the following:

- product safety and labelling

- unfair market practices

- price monitoring

- industry codes

- regulation of industries such as airports, electricity, gas and telecommunications

- mergers and acquisitions

Disability (Access to Premises-Buildings) Standards 2010

These Standards set Performance Requirements and technical specifications to ensure that people with a disability will have dignified access to and use of buildings.

Environment Protection and Biodiversity Conservation (EPBC) Act 1999

This Act provides for the protection and management of the environment and biodiversity. It covers environmental assessment and approval. It also enhances the protection of Australia’s heritage places, including World Heritage sites.

National Prequalification System for Civil (Road and Bridge) Construction Contracts

This system classifies contractors who wish to tender for road and bridge construction contracts based on their technical and managerial expertise, financial capacity and previous performance. It is administered locally by the relevant state and territory road agencies.

Native Title Act 1993

The Native Title Act recognises the rights and interests of the Aboriginal and Torres Strait Islander peoples according to their traditional law and customs.

Workplace Health and Safety Act

This Act covers regulations about on-site and workplace health, safety and welfare. It covers all workers including:

- employees

- contractors and subcontractors

- outworkers

- apprentices and trainees

- work experience students and volunteers

- volunteers

- employers who perform work

The WHS legislation per state/territory and the corresponding regulators are shown below.

| State/Territory | WHS Legislation | WHS Regulator |
| --- | --- | --- |
| Australian Capital Territory | Work Health and Safety Act 2011 | WorkSafe ACT |
| New South Wales | Work Health and Safety Act 2011 | SafeWork NSW |
| Northern Territory | Work Health and Safety (National Uniform Legislation) Act 2011 | NT WorkSafe |
| Queensland | Work Health and Safety Act 2011 | Workplace Health and Safety Queensland |
| South Australia | Work Health and Safety Act 2012 | SafeWork SA |
| Tasmania | Work Health and Safety Act 2012 | WorkSafe Tasmania |
| Victoria | Occupational Health and Safety Act 2004 | WorkSafe Victoria |
| Western Australia | Occupational Health and Safety Act of 1984 | WorkSafe WA |

Each state/territory also has their own Construction Code of Practice. A Code of Practice provides practical guidance to principal contractors and other persons conducting building work on how to meet the WHS legislation and requirements. The following table shows the relevant codes per state/territory with the links to their websites.

| State/Territory | Construction Code of Practice |
| --- | --- |
| Australian Capital Territory | ACT Construction Work Code of Practice |
| New South Wales | NSW Code of Practice Construction Work |
| Northern Territory | NT Construction Work Code of Practice |
| Queensland* | Qld Codes of Practice |

| South Australia* | SA Codes of Practice |
| --- | --- |
| Tasmania | Tasmania Construction work: Code of Practice |
| Victoria* | Vic Compliance Codes and Codes of Practice |
| Western Australia* | WA Codes of practice |

As of the time of writing, Queensland, South Australia, Victoria and Western Australia do not have a dedicated Code of Practice for Construction Work. In which case, you must refer instead to the code of practice relevant to building work, e.g. the state/territory’s code of practice for demolition, excavation, etc.

Licences and permits

Before you can undertake your building work, there are several licences and permits that you have to secure first. These may include the following:

- building licences

- plumbing licences

- gas fitting licences

- electrical licences

- development applications

- zoning approvals

- fire management and safety

- connection or work on sewerage/drains

- water usage or constructing a bore or well

- heavy vehicle licences

- protecting trees and wildlife

- permits to conduct high-risk work

- permits to work on heritage properties

- permits to handle, store and use chemicals or dangerous substances

- permits to use blasting explosives

Based on Building and construction industry, used under CC BY 3.0. © Commonwealth of Australia 2019.

The authorities or regulatory bodies overseeing licence and building requirements are different depending on your state/territory. The table below summarises this information.

| State/Territory | Authority or regulatory body |
| --- | --- |
| Australian Capital Territory | ACT Government Department of Environment and Sustainable Development |
| New South Wales | Department of Fair Trading |
| Northern Territory | Building Practitioners Board |
| Queensland | Queensland Building and Construction Commission |
| South Australia | Government of South Australia Consumer and Business Services |
| Tasmania | Department of Justice (Tasmania) |
| Victoria | Victorian Building Authority |
| Western Australia | Western Australian Building Commission |

|  | Checkpoint! Let’s review - What is the difference between DTS Solutions and Performance Solutions? - What are the Assessment Methods for Performance Solutions? - What is the WHS legislation applicable to your state/territory? |
| --- | --- |

# II. Determine Compliance Solutions within the NCC

The NCC is considered a performance-based code. It requires you to comply with the minimum level of health, safety, amenity and sustainability set in the Performance Requirements. Still, it does not prescribe a specific method to attain those requirements. This means that you are given the freedom to choose the compliance option for your building project. You may choose among Performance Solutions, Deemed-to-Satisfy Solutions or a combination of both.

Chapter 1 gave you an introduction to the compliance solutions and the relevant Assessment Methods for each. Chapter 2, meanwhile, will further discuss these compliance solutions in more detail.

This chapter will cover the strategies and considerations in choosing which compliance option to apply to your project. It will also talk about the relevant documentation and evidence that you need to compile and complete. These documents will ensure that your chosen compliance method can comply with the relevant Performance Requirements.

### 2.1 Determine Performance Solutions to meet the Performance Requirements

A Performance Solution is one of the choices to achieve compliance with the Performance Requirements of the NCC.

A Deemed-to-Satisfy (DTS) Solution (also known as a Prescriptive Solution) is a standard way to demonstrate compliance with the Performance Requirements. However, there are times when a DTS Solution to a given problem does not exist or does not apply to certain building designs. Sometimes, a unique or site-specific solution is preferred or necessary. In these instances, a Performance Solution may be developed and used.

A Performance Solution provides a tailored solution to meet the objectives of the Performance Requirements. A Performance Solution is said to have achieved compliance with the NCC if it has:

- complied with all relevant Performance Requirements; or

- demonstrated that it is at least equivalent to DTS provisions.

The use of Performance Solution as a compliance method permits the following:

- flexibility in the design regarding the use of alternative materials and forms of construction or design to meet the DTS Provisions;

- innovation in the use of materials, forms of construction or design; and

- development of own solutions in response to unique design challenges.

It must also have been assessed according to the relevant Assessment Methods discussed in Section 1.4.1. These are the following:

- Evidence of suitability

- Expert judgement

- Verification methods

- Comparison with Deemed-to-Satisfy Provisions

Choosing a Performance Solution as your compliance solution has several advantages, including the following:

- A Performance Solution may achieve better outcomes in terms of cost and performance because it is possible to exceed minimum requirements.

- New construction techniques and emerging technology are factored in. This makes it possible to respond more quickly to the changes in the building and construction industry.

- The flexibility provided by Performance Solutions means that you can develop your options. This allows you to cater to a wide range of problems, including those that are not covered by the DTS Provisions.

- A Performance Solution may overcome limitations in your site.

To understand Performance Solutions better, a simple example is provided below:

A Performance Requirement on access and egress of a building requires you to provide designated carparking spaces that are easy to find for people with a disability. This requirement ensures that consideration for the movement and needs of people with a disability are integrated into the design of the building.

Notice that the Performance Requirement does not state specific dimensions or materials to be used in constructing the carparking spaces. It only states that the designated spaces must be easy to find for people with a disability. It presents an outcome rather than a quantifiable requirement.

Considering this, you can propose a Performance Solution that works within these parameters. You may propose to construct carparking spaces that are:

- marked clearly with signs using white paint; and

- placed within 5 meters of the exits and entrances of a building.

This is how Performance Solutions work.

|  | Checkpoint! Let’s review - What are the conditions that a Performance Solution must meet for it to be deemed as compliant with the NCC? - What are the four Assessment Methods used for Performance Solutions as determined by the NCC? |
| --- | --- |

### 2.2 Discuss Options with Relevant Persons to Necessitate Design or Construction Change

#### 2.2.1 Key Stakeholders

Stakeholders are individuals who:

- are actively involved with the work of the project; or

- have something to gain or lose (either directly or indirectly and/or short-term or long-term) as a result of the project.

Not all stakeholders have the ability to affect the decisions of the project directly. As such, it is crucial that you correctly identify the key stakeholders who can influence the project and to what extent. These are the people you have to work and discuss options with primarily. Key stakeholders can be classified as either internal or external.

Internal stakeholders include:

- top management

- project team members

- project team manager

- clients

On the other hand, external stakeholders include:

- the Appropriate Authority

- government authorities

- outsourced project team members such as contractors, subcontractors and subject matter experts (SMEs)

- suppliers

In the next part, you will learn about the roles of each stakeholder and the opportunities that they present in a building project.

Top management

Choices on budget, specifications, suppliers and approach to solutions heavily depend on the overall priorities and strategies of the organisation set by the top management.

Top management refers to the president, vice-president, directors, divisions, executive board members and other such individuals. They direct the strategy and development of an organisation. They are responsible for approving in-depth plans and major milestones during the project's planning and design phases.

It may not be necessary to report every minor detail of the compliance option development to them. You will have to coordinate with them regarding the information that they need and how often you need to report. At the least, they must be kept informed of project risks, potential impacts and major decisions at all times.

Effective communication with top management is key to obtaining their support. This will expand your options and make it easier to hire better staff and obtain more resources for your project.

The project team

The project team is composed of individuals dedicated to working on the project, including those that are ‘borrowed’ on a part-time basis (for example, individuals working on another project at the time). The team includes, but are not limited to, the following:

- architects

- engineers

- design specialists

- building design professionals

- trade practitioners

The team mostly has the technical knowledge and expertise. As such, their input will be required on cost, buildability, health and safety and such other technical aspects of the project. They will be able to help assess options and determine which ones may have to be eliminated to make way for the optimal one.

Project manager

The project manager is responsible for leading the project team and ensuring that they are equipped with the necessary resources to complete the project. They are responsible for guiding the discussions within the project team and handling any disputes and disagreements that may arise.

Clients

The clients are the individuals, companies or government entities who commissioned the building project. They hold power to accept or reject your chosen solution. They also affect crucial decisions of the project, such as specifications, deadlines and budgets. As such, you must always address their concerns and issues and keep them informed of any development. When considering options for the project, their preferences and needs must always be taken into consideration.

Appropriate Authority

You need to familiarise yourself with all the relevant requirements. You may engage the Appropriate Authority for expert advice on compliance issues and in identifying if a project can meet the NCC Performance Requirements.

If they deem that your proposed option (or parts of it) is non-compliant, you will have to either make the necessary changes or entirely consider other options. This can potentially have significant impacts on your deadlines and budget.

However, note that the Appropriate Authority can only provide advice. They cannot personally be engaged in developing compliance options to avoid possible conflicts of interest.

Government authorities

Government authorities are responsible for regulating the building and construction industry. They promote and enforce relevant building codes and standards and investigate alleged non-compliance. Generally, they are the ones who handle the permits and licences that you have to obtain before you can begin construction.

The government authorities you are expected to coordinate with include the following:

- state and territory planning and design authorities

- federal government agencies related to planning, environment and safety such as the Australian Building Codes Board and the Department of Industry, Innovation and Science

- appropriate Approval Authority including building surveyors

Aside from the ones mentioned, there may also be other government authorities that you have to consider depending on which state/territory your project falls under.

Outsourced project team members

In some cases, expertise and resources are unavailable internally. Hence, work is given to individuals outside of the construction firm. This includes, but are not limited to, the following:

- construction management foremen

- network consultants

- electricians

- carpenters

- architects

- subject matter experts (SMEs)

- contractors

- subcontractors

- anyone who is not an employee of the construction firm

Outsourced members can supplement the needs and skills of the project team. They can expand your options as new perspectives and knowledge are exchanged.

Based on Stakeholder Management, used under CC BY 4.0. BC Open Textbooks.

Suppliers

Construction projects also depend on suppliers for construction materials such as lumber, nails, bricks and mortar. In the planning phase of developing compliance options, the role of suppliers is mostly limited to providing price quotations. These quotations can significantly affect your options, but it is not the only thing that you have to think about. There is also a wide range of factors that you must consider, including quality, reliability, service and suitability to the client’s needs. You must avoid dealing with suppliers that provide non-conforming and non-compliant building products because this can lead to safety issues within your project. Choosing the right suppliers must be done strategically to ensure the success of the project.

#### 2.2.2 Means of Communication

Identifying and understanding the different means of communication available to you is vital in developing strategies to engage with stakeholders. The means of communication that you choose must be suitable for the information that you wish to convey.

The means of communication commonly used are summarised on the following table.

| Means of communication | Description |
| --- | --- |
| Emails | - Electronic means of communication that tend to be more formal - Optimal for sending files and detailed information |
| Face-to-face verbal communication | Includes delivery of instructions from one person to another, discussions during meetings and face-to-face negotiations |
| Video Conference | - Includes discussions made over video-calling software and smartphone applications - Typically used when it is not possible to have face-to-face verbal communication due to distance and other logistical reasons |
| Two-way radio | - Also called walkie-talkies - Effective for monitoring large project sites or multi-level building projects |
| Telephone contacts | - Refer to discussions made over the telephone - Similar to video conference, this is typically used when you need to communicate with people in another location |

#### 2.2.3 Strategies to Stakeholder Engagement

Once you have determined the means of communication available, you must use these to help develop strategies to engage with your stakeholders. This will help avoid or at least minimise possible issues in your project.

The strategies below are only general guides. You must still be able to adapt and adjust accordingly to different stakeholders and situations.

Identify communication barriers

Communication barriers refer to the factors that hinder effective communication. These are some of the common barriers that you may encounter when dealing with stakeholders in a building project:

- Use of construction jargons

Not all of the stakeholders that you will deal with will have a background or working knowledge of the construction industry. This makes it difficult for them to understand technical terms and specifications.

- Language difference

In the construction industry, you are expected to work with a diverse group of people from different places. You will need to make use of a common language to make communication possible. However, there may be difficulties in understanding accents and overcoming the language barrier. Not everyone will have the same level of proficiency in the common language being used.

- Excessive information

There are a lot of aspects to a project and, consequently, a lot of information. The amount of information that you need to process can be overwhelming.

- Inattentiveness

Being in the construction industry, you are bound to be surrounded by a lot of distractions like noise from machinery and equipment. It can be easy to get distracted by all of these and fail to communicate properly.

- Using inappropriate means of communication

Sometimes, the means of communication that you used may not have been appropriate to the information that you wanted to convey. For example, you may have called for a face-to-face meeting to report something to a client when it could have been more appropriate to deliver it over a short phone call or email.

Being aware of the common communication barriers in the building and construction industry is the first step to keeping them at a minimum. There are different methods to overcoming communication barriers. Some of these are learning how to actively listen, using simple language to make the message easier to understand and giving feedback to ensure that the message is being received correctly.

Analyse stakeholders

Stakeholder analysis refers to identifying and grouping stakeholders according to their participation, interest, and influence in the project. Methods of stakeholder analysis differ according to the needs of your project but in general, the following questions must be answered:

- Who are the stakeholders?

- What are their stakes in the project?

- What opportunities, challenges and threats do they present?

The answers to the questions above will guide you in developing methods suitable to their problems and needs. They will help you determine how to best communicate with each of the stakeholder groups.

The role and level of participation of stakeholders must be defined. Note that the level of participation at different phases of the project varies. For example, a client plays a significant role in the planning and design phase of the project but has little to no role in constructing the building itself. On the other hand, a carpenter may not be able to choose the compliance option to be used for the building project. Still, they are essential to the construction part. Understanding roles and levels of participation is essential to assigning functions and ensuring there are no overlaps that can lead to inefficiencies.

Understand their expectations

Expectations must be set at the beginning of the project because it will serve as the foundation of all other decisions that will be made. It will also help you in avoiding misunderstandings and issues that may arise from it in the future.

In establishing expectations, you must remember that not all of the stakeholders you deal with will have a background on building and construction. For example, a client who wants to use a certain material for the project may not easily recognise that the material is non-complaint with the NCC. In such cases, it is your responsibility to bridge the gaps in understanding. This can be done by using simpler terminologies and doing away with explanations that are too technical to be understood by other stakeholders.

In addition, every stakeholder has different needs, demands and level of participation. Each one is going to have a different set of expectations. It is necessary to understand all of their expectations to come up with a compromise, if necessary.

Keep stakeholders informed and involved

Stakeholders must be regularly informed about the developments and problems faced, as well as the decisions made. In addition, all questions and concerns must be answered as promptly as possible.

The frequency of sending updates depends on the extent of their involvement in the project. For example, it may not be necessary to send daily updates to top management. The arrangement would have to be negotiated with the concerned stakeholder.

Aside from reporting to stakeholders, you must also solicit their perspectives and ask for their input. This can lead you to discover new perspectives or issues that can help in developing solutions. For example, a subject matter expert notices that a particular proposed solution can be improved by adding a fire-resisting element and changing some aspects of the design.

IMPORTANT TO NOTE:

There are no precise steps to be followed as to how communication with stakeholders will go, how many meetings will be conducted and how long the collaboration and negotiation process will be. These all depend on the success of initial negotiations and the degree of complexity of the proposed compliance option. It is essential that decisions made during the discussions are documented not only to monitor the progress but also to provide a historical record of the building project activities which can be reviewed when necessary.

Documentation is crucial to a project for the following reasons:

- legal and contractual requirements

- prevention and resolution of disputes

- construction work management

- for use for future projects

Based on Development of Performance Solutions. © 2015 Australian Building Codes Board

#### 2.2.4 Factors to Consider in Choosing Compliance Solutions

Performance Solutions and DTS Solutions each have their own advantages and disadvantages depending on the situation they would be applied to. In order to decide which compliance option to apply to your project, there are a number of factors that you have to consider. The next part will discuss some of the factors that can help in guiding you.

- Cost of development

Performance Solutions need more resources to develop compared to DTS Solutions. This is because Performance Solutions, especially the novel ones, usually require further testing and research. This translates to additional costs, which can make the development of Performance Solutions expensive.

In deciding whether the development of Performance Solutions is worth investing in, consider both the long-term and short-term outcomes. Calculate if the savings that you would get from the efficiency of Performance Solutions can offset the costs of the development. If this is the case, Performance Solutions may be worth considering for your project.

- Risks and consequences

In assessing the risks and consequences of your options, consider the following:

- characteristics of the occupants that would be affected - due consideration must be given to younger occupants, older occupants and people with a disability

- Fire Safety Engineering principles

- principles of accessible building design

- structural design principles of a building

If the risks or consequences of failure for Performance Solutions are greater, then you may need to reconsider using a DTS Solution or adjust accordingly.

- Client requests

There are cases where using DTS Solutions cannot meet the expectations of the client, which makes the use of Performance Solutions the better option.

Consider the case of the renovation of a heritage building in NSW to keep up to date with the building requirements. The client requested that the building should retain its heritage features.

DTS Provision states that disability access in a lift must be wide enough for a wheelchair user to turn around inside the lift. However, applying the DTS Solution to the building means that the rooms adjacent to the lift shaft would have to be compromised and therefore, the heritage features of the building would be affected.

Given this, a Performance Solution was designed. A lift with doors on opposite sides was constructed to satisfy the NCC requirements on disability access and meet the client’s request at the same time.

|  | Further Reading You can read more about the ABCB Case Study on the Hunter Street Renovation above by going to this link. |
| --- | --- |

- Existing spatial limitations

Sometimes, you are constrained by the spatial limitations of your building. Consider the DTS Provision regarding the height of a habitable room (excluding the kitchen) which states that the height must not be less than 2.4 meters. You may not be able to comply with these for several reasons. You may be working on a heritage building with rooms lower than the height required and trying to renovate may affect the integrity of the building. Another reason is that the ceiling may have an irregular shape.

A Performance Solution may be more suitable than a DTS Solution in cases where it is difficult to overcome the existing spatial limitations within your building.

- Other considerations

Aside from the factors mentioned above, there are other considerations that you need to take note of when choosing the compliance option for your project. This includes:

- relevant Commonwealth, State and Territory building legislation and Australian Standards

- Commonwealth anti-discrimination legislation

- construction methods and buildability factors

- heritage and environmental controls

- occupational health and safety (OHS) policies and procedures

|  | Checkpoint! Let’s review - What are stakeholders? - Identify one internal stakeholder and two external stakeholders? - List and discuss at least two factors to consider in choosing compliance options. |
| --- | --- |

### 2.3 Apply Deemed-to-Satisfy (DTS) Solution with Supporting Evidence to Comply with the Performance Requirements

Unlike Performance Solutions that allow flexibility in developing options, DTS Solutions are prescriptive and allow little to no variation for change. A DTS Solution is achieved if you follow all appropriate DTS Provisions.

DTS Provisions are the actual clauses in the NCC. Think of DTS Provisions as steps in a ‘recipe book’ that tell you exactly what to do. They specify acceptable construction practices that have to be completed to demonstrate compliance with the NCC. They cover which materials, components, design factors and construction methods to use. DTS Solutions are foolproof and generic. They have already been deemed by regulators as acceptable practices.

For example, let us look at a DTS Provision D2.17 of the NCC relating to handrails. According to D2.17, a Class 9b used as a primary school must have:

- one handrail fixed at a height between 865 mm; and

- a second handrail fixed at a height between 665 mm and 750 mm.

Construct handrails exactly as described in the specifications above and it will comply with the NCC. This is how a DTS solution works.

To confirm that a DTS Solution complies with the relevant Performance Requirements, you may use one or a combination of the following:

- Evidence of suitability is also known as a documentary evidence. It is used to support that a material, product, form of construction of design satisfies a Performance Requirement. The different examples of documentary evidence are enumerated in Section 1.4.1.

- Expert judgement refers to the judgement of a suitably qualified individual or organisation.

Referenced documents

The NCC itself cannot contain all the details of every requirement for a building. This is why the NCC calls upon ‘referenced documents.’ Referenced documents have three main types:

- Primary referenced documents are referenced in the NCC and are listed in Schedule 4 of the NCC. The NCC also states the edition or amendment that you have to comply with.

- Secondary referenced documents are referenced in a primary referenced document. You must comply with the version or edition that existed at the time of the publication of the primary referenced document.

- Other referenced documents are referenced by secondary and subsequently referenced documents.

Examples of referenced documents include:

- Australian Standards

- ABCB protocols and standards

- other publications

DTS Provisions often reference Australian Standards (AS). AS are published documents containing rules, guidelines and technical specifications. They ensure that products, services and systems are safe, reliable and able to consistently perform the way they were intended to. Before referencing an AS, you must consider:

- whether the AS has been referenced in full or in part; and

- the new editions and amendments in the AS.

Some AS are referenced in their entirety while some are referenced only in part. If the AS is only referenced in part, then the other parts that are not referenced are considered irrelevant and have no authority. In addition, new amendments and editions of the AS are not automatically adopted by the NCC. This means that you only need to comply with the edition of the AS that was referenced.

|  | Further Reading For a more comprehensive list of Australian Standards, go to: SAI Global website |
| --- | --- |

If there are any differences, including differences in definitions, between the NCC and any of the referenced documents, the NCC will overrule these differences. For more information on the NCC referenced documents, you may refer to:

- NCC Part A4 for all the rules and exemptions about referenced documents; and

- NCC Schedule 4 which contains a list of primary referenced documents.

|  | Checkpoint! Let’s review - What are the two Assessment Methods applicable to DTS Solutions? Discuss each. - What are Australian Standards? What are the things to consider before referencing them? |
| --- | --- |

### 2.4 Consider Performance Solutions and Supporting Evidence to Achieve Compliance with Performance Requirements

As previously mentioned, a Performance Solution is achieved by:

- complying with all Performance Requirements relevant to the building project; or

- demonstrating that it is at least equal with appropriate DTS Provisions.

The compliance of Performance Solutions must be verified using one or a combination of the following Assessment Methods previously discussed in Section 1.4:

- An evidence of suitability is also known as a documentary evidence. It is used to support that a material, product, form of construction or design satisfies a Performance Requirement or is equivalent to a DTS Provision.

- Expert judgement refers to the judgement of a suitably qualified individual or organisation.

- A verification method can be a test, inspection, calculation or any other approved verification method. It requires that the Performance Solution must achieve the set quantifiable benchmark or predetermined acceptance criteria.

- A comparison with DTS provisions involves subjecting a Performance Solution and the DTS Provision to the same level of analysis and methodology.

Assessing Performance Solutions should consider both:

- the Performance Requirements that are directed addressed by the solution; and

- other Performance Requirements that will be affected when they are used.

The Assessment Methods must be completed as agreed in the Performance-based Design Brief (PBDB) document, which contains details of the process of development of Performance Solutions. The results of the test(s) should also meet all the agreed acceptance criteria.

Aside from documentation of the Assessment Methods, there are also other supporting evidence that must be presented when using Performance Solutions. For example, some buildings whose fire safety requirements will be fulfilled using Performance Solutions also need to present evidence that consultations with relevant fire agencies and responding fire services have been conducted.

|  | Checkpoint! Let’s review - Recall at least two of the four Assessment Methods applicable to Performance Solutions. - Identify one supporting evidence that must be considered when using Performance Solutions. |
| --- | --- |

### 2.5 Document Performance-Based Solutions in accordance with Organisational Quality Procedures and Processes

The development of Performance Solutions that can achieve compliance with the NCC Performance Requirements is a complex process. There are a lot of factors to think about such as cost, performance and suitability. Given these factors, plus the fact that Performance Solutions are commonly novel or unique to a specific situation, it is difficult to develop specific steps to follow in formulating Performance Solutions.

As such, the ABCB developed some guidelines that are generic and non-mandatory. These allow organisations to implement the guidelines in accordance with their own established procedures and processes to ensure that the objectives and needs of the organisation are being met.

Section 2.5 will cover what a quality management system (QMS) is and how it is established and implemented by an organisation. It will talk about the importance of good QMS documentation that is fit for the purpose for which they are created. Lastly, the process of formulating Performance Solutions, as outlined by the ABCB, will be discussed.

#### 2.5.1 Quality Management

Quality management is a crucial aspect of any building work. It involves formally establishing organisational policies, procedures and processes to ensure that the quality of your project meets or even exceeds expectations. It aims to coordinate and direct the activities of an organisation to achieve client and regulatory requirements consistently, improve effectiveness and efficiency and achieve organisational objectives and needs.

Quality management has two elements, which are as follows:

- Quality assurance (QA) refers to the ‘part of quality management focused on providing confidence that quality requirements will be fulfilled.’ The assurance must be given both internally to management and externally to clients, government authorities and other third parties. QA focuses on activities related to how a process is performed or how a product is made.

- Quality control (QC) refers to the actual fulfilment of the quality requirements. It focuses on the inspection element of quality management.

Based on Quality assurance vs. control. American Society for Quality.

An organisation develops its quality management system using the plan-do-check-act (PDCA) cycle. The PDCA cycle aims to identify processes that form your quality management system and determine the interaction between them. It combines planning, implementing, controlling and continual improvement into one cycle. The steps of the PDCA cycle are as follows:

- Plan: Planning involves looking for the answers to the following questions:

  - What should be done?

  - How much should be done?

  - When is it required to be done?

  - Who should do it?

  - Where is it required to be done?

- Do: This involves implementing the plan.

- Check: This involves monitoring the processes and measuring the outcomes according to the organisation's plans, policies and objectives.

- Act: This involves taking measures and activities to improve the performance of the organisation.

Based on The Plan Do Check Act (PDCA) cycle. ISO - 9001 Quality management knowledge center.

Effective implementation of the organisation’s quality management system has numerous benefits to a building project, including:

- clarifying standards and requirements;

- minimising misunderstandings and potential conflict;

- satisfying the requirements of the clients and instilling confidence in the organisation;

- meeting the organisation’s requirements, including compliance with relevant regulations and provision of products and services at the most cost-effective and resource-efficient manner;

- lowering costs by reducing waste;

- minimising the potential for error; and

- defining, controlling and improving processes.

Based on Quality Management System. American Society for Quality.

All organisations should develop their QMS according to its needs and goals, but the one thing they have in common is that each must maintain documentation of their QMS. Proper documentation serves as the foundation of QMS. It ensures that processes are correctly understood and consistently executed in order to deliver quality products or services to your clients. Some of the functions that a QMS documentation serves include the following:

- communicating information to relevant people

- providing evidence of conformity

- allowing easy monitoring of processes

- sharing knowledge that can be referred to by others in the future

#### 2.5.2 Development of Performance Solutions

In order to guide parties who are interested in formulating simple or complex Performance Solutions, the ABCB has produced some guidelines to be followed. These guidelines are not mandatory or regulatory in nature. These are only meant to provide general information as to how the process typically goes. In following the ABCB guidelines, the organisational quality management system must be considered to achieve quality policies and objectives.

The ABCB guidelines are as follows:

Step 1: Prepare a Performance-based Design Brief (PBDB)

A Performance-Based Design Brief (PBDB) is a document that serves as a record of all the fundamental activities and outcomes of the Performance Solution design process as agreed during the stakeholder negotiation process. When completed, the PBDB becomes the roadmap for the proposed solution.

The PBDP must adequately demonstrate that after designing the solutions and conducting assessment methods, the relevant NCC Performance Requirements have been achieved.

The contents of the final report of the PBDB typically include the following:

- a summary of the proposal, including:

- building type and function

- height

- location of the building

- an explanation and description of the proposed solution

- outline of the Performance Requirements that apply

- the agreed analytical assessment process

- the agreed acceptance criteria

- required scope of supporting evidence

- format and content of the final report

- acknowledgement of participants

Step 2: Carry out analysis, modelling or testing

In order to ensure compliance with the NCC, the proposed Performance Solution must be assessed using the appropriate Assessment Methods specified in the NCC.

The method of analysis, modelling or testing must be chosen according to what is appropriate to the complexity of your project and carried out following what is agreed by stakeholders in the PBDB.

Some of the tools that you can use to evaluate the proposed Performance Solution include the following:

- comparative or absolute analysis

- qualitative or quantitative analysis

- deterministic or probabilistic analysis

- empirical calculations

- in-situ or testing in a recognised laboratory

- computer-aided modelling

Step 3: Collate and evaluate results

The results from the previous step must be collated for analysis. Results from multiple trials or design scenarios may have to be considered.

After the results are collated, an analysis will be carried out to form the conclusions for the final report. The results must meet the acceptance criteria agreed in the PBDB. In the evaluation, any uncertainties and sensitivities must also be considered.

If the results are either inconsistent or unable to meet the acceptance criteria, further analysis, modelling or testing may have to be conducted.

Step 4: Prepare a final report

The final report is mandatory documentation that must clearly demonstrate compliance with the NCC Performance Requirements.

The final report commonly includes the following content:

- an overview of the PBDB, including the following:

  - scope of the project

  - relevant stakeholders

  - applicable NCC Performance Requirements

  - approaches and methods of analysis

  - any assumptions made

  - acceptance criteria and safety factors agreed to by stakeholders

- overview and outline of the analysis, modelling and/or testing carried out, including:

  - method of analysis used

  - calculations and outcomes

  - sensitivities, redundancies and uncertainty studies carried out

  - the results obtained and relevance to the PBDB

- evaluation of results including:

  - comparison of results with acceptance criteria

  - further sensitivity studies undertaken, if any

  - any expert judgement applied and its justification

- conclusion including

  - specifications of the final design that are deemed acceptable

  - the NCC Performance Requirements that were met

  - all limitations to the design and any conditions of use

The following documentation must be retained for a minimum 10-year period together with the relevant compliance certificate where applicable. The property owner must also be provided full copies of the Performance Solution, including the PBDB, plans, results and final report. The information contained in the documentation will be used for future works such as repairs, servicing, alteration and/or maintenance.

Based on Development of Performance Solutions. © 2015 Australian Building Codes Board

|  | Checkpoint! Let’s review - What is quality management? - What are the ABCB guidelines to developing Performance Solutions? |
| --- | --- |

### 2.6 Complete and Compile Relevant Documentation and Evidence that Complies with NCC Performance Requirements

Every part of a building must be constructed in an appropriate manner using materials, products and forms of construction that comply with the NCC Performance Requirements. Aside from the requirements set out by the NCC, additional conditions may also be required by the following:

- other Commonwealth, State or Territory legislation

- contracts that include specific quality, material or other such requirements

The NCC provides a system to establish and prove compliance with the Performance Requirements. This includes presenting documentary evidence. The form of evidence required to be presented differs according to circumstances, legislation and the Appropriate Authority, but in general, it must adequately show that all materials, products, plumbing projects and forms of construction or design are of the quality to fulfil their functions within the building.

The hierarchy of rigor shows the suitability of each form of evidence in a given situation. The higher the option is on the list, the stronger it is as a form of evidence. Typically, innovative components or those with high consequences of failure require more vigorous options to prove compliance. On the other hand, those whose consequences of failure are low commonly require options that are low on the hierarchy of rigor.

The options for documentary evidence are discussed below according to their order in the suitability framework.

CodeMark or CodeMark Australia

Under the CodeMark or CodeMark Australia schemes, only certification bodies accredited by the Joint Accreditation System of Australia and New Zealand (JAS-ANZ) can issue Certificates of Conformity.

The CodeMark and CodeMark Australia schemes provide a nationally accepted process for demonstrating compliance with the NCC. Using the following schemes helps to:

- streamline and fast-track building approvals;

- support the use of new or innovative building products and systems; and

- avoid having to repeat the assessment of products and systems that have already proven compliance with the NCC before.

This is the most rigorous option for proving NCC compliance. It is usually used for materials or products that have high consequences for failure.

Certification of Accreditation

This is issued by a state or territory accreditation authority under the relevant state or territory building legislation.

The Certificate of Accreditation contains the following:

- verification that the properties and performance of a building component are able to fulfil specific requirements of the NCC

- any conditions and limitations on the use of the building component

If you already have a Certificate of Accreditation and want to use it in another jurisdiction, you must get the Appropriate Authority’s approval first.

Certificate issued by a Certification Body

The JAS-ANZ accredits certification bodies or conformity assessment bodies (CABs). CABs can issue certificates under an industry-operated building product certification scheme.

The certificates should contain the following key details:

- issuance date of the certification

- duration of validity

- signature of the issuing body

- other relevant information

Reports issued by an Accredited Testing Laboratory

An Accredited Testing Laboratory can issue a report certifying that a particular component has been proven suitable by an appropriate test.

An Accredited Testing Laboratory can be any of the following:

- a testing laboratory accredited by the National Association of Testing Authorities (NATA)

- a laboratory accredited by an organisation with a mutual recognition agreement with NATA

- an organisation recognised as being an Accredited Testing Laboratory under legislation at the time the test was undertaken

You may see whether a laboratory or facility is currently accredited by NATA using the register on their website.

Certificate of report from a professional engineer, recognised expert or another appropriately qualified person, as appropriate

In this option, a certification from professionals and experts can be accepted as long as:

- it has a basis and can be subjected to scrutiny; and

- it references relevant standards, specifications, software or other publications.

Other forms of documentary evidence such as, but not limited to, a Product Technical Statement

This documentation is the least rigorous option and often requires another supplemental documentary evidence. Evidence under this option should:

- suitably describe the subject of the document;

- specify the conditions that the statement of verification relies on;

- describe any limitations to the statement of verification;

- refer to construction and/or installation standards as necessary; and

- include a reference to any standards, test reports, specifications or other publications used in suitability verification.

Before submitting this as evidence, it must first be approved by the Appropriate Authority as suitable for determining compliance. This is typically used when consequences of failure are low.

Based on The Evidence of Suitability. © Commonwealth of Australia and States and Territories 2019, published by the Australian Building Codes Board

The options for documentary evidence are not mutually exclusive. This means that the chosen option may include elements of other options. It also means that more than one option may be required as evidence of compliance with the NCC.

The suitability of the option(s) selected will need to be approved by the Appropriate Authority. Additionally, it is also important to remember that the documentary evidence has to be current. Otherwise, it will not be accepted. The evidence is no longer considered current if it is:

- expired;

- attesting compliance with a superseded NCC requirement that does not apply to the project it is submitted for; or

- withdrawn.

|  | Checkpoint! Let’s review - What is the most rigorous option for proving compliance with the NCC based on the hierarchy of rigor? When should this option be used? - Who gives accreditation to certification bodies who can issue a CodeMark or CodeMark Australia Certification of Conformity? |
| --- | --- |

# III. Apply Fire Protection Requirements

Fire is considered one of the major potential risks in buildings. It results in building damage and injury to building occupants. In the worst-case scenario, a fire can lead to total devastation of your building and even the loss of lives of the occupants.

The fire protection requirements of the NCC play a massive role in preventing these from happening. These are developed to ensure the safety of the occupants of the building, contain the spread of fire and protect adjoining property from damage. Fire protection requirements can be achieved using a number of active and passive fire safety systems that work together as one to provide safety from the effects of fire.

Chapter 3 will discuss the different passive and active fire control elements required by the NCC and other relevant legislation. It will cover the level of fire resistance required for commercial buildings with a maximum of three storeys. It will also discuss some of the activities conducted when checking whether fire protection requirements are installed properly during and on completion of construction.

### 3.1 Identify Passive and Active Fire Control Elements Required by Relevant Legislation

Before discussing fire safety systems, you must be able to determine the different classes of fire first. This will help you understand the hazards involved and identify the measures and equipment you have to use to contain each class of fire.

Fires are classified according to the materials that fuel them. A summary of fire classifications and their descriptions can be found below.

Based on Information Sheet: Fire Extinguishers, used under CC BY 4.0. © State of Queensland (Queensland Fire and Emergency Services) 2019

Fire safety systems refer to the means and equipment to detect, inform, intervene or evacuate a building when there is a fire. They typically perform one or a combination of the following functions:

- Warn occupants when there is an emergency.

- Ensure that the conditions for evacuation are safe.

- Restrict the spread of fire to other parts of the building or adjoining buildings.

- Suppress fire.

Fire safety systems are composed of both passive and active fire control elements that work together to protect a building from damage and its occupants from injury. These must be installed in buildings that are already in use and in buildings that are still undergoing construction.

#### 3.1.1 Passive Fire Control Elements

Passive fire control elements involve the use of suitable materials (e.g. fire-resisting elements and fire doors) in the construction of a building to improve structural stability and reduce the likelihood of collapse. Unlike active fire control elements that aim to extinguish fire, passive fire control elements aim to contain the fire to its point of origin and prevent it from spreading to the other parts of the building.

This can be achieved through compartmentation, which is the process of breaking the building into areas of manageable risk. These areas are called ‘compartments’ which restrict the growth and spread of fire and smoke, making the fire easier to contain.

The next part will discuss examples of passive fire control elements and the functions that they play in fire protection.

Fire-resisting building elements

Building materials, assemblies, linings and surface finishes must be able to resist the spread of fire and generation of smoke. The criteria for fire resistance are discussed in Section 3.2.

Non-combustible building elements

These elements resist fire, provide compartmentation and restrict the spread of fire to ensure occupants' safety.

Fire doors

These aim to protect openings by maintaining the integrity of fire separation and compartmentation. These include sliding fire doors, their associated warning systems and associated closing and latching mechanisms.

These may be made of a combination of materials such as glass, gypsum, steel or timber.

Fire windows

These protect openings by maintaining the integrity of fire separation and compartmentation. Included are automatic or permanently fixed windows.

Fire shutters

These provide fire separation and compartmentation by automatically closing when a fire is detected. Activation of shutters can be done either by connecting to the building’s fire alarm system or being fitted with their own heat detection system. Some shutters roll down under their weight. Other shutters are operated using a motorised closing mechanism.

Smoke doors

These restrict the passage of smoke between compartments or walls. Included are associated self-closing, automatic closing and latching mechanisms.

Proscenium walls (fire curtains)

These prevent the passage of smoke and fire from the stage area to the audience area in a theatre.

#### 3.1.2 Active Fire Control Elements

Active fire control elements have a predetermined response to heat, smoke or specific gases. Some responses are automatic, such as turning sprinklers on and sounding the alarms. Others are manual, such as fire reel systems and portable fire extinguishers.

Active fire control elements can fall under two categories:

- Elements to fight a fire in its early stages are simple and lightweight equipment to be used by the occupants to extinguish or contain a fire in its early stages. These are typically used while waiting for the fire brigade to arrive. Examples are fire hose reels and fire extinguishers.

- Elements to assist the fire brigade are equipped to be used by the fire brigade. One example is a fire hydrant system.

The next part will discuss some examples of active fire control elements, their descriptions and the functions that they play in containing fire.

Smoke and heat alarm and detection systems

These are installed to sense a fire in its initial development stage and warn building occupants.

Fire hose reel systems

These consist of pumps, pipes, water supply and hose reels. These are placed in strategic locations throughout the building and are manually activated using a valve that enables water flow. They allow occupants to undertake initial fire extinguishment while waiting for the fire brigade.

Based on Fire hose reel system. Grundfos.

Portable fire extinguishers

Similar to fire hose reel systems, these allow occupants to undertake initial fire extinguishment while waiting for the fire brigade. These are located in strategic locations, often near a building's main exit and away from areas that are likely to catch fire. An example of a strategic placement would be placing a portable fire extinguisher at the kitchen entrance but not inside the kitchen.

No type of fire extinguisher can work on all classes of fire. This is why you must choose extinguishers with an extinguishing agent suitable to the class of fire that your building is prone to.

The five main types of fire extinguishers in Australia are identifiable by the colour of their bands. These are classified according to their extinguishing agent. The table below shows the different types of extinguisher and the class of fire they are suitable for.

| Type of Extinguisher | Suitable for (class of fire) | Comments |
| --- | --- | --- |
| Water (identified by an all-red body; no band) | A | Not safe on other classes of fire Dangerous if used on flammable liquid, electrical equipment and cooking oil or lard fires |
| Foam (identified by a blue band) | A and B; F (limited effectiveness) | Not safe on other classes of fire Dangerous if used on energised electrical equipment |
| Dry Chemical Powder (identified by a white band) | An ABE unit is suitable for A, B, C and E fires A BE unit is suitable for B, C, E and F fires | Check the label carefully to determine if the fire extinguisher is a BE or ABE unit The ABE unit is ideal for most household fires |
| Wet Chemical (identified by an oatmeal band) | A and F | Dangerous if used on energised electrical equipment |
| Carbon Dioxide (CO2) (identified by a black band) | A and B (limited effectiveness); E | Not suitable for outdoor use or large class A fires |

Based on Information Sheet: Fire Extinguishers, used under CC BY 4.0. © State of Queensland (Queensland Fire and Emergency Services) 2019

Fire hydrant systems

Fire hydrant systems include an on-site pump set and fire service booster connection. These should only be installed in places with fire brigade access. Fire hydrants give the fire brigade access to the main water supply.

Emergency Warning and Intercommunication Systems (EWIS) and Building Occupant Warning System

These are installed in a building to alert occupants and allow for a comprehensive and controlled evacuation during emergencies.

Emergency lighting and exit signs

It prevents the occupants’ injury by providing sufficient light and signages during evacuation. All emergency lighting and exit signs must have their own alternative energy supply in case there is a failure in the main supply.

Previously, emergency exit signs used the word “EXIT.” The new updates in the AS now only allow the following pictograms as shown in the figures below:

Sourced from How ‘The Running Man’ Changed Exit Signs in Australia. Brilliant Lighting.

Automatic fire sprinkler systems

There are also known as wet pipe systems. These are installed into the ceiling and are activated when there is an increase in temperature. Once activated, the sprinklers will douse the area with a continuous supply of water until the system shuts off.

Based on Fire sprinkler systems. FireSafe.

Automatic fire sprinkler systems may include:

- wet pipe systems and sprinklers

- valve installations

- electric motor and compression-ignition engines and pump sets

- fire brigade booster connections

- water storage systems

- alarms and interface with automatic fire and detection systems

Smoke and heat vents

These are openings installed on the roof to discharge smoke and heat generated by fire.

#### 3.1.3 Legislation Relevant to Fire Safety Systems

Following legislation mandating fire safety systems installation is central to protecting the building and its occupants from the undesirable consequences of fire.

The table below shows acts and regulations to fire safety specific to certain states or territories. Note that the table below does not show all fire safety legislation in your state/territory; you should still conduct further research or consult with an Appropriate Authority to ensure that all relevant fire legislation requirements that apply to you are followed.

| State/Territory | Fire Safety Legislation |
| --- | --- |
| Australian Capital Territory | - Building (General) Regulation 2008 - Emergencies Act 2004 |
| New South Wales | Environmental Planning and Assessment Regulations 2000 |
| Northern Territory | Fire and Emergency Act 1996 |
| Queensland | Building Fire Safety Regulation 2008 |
| South Australia | Fire and Emergency Services Act 2005 |
| Tasmania | General Fire Regulations 2010 |
| Victoria | - Building Act 1993 - Building Regulations 2006 |
| Western Australia | Fire and Emergency Services Act 1998 |

|  | Checkpoint! Let’s review - Give at least two fuels associated with a Class B fire. - Identify and explain the function of two active fire protection elements. - Identify a fire safety legislation in your state/territory. |
| --- | --- |

### 3.2 Determine Level of Fire Resistance Required for the Construction of Buildings up to Three Storeys

#### 3.2.1 Fire Resistance Level

The fire resistance level (FRL) refers to the ability of a building or a building element to withstand fire under test conditions for a certain period. A building element that achieves the FRL appropriate for that element is considered a fire-resisting element.

AS/NZS 1530.4 covers methods for fire tests conducted on building materials, components and structures. These tests are conducted in a laboratory to determine the fire resistance of elements of construction.

In these tests, a representative sample of the element is subjected to tests and monitored based on the following criteria:

Fire resistance is expressed as the time for which the criteria have been satisfied. This is written in the order that they are presented above. For example, 120/30/30 is interpreted as the tested element having 120 minutes of structural adequacy, 30 minutes of integrity and 30 minutes of insulation. Sometimes, you will see a dash in place of a value, such as -/60/60. This means that only the integrity and insulation were tested for and there is no requirement for structural adequacy.

#### 3.2.2 Required Type of Fire-resisting Construction

A fire-resisting building or structure must be provided with the FRL that the NCC specifies. To construct a fire-resisting building, you must use the minimum type of fire-resisting construction. Fire-resisting construction is based on building classifications and rise in storeys.

Before you can determine the type of fire-resisting construction needed for your building, you must first learn how to calculate storeys. A storey refers to the space within a building that is situated between one floor level and the floor level above it. If there is no floor above it, the ceiling or roof above will be counted. However, the ceiling or roof will not be counted if it contains only the following:

- sanitary compartments such as a bathroom, shower room, or laundry room

- a lift shaft, stairway, or meter room

- maintenance equipment such as air conditioning units

- accommodation intended for more than three vehicles

- mezzanine

For example, a building has three floors, but the third floor only contains a mezzanine. This means that this building only has two storeys given the condition above.

Now that you have calculated the rise in storeys, you may refer to the table below to determine the minimum type of construction required for your building:

| Rise in Storeys | Class of Building 2, 3, 9 | Class of Building 5, 6, 7, 8 |
| --- | --- | --- |
| 4 or more | A | A |
| 3 | A | B |
| 2 | B | C |
| 1 | C | C |

Buildings classified as class 2, 3 and 9 with a maximum of two storeys require type B construction.

Buildings classified as class 5, 6, 7 and 8 with a maximum of three storeys require type B construction.

In terms of fire-resistance, Type B construction falls somewhere in between Type A which is the most fire-resistant and Type C which is the least fire-resistant.

Based on the National Construction Code 2019. © Commonwealth of Australia and the States and Territories 2019, published by the Australian Building Codes Board.

|  | Checkpoint! Let’s review - What are the criteria for determining the fire resistance of an element? Explain how these are interpreted. - What is the type of fire-resisting construction required for a Class 2 building with one storey? |
| --- | --- |

### 3.3 Apply NCC Requirements with Respect to Passive and Active Fire Protection to Buildings up to Three Storeys

The purpose of fire safety systems is to stop or slow the spread of flames and smoke in a fire, allowing fire personnel to safely access the building during a fire. If a building is not designed with the appropriate elements, it may collapse and put people at risk.

In the next part, the requirements specified by the NCC regarding both passive and active fire protection requirements will be discussed. Relevant Australian Standards will also be identified. Note that other applicable AS and NCC requirements may not have been mentioned. As such, it is recommended that you look them up or consult with an Appropriate Authority to check which applies to your building.

#### 3.3.1 Passive Fire Protection Requirements

As mentioned earlier, passive fire protection measures typically refer to the components and materials that help maintain the structural fire protection of a building. The table below summarises the NCC requirements of passive fire protection elements and the respective Australian Standards.

| Passive Fire Protection | NCC Requirements | Relevant Australian Standards |
| --- | --- | --- |
| Fire-resisting building elements | - Must be constructed entirely of non-combustible materials subject to AS 1530.1 - Combustibility Tests for Materials - Must be designed to achieve the fire-resistance level according to the relevant AS | - AS/NZS 2327, AS 4100 and AS/NZS 4600 if it is a steel or composite structure - AS 3600 if it is a concrete structure - AS 1720.4 if it is a timber element other than fire-protected timber - AS 3700 if it is a masonry structure |
| Non-combustible building elements | In a type B construction, the following elements must be non-combustible: - external walls and common walls, including all incorporated components such as façade framing and insulation - flooring and floor framing - shaft (applicable if the shaft is non-loadbearing and not used for discharging hot products) Examples of non-combustible materials, according to NCC are: - plasterboard - perforated gypsum lath with a normal paper finish - fibrous-plaster sheet - fibre-reinforced cement sheeting | AS 1530.4 |
| Fire doors | - Must be able to fulfil all relevant test requirements - Must be self-closing which means that the door must fully close immediately every time it is opened - Must automatically close when the sensor is triggered or when power supply is lost - Must have latch sets and closers marked as required - Must have a metal tag attached as required by AS 1905.1 | AS 1905.1 |
| Fire windows | Must be constructed and installed identical to a tested an approved prototype | AS 1530.4 |
| Fire shutters | - Must be constructed and installed identical to a tested an approved prototype - Must operate automatically and close at a rate of 0.25 to 0.3 meters per second - Must maintain integrity as required | AS 1905.2 |
| Smoke doors | - Smoke should not pass through from one side of the doorway to the other end. If the smoke door is glazed, danger of a person accidentally walking into it must be minimised. - Smoke doors can be one or two leaves and must: - swing in the direction of egress or both directions - resist smoke at 300 degree Celsius for 30 minutes - have leaves fitted with smoke seals | AS 6905-2007 |
| Proscenium walls (fire curtains) | - Made of non-combustible material - Must stop penetration of smoke around the perimeter when fully lowered |  |

Based on the National Construction Code 2019. © Commonwealth of Australia and the States and Territories 2019, published by the Australian Building Codes Board.

#### 3.3.2 Active Fire Protection Requirements

On the other hand, active fire protection is the use of firefighting techniques and equipment to fight the source of a fire and extinguish it. The table below shows active fire protection elements with their respective NCC requirements and Australian Standards.

| Active Fire Protection | NCC Requirements | Relevant Australian Standards |
| --- | --- | --- |
| Smoke and heat alarm systems | - Must be able to sense the presence of a fire and identify its location - Must advise the fire brigade if required - Must be in a building where sprinklers are not installed - Must be connected to a building occupant warning system - In places like the kitchen where there is a lot of smoke that can confuse a smoke alarm system, you are advised to install a heat alarm instead | AS 3786 |
| Smoke and Heat Detection Systems | - Must be able to sense the presence of a fire and identify its location - Must advise the fire brigade if required - Must be able to switch air handling system into smoke ventilating mode - Must close smoke and fire-isolating doors as necessary - Must activate necessary fire pumps - In places like the kitchen where there is a lot of smoke that can confuse a smoke alarm system, you are advised to install a heat alarm instead | AS 1670 |
| Fire hose reel systems | - Must be long enough to reach every floor or storey where it is installed by laying the hose along normal lines of access - For 19 mm hoses, there must be a water supply rate of at least 0.33 litres/second - For 25 mm hoses, there must be a water supply rate of at least 0.41 litres/second | AS 2441 |
| Portable fire extinguishers | - Must be marked with the class and size of fire for which they have been successfully tested - Must be located in conspicuous and accessible locations - Locations must have appropriate signage | - AS 1850 - AS 2444 |
| Fire hydrants | - Must be installed according to AS 2419.1 - Must be located to provide coverage to every part of the building or site that requires coverage - Must meet the required minimum flow of water at all times - Must be readily accessible to firefighting personnel | AS 2419.1 |
| Emergency warning and intercom systems | Must have the following facilities: - a master emergency control panel (MECP) - any necessary additional emergency control panels (ECP) - necessary distribution system to transmit a warning signal to each evacuation zone | AS 1670.4 |
|  | - a warden intercommunication point (WIP) on each floor or in each evacuation zone - a notice at each ECP with clear instructions on how to operate them - an interconnection with the building fire alarm system |  |
| Building Occupant Warning System | - Must have a sound system for an emergency that is triggered by the fire-detection system - Must have electronic sounders or amplified sound systems that produce an evacuation signal - Evacuation signal must operate simultaneously throughout the building | AS 1670.4 |
| Emergency escape lighting and signs | - Be installed according to AS 2993.1 - Automatically operate when there is power supply failure in the main lighting system - Luminance must be appropriate to: - the use and size in the floor area of the building - the distance to the exits | AS 2293.1 |
| Automatic fire sprinkler systems | - Must comply with AS 2118 - Must be maintained in accordance with AS 1851-2005 Section 2 | - AS 2118.1 - AS 2118.4 - AS 2118.6 |
| Smoke and heat vents | Must have the following components: - vents and their operating mechanism - draught curtains - inlet ventilation | AS 2665 |

Based on the National Construction Code 2019. © Commonwealth of Australia and the States and Territories 2019, published by the Australian Building Codes Board.

Aside from the relevant AS for the fire protection elements, there are also other AS that are specific to buildings that need a higher degree of fire protection. These are commonly buildings located in areas with greater risk of fires.

An example is the AS 3959 which covers the safety requirements of buildings in bushfire-prone areas. The requirements that you have to comply with depend on the Bushfire Attack Level (BAL), which refers to the measure of the severity of a building’s exposure to ember attack, radiant heat and direct flame contact. BAL is measured in increments of radiant heat. The following are the six categories of BAL:

- BAL Low

- BAL 12.5

- BAL 19

- BAL 29

- BAL 40

- BAL Flame Zone

Construction measures range from ember protection at the lowest level to direct flame protection at the highest level.

Based on Building in bushfire prone areas. © State of Victoria (Department of Environment, Land, Water and Planning)

|  | Checkpoint! Let’s review - Recall one passive fire protection element and identify its requirements and relevant Australian Standard(s). - Recall one active fire protection element and identify its requirements and relevant Australian Standard(s). |
| --- | --- |

### 3.4 Check Passive and Active Fire Protection Requirements are Applied during and on Completion of Works

Fire protection requirements must be applied not just to completed buildings, but to buildings under construction as well. This is because construction sites are particularly prone to fire because of activities such as:

- Soldering, welding and brazing

- Thermal spraying

- Cutting

- Grinding steel

- Using a blow torch

- Installing heat-applied materials

You have the responsibility to ensure that fire protection requirements are provided and installed. You must also check that each requirement works properly and as designed. To do this, you must conduct the following activities during and on completion of building works:

Based on Business Fire Safety Checklist. © 2006-2020 Minot, ND and its representatives

|  | Checkpoint! Let’s review - Identify construction activities that increase the risk of fire in a construction site. - Identify two activities to be conducted to ensure that fire safety equipment is provided and installed properly. |
| --- | --- |

# References

9001Quality. (2014, November 17). The Plan Do Check Act (PDCA) cycle. ISO 9001 – Quality Management Knowledge Center. http://9001quality.com/plan-do-check-act-pcda-iso-9001/

Australian Building and Construction Commission. (2018a, August 19). Consequence of non-compliance. Www.Abcc.Gov.Au. https://www.abcc.gov.au/building-code/contractors/compliance-code/consequence-non-compliance

Australian Building and Construction Commission. (2018b, August 19). How the ABCC monitors compliance with the Code. Www.Abcc.Gov.Au. https://www.abcc.gov.au/building-code/contractors/compliance-code/how-abcc-monitors-compliance-code

Australian Building and Construction Commission. (2018c, August 19). What is “building work” under the Code? Www.Abcc.Gov.Au. https://www.abcc.gov.au/building-code/what-code/what-building-work-under-code

Australian Building Codes Board. (2015). Understanding the NCC: Development of Performance Solutions. Abcb.Gov.Au. https://www.abcb.gov.au/Resources/Publications/Education-Training/Development-of-Performance-Solutions

Australian Building Codes Board. (2017a). Understanding the NCC: Building Classifications. Abcb.Gov.Au. https://www.abcb.gov.au/Resources/Publications/Education-Training/Building-classifications

Australian Building Codes Board. (2017b). Understanding the NCC: How to comply with the NCC. Www.Abcb.Gov.Au. https://www.abcb.gov.au/Resources/Publications/Education-Training/How-to-comply-with-the-NCC

Australian Building Codes Board. (2019). National Construction Code.

Building Documentation. (2013, June 6). Master Builders WA. https://www.mbawa.com/building-documentation/

Business fire safety checklist. (n.d.). City of Minot North Dakota. Retrieved July 9, 2020, from https://www.minotnd.org/DocumentCenter/View/278/Business-Fire-Safety-Checklist-PDF

Commonwealth of Australia. (2020, June 4). Building and construction industry. Business.Gov.Au. https://www.business.gov.au/Planning/Industry-information/Building-and-construction-industry

Commonwealth of Australia. (2020, January 9). Work Health and Safety. Business.Gov.Au. https://www.business.gov.au/risk-management/health-and-safety/whs-oh-and-s-acts-regulations-and-codes-of-practice

Construction contract basics. (2014). Fortneylawgroup.Com. http://www.fortneylawgroup.com/faqs/Components-of-a-Written-Negotiated-Construction-Contract.html

Designing Buildings Wiki. (2019, June 18). Working drawing. Www.Designingbuildings.Co.Uk. https://www.designingbuildings.co.uk/wiki/Working_drawing

Designing Buildings Wiki. (2020, March 10). Performance specification. Www.Designingbuildings.Co.Uk. https://www.designingbuildings.co.uk/wiki/Performance_specification

Fire hose reel system. (2017, November 10). Grundfos.Com. https://www.grundfos.com/service-support/encyclopedia-search/fire-hose-reel-systems.html

How ‘The Running Man’ Changed Exit Signs in Australia. (n.d.). Brilliant Lighting. Retrieved June 26, 2020, from https://brilliantlighting.com.au/2018/03/07/running-man-changed-exit-signs-australia/

FireSafe. (n.d.). Fire Extinguisher Certification & Fire Testing, Sydney, Australia | Fire Safe. Www.Firesafe-Au.Com. Retrieved June 25, 2020, from https://www.firesafe-au.com/fire-sprinkler-systems/

Model WHS Laws. (2020, March 20). Safeworkaustralia.Gov.Au; Safe Work Australia. https://www.safeworkaustralia.gov.au/law-and-regulation/model-whs-laws

NSW Government. (2018). A Guide to Australian Building Product Conformity. https://www.saplanningportal.sa.gov.au/__data/assets/pdf_file/0006/439530/Guide_to_Australian_Building_Product_Conformity.pdf

Quality Assurance and Quality Control. (2015). Asq.Org; American Society for Quality. https://asq.org/quality-resources/quality-assurance-vs-control

Queensland Fire and Emergency Services. (2016). Queensland Fire and Emergency Services. https://www.qfes.qld.gov.au/community-safety/home/documents/QFES-InfoSheet-Extinguishers.pdf

Safe Work Australia. (n.d.). Summary of the model work health and safety bill. Safeworkaustralia.Gov.Au. https://www.safeworkaustralia.gov.au/system/files/documents/1702/summary_model_work_health_safety_bill_may10.pdf

Specification Writing Specification writing i. (2019). https://www.natspec.com.au/images/PDF/Specification_Writing_Paper.pdf

The American Society for Quality. (2015). What is a Quality Management System (QMS)? | ASQ. Asq.Org. https://asq.org/quality-resources/quality-management-system

The Australian Building Codes Board. (2019). The Evidence of Suitability.

The Victorian Building Authority. (n.d.). Essential Safety Measures Maintenance Manual. https://www.vba.vic.gov.au/__data/assets/pdf_file/0004/99220/Essential-Safety-Measures-Maintenance-Manual.pdf

Types of construction contracts in Australia. (2019, March 14). Www.Designingbuildings.Co.Uk. https://www.designingbuildings.co.uk/wiki/Types_of_construction_contracts_in_Australia#Residential_contracts

Using assessment methods | Australian Building Codes Board. (2016). Abcb.Gov.Au. https://www.abcb.gov.au/Resources/Publications/Education-Training/Assessment-Methods

Victoria State Government. (2019, October 29). Building in bushfire prone areas. Victoria State Government. https://www.planning.vic.gov.au/policy-and-strategy/bushfire-protection/building-in-bushfire-prone-areas

Watt, A. (2014, August 15). Stakeholder Management. Opentextbc.Ca. https://opentextbc.ca/projectmanagement/chapter/chapter-5-project-stakeholders-project-management/

End of Document