## Summary
20195 Gatton Shire Hall Refurbishment
Code | Description | Total
TENDER SUMMARY
| PRELIMINARIES | 161227.6875
| FOYER REFURBISHMENT | 123919.22
| MECHANICAL SERVICES UPGRADE | 272827
| ELECTRICAL SWITCHBOARD/EMERGENCY LIGHTING | 130706
| COMMUNICATIONS UPGRADE (Including projectors & QSC System) | 92138
| LOWER LEVEL FIRE COMPLIANCE WORKS | 7795
| KITCHEN REFURBISHMENT | 82396.85
| EASTERN COURTYARD UPGRADE | 186876.83
| BAR AREA EXTENSION & REFURBISHMENT | 172305.73
| FRONT ENTRANCE DOOR WORKS | 27400
| METALWORK SCREENING AND GATES TO COURTYARDS | 58435
| NORTHERN CORRIDOR WORKS | 16567.219
| OLD BAR STORAGE ROOM WORKS | 6677
| ROOF RECTIFICATION WORKS | 95440
| ROOF SAFETY WORKS | 8910
| KITCHEN COLDROOM | 28083
| PRINCIPAL CAUSED DELAYS | 15000
| LOOSE AV EQUIPMENT | 3000
| ANTICIPATED CONTRIBUTION 8% | 119176.3879
| TOTAL | 1608880.9244

## 5-PRELIMINARIES
PRELIMINARIES
Code | Description | Quantity | Unit | Rate | Total
Programme
| Net Duration (Excl Delay allowance) | 13 | calendar weeks
| Delay Allowance (other) | 0 | weeks
| Inclement Weather Allowance |  | weeks
| Total Anticipated Programme Duration | 13 | weeks
| Minus Shutdowns (Xmas / Easter) |  | weeks
| Staffing Allowance | 13 | weeks
| Approximate Tender sum $ | 1650000
| Liquidated damages $ |  |  | ?
MANAGEMENT & SUPERVISION
1/1A | 1. ALL STAFF RATES REFLECT BNE/TOO STANDARD TOWN RATES - AUG 2019 |  | note
1/1B | 2. ALL STAFF RATES INCLUDE SALARY VEHICLE, FUEL , MOBILE PHONE AND IS COSTS |  | note
1/1C | 3: REFER TO EA MODELLING MATRIX FOR REGIONAL/REMOTE PROJECTS - APPLY ADJUSTMENT IN MARK UP COLUMN |  | note
1/1D | 4: CONSIDER WORK ROSTA AND ADDITIONAL RESOURCES TO COVER R&R |  | note
1/1E | 5: REFER TO PERFECT PROJECT PLAN FOR PROJECT STRUCTURE |  | note
HSEQ MANAGEMENT
1/1F | HSEQ Co-ordinator - 20% | 13 | weeks | 500 | 6500
| HR Training and Marketing Signage |  | item | 5000
DESIGN MANAGEMENT
| Project Manager |  | weeks | 5016 | 0
| Contracts Administrator |  | weeks | 2926 | 0
| Design Manager |  | weeks | 4332 | 0
PROJECT MANAGEMENT
1/1G | Construction Manager 10% | 0 | weeks | 5700 | 0
1/1H | Project Manager - 20% | 13 | weeks | 5016 | 13041.6
1/1J | Contracts Administrator - 100% | 13 | weeks | 2926 | 38038
1/1K | Construction Cadet - 0% |  | weeks | 1330 | 0
1/1L | Design Manager |  | weeks | 4332 | 0
| Design Co-ordinator |  | weeks | 2394 | 0
1/1M | Project Engineer |  | weeks | 3724 | 0
1/1N | Project Administrator |  | weeks | 1596 | 0
1/1P | **Total Project Management Weeks** | 26 | weeks |  | NA
SITE SUPERVISION
1/1Q | Site Manager |  | weeks | 4408 | 0
1/1R | Foreman | 13 | weeks | 3572 | 46436
1/1S | Sub Foreman |  | weeks | 2850 | 0
1/1T | HSE Advisor - Labourer |  | weeks | 2888 | 0
1/1U | **Total Site Supervision Weeks** | 13 | weeks |  | NA
SITE LABOUR (BASIC 50 HR/6 DAY WEEK WITH NO TRAVEL ALLOWANCE - CHECK WAGES FOR ADDITIONAL TRAVEL ALLOWANCES)
1/2A | Leading Hand |  | weeks | 2963 | 0
1/2B | Senior Tradesperson |  | weeks | 2815 | 0
1/2C | Tradesperson |  | weeks | 2595 | 0
1/2D | Skilled Labourer |  | weeks | 2505 | 0
1/2E | Labourer |  | weeks | 2040 | 0
| Apprentice |  | weeks | 1925 | 0
1/2F | Travel Allowance (If required) |  | weeks | 390 | 0
1/2G | **Total Site Labour Weeks** | 0 | weeks |  | NA
TRAVEL & ACCOMMODATION - REGIONAL WORK
Site Based
1/2J | Accomodation allowance or house rental |  | weeks | 500 | 0
1/2K | Furnishings to house |  | item | 5000 | 0
1/2L | Meal Allowance |  | weeks | 441 | 0
1/2M | Flights & Travel Allowance |  | trips | 500 | 0
1/2N | Fuel Allowance |  | weeks | 50 | 0
Visiting
1/2P | NOTE: Visit rate based on single day visit utilising Commercial Travel
1/2Q | Project Management |  | visits | 783 | 0
1/2R | Allowance for overnight accomodation |  | night | 333 | 0
RECRUITMENT, MEDICALS & INDUCTIONS
1/3H | Recruitment and employment costs |  | person | 1500 | 0
1/3J | Inductions - based on 1 day induction |  | person | 900 | 0
1/3K | Medicals |  | person | 900 | 0
1/3L | Training Requirements |  | person | 1500 | 0
INSURANCE & FEES
Insurances
1/3N | Fees - McNab (0.35% or 0.0035) | 0.0035 | % | 1650000 | 5775
Bank Guarantee's
1/3P | Contract retention by bank guarantee (2.925% of 5% of Contract - if required) CONSTRUCTION PERIOD (PER ANNUM) | 0.0014625 | % | 1650000 | 2413.125
1/3Q | Contract retention by bank guarantee (2.925% of 2.5% of Contract - if required) DEFECTS PERIOD | 0.00073125 | % | 1650000 | 1206.5625
QLeave
1/4A | P.L.S.L. - QLeave (0.575% or 0.00575) | 0.00575 | % | 1650000 | 0
SITE ESTABLISHMENT
Geotech and Site Survey / Set Out
1/4C | Additional Geotech and Testing |  | item | 5000 | 0
1/4D | Allow for Survey and Setting out | 10 | hours | 180 | 1800
1/4E | Supply set out materials. | 1 | item | 200 | 200
1/4F | Dumpy Level/Height Staff/Tripod (McNab Hire) | 8 | weeks | 42 | 336
Dilapidation Report
1/4G | Allow for preparing a dilapidation report for adjoining properties (by PM & CA) |  | item | 1500 | 0
| Allowance for plastic and 6mm plywood to be laid to protect existing flooring areas to Auditorium during works | 1 | item | 1000 | 1000
Fencing & Hoardings
1/4H | Temporary Chainwire Fencing | 126.14 | m | 10 | 1261.4
1/4J | Temporary Solid Hoarding |  | m | 180 | 0
1/4K | Temporary Signboard and Fence Banners | 1 | item | 1000 | 1000
Hardstanding
1/4L | Allowance for Washdown/Shakedown facility |  | item | 1500 | 0
| Access to neighbour's boundary |  | item | 10000 | 0
| Allowance for Hardstanding and Access Roads |  | m2 | 15 | 0
1/4N | Allowance for removal of temporary hardstanding |  | m2 | 5 | 0
1/4P | Allowance for repairs to existing roads and kerbs as necessary |  | item | 1500 | 0
Site Accommodation
| Site Shed [6m x 3m] - Utilise areas witihin building for site facilities |  | weeks | 55 | 0
1/4Q | Site Shed [12m x 3m] |  | weeks | 85 | 0
| Moving to building - set-up costs |  | item | 5000 | 0
1/5A | Meeting Room [6m x 3m] |  | weeks | 55 | 0
1/5B | 5 x WC Ablution block [6m x 3m] - Utilise existing amenties on site |  | weeks | 95 | 0
1/5C | extra for holding tank and steps |  | weeks | 85 | 0
1/5D | extra for pump outs if not connected to mains |  | weeks | 375 | 0
| Lunch/Change Shed [6m x 3m] |  | weeks | 55 | 0
1/5E | Lunch/Change Shed [12m x 3m] | 13 | weeks | 85 | 1105
1/5F | First Aid Shed [3.6m x 3m] |  | weeks | 45 | 0
1/5G | TOOL Container (McNab Hire) |  | weeks | 230 | 0
1/5H | STORE Container (McNab Hire) |  | weeks | 25 | 0
1/5J | Transportation to and from site $2/km | 2 | no | 370 | 740
Site Security Setup
1/5K | Arlo gateway and 2 cameras (basic) |  | item | 500 | 0
1/5L | additional cameras |  | no | 180 | 0
1/5M | monthly subscription | 0 | months | 30 | 0
Sundries
1/5N | Allowance for furniture and fittings | 13 | weeks | 50 | 650
1/5P | Labour for site establishment | 20 | hours | 45 | 900
1/5Q | Water bubblers including connections - min 1 every second level on multi rise projects (McNab Hire) (WHS) | 1 | no | 500 | 500
1/5R | Ice machine including connections (McNab Hire) (WHS) | 1 | no | 500 | 500
1/5S | Portaloo including connections - min 1 every third level on multi rise projects (McNab HIre) (WHS) |  | weeks | 50 | 0
1/5T | Covered Areas/Walkways (WHS) |  | weeks | 25 | 0
1/5U | Designated Smoking Areas (WHS) |  | weeks | 25 | 0
1/5V | Turnstile Entry System |  | item | 5000 | 0
TEMPORARY COMMUNICATIONS
1/6B | ALL STAFF I.S. EQUIPMENT AND MONTHLY CHARGES INCLUDED IN OVERHEADS |  | note
1/6C | CHECK WITH I.S. DEPARTMENT FOR AVAILABLE COVERAGE IN REGIONAL/REMOTE AREAS |  | note
IS Site Set-up (3G Connection)
1/6D | Site Router, Switch and Cables | 1 | item | 1950 | 1950
1/6E | 3G Connection | 13 | weeks | 12 | 156
1/6F | A3 Copier | 13 | weeks | 115 | 1495
IS Site Set-up (Satellite Connection)
1/6G | Satellite, 2 x IP Phones, Switch and Cables |  | item | 8295 | 0
1/6H | Satellite Connection |  | weeks | 580 | 0
1/6J | A3 Copier |  | weeks | 115 | 0
Radio / Intercoms
1/6K | Radio / Intercoms installation costs |  | item | 1500 | 0
1/6L | Repeater |  | weeks | 30 | 0
1/6M | Office 2 Way Radio Base Station (McNab Hire) |  | weeks | 18 | 0
1/6N | Mobile handset including battery charger / spare batteries (McNab Hire) |  | weeks | 9 | 0
1/6P | Radio Licence Fee |  | item | 750 | 0
TEMPORARY SERVICES
Hydraulics - Water
| Temporary Plumbing Fees (Op Works) |  | item | 5000 | 0
1/7A | Potable water tank/ bowser |  | item | 500 | 0
1/7B | Potable water supply |  | weeks | 500 | 0
1/7C | Water connections |  | item | 250 | 0
1/7D | Connect Sheds and Offices | 1 | item | 200 | 200
1/7E | Consumption charges | 13 | weeks | 100 | 1300
1/7F | Disconnection | 1 | item | 250 | 250
Hydraulics - Sewer
1/7G | Sewage Treatment Plant |  | item | 2000 | 0
1/7H | Sewage Treatment Plant pump out charges |  | weeks | 500 | 0
1/7J | Sewer connections |  | item | 500 | 0
1/7K | Connect Lunchroom | 1 | item | 300 | 300
1/7L | Disconnection | 1 | item | 250 | 250
Electrical
1/7M | 25 kVAGenerator and 400L Fuel Cell (McNab Hire) |  | weeks | 470 | 0
1/7N | Generator fuel supply |  | weeks | 215 | 0
1/7P | Power connections |  | item | 500 | 0
1/7Q | Main Board |  | no. | 650 | 0
1/7R | Sub-boards - 1 per 2500m2 or min 1 per level on multi rise projects (WHS) |  | no. | 350 | 0
1/7S | Pole |  | item | 800 | 0
1/7T | Connect Lunchroom | 1 | item | 350 | 350
1/7U | Consumption charges | 13 | weeks | 150 | 1950
1/7V | Disconnection | 1 | item | 250 | 250
Lighting
1/8A | Internal Emergency and Safety lighting (WHS) |  | m2 | 1.5 | 0
1/8B | External Floodlights/Security lighting |  | item | 500 | 0
Fire Services
1/8C | Fire Extinguishers | 1 | item | 200 | 200
1/8D | Temporary fire points |  | no | 500 | 0
1/8E | Allowance for temporary fire alarms |  | item | 1500 | 0
GENERAL EXPENSES
Site Safety
1/8G | First aid kit. | 1 | no. | 250 | 250
1/8H | Replenish stocks. | 13 | weeks | 25 | 325
1/8J | Protective clothing |  | sets | 200 | 0
1/8K | Site Safety signage (WHS). | 13 | weeks | 25 | 325
Site Office Expenses
1/8L | Consumables & Petty Cash | 13 | weeks | 25 | 325
1/8M | Stationery | 13 | weeks | 20 | 260
1/8N | Tea & coffee. | 13 | weeks | 15 | 195
1/8P | Toilet consumables | 13 | weeks | 20 | 260
SITE CLEANING & SECURITY
1/8R | CONFIRM RATES FOR BIN HIRE IN REGIONAL/REMOTE AREAS |  | note
Interim Cleaning
1/8S | Bin Hire - 6m3 including waste levy | 8 | each | 401 | 3208
1/9A | Bin hire - 12m3 including waste levy | 4 | each | 727 | 2908
| 2m3 bins - cranable |  | weeks | 15 | 0
1/9B | Asbestos waste per m3 |  | m3 | 100 | 0
1/9C | Contract cleaning [Offices and Amenities] (WHS) | 13 | weeks | 90 | 1170
1/9D | Food waste bins including disposal (WHS) |  | weeks | 15 | 0
1/9E | Allowance for Rubbish chute (multi level jobs) |  | item | 500 | 0
Final Clean
1/9F | Internal Areas (Residential) |  | unit | 600 | 0
1/9G | Internal Areas (Commercial) | 237 | m2 | 3 | 0
1/9J | External Areas | 230 | m2 | 0.5 | 0
| Refer quote from GSF Services | 1 | quote | 1590 | 1590
| Refer quote from Cleaning Solutions Brisbane |  | quote | 1950 | 0
| Refer quote from SEQ Services |  | quote | 16800 | 0
Site Security
1/9K | Allowance for Security Guard |  | weeks | 1800 | 0
1/9L | Allowance for visiting Security - 2 times per night |  | weeks | 500 | 0
PLANT & EQUIPMENT
1/9N | REFER TO SUPPLEMENTARY SECTION FOR GANTRIES, HOISTS AND FIXED CRANES |  | note
Transportation
1/9P | Dual Cab Ute (McNab Hire) |  | weeks | 490 | 0
1/9Q | extra for fuel and sundries |  | weeks | 75 | 0
1/9R | Hiace 12 seat Bus (McNab Hire) |  | weeks | 490 | 0
1/9S | extra for fuel and sundries |  | weeks | 75 | 0
Equipment Hire
1/10A | Allowance for McNab general equipment and tool hire | 13 | weeks | 100 | 1300
| Forklift | 2 | no | 250 | 500
Dewatering
1/10B | 50mm sumbersible pump and 30m flat house (McNab Hire) |  | weeks | 33 | 0
1/10C | extra for settlement tank |  | weeks | 25 | 0
1/10D | Delivery, installation, maintenance and removal charges |  | item | 900 | 0
Traffic Management
1/10E | Prepare, implement, update, maintain and amend Traffic Management Plan programme |  | item | 1500 | 0
1/10F | Traffic Control (2 men & LV with signs) | 2 | days | 1069 | 2138
1/10G | Water Barriers | 0 | m/wks | 2.3 | 0
| Water truck |  | trucks | 800 | 0
1/10H | Traffic Management signage. | 4 | weeks | 30 | 120
Crane Hire
1/10J | 50-100T Mobile Crane Hire including 2 no Dogmen (Minimum 4 hrs hire) |  | hours | 445 | 0
1/10K | 25T Franna Hire including 1 no Dogmen (Minimum 4 hrs hire) | 10 | hours | 310 | 3100
Materials Handling
1/10L | Telehandler Manitou MT1840 (McNab Hire) |  | weeks | 1000 | 0
1/10M | extra for fuel and sundries |  | weeks | 350 | 0
1/10N | Delivery and Removal Charges |  | item | 750 | 0
Plant Hire
1/10P | 8T Excavator including all attachments (McNab Hire) |  | weeks | 2300 | 0
1/10Q | extra for fuel and sundries |  | day | 50 | 0
1/11A | Bobcat S650 including attachments (McNab Hire) |  | weeks | 900 | 0
1/11B | extra for fuel and sundries |  | day | 50 | 0
1/11C | IZUZU Tipper (McNab Hire) |  | weeks | 630 | 0
1/11D | extra for fuel and sundries |  | day | 50 | 0
1/11E | Delivery and Removal Charges |  | item | 750 | 0
INTERNAL & EXTERNAL ACCESS
1/11G | NOTE: Scaffolding Hire - QUOTE FROM xxxxx |  | note
|  |  | quote |  | 0
External Access Scaffold
1/11H | External Scaffolding |  | m2 | 60 | 0
1/11J | Stretcher Stair Access (WHS) x 2 No. | 8 | m | 650 | 5200
1/11K | Secondary Stair Access (WHS) |  | m | 450 | 0
1/11L | Edge Protection (WHS) - to upper roof currently without edge/handrail protection | 50 | m | 90 | 4500
1/11M | Loading Bays (3m x 3m) |  | no | 1800 | 0
Internal Access Scaffold
1/11N | Internal Scaffolding |  | m2 | 60 | 0
1/11P | Staircase scaffold |  | m | 250 | 0
1/11Q | Lift Shaft scaffold |  | m | 250 | 0
1/11R | Internal Birdcage scaffold |  | m3 | 45 | 0
1/11S | Edge Protection (WHS) | 0 | m | 90 | 0
COMPLETION
1/11U | O&M Manuals | 1 | item | 1500 | 1500
PROJECT SPECIFIC REQUIREMENTS
1/12A | Scissor lifts x 1 / Mobile scaffold |  | weeks | 850 | 0
1/12B | 2 |  | item | 1000 | 0
1/12C | 3 |  | item | 1000 | 0
1/12D | 4 |  | item | 1000 | 0
COMPETITION:
Hutchies
G&K Lawson
Dart & Co
BSE Services
Taddio Building Group
Midson Construction
BSE Services
| Total |  |  |  | 161227.6875

## 6-FOYER REFURBISHMENT
FOYER REFURBISHMENT
Code | Description | Quantity | Unit | Rate | Total
REFURBISHMENT TO EXISTING FOYER
New floor, wall and ceiling coverings
New bench-top joinery and roller shutter to Kiosk/Bar
New paint to existing doors
Demolition
| Remove existing wall plaques and honour boards and reinstall to new wall linings | 4 | hours | 65 | 260
| Labour to strip out and remove existing joinery units, fixtures, carpet flooring, skirtings, wall and ceiling linings (3 men x 2 days) | 60 | hrs | 65 | 3900
Refer total quote from 470 Group - $44,990
Internal fitout
| 92mm stud wall framing | 23 | m2 | 45 | 1035
| 42 mm top hat battens fixed to masonry walls | 77 | m2 | 17.5 | 1347.5
| 13mm flushset plasterboard wall linings | 109 | m2 | 45 | 4905
| Square set ceiling/wall junctions and external corners | 119 | m | 15 | 1785
| Bulkhead framing | 27.84 | m | 45 | 1252.8
| Sloping framing to sklights wells | 23 | m2 | 60 | 1380
| 13mm flushset plasterboard ceilings including suspension system | 101 | m2 | 50 | 5050
| EO for perforated plasterboard to above item | 12 | m2 | 45 | 540
| 2400 x 600 x 25 Troldtekt drop-in acoustic ceiling panels | 22 | m2 | 130 | 2860
| Ceiling access panel | 1 | no | 250 | 250
| Ceiling insulation - R3.5 Bradford gold batts 185mm thick | 125 | m2 | 13.5 | 1687.5
| Timber skirting | 31.88 | m | 6.5 | 207.22
| CSR Himmel Ultraflex 32 x 32 MDF battens installed vertically on black backing board (wall linings) - CSR March supply price $598.75/m2 | 55 | m2 | 600 | 33000
| Suspension system to batten ceiling | 23.7 | m2 | 35 | 829.5
| CSR Himmel Ultraflex 32 x 32 MDF battens installed to ceiling on acoustic black backing - CSR March supply price $272.73/m2 | 23.7 | m2 | 600 | 14220
| EO for end caps, service penetrations and fixings | 1 | item | 1300 | 1300
| Labour to install to walls | 60 | hours | 65 | 3900
| Labour to install to ceilings | 40 | hours | 65 | 2600
| Refer quote from Johnston Kitchens (total $115,895 for foyer & bar timber battening, bar stone top and SS joinery, Kitchen SS joinery and cabinet, knotwood battens to external bar roof parapet and external knotwood vertical battens) |  | item | 39690
Door & hardware
| DJ2 & 3 - New hardware to existing doors | 2 | no | 366 | 732
| DJ2 & 3 - New door pull handles fitted to existing doors - Entro EW1300series 600mm long x 400 CTC x 72 brass handles | 4 | no | 570 | 2280
| Labour to install | 4 | hours | 65 | 260
Signage
| Allowance for signage to switchboard | 1 | item | 150 | 150
| Wayfinding Etnry signage to street frontage and hearing augmentation signage - refer quote from Wood & Wood | 1 | quote | 1232 | 1232
Tiling
| TL1 floor tiling - Johnson tiles Peak Antracite matt finish 300 x 600 with epoxy grout | 78 | m2 | 150.8 | 11762.4
| TL2 insert border floor tile 200 x 600mm with epoxy grout | 27 | m | 30 | 810
| 3mm aluminium edge strip between all floor finish changes | 32 | m | 20 | 640
| TL3 wall tiling - Johnson tiles Pastella white (70% gloss & 30% matt) 65mm x 265mm with epoxy grout | 9 | m2 | 149.7 | 1347.3
Refer quote from Six Star Group (total - $22510.34)
Carpet Floorcoverings
| Shaw Contract cushion backed carpet tiles | 44.78 | m2 | 100 | 0
| Refer quote from Asset Flooring Group (total - $9,940) | 1 | quote | 4250 | 4250
| Refer quote from Carpet One including coving and skim coat to vinyl (total - $10,500). Recessed entry door carpet mat not allowed |  |  |  | 0
| Refer quote from Andersens Gatton (total - $11,038) |  | quote | 4634 | 0
| Refer quote from OzFloor including 150mm coving. Excludes skim coat for vinyl areas (total - $11,450) |  | quote | 4750 | 0
| Refer quote from PKF flooring (total - $13,284) |  |  |  | 0
Painting
| Painting plasterboard wall and celings | 129 | m2 | 16 | 2064
| Sand and prepare existing varnished doors (and panels above) and repaint with Dulux The Remarkables | 6 | no | 250 | 1500
| Paint existing aluminium door frame to corridor | 1 | item | 250 | 250
Refer painting quotes from (totals):
Imperial Coatings - $10,223 + $760 for rendering
A & R Painting - $19,000
Horizon Coatings - $30,078
GNT Painting - $55,200 + $60/m2 for rendering
Painter Network - $140,457
Bar Servery Top
| Caesarstone counter top - 5500mm long x 210mm wide x 50/120mm high c/w packing to form recess for strip lighting | 5.5 | m | 500 | Included
| Accent Benchtops quote | 1 | quote | 2520 | 2520
| Aspect quote (total $14,553) |  |  |  | 0
Motorised Roller Shutter
| Series 2 aluminium slotted roller shutter with master keyable locking mechanism, manual operation - 5500mm wide x 1350mm high (FFE - motorised, Spec - manual operation ??) | 1 | no |  | i=Included
| All Doors quote | 1 | quote | 5810 | 5810
| Arco quote (motorised) |  | quote | 7217 | 0
| Mirage quote for single motorised roller shutter |  | quote | 8739 | 0
| Mirage alternative offer for 2 x manual roller shutters |  | quote | 5135 | 0
| Best Doors Toowoomba quote |  | quote | 8470 | 0
Furniture
| Bench seat with plant - Stylecraft Rombo (refer quote) | 1 | quote | 5617 | 5617
| Labour to install client supplied wall mounted TV | 2 | item | 100 | 200
| Allowance for fire extinguishers | 1 | item | 185 | 185
| Total |  |  |  | 123919.22

## 7-MECHANICAL SERVICES UPGRADE
MECHANICAL SERVICES UPGRADE
Code | Description | Quantity | Unit | Rate | Total
MECHANICAL UPGRADES ACROSS SITE
Replacing roof-top packaged A/C units and re-use existing ductwork
New split unit to service the Control Room
New A/C unit and ventilation system to Stage Area
Removing existing roof mounted fans in the Hall and Stage
Undertake duct cleaning to all existing rigid ductwork
Mech quotes:
| Refer quote from Marsh Air Conditioning (Daikin option) - revised for addendum 6 | 1 | quote | 270327 | 270327
Rev | Refer quote from Marsh Air Conditioning (Actron option) |  | quote | 277635 | 0
| Refer quote from Effective Airconditioning Services - revised for addendum 6 |  | quote | 304832 | 0
| Refer quote from Airtech (price still current based on addendum 6) |  | quote | 329000 | 0
| Refer quote from Alpine Refrigeration (price based on construction issue 1 drawings) |  | quote | 336200 | 0
| Refer quote from Garden City Ref & Aircon (price still currrent based on addendum 6) |  | quote | 344014 | 0
| Refer quote from Carseldine Air Conditioning (price based on addendum 6) |  | quote | 461530 | 0
| Allowance for plant platform for new package unit | 1 | item | 2500 | 2500
Refer price from CBM Services Group (dated 11 March 2020 - $249,590)
| Total |  |  |  | 272827

## 8-ELECTRICAL SWITCHBOARD EMERGE
ELECTRICAL SWITCHBOARD/EMERGENCY LIGHTING
Code | Description | Quantity | Unit | Rate | Total
ELECTRICAL UPGRADES ACROSS SITE
Upgrading and replace existing internal lighting
Upgrade and replace existing switchboard
New PA system to foyer room
Alterations to existing GPO's and additional GPO's
Upgrading and replace existing building perimeter lighting
Alterations to existing Exit and Emergency light to address compliance
New projector and screen to Auditorium
Dry fire works included in addendum 5
Elect quotes:
| Refer quote from Nic Connolly Electrical (includes comms & dry fire, excludes AV systems) | 1 | quote | 130706 | 130706
| Refer quote from O'Brien Electrical (without nominated subcontractor AV system works) - revised to include dry fire |  | quote | 161950
| Refer quote from O'Brien Electrical (including nominated subcontractor AV system works) - revised to include dry fire |  | quote | 262480
| Refer quote from Livewired Electrical (no dry fire) Excludes AV systems - price based on addendums up to 3 only |  | quote | 149970
Fire Services
| Refer quote from FireComm (for removal and reinstatement of existing FIP and removal and reinstatement of smoke and heat detectors and evac speakers on ceilings being replaced) |  | quote | 9995 | 0
| Total |  |  |  | 130706

## 9-COMMUNICATIONS UPGRADE Inclu
COMMUNICATIONS UPGRADE (Including projectors & QSC System)
Code | Description | Quantity | Unit | Rate | Total
Nominated audio visual sub=-contractor
| Refer quote from Brisbane Sound Group | 1 | quote | 82462 | 82462
| Less PC Sum for loose AV items | -1 | no | 3000 | -3000
| Additional costs for Hearing Augmentation as per Addendum #5 | 1 | quote | 12676 | 12676
| Total |  |  |  | 92138

## 10-LOWER LEVEL FIRE COMPLIANCE
LOWER LEVEL FIRE COMPLIANCE WORKS
Code | Description | Quantity | Unit | Rate | Total
NEW CLEANERS CUPOARD
Demolish existing joinery to cleaners cupboard underneath stairs
Demolish existing door set ot old cleaners cupboard and patch hole
Construct new stud framed cleaners cupboard to lower basement
Install joinery as required
Demolition
| Labour to remove existing door and joinery | 1 | item | 100 | 100
| Disconnect and make safe kiln to Pottery room | 1 | item | 100 | 100
Internal fitout
| 64mm stud wall framing | 14 | m2 | 35 | 490
| Ceiling battens | 4 | m2 | 25 | 100
| Bulkhead framing around steel beam | 1 | item | 75 | 75
| 13mm flushset plasterboard wall and ceiling linings | 33 | m2 | 45 | 1485
| Square set ceiling/wall junctions and external corners | 34 | m | 15 | 510
| Timber skirting | 1 | item | 50 | 50
Door & hardware
| New aluminium framed door frame to suit double timber door - 1000mm wide x 2000mm high | 3 | no | 350 | 1050
Refer quote from Argus Vison (total $51,466) including alum door frames for timber doors
Refer quote from Scope Doors & Windows (total $52,555) including alum door frames for timber doors
Refer GJames quote (total $58,0191) includes aluminium door frames for timber doors
Refer quote from Division Windows (total $59,100) includes alum door frames for timber doors
Refer Bradnams revised quote (total $74,050) includes aluminium door frames for timber doors
| DK17, 18 & 19 - supply internal solid core double doors (non-rebated) - 2040 x 1000mm c/w hardware | 3 | no | 375 | 1125
| Labour to install | 3 | no | 200 | 600
| Remove existing door locking hardware to Pottery Room to allow full access at all times | 1 | item | 40 | 40
| Allowance for fire extinguishers | 1 | item | 350 | 350
Painting
| Painting to plasterboard wall and ceilings | 10 | m2 | 25 | 250
| Painting to doors | 6 | no | 120 | 720
Refer painting quotes from (totals):
Imperial Coatings - $10,223 + $760 for rendering
A & R Painting - $19,000
Horizon Coatings - $30,078
GNT Painting - $55,200 + $60/m2 for rendering
Painter Network - $140,457
Existing Stairs
| Infill treads with timber risers | 1 | item | 750 | 750
| Total |  |  |  | 7795

## 11-KITCHEN REFURBISHMENT
KITCHEN REFURBISHMENT
Code | Description | Quantity | Unit | Rate | Total
KITCHEN REFURBISHMENT
Temporarily relocate existing joinery, fixtures, and furnishings
Demolish existing floor and wall linings
Repair damaged ceiling
Construct modifications to existing joinery
Construct new electrical, mechanical and hydraulic services
Internal demolition
| Electrical disconnections | 1 | item | 1000 | 1000
| Hydrulics disconnections and capping | 1 | item | 1000 | 1000
| Labour to disconnect and remove all existing kitchen appliances, SS joinery benches and shelving & salvage for reuse (3 men x 1 day) | 30 | hrs | 65 | 1950
| Labour to remove existing floor and wall tiling | 101 | m2 | 25 | 2525
| Floor griinding | 51.79 | m2 | 15 | 776.85
| Machine hire | 1 | item | 500 | 500
| Strip out existing ceiling cornices (without damaging ceiling sheeting) | 1 | item | 350 | 350
Refer total quote from 470 Group - $44,990
| Strip out and remove doors and metal frames | 2 | no | 65 | 130
| Brick cutting to wall to form new double door opening | 1 | item | 250 | 250
| Labour to demolish brickwork for larger door opening | 1 | hrs | 65 | 65
| Temporary propping | 1 | item | 100 | 100
| 150 x 100 x 10 UA brickwork lintel (neatly saw extension to existing opening in brickwork) | 1 | item | 450 | 0
| AG Rigging supply and install quote (total $36,800) | 1 | item | 1100 | 1100
| Sencova Steel Fabricators (total $48,000) |  |  |  | 0
| Fire resitant paint to door head (CAFCO 300 spray applied fire protection coating) | 1 | item | 500 | 500
| Permenantly fix shut existing louvre windows to make inoperable | 13 | no | 30 | 390
Brickwork
| Brick infills to existing door opening and side of door opening | 1 | item | 1000 | 0
| Refer quote from SCB | 1 | quote | 1585 | 1585
Internal fitout
| 92mm stud wall framing | 20 | m2 | 45 | 900
| 42 mm top hat battens fixed to masonry walls | 89 | m2 | 17.5 | 1557.5
| 6mm flushset villaboard wall linings | 89 | m2 | 52 | 4628
| Wall insulation R0.8 | 89 | m2 | 10.5 | 934.5
| Square set ceiling/wall junctions, external corners and window openings | 54 | m | 15 | 810
| EO to square set window openings | 13 | no | 100 | 1300
| Plasterboard ceiling (repaired as result of mech works) | 1 | item | 1000 | 1000
Door & hardware
| New aluminium framed door frame to suit timber double doors | 1 | no | 400 | 400
Refer quote from Argus Vison (total $51,466) including alum door frame for double timber doors
Refer quote from Scope Doors & Windows (total $52,555) including alum door frames for timber doors
Refer GJames quote (total $58,0191) includes aluminium door frames for timber doors
Refer quote from Division Windows (total $59,100) includes alum door frames for timber doors
Refer Bradnams revised quote (total $74,050) includes aluminium door frames for timber doors
| D10 - supply internal solid core double doors - 2100mm x 1450mm wide bat wing doors with glass viewing panels c/w hardware | 1 | no | 952 | 952
| Labour to install | 1 | no | 390 | 390
Floorcoverings
| Floor prep - Skim coat | 51.79 | m2 | 8.5 | 0
| VNL-01 Armstrong Safeguard R12 vinyl | 51.79 | m2 | 65 | 0
| Cove floor vinyl up wall to 100mm high | 33.03 | m | 20 | 0
| Refer quote from Asset Flooring Group including 1mm skim coat and coving to 100mm high (total - $9,940) | 1 | quote | 4190 | 4190
| Refer quote from Carpet One including coving and skim coat to vinyl (total - $10,500). Recessed entry door carpet mat not allowed |  |  |  | 0
| Refer quote from Andersens Gatton including 1mm skim coat and coving to 150mm high (total - $11,038) |  | quote | 5227 | 0
| Refer quote from OzFloor including 150mm coving. Excludes skim coat for vinyl areas (total - $11,450) |  | quote | 6700 | 0
| Refer quote from PKF flooring (total - $13,284) |  |  |  | 0
Joinery (cabinet)
| 1728mm wide x 830mm deep x 3000mm high - laminated finish, 6 shelves, 3 doors | 1.8 | m | 1200 | Included
| Weston Kitchens & Bathrooms price | 1 | item | 2100 | 2100
| Aspect quote (total $14,553) |  | item | 9053 | 0
| Refer quote from Johnston Kitchens (total $115,895 for foyer & bar timber battening, bar stone top and SS joinery, Kitchen SS joinery and cabinet, knotwood battens to external bar roof parapet and external knotwood vertical battens) |  | item |  | 0
Kitchen Joinery (Stainless Steel) - based on coldroom location Option 1
| Labour to reinstall existing SS benches and shelving as required | 30 | hours | 65 | 1950
| Custom SS 'L' shaped bench approx 2300 x 3000mm long x 900mm high x 600mm deep, open under with 1 mid-shelf under and 150mm high splashback and joined onto existing SS benchtop (304 grade SS) | 1 | no | 6223 | 0
| Allowance to cut back/remove bench returns to existing SS bench and rectify cut edges to match existing | 2 | no | 350 | 700
| Form new SS sink into existing SS benchtop | 1 | item | 700 | 0
| New SS single tier shelf - 1800Lx 400W | 1 | no | 500 | 0
| New SS single tier shelf - 2200Lx 400W | 1 | no | 500 | 0
| New SS single tier shelf - 2800Lx 400W | 1 | no | 550 | 550
Subbies quotes
| Refer quote from T & H Sheetmetal (total $31,471 for SS joinery and 3 x appliances). Missing 1 x SS shelf | 1 | item | 9655 | 9655
| Refer quote from A1 Custom Stainless Steel & Kitchens (total $23,051 for SS joinery to bar and kitchen) Revised pricing based on my BOQ |  | item | 9898 | 0
| Refer quote from WFM (total $51,654 for SS joinery to bar and kitchen, aluminium screeing and SS handrailing) |  | item | 11308 | 0
| Refer quote from Suncoast Sheetmetal (total for kitchen and bar $29,565 - includes some items being salvaged and reused) |  | item | 11333 | 0
| Refer quote from Johnston Kitchens (total $115,895 for foyer & bar timber battening, bar stone top and SS joinery, Kitchen SS joinery and cabinet, knotwood battens to external bar roof parapet and external knotwood vertical battens) |  | item | 25384
| Refer quote from Enfab (total $32,417 for SS joinery to bar and kitchen and 3 x appliances). Priced to incorrect drawings |  |  |  | 0
| Refer quote from Lamberts (total $96,561 for SS joinery to bar and kitchen, cold room, appliances and shelving) - late |  | item | 48276
| Coldroom option 2 - Extended SS bench 1500mm long x 900mm high x 600mm deep, open under with 1 mid-shelf under and 150mm high SS splashback to match existing (304 grade SS) - may not be required | 1 | no | 1300 | N/A
| Coldroom option 2 - New SS single tier shelf - 1700Lx 400W - may not be required | 1 | no | 500 | N/A
Appliances
| Unox Compact Combi Oven XEVC-0311-EPRM c/w 3 trays | 1 | no |  | Included
| Refer quote from T & H Sheetmetal | 1 | quote | 6675 | 6675
| Above pricing from JB Hi-Fi |  | quote | 7755.97 | 0
| Alternative product pricing from Procook - $6,575 for Techneka electric 5 tray GN1/1 |  |  |  | 0
| Refer price from Enfab in conjunction with SS joinery |  | quote | 6384 | 0
| Allowance for fire extinguishers | 1 | item | 500 | 500
Painting
| Internal walls and ceilings | 139 | m2 | 16 | 2224
| Double internal doors | 1 | no | 300 | 300
| Single internal door | 1 | no | 150 | 150
Refer painting quotes from (totals):
Imperial Coatings - $10,223 + $760 for rendering
A & R Painting - $19,000
Horizon Coatings - $30,078
GNT Painting - $55,200 + $60/m2 for rendering
Painter Network - $140,457
Hydraulic Services
| Allowance for council fees and inspections | 1 | item | 550 | 550
| Refer quote from PCP Solutions (total $58,534) | 1 | item | 27459 | 27459
| Refer quote from Redshaw Plumbing (total $77,273) |  |  |  | 0
| Allowance for fire collars to ceiling penos | 1 | item | 300 | 300
| Total |  |  |  | 82396.85

## 12-EASTERN COURTYARD UPGRADE
EASTERN COURTYARD UPGRADE
Code | Description | Quantity | Unit | Rate | Total
EASTERN COURTYARD REFURBISHMENT
Demolish existing non-compliant stairs (x2)
Reclaim existing pavers and handover to LVRC
Demolish existing non-compliant glazing to eastern facade of Auditorium
Construct new flooring, stairs and retaining to courtyard
Construct new glazed doors to eastern wall of Auditorium
Demolition
| Engage U/G services locator for existing stormwater drainage | 1 | item | 150 | 150
| Labour to lift and pack clay pavers (to be handed over to council) | 138.56 | m2 | 25 | 3464
| Brick and concrete saw cutting to external wall | 1 | item | 200 | 200
| Removal of 1 large palm tree | 1 | item | 1000 | 1000
| Machine hire to carry out demolition works to lift existing clay paving, remove exsting concrete stairs, garden beds, etc | 20 | hours | 110 | 2200
| Truck hire | 20 | hours | 100 | 2000
| Labour to assist with external demo, seat, bin and handrail removal, break up and remove floor tiling, switchboard enclosure removal, | 40 | hours | 65 | 2600
| Labour to remove existing aluminium doors and windows x 6 bays (to suit installation of new doors) | 36 | hours | 65 | 2340
Refer total quote from 470 Group - $44,990
Termite protection
| Cold joints | 45.01 | m | 20 | 900.2
Excavation
| Silt fence | 30 | m | 8 | 240
| Strip footing to retaining walls and edge thickening | 16 | m3 | 90 | 1440
| Excavate to reduce levels under SOG | 20 | m3 | 20 | 400
| Excavate for rubble drains | 2 | m3 | 120 | 240
| Spoil removal | 38 | m3 | 15 | 570
| Compact and final trim | 201.73 | m2 | 3.5 | 706.055
| Agi drain | 72 | m | 12.5 | 900
| Geo fab | 61 | m2 | 6.5 | 396.5
| Self-compact to rubble drain and retaining walls | 18 | m3 | 110 | 1980
| 50mm dust layer | 218 | m2 | 3.5 | 763
| Plastic membrane | 218 | m2 | 2 | 436
| Allowance for engineering inspections | 1 | item | 500 | 500
Concrete supply
| N25 concrete to strip footings and edge thickening | 14 | m3 | 155 | 2170
| N25 concrete to SOG 100mm (&150mm) thick and 3 x stairs | 33 | m3 | 155 | 5115
Concrete labour
| N25 concrete to strip footings and edge thickening | 14 | m3 | 75 | 1050
| Place and finish SOG 100mm thick | 212 | m2 | 30 | 6360
| Place and finish stair flights | 3 | no | 350 | 1050
| EO for forming to drain grate | 1 | item | 75 | 75
| EO for stencilcrete linear 1500 x 300 stretcher bond pattern - colour charcoal including to stair treads and risers | 221 | m2 | 40 | 8840
Formwork
| Class 5 formwork to form vertical edge thickenings | 55 | m2 | 80 | 4400
| 200mm edge formwork | 72.81 | m | 20 | 1456.2
| Stair formwork | 8 | m2 | 140 | 1120
Joints
| Labour to drill and dowel bars (N16) to existing footings and slab | 83 | no | 15 | 1245
| Dowelled joint including 10 x 25 sealant joint | 29 | m | 35 | 1015
| Isolation joint including 10mm ableflex and sealant joint | 8 | m | 22 | 176
| Sawn joint - 3mm saw cut, 25mm deep with sealant | 125.51 | m | 12.5 | 1568.875
Concrete testing & pumping
| Testing / pour | 5 | no | 500 | 2500
| Concrete pump | 4 | no | 500 | 2000
| Pumping | 47 | m3 | 35 | 1645
Reo supply and place
| Reo bar supply |  | tonne | 1300 | Included
| Reo mesh supply (SL72) | 262 | m2 | 6 | Included
| Reo mesh supply (SL92) | 1 | sheet | 85 | Included
Refer pricing from Lyndons (total $2,336) excludes civil reo and fabricated cages
Refer pricing from Wire Industries (total $5,785) Fabricated cages not allowed
Refer supply rates only from Infrabuild
Refer quote from Wagners (total 7,946) includes fabricated cages and civil reo
| Reo supply allowance | 1 | item | 4600 | 4600
| Bar place / tonne | 0.84 | tonne | 750 | 630
| Mesh place | 345 | m2 | 5.5 | 1897.5
Blockwork retaining walls
| 200 series corefilled blockwork including reo | 12 | m2 | 180 | 0
| Refer quote from SCB | 1 | quote | 3450 | 3450
Waterproofing
| Tanking/waterproofing to rear of block retaining wall | 6 | m2 | 50 | 0
| Refer quote from Garden City Waterproofing | 1 | quote | 250 | 250
Render
| Render and paint finish to block retaining wall | 15 | m2 | 60 | 900
Handrails
| Moddex powdercoated free-standing pipe disability handrails to stairs | 18 | m | 250 | Included
| Refer quote from Moddex (17m) | 1 | quote | 7744 | 7744
Tactiles
| SS tactiles | 4 | m2 | 450 | Included
| Stair nosing | 30 | m | 45 | Included
| CTA quote | 1 | quote | 3528 | 3528
| TSA quote |  | quote | 3949 | 0
Painting
| Painting to rendered columns | 23 | m2 | 25 | 575
Refer painting quotes from (totals):
Imperial Coatings - $10,223 + $760 for rendering
A & R Painting - $19,000
Horizon Coatings - $30,078
GNT Painting - $55,200 + $60/m2 for rendering
Painter Network - $140,457
New aluminium doors
| 4050mm wide x 3000mm high aluminium framed sliding doors (OXX) | 4 | no | 6000 | 24000
| 4050mm wide x 3000mm high aluminium framed with hinged door and fixed glass panels | 2 | no | 6375 | 12750
Refer quote from Argus Vison (total $51,466) including alum door frames for timber doors
Refer quote from Scope Doors & Windows (total $52,555) including alum door frames for timber doors
Refer GJames quote (total $58,0191) includes aluminium door frames for timber doors
Refer quote from Division Windows (total $59,100) includes alum door frames for timber doors
Refer Bradnams revised quote (total $74,050) includes aluminium door frames for timber doors
Garden Bed Construction
| Segmental concrete block retaining wall to sides of stairs | 3 | m2 | 300 | 900
| Reshape garden beds as required at stair locations | 1 | item | 500 | 500
| Allowance for garden soil | 1 | item | 200 | 200
| New landscaping - by Principal |  | Note |  | Excluded
Outdoor furniture
| Moodie Outdoor Products - Wing Bench, white concrete (310Kg each) | 8 | No
| Moodie quote including delivery to site | 1 | quote | 46934 | 46934
| Crane hire to unload and place in position including travel | 8 | hours | 150 | 1200
| Labour to unload and install in position | 16 | hours | 65 | 1040
Hydraulics
| Raise stormwater manhole lid to suit new levels | 1 | no | 500 | 500
| 150mm wide grated drain with SS heelguard grate (SAB drain 904) | 2 | m | 550 | Included
| Adjust existing irrigation pipework to suit | 1 | item | 250 | 250
| Refer quote from PCP Solutions (total $58,534) | 1 | item | 9379 | 9379
| Refer quote from Redshaw Plumbing (total $77,273) |  |  |  | 0
0
| EO for double skin brickwork to infill existing doorway | 1 | item | 250 | 250
| Block control joint with fire rated sealant | 5 | m | 25 | 125
| Backing rod and sealant between feature column and brickwork | 5 | m | 12.5 | 62.5
| Total |  |  |  | 186876.83

## 13-BAR AREA EXTENSION & REFURBI
BAR AREA EXTENSION & REFURBISHMENT
Code | Description | Quantity | Unit | Rate | Total
BAR AREA REFURBISHMENT
Demolish existing bar joinery and fixtures
Demolish existing vinyl flooring, ceiling, & wall linings throughout room
Construct new floor, wall, ceiling linings & roof structure
Construct new bar joinery and fixtures
Construct new cold room
Associated electrical, mechanical and hydraulic services upgrades
External Demolition
| Engage U/G services locator for existing stormwater drainage | 1 | item | 450 | 450
| Labour to lift and pack clay pavers (to be handed over to council) | 28.51 | m2 | 25 | 712.75
| Removal of 2 palm trees and shrubs | 1 | item | 1500 | 1500
| Machine hire to remove external gardens and paved areas | 10 | hrs | 110 | 1100
| Truck hire | 10 | hrs | 100 | 1000
| Brick saw cutting to external wall | 1 | item | 250 | 250
| Labour for external demo of brick wall, external door and eaves sheeting as required (2 men x 2 days). Salvage bricks for reuse to to infill door opening | 40 | hrs | 65 | 2600
Refer total quote from 470 Group - $44,990
Internal demolition
| Electrical disconnections | 1 | item | 500 | 500
| Hydrulics disconnections and capping | 1 | item | 500 | 500
| Labour to strip out and remove existing bar joinery, fixtures, doors, concertina stacking bar door, vinyl flooriing and saw cut and remove sections of existing concete floor slab for new u/s drainage (2 men x 3 days) | 60 | hrs | 65 | 3900
| Machine hire | 1 | item | 500 | 500
| Concrete floor cutting | 30 | m | 25 | 750
| Temporary internal wall at bar to maintain security | 7 | m | 100 | 700
Excavation
| Vacuum excvation | 1 | item | 2500 | 2500
| Machine hire for extension platform to reduce level, trim and compact | 1 | item | 1500 | 1500
| Excavation for strip footings and backhoe piers | 8 | m3 | 90 | 720
| Spoil disposal | 9.6 | m3 | 20 | 192
| Underslab dust 50mm | 23.86 | m2 | 6 | 143.16
| Underslab plastic membrane | 23.86 | m2 | 2 | 47.72
| Allowance for engineering inspections | 1 | item | 500 | 500
Termite protection
| Perimeter protection and cold joints (slab connection and U/S drainage) | 48 | m | 25 | 1200
| Penos | 13 | no | 25 | 325
| Form 16 certification | 1 | no | 300 | 300
Refer Bittn rates pricing
| Refer quote from Termi Home & Commercial |  | quote | 3310 | 0
Concrete Supply
| N25 concrete to BHP and SF | 11 | m3 | 155 | 1705
| N25 concrete to SOG, beam thickenings and set downs | 6 | m3 | 155 | 930
Concrete Labour
| Place concrete to BHP and SF | 11 | m3 | 75 | 825
| Place and finish concrete to SOG 100mm thick including make good to existing floor for u/s drainage (29m2 including set down for cold room) | 1 | item | 1800 | 1800
Formwork
| 200mm edge formwork | 13.6 | m | 25 | 340
| 150mm set down formwork | 10.5 | m | 22 | 231
Joints
| Labour to drill and dowel bars (N16 & 12) to existing footings and slab | 40 | no | 15 | 600
Concrete testing & pumping
| Testing / pour | 2 | no | 500 | 1000
| Concrete pump (allowed due to possible paver damage) | 2 | no | 750 | 1500
Reo supply and place
Refer pricing from Lyndons (total $2,336) excludes civil reo and fabricated cages
Refer pricing from Wire Industries (total $5,785) Fabricated cages not allowed
Refer supply rates only from Infrabuild
Refer quote from Wagners (total 7,946) includes fabricated cages and civil reo
| Reo supply allowance | 1 | item | 3450 | 3450
| Bar place / tonne | 1.2 | tonne | 750 | 900
| Mesh place | 29 | m2 | 5.5 | 159.5
Brick and Blockwork
| 200 series corefilled blockwork including reo | 50 | m2 | 180 | 0
| Face brickwork (Austral Bricks Urban One - Sea Salt) with feature pop-out bricks throughout Austral Brick Urban One - Chiffon) | 33 | m2 | 165 | 0
| EO for double skin brickwork to infill existing doorway | 1 | item | 250 | 0
| Block control joint with fire rated sealant | 5 | m | 22 | 110
| Backing rod and sealant between feature column and brickwork | 5 | m | 12.5 | 62.5
| Refer quote from SCB | 1 | quote | 20815 | 20815
Carpentry
| Timber bearing plates to top of block walls | 14 | m | 5.2 | 72.8
| PP1 200 x 58 smarl LVL15 pole plate fixed to block wall | 8.4 | m | 27 | 226.8
| R1 200 x 42 smarl LVL15 rafters at 1000mm crs | 43.8 | m | 19 | 832.2
| OR1 200 x 42 smarl LVL15 outriggers at 900mm crs | 14.4 | m | 19 | 273.6
| FB1 200 x 42 smarl LVL15 fascia beams | 6 | m | 19 | 114
| Plywood sheeting to base of box gutter | 1 | sheet | 80 | 80
| Allowance for bolts, fixings, chemsets, strapping, etc | 1 | item | 250 | 250
| Labour to install timber roof members (2 men x 3 days) | 60 | hrs | 65 | 3900
Structural Steel
| Steel parrapet fascia framing | 0.54 | tonnes | 7500 | 0
| AG Rigging supply and install quote (total $36,800) | 1 | item | 8470 | 8470
| Sencova Steel Fabricators (total $48,000) |  |  |  | 0
Metal roofing and flashings
| Trimdek roof sheeting - CB shale grey c/w metal roof battens and roof insulation | 29 | m2 | 90 | 0
| Box Gutter | 10 | m | 120 | 0
| 3 fold flashing - 450mm wide | 10 | m | 45 | 0
| Parrapet capping | 17 | m | 40 | 0
| Parrapet inner flashing | 17 | m | 75 | 0
| Downpipe and outlet | 1 | no | 250 | 250
| Custom C/B flashing above external brickwok | 20 | m | 50 | 1000
| C/B flashings to perimeter of green wall | 11 | m | 45 | 495
Refer quote from TNT roofing IRoof Rectification Works trade)
External cladding
| 12mm CFC cladding above external brick and abutting vertical juntion to existing brick walls | 21 | m | 150 | 3150
| 6mm FC sheeting to parrapet fascias including sarking and battens | 14 | m2 | 80 | 1120
| FC Eaves soffits - 600mm wide | 22 | m | 60 | 1320
| Horizontal timber feature battens to parrapets - Knotwood aluminium battens KEB5050M spotted gum 6050m lengths ($24/m & $5.10/end cap if required) | 1 | item | 4000 | 4000
| Labour to install alum battens (2 men x 1 day) | 20 | hrs | 65 | 1300
| Refer quote from Johnston Kitchens (total $115,895 for foyer & bar timber battening, bar stone top and SS joinery, Kitchen SS joinery and cabinet, knotwood battens to external bar roof parapet and external knotwood vertical battens) |  | item | 7302 | 0
| Build out to green wall - C15012 purlins | 14 | m | 25 | 350
| Framing and FC sheeting to face of green wall | 8 | m2 | 80 | 640
Green Wall
| Ronstan Easy Green Wire trellis system (vertical) - Ronstan price supply | 1 | item | 505 | 505
| Labour to install | 3 | hrs | 65 | 195
Garden Bed Construction
| Labour to prepare sub-base, relay salvaged pavers to form garden beds and infills against perimeter walls and prepare garden beds | 20 | hrs | 65 | 1300
| Allowance for garden soil and bedding sand | 1 | item | 200 | 200
| New landscaping - by Principal |  | Note |  | Excluded
Internal fitout
| 92mm stud wall framing to end of block wall for hydraulic vent riser | 1 | item | 80 | 80
| 42 mm top hat battens fixed to masonry walls | 67 | m2 | 17.5 | 1172.5
| 6mm flushset villaboard wall linings | 67 | m2 | 52 | 3484
| Wall insulation R0.8 | 67 | m2 | 10.5 | 703.5
| Square set ceiling/wall junctions and external corners | 85 | m | 15 | 1275
| Bulkhead framing | 10 | m | 45 | 450
| 6mm flushset villaboard ceilings including suspension system | 36 | m2 | 65 | 2340
| Ceiling insulation - R3.5 Bradford gold batts 185mm thick | 37 | m2 | 13.5 | 499.5
| Allowance for accessible bulkhead to house roller shutter | 1 | no | 1200 | 1200
| CSR Himmel Ultraflex 32 x 32 MDF battens laid horizontally on black backing board (behind bar) | 6 | m2 | 600 | 3600
| End caps and fixings | 1 | item | 200 | 200
| Labour to install | 10 | hours | 65 | 650
| Refer quote from Johnston Kitchens (total $115,895 for foyer & bar timber battening, bar stone top and SS joinery, Kitchen SS joinery and cabinet, knotwood battens to external bar roof parapet and external knotwood vertical battens) |  | item | 5108 | 0
Door & hardware
| New aluminium framed door frame to suit single timber door | 1 | no | 350 | 350
| New aluminium framed door frame to suit timber double doors | 1 | no | 400 | 400
Refer quote from Argus Vison (total $51,466) including alum door frames for single and double timber doors
Refer quote from Scope Doors & Windows (total $52,555) including alum door frames for timber doors
Refer GJames quote (total $58,0191) includes aluminium door frames for timber doors
Refer quote from Division Windows (total $59,100) includes alum door frames for timber doors
Refer Bradnams revised quote (total $74,050) includes aluminium door frames for timber doors
| D07 - supply internal solid core single door - 2400 x 920mm c/w 200w x 1500h viewing panel & hardware | 1 | no | 743 | 743
| Labour to install | 1 | no | 230 | 230
| D09 - supply external solid core rebated double doors - 2100mm x 1450mm wide c/w hardware | 1 | no | 1843 | 1843
| Labour to install | 1 | no | 325 | 325
Refer quote from Argus Vison for alum door frames (total $46,785)
Tiling
| TL4 floor tiling - Johnson tiles Peak Antracite grit finish 300 x 600 with epoxy grout | 29 | m2 | 153 | 4437
| TL4 skirting tile 150mm high | 33 | m | 25 | 825
| TL3 wall tiling - Johnson tiles Pastella white (70% gloss & 30% matt) 65mm x 265mm with epoxy grout | 6 | m2 | 149.7 | 898.2
Refer quote from Six Star Group (total - $22510.34)
Coldroom
3100 x 2250 x 2400mm high cold room with sliding door
| Quote from Askin ($23,612 for both coldrooms). Refrigeration excluded |  | item | 10720 | 0
| Refer quote from Subzero ($37,645 for both coldrooms including refrigeration and glass doors to bar coldroom) | 1 | item | 15500 | 15500
| Refer quote from Astra panels including 75mm concrete over 100mm insulated floor panel, hardener, coving, mesh and refrigeration and electrical |  | quote | 16310 | 0
| Astra alternative for outdoor unit |  | item | 1950 | 0
| Refer quote from Garden City Ref & Aircon (coldroom to bar only) |  | quote | 30000 | 0
| Refer quote from T & H Sheetmetal ( 2 x coldrooms c/w refrigeration and mantova shelving - total $54,280) |  | item | 27140 | 0
| Procook Custom double swing full glass fridge doors 1000mm wide x 2200mm high | 1 | no | 3220 | 0
| Freight allowance | 1 | item | 380 | 0
| Allowance to install glass doors to coldroom | 1 | item | 500 | 0
Coldroom shelving
| Metal coldroom shelving to 2 sides of coldroom - 2900 x 2070 x 400mm deep x 1800mm high (4 shelves) | 5 | m | 200 | 0
| Refer Procook quote for metal shelving prices (allowed for 3 No. 1370 x 610mm x 4 tier shelves) | 1 | item | 966 | 966
Bar Joinery (Stainless Steel)
| Custom SS bench 1700mm long x 900mm high x 600mm deep, open under with bottom and mid shelf and 150mm high SS splashback with left end return (304 grade SS) | 1 | no | 2600 | 0
| Custom SS bench 2100mm long x 900mm high x 600mm deep, open under with part bottom and mid shelf, space for ice machine and 150mm high SS splashback with right end return (304 grade SS) | 1 | no | 2950 | 0
| Custom SS bench 6050mm long x 900mm high x 600mm deep, open under with part bottom and mid shelves, space for dishwasher and glass washer under, 2 x 440 x 380 x 200mm deep integral sinks built in, 150mm high splashback with right end return (304 grade SS) | 1 | no | 8250 | 0
Subbies quotes
| Refer quote from T & H Sheetmetal (total $31,471 for SS joinery to bar and kitchen and 3 x appliances) | 1 | item | 10645 | 10645
| Refer quote from Suncoast Sheetmetal (total $29,565 for SS joinery to bar and kitchen) |  | item | 11583 | 0
| Refer quote from WFM (total $51,654 for SS joinery to bar and kitchen, aluminium screeing and SS handrailing) |  | item | 11706 | 0
| Refer quote from A1 Custom Stainless Steel & Kitchens (total $23,051 for SS joinery to bar and kitchen) Revised pricing based on my BOQ |  | item | 13153 | 0
| Refer quote from Johnston Kitchens (total $115,895 for foyer & bar timber battening, bar stone top and SS joinery, Kitchen SS joinery and cabinet, knotwood battens to external bar roof parapet and external knotwood vertical battens) |  | item | 30404 | 0
| Refer quote from Enfab (total $32,417 for SS joinery to bar and kitchen and 3 x appliances). Priced to incorrect drawings |  |  |  | 0
| Refer quote from Lamberts (total $96,561 for SS joinery to bar and kitchen, cold room, appliances and shelving) - late |  | item | 48285
Metal shelving
| Metal shelving to Bar store comprising 4 shelves - 'L' shape 2950mm x 1600mm x 1800mm high x 450mm deep | 1 | no | 800 | 800
| Refer Procook quote for metal shelving prices (allowed for 1 No. 1370 x 610mm and 2 No. 1065 x 610mm x 4 tier shelves) | 1 | item | 885 | 885
| Glass shelving - 3 No 2000mm long x 290mm wide x 8mm thick | 1 | no | 692 | 692
| Labour to install client supplied menu board | 1 | item | 150 | 150
Appliances
| Fisher & Paykel dishwasher DW60FC1X1 (JB Hi-Fi price) | 1 | no | 631 | 631
| Classeq Undercounter glasswasher G400 - Stainless Steel | 1 | no | 2145 | 2145
| Hoshizaki Ice Machine KM-55B | 1 | no | 1859 | 1859
Above pricing from Procook for glasswasher and ice machine
Refer pricing from T & H Sheetmetal ($4,496 for glasswasher and ice machine)
Refer pricing from Enfab ($5,119 for glasswasher and alternative brand ice machine)
Price for ice machine - Lancer ($2214)
Painting
| External to FC parrapet fascia and eaves, greenwall & CFC infill above brickwork | 56 | m2 | 16 | 896
| Internal wall and celing linings including bulkheads | 107 | m2 | 16 | 1712
| Double external doors | 1 | no | 300 | 300
| Single internal door | 1 | no | 150 | 150
| Anti-graffiti coating to external brickwork | 33 | m2 | 20 | 660
Refer painting quotes from (totals):
Imperial Coatings - $10,223 + $760 for rendering
A & R Painting - $19,000
Horizon Coatings - $30,078
GNT Painting - $55,200 + $60/m2 for rendering
Painter Network - $140,457
Hydraulic Services
| Allowance for council fees and inspections | 1 | item | 550 | 550
| Refer quote from PCP Solutions (total $58,534) | 1 | item | 21696 | 21696
| Refer quote from Redshaw Plumbing (total $77,273) |  |  |  | 0
| Total |  |  |  | 172305.73

## 14-FRONT ENTRANCE DOOR WORKS
FRONT ENTRANCE DOOR WORKS
Code | Description | Quantity | Unit | Rate | Total
FOYER ACCESS UPGRADE
Demolish existing brick blade wall and existing double glass doors
Construct new structure to support existing roof truss over
Construct new automatic sliding entry door with compliant glass
Demolition
| Temporary wall to maintain security | 5 | m | 100 | 500
| Allow for temporary propping | 1 | item | 200 | 200
| Concrete saw cutting | 1 | item | 150 | 150
| Labour for demo | 20 | hours | 65 | 1300
Refer total quote from 470 Group - $44,990
Structural steel
| 100 x 50 x 5 RHS mullions and 200 x 100 x 8 RHS door head | 0.23 | tonnes | 7500 | 0
| Hire duct lifter | 1 | item | 250 | 0
| Allowance for site welding | 8 | hrs | 75 | 0
| AG Rigging supply and install quote (total $36,800) | 1 | item | 5520 | 5520
| Sencova Steel Fabricators (total $48,000) |  |  |  | 0
| Fire resitant paint to mullions and door head (CAFCO 300 spray applied fire protection coating) | 1 | item | 1500 | 1500
New auto doors
| 3925mm wide x 2700mm high automatic sliding entry doors, safety glass, one fixed panel (OXX) | 1 | no | 12500 | 12500
Refer quote from Argus Vison (total $51,486) including alum door frames for timber doors
Refer quote from Scope Doors & Windows (total $52,555) including alum door frames for timber doors
Refer GJames quote (total $58,0191) includes aluminium door frames for timber doors
Refer quote from Division Windows (total $59,100) includes alum door frames for timber doors
Refer Bradnams revised quote (total $74,050) includes aluminium door frames for timber doors
Floor
| Drill and chemset 16mm HDG dowells 300mm long into existing slab | 4 | no | 20 | 80
| Allowance for concrete to make good GF slab | 1 | item | 50 | 50
| Topping to external entry to correct height | 5 | m2 | 45 | 225
| CPT-02 Recessed carpet mat - Spectrum PE608 black carpet entrance mating , 9.7mm thick (included in floorcovering quotes) | 4 | m2 | 120 | 0
| Refer quote from Asset Flooring Group including alum trims (total - $9,940) | 1 | quote | 1500 | 1500
| Refer quote from Carpet One including coving and skim coat to vinyl (total - $10,500). No allowance for recessed entry door mat |  |  |  | 0
| Refer quote from Andersens Gatton (total - $11,038) |  | quote | 1177 | 0
| Refer quote from OzFloor including 150mm coving. Excludes skim coat for vinyl areas (total - $11,450) No allowance for recessed entry door mat |  |  |  | 0
| Refer quote from PKF flooring (total - $13,284) |  |  |  | 0
Ceiling
| Framing and sheeting to enclose steel beam and vertical mullions | 1 | item | 2500 | 2500
| Make good ceiling to match existing (metal pan ceiling) | 5 | m2 | 175 | 875
Painting
| Painting to ceiling and columns enclosures | 1 | item | 500 | 500
Refer painting quotes from (totals):
Imperial Coatings - $10,223 + $760 for rendering
A & R Painting - $19,000
Horizon Coatings - $30,078
GNT Painting - $55,200 + $60/m2 for rendering
Painter Network - $140,457
| Total |  |  |  | 27400

## 15-METALWORK SCREENING AND GATE
METALWORK SCREENING AND GATES TO COURTYARDS
Code | Description | Quantity | Unit | Rate | Total
NEW EASTERN SCREEN TO LAPIDARY CLUB
Construct perforated screening to front of Lapidary Club
Demolition
| Labour to remove existing handrails to stairs and section of concrete slab to allow for excavation of bored piers | 5 | hours | 65 | 325
| Machine hire to remove bitumen as required | 1 | item | 250 | 250
| Remove tree | 1 | item | 300 | 300
| Bitmen saw cutting | 1 | item | 100 | 100
Refer total quote from 470 Group - $44,990
Bored Piers & SOG
| Mobilisation/ Demob | 1 | item | 500 | 500
| Boring for 600mm dia x min. 3000mm deep bored piers | 12 | m | 90 | 1080
| N32 concrete supply | 4.5 | m3 | 165 | 742.5
| Fabricated reo cage supply (refer supply quote in Kitchen and Courtyard) | 0.24 | tonnes | 2100 | Included
| Reo place | 4 | hours | 65 | 260
| Allowance for concrete pump | 1 | no | 600 | 600
| Concrete place | 4.1 | m3 | 75 | 307.5
| Set up hold-down bolt sets | 4 | no | 65 | 260
| Slab rectification | 1 | item | 600 | 600
Structural Steel
| 200 x 6 SHS columns, 100 x 3.0 SHS top & bottom rails & 50 x 3.0 SHS wall girts | 1.35 | tonnes | 7500 | 0
| AG Rigging supply and install quote (total $36,800) | 1 | item | 21710 | 21710
Perforated Screening
| Locker Group powdercoated aluminium Aero 400 screening | 34 | m2 | 450 | 0
| EO for double gate framing and hinging | 1 | no | 2500 | 2500
| Refer quote from WFM | 1 | quote | 23840 | 23840
| Refer quote from ESP Fencing and Security including double gates |  | quote | 30435 | 0
Handrails
| New pipe handrails with vertical balustrading to existing concrete stairs and landing | 11 | m | 420 | 4620
| Painting to handrails | 11 | m | 40 | 440
| Refer quote from WFM for SS handrails (incorrect) |  | quote | 4800 | 0
| Total |  |  |  | 58435

## 16-NORTHERN CORRIDOR WORKS
NORTHERN CORRIDOR WORKS
Code | Description | Quantity | Unit | Rate | Total
CORRIDOR AREA REFURBISHMENT
Demolish existing floor, wall and ceiling linings
Construct new floor, wall and ceiling linings
Associated electrical and mechanical services upgrades
Demolition
| Labour to strip out and remove existing floor tiling, skirtings and ceiling linings (2 men x 1.5 days) | 30 | hrs | 65 | 1950
| Floor griinding | 38.98 | m2 | 15 | 584.7
Refer total quote from 470 Group - $44,990
Internal fitout
| 42 mm top hat battens fixed to masonry walls | 43 | m2 | 17.5 | 752.5
| 13mm flushset plasterboard wall linings | 43 | m2 | 45 | 1935
| Square set ceiling/wall junctions, external corners and door openings | 77 | m | 15 | 1155
| 10mm flushset plasterboard ceilings including suspension system | 38.16 | m2 | 50 | 1908
| Ceiling access panel | 1 | no | 250 | 250
| Ceiling insulation - R3.5 Bradford gold batts 185mm thick | 38.16 | m2 | 13.5 | 515.16
| Timber skirting | 10.95 | m | 6.5 | 71.175
Tiling
| Tile saw cut | 3 | m | 6.5 | 19.5
| TL1 floor tiling - Johnson tiles Peak Antracite matt finish 300 x 600 with epoxy grout | 38.98 | m2 | 150.8 | 5878.184
| 3mm aluminium edge strip between all floor finish changes | 7 | m | 20 | 140
Painting
| Painting plasterboard wall and celings | 88 | m2 | 16 | 1408
Refer painting quotes from (totals):
Imperial Coatings - $10,223 + $760 for rendering
A & R Painting - $19,000
Horizon Coatings - $30,078
GNT Painting - $55,200 + $60/m2 for rendering
Painter Network - $140,457
| Total |  |  |  | 16567.219

## 17-OLD BAR STORAGE ROOM WORKS
OLD BAR STORAGE ROOM WORKS
Code | Description | Quantity | Unit | Rate | Total
UPGRADE TO NORTHERN COURTYARD
Demolish existing balustrade to northern courtyard
Re-instate and rectify slab edge
Construct new balustrade and double gate for service truck entry
Demolition
| Saw cutting | 1 | item | 250 | 250
| Machine hire to demolish existing brick wall | 2 | hours | 110 | 220
| Truck | 2 | hours | 100 | 200
| Labour to remove existing double gates and assist with brick wall demo | 4 | hours | 65 | 260
| Make good concrete slab edge due to brick fence removal | 1 | item | 200 | 200
Refer total quote from 470 Group - $44,990
New fencing and gates
| Powdercoated aluminium fencing - Heritage Malvern | 6 | m | 175 | Included
| EO for sliding gate to match above fencing including hardware | 1 | no | 2500 | Included
| Refer quote from AH Fencing | 1 | quote | 4047 | 4047
Kerb Ramps
| Construct 2 new kerb ramps to existing street including demo of existing kerbing and forming new concrete kerbs | 1 | item | 1200 | 1200
Carpark Linemarking
| PWD carpark to street including symbol | 1 | item | 300 | 300
| Total |  |  |  | 6677

## 18-ROOF RECTIFICATION WORKS
ROOF RECTIFICATION WORKS
Code | Description | Quantity | Unit | Rate | Total
ROOF RECTIFICATION WORKS
Replace portion of damaged roof sheeting
New ridge capping throughout
Altering and rectifying existing box gutters, apron flashings and other general flashings
Replace existing colourbond flashings throuhgout
Rectify existing and new roof penetrations / flashings
Replace and rectify existing dry pan flashings throughout
New protective surface treatment to existing roof
Demolition
| Remove existing asbestos parrapet wall lining on upper roof (25m2) | 1 | PC Sum | 2500 | 2500
| Install new FC exotec vero expressed joint sheeting parrapet sheeting including sarking and insulation | 25 | m2 | 280 | 7000
| Labour to remove existing guardrails (& handover to LVRC), unwanted mech units, ducts, etc and install additional support framing/battens | 120 | hours | 65 | 7800
| Allowance for materials | 1 | item | 1000 | 1000
| Allowance for membrane applications (4A & B) | 1 | item | 2000 | 2000
| Clean out existing box gutters | 5 | hours | 65 | 325
| Treat existing box gutters with 2 coats of Kemseal S80 and construct new protective cages around sumps | 1 | item | 5000 | 5000
Roofing
Subbie quotes
| Refer quote from TNT Roofing (includes costs for roof plumbing to new roof to Bar Extension) | 1 | quote | 33695 | 33695
Roof Rectification SOW 5B
| PC Sum allowance to remove existing internal galvanised linings to the parapet, install additional/new structural support and reinstall existing galvanised linings (or replace with new as required) Underseal and overseal of joints and repin | 1 | PC Sum | 2000 | 2000
Roof painting
| 2 coat NXT Cool Zone heat reflective roof coating - Shale grey (entire roof) including cleaning and prep | 1706 | m2 | 20 | 34120
Imperial Coatings est rate for roof painting $18-20/m2 depending on condition of roof
| Total |  |  |  | 95440

## 19-ROOF SAFETY WORKS
ROOF SAFETY WORKS
Code | Description | Quantity | Unit | Rate | Total
| Marsh Height Safety | 1 | quote | 7510 | 7510
| Soteria Industries |  | quote | 8055 | 0
| Height Dynamics |  | quote | 13199 | 0
| Aegis (includes removal of guardrail system) |  | quote | 17995 | 0
| EO to remove ladder, static line and fall arrest anchor points | 1 | item | 1400 | 1400
| Total |  |  |  | 8910

## 20-KITCHEN COLDROOM
KITCHEN COLDROOM
Code | Description | Quantity | Unit | Rate | Total
KITCHEN COLDROOM - Drawing B.606
Construct new cold room to western wall of kitchen
Construct new entry into new cold room
Construct all associated electrical, mechanical and hydraulic systems and services for cold room
Form new door opening
| Brick saw cutting to single skin brick wall | 1 | item | 300 | 300
| Labour to demolish brickwork | 2 | hrs | 65 | 130
| Temporary propping and allowance for lintel support to brickwork | 1 | item | 600 | 600
| Trims and sill to formed door opening | 1 | item | 500 | 500
Floor
| 9mm CFC sheeting laid to timber floor | 9 | m2 | 90 | 810
New Wall
| 92mm stud wall framing with 1 x 13mm layer to Auditorium side only (full height to underside of existing ceiling - 3m high) | 18 | m2 | 100 | 1800
| Timber skirting to match | 6 | m | 7.5 | 45
| Cornice and trims | 12 | m | 6.5 | 78
Coldroom
3060 X 2470 x 3000mm high cold room
| Quote from Askin including 75mm wear floor over 75mm insulated floor panel ($23,612 for both coldrooms). Refrigeration excluded |  | item | 12900 | 0
| Refer quote from Subzero ($37,645 for both coldrooms including refrigeration and sub floor heaters to kitchen coldroom on timber floor) | 1 | item | 22145 | 22145
| Less cost for sub-floor heaters (tender exclusion) | -1 | item | 445 | -445
| Refer quote from Astra panels including 75mm concrete over 100mm insulated floor panel, hardener, coving, mesh and refrigeration and electrical |  | quote | 16450 | 0
| EO for Astra alternative for outdoor unit |  | item | 1950 | 0
| Refer quote from T & H Sheetmetal ( 2 x coldrooms c/w refrigeration and mantova shelving - total $54,280) |  | item | 27140 | 0
Coldroom floor
| 75mm concrete topping wear floor over insulated panel | 7 | m2 | 50 | Included
Coldroom shelving
| Metal coldroom shelving to 3 sides of coldroom - 2850 x 2270 x 2850 x 500/400mm deep x 1800mm high 4 shelves | 7.2 | m | 220 | 0
| Refer Procook quote for metal shelving prices (allowed for 6 No. 1065 x 610mm x 4 tier shelves) | 1 | item | 1760 | 1760
Painting
| Painting to new wall | 18 | m2 | 20 | 360
| Total |  |  |  | 28083

## 21-PRINCIPAL CAUSED DELAYS
PRINCIPAL CAUSED DELAYS
Code | Description | Quantity | Unit | Rate | Total
| Principal caused delays | 10 | days | 1500 | 15000
| Total |  |  |  | 15000

## 22-LOOSE AV EQUIPMENT
LOOSE AV EQUIPMENT
Code | Description | Quantity | Unit | Rate | Total
| Provisonal sum for loose AV equipment | 1 | PC Sum | 3000 | 3000
| Total |  |  |  | 3000