# Documentation of design and construction (suitability or evidence of suitability)

| # Project Name: Card Street |  |  |  |
| --- | --- | --- | --- |
| # Project address: 14 card street |  | # Site Plan attached: no |  |
| Prepared by: Jerremy Tydd |  |  |  |
| # Date: 10-01-2024 |  |  |  |
| # Description of project: # New house Build |  |  |  |
| # Site Classification/s: # class 1a |  |  |  |
| Documentation of design and construction (suitability or evidence of suitability) |  |  |  |
| Site preparation |  |  |  |
| Site preparation | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Earthworks | National Construction Code Part 3.1.1 earthworks |  | The provisions in Part 3.1.1 will enable earthworks associated with the construction of a building to be carried out safely and to avoid potential damage to the subject building, adjoining structures and property through the soil collapsing or subsiding. |
| Site preparation |  |  |  |
| Site preparation | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Earth retaining structures | National Construction Code Part 3.1.2 Earth retaining structures |  | Where an alternative earth retaining structure design is proposed as a Performance Solution to that described in Part 3.1.2 |
| Drainage | Part 3.1.3 Drainage |  | Where an alternative drainage system is proposed as a Performance Solution to that described in Part 3.1.3 |
| Site preparation | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Termite risk management | Part 3.1.4 Termite risk management |  | Compliance with this acceptable construction practice satisfies Performance Requirement P2.1.1 for termite risk management. |
| Materials | termite management systems |  | for wood protection against termites, chemicals with active ingredients like borate, fipronil, or bifenthrin are commonly used |
| Footings and slabs |  |  |  |
| Site classification: |  |  |  |
| Footings and slabs | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Footings and slabs | Part 3.2 Footings and slabs |  | Where an alternative footing system is proposed as a Performance Solution to that described in Part 3.2 |
| Footings and slabs | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Moisture Barrier | Part 3.2.2 Preparation |  | Excavation for footings, including thickenings for slabs and pads must be clean cut with vertical sides, wherever possible. |
| Materials | Damp course |  | The vapour barrier must be VCM Class 1 to AS/NZS 4200.1 and be classified as Water Barrier to AS/NZS 4200.1 and provide moisture proofing, including at laps, at edges and at penetrations through the vapour barrier membrane. |
| Concrete and reinforcement |  |  |  |
| Concrete and reinforcement | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Concrete and reinforcement | Part 3.2.3 |  | Concrete must be manufactured to comply with AS 3600; and— Materials used for reinforcing steel must comply with AS 2870. |
| Materials | Concrete, mesh |  | Concrete must be placed, compacted and cured in accordance with good building practice. |
| Masonry |  |  |  |
| Masonry | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Masonry | Part 3.3 masonry |  | Must comply with part 3.3 NCC |
| Moisture Barrier | Part 3.3.4 |  |  |
| Materials |  |  |  |
| Framing/Structure |  |  |  |
| Framing/Structure | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Framing | Part 3.4.4 Timber Framing |  | Where an alternative timber framing design is proposed as a Performance Solution to that described in Part 3.4.3, that proposal must comply with— - Performance RequirementP2.1.1 |
| Materials | timber framing, including the use of concrete floors, structural steel support beams, |  |  |
| Roof and Wall Cladding |  |  |  |
| Roof and wall cladding | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Roof and wall cladding | Part 3.5 Roof and wall cladding |  | This Part contains requirements including weatherproofing and structural requirements, for roof and wall systems. Gutter and downpipe requirements are also contained in this Part. |
| Materials | Gutter Roof batten Sheet roofing |  |  |
| Glazing |  |  |  |
| Glazing | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Glazing | Part 3.6 Glazing |  | Glazing used in areas where the potential for human impact could occur must comply with the appropriate provisions listed in 3.6.4. |
| Materials | Glass |  |  |
| Fire Safety |  |  |  |
| Fire Safety | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Fire Safety | Part 3.7 Frie Safety |  | The fire hazard properties of materials used in a Class 1 building, including floor or ceiling spaces common with a Class 10 building |
|  | Smoke alarms. Plaster board |  |  |
| Access/Stairs/Lifts/Ramps |  |  |  |
| Access/Stairs/Lifts/Ramps | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Access | Part 3.9 |  | Room heights: 3.8.2.2 contains the required height for a ceiling above a stairway, ramp or landing, measured vertically above the nosing line of stairway treads or the floor surface of a ramp or landing. |
|  |  |  | Alpine areas: The requirements of this Part are to be read in conjunction with Part 3.10.4 where a building is located in an alpine area and contains an external stairway or ramp. |
| Materials | Timber Steel |  |  |
| Ancillary Provisions |  |  |  |
| Ancillary Provisions | NCC / Australian Standards requirements |  | Compliant Performance solution |
|  | Part 3.10.1 |  | Performance RequirementP2.7.1 is satisfied for a swimming pool with a depth of water more than 300 mm and which is associated with a Class 1 building, if it has safety barriers installed in accordance with AS 1926.1 and AS 1926.2 |
| Energy Efficiency |  |  |  |
| Energy Efficiency | NCC / Australian Standards requirements |  | Compliant Performance solution |
|  | Part 3.1.2 Energy Efficiency |  | in the case of a new Class 1 building, having either a rainwater tank connected to all sanitary flushing systems, or a solar water heater system, installed in accordance with the Plumbing Regulations 2018. |
| Health and Safety |  |  |  |
| Part 3.8 Health and Amenity |  |  |  |

| Consultation |  |  |  |  |
| --- | --- | --- | --- | --- |
| Policies |  |  |  |  |
| In Queensland, the Work Health and Safety Act 2011, Work Health and Safety Regulation 2011, and industry specific Codes of Practice set out the minimum rules for managing health and safety in a workplace. |  |  |  |  |
| Procedures |  |  |  |  |
| Follow all work place procedures |  |  |  |  |
| Issues to be addressed and consultation |  |  |  |  |
| Issue | Who to consult | Improvements for consideration | Feedback following consideration | Supporting Resources |
| No issues |  |  |  |  |