CPCCBC4012B

Read and interpret plans and specifications

THEORY EXAM INSTRUCTIONS - This exam will occur under standard assessment conditions. - An oral examination may be allowed under certain circumstances. Answers will be documented and FT003 (Oral examination declaration form) must be completed. - Participants must provide enough detail in their responses to demonstrate their knowledge and skills. - Please fill in the details below, providing your name, signature and date of assessment. - Your signature acknowledges that this is your own work. - If a participant initially answers a question incorrectly but modifies their response, they must follow the instructions below: - If a participant changes their response in writing, they must put their initials next to the written change. - If a participant changes their response verbally, this must be noted on the exam paper by the assessor.

| Participant name | SAMBARA SERLY |
| --- | --- |
| Participant signature |  |

| Assessor name |  |
| --- | --- |
| Assessor signature |  |

| Date | 19/03/2019 |
| --- | --- |

| Number of questions | Number of questions answered correctly | Satisfactory? |  |
| --- | --- | --- | --- |
| 87 |  | Yes | No |

Assessor Comments

Plans and specifications are used to inform which of the following processes? Tick all that apply.

| Answer | Choice | Possible Answers |  |
| --- | --- | --- | --- |
|  |  | Building contracts |  |
|  |  | Development applications |  |
|  |  | Estimation |  |
|  |  | Planning |  |
|  |  | Supervisory tasks |  |
|  |  | Tenders |  |

Which compass direction is always shown on plans and drawings?

| Answer | NORTH |  |
| --- | --- | --- |

What information is provided on a location plan?

| Answer | Shows a site on a particular street A location plan is required so that you can correctly identify your building site. A location plan is necessary for a big development so that the relative location of the site in a particular street is clear. A location plan details the: - Lot number/s - Deposit plan numbers - North point - Scale (usually 1:5000) |  |
| --- | --- | --- |

What detail does a site or block plan contain?

| Answer | A Site or Block Plan is usually gives the following information: - Outline of site boundaries showing location of proposed building and existing dwellings - Street frontage names - Major geological and topographical features (trees and vegetation) - Datum points, contours and slopes - Driveways, stormwater drainage, easements and right of carriage - Soil and surface water drains, pipe sizes - Service runs from the house to mains - utility services location (sewer, water, gas, electricity) - Details of paving and retaining walls |  |
| --- | --- | --- |

What do floor plans identify?

| Answer | Shows detail of the proposed structure, such as rooms, positions of fixtures, floor coverings |  |
| --- | --- | --- |

What is a landscape plan and what information might it provide?

| Answer | LANDSCAPE PLANS SHOW SOFT AND HARD LANDSCAPING DETAILS LIKE RETAINING WALLS AND PATHS AND GARDEN LAYOUTS AS WELL AS TYPES OF FLORA INCLUDING PLANTS, SHRUBS, TREES AND FLOWER AND VEGETABLES BEDS. THESE MAY BE REQUIRED FOR BUILDING OR DEVELOPMENT APPORVAL AND WILL INDICATE THE EXTENT, TYPE, AND POTENTIAL HEIGHT OF FLORA TO BE PLANTED. |  |
| --- | --- | --- |

What are elevation views? What do they provide to the plan reader?

| Answer | View of the proposed structure from its sides (north, south, eats, west) In most cases elevation and plan views can not show sufficient information to enable a builder or tradesman to see how various structural parts are tp be built or assembled. |  |
| --- | --- | --- |

What is a section?

| Answer | The section is a view of the house after it has been cut vertically at some point. Like the floor plan it shows the size and thickness of structural members and relationships between spaces. It is a view slice trough the building. The direction of section lines of arrows is usually shown on the plan to help interpret the sectional view. Sections may be required to indicate: Overall height of the building Posisition of piers, beams, opening ets Floor to ceiling heights Distance between finished floor and existing/proposed ground levels Construction details Scales same as plan |  |
| --- | --- | --- |

What are detailed drawings?

| Answer | Detailed drawings are used to illustrate the particular method of construction or finish required |  |
| --- | --- | --- |

What are specifications?

| Answer | SPECIFICATIONS SET OUT THE MINIMUM STANDARDS OR CODE NECESSARY TO OBTAIN RELEVANT SIZES FOR ALL STRUCTURAL COMPONENTS. SPECIFICATIONS MAY ALSO DETAIL THE FIXTURES AND FITTINGS. IT WILL NOT INDICATE UTILITIES SUCH AS WATER ELECTRICITY. |  |
| --- | --- | --- |

Explain the meaning of the abbreviations in the table below.

| Answer | Abbreviation | Meaning |  |
| --- | --- | --- | --- |
|  | ACRYL | Acrylic |  |
|  | AS | Australian Standard |  |
|  | ASSD | Assumed Datum |  |
|  | B | Basin |  |
|  | BN | Bull NOse |  |
|  | BTH | Bath |  |
|  | BWK | Brickwork |  |
|  | CB | Concrete Block |  |
|  | CF | Concrete Floor |  |
|  | CG | Clear Glass |  |
|  | CJ | Ceiling Joist |  |
|  | CORR | Corrugated |  |
|  | CWT | Cold Water Tank |  |
|  | DG | Double Glazing |  |
|  | DH | Double Hung |  |
|  | DPC | Damp Proof Course |  |
|  | DSB | Distribution, Switch Board |  |
|  | DW | Dish Washer |  |
|  | EJ | Expansion Joint |  |
|  | FPBD | Fibrous Plaster Board |  |
|  | FFL | Finished Floor Level |  |
|  | FHR | Fire Hose Reel |  |
|  | GPO | General Purpose Outlet |  |
|  | HBD | Hardboard |  |
|  | HTR | Heater |  |
|  | HWD | Hardwood |  |

Name each of the drawing symbol images shown in the table below.

| Answer | Name | Image |  |
| --- | --- | --- | --- |
|  | CAVITY BRICK |  |  |
|  | BRICK VENEER |  |  |
|  | WALL- TIMBER STUD |  |  |
|  | WINDOW – IN CAVITY WALL |  |  |
|  | WINDOW – IN SINGLE WALL |  |  |
|  | DOOR – SWING SINGLE 90 DEGREE |  |  |
|  | DOOR – SWING DOUBLE |  |  |
|  | DOOR – SLIDING INTO POCKET |  |  |
|  | DOOR – SLIDING EXPOSED ON WALL |  |  |
|  | SOCKET OUTLET |  |  |

Identify what the following window symbols represent on elevations.

| Answer | Item | Drawing |  |
| --- | --- | --- | --- |
|  | HINGED AT SIDE |  |  |
|  | HINGED AT TOP |  |  |
|  | SLIDING HORIZONTALLY |  |  |
|  | FIXED |  |  |

What does a clouded area on a plan indicate?

| Answer | A REVISION |  |
| --- | --- | --- |

An amendment to specifications could relate to which of the following? Tick all that apply.

| Answer | Choice | Possible Answers |  |
| --- | --- | --- | --- |
|  |  | Contact details of all construction crew members |  |
|  |  | Materials or products used |  |
|  |  | Methods of carrying out specified work |  |

Refer to the title block below to respond to Q16. to Q18.

Source: http://www.dtwd.wa.gov.au/sites/default/files/teachingproducts/BC1934_CCBY.PDF

On what date was an amendment made to the window details?

| Answer | 5/10/2011 |  |
| --- | --- | --- |

True or False (Tick your response): Details of the window in Q16. should also be reflected in the specifications and confirmed with the client.

| Answer |  | True |  |  |
| --- | --- | --- | --- | --- |
|  |  | False |  |  |

What amendment occurred on 08/11/2011?

| Answer | BED 3 ROBE RELATED |  |
| --- | --- | --- |

Refer to the site plan below to respond to Q19. to Q26.

What structure is being built on this site? Tick your response.

| Answer | Choice | Possible Answers |  |
| --- | --- | --- | --- |
|  |  | Residence |  |
|  |  | Road |  |
|  |  | Shed |  |
|  |  | Water meter |  |

What is the Lot number of this site?

| Answer | 16 |  |
| --- | --- | --- |

What is the size of this lot?

| Answer | 365M2 |  |
| --- | --- | --- |

Is the shed at the north-east of the proposed structure to be removed or retained? Tick your response.

| Answer | Choice | Possible Answers |  |
| --- | --- | --- | --- |
|  |  | Removed |  |
|  |  | Retained |  |

True or False (Tick your response): The sewer is at the eastern boundary of the property.

| Answer |  | True |  |  |
| --- | --- | --- | --- | --- |
|  |  | False |  |  |

True or False (Tick your response): The driveway is located to the south of the proposed property.

| Answer |  | True |  |  |
| --- | --- | --- | --- | --- |
|  |  | False |  |  |

What size is the easement on the eastern boundary of the site?

| Answer | 5M |  |
| --- | --- | --- |

True or False (Tick your response): The stormwater drain is constructed from PVC pipe.

| Answer |  | True |  |  |
| --- | --- | --- | --- | --- |
|  |  | False |  |  |

Refer to the contour plan below to respond to Q27. to Q28.

What is the level at the northernmost point of the site?

| Answer | 3.94 |  |
| --- | --- | --- |

Which end of the site has the lowest level? Tick your response.

| Answer | Choice | Possible Answers |  |
| --- | --- | --- | --- |
|  |  | East |  |
|  |  | West |  |

Refer to the sectional drawing below to respond to Q29. to Q49.

Give a brief description about the building from the detail available in the sectional drawing. Is it the same structure proposed in Q19. to Q26.?

| Answer | YES. IT IS THE SAME STRUCTURE PROPOSED IN THE SITE PLAN, AS IDENTIFIED BY DRAWING NUMBER WD 9733 |  |
| --- | --- | --- |

Who is the client?

| Answer | HM SMITH |  |
| --- | --- | --- |

Where is this project to be built?

| Answer | LOT 16 GLENVALLEY RICHMOND |  |
| --- | --- | --- |

What are the contact details for the draftsman?

| Answer | Joe Foreman Ph: 03 9514 2311 Mob 0413 113 113 8 Fairview Road, Richmond 3216 |  |
| --- | --- | --- |

What sheet number is this drawing?

| Answer | 5-7 |  |
| --- | --- | --- |

What timber is required for loading and non-load bearing walls?

| Answer | PINE |  |
| --- | --- | --- |

What spacing is recommended for common studs?

| Answer | 600 MAX SPACING |  |
| --- | --- | --- |

What type of roof truss is to be installed?

| Answer | SCISSORS TRUSSES AT 900 SPACING TOP CHORD 30DEGREES BOTTOMCHORD 20DEGREES EVERY TRUSS STRAPPED TO A WALL PLATE |  |
| --- | --- | --- |

What centres are the trusses positioned at?

| Answer | 900MM CENTRES |  |
| --- | --- | --- |

What size are the veranda posts?

| Answer | 90 X 90 |  |
| --- | --- | --- |

What timber species are the veranda posts to come from?

| Answer | OREGON |  |
| --- | --- | --- |

What pitch is the roof?

| Answer | 30DEGREES |  |
| --- | --- | --- |

What size are the noggings and at what spacing?

| Answer | 35 X 70 1350 MAX SPACING |  |
| --- | --- | --- |

What size are the ceiling joists?

| Answer | HJ 240 JOISTS |  |
| --- | --- | --- |

What timber is used for roof battens and what spacing?

| Answer | PINE BATTNES AT 900SPACING |  |
| --- | --- | --- |

What thickness is the plasterboard sheeting?

| Answer | 10mm |  |
| --- | --- | --- |

What type of flooring is to be installed?

| Answer | Plywood |  |
| --- | --- | --- |

What is the roof cladding material?

| Answer | Colorbond |  |
| --- | --- | --- |

Where will you find information about the footings?

| Answer | Section a-a refers to engineers drawing |  |
| --- | --- | --- |

What do the letters ‘DAR’ refer when timber ordering?

| Answer | Dressed Treated Pine |  |
| --- | --- | --- |

Explain what ‘240 x 63 LVL’ refers to on the sectional drawing. What do the letters ‘LVL’ refer to?

| Answer | THIS IS A REFERENCE TO LAMINATED VENEER LUMBER MEASURING 240MM X 63MM. THE LVL PRODUCT IS USED AS THE STARTING JOIST BETWEEN FAMILY ROOM AND VERANDAH |  |
| --- | --- | --- |

Refer to the drawing below to respond to Q50. to Q65.

What is the number of the drawing?

| Answer | 2 |  |
| --- | --- | --- |

What is the Job Number?

| Answer | 00R - 112 |  |
| --- | --- | --- |

What is the scale of the drawing?

| Answer | 1 : 100 |  |
| --- | --- | --- |

What does the drawing show?

| Answer | NORTH, SOUTH, EAST, WEST ELEVATION AND ONE SECTION |  |
| --- | --- | --- |

Which view shows the front of the house?

| Answer | EAST ELEVATION |  |
| --- | --- | --- |

How many motor vehicles can be parked in the garage?

| Answer | TWO |  |
| --- | --- | --- |

What are the window and doors made from?

| Answer | ALUMINIUM FRAME |  |
| --- | --- | --- |

What is the size of the eaves?

| Answer | 450MM |  |
| --- | --- | --- |

What are the eaves lined with?

| Answer | HARDFLEX SHEETING |  |
| --- | --- | --- |

What type of roof structure is the roof built from?

| Answer | TIMBER FRAMED ROOF TRUSSES |  |
| --- | --- | --- |

Which Clause of the NCC should be read for more detail about roof structure in Q59. ?

| Answer | NCC VOLUME 2: CLAUSE 3.11.6 |  |
| --- | --- | --- |

Which Australian Standard should be read for more detail about the roof structure in Q59. ?

| Answer | AS 1720 |  |
| --- | --- | --- |

What is the roof cladding materials made from?

| Answer | CONCRETE ROOF TILES |  |
| --- | --- | --- |

Which Clause of the NCC should be read for more detail about the roof cladding materials in Q62. ?

| Answer | NCC VOLUME 2: CLAUSES 3.5.1.0 AND 3.5.1.2 |  |
| --- | --- | --- |

Which Australian Standard should be read for more detail about the roof cladding materials in Q62. ?

| Answer | AS 2049 |  |
| --- | --- | --- |

What is the roof pitch?

| Answer | 22.5 DEGREES |  |
| --- | --- | --- |

Identify one (1) regulatory body you may need to submit plans to for approval?

| Answer | CITY COUNCIL |  |
| --- | --- | --- |

Briefly describe the approval process and timeframes for an approval through the regulatory body in Q66.

| Answer | 6 DAYS TO 3 MONTHS |  |
| --- | --- | --- |

What is a prime cost (PC) item? Give an example.

| Answer | A PC item is: - An amount of money included in a contract sum to purchase a specified item such as tiles, taps, doors or bathroom fittings - An agreed estimated amount is included at contract signing but the specific products are not selected until a later stage - A builder must estimate the cost of such items at or above the lowest amount these items could reasonably cost |  |
| --- | --- | --- |

What is a provisional sum (PS) item? Give an example.

| Answer | A provisional sum is: - An amount of money included in contract sum to cover work and/or materials, not detailed when entering the contract - Typically builders will include a PS for site work costs - The builder is legally required to take reasonable steps to ensure an accurate site works cost estimate but unforeseen events mean that the provisional sum is exceeded which is added to the contract sum |  |
| --- | --- | --- |

Refer to the Bill of Quantities below to respond to Q70. to Q76.

Source: http://organizedbuilders.com.au/sites/default/files/BOQ-Summary.pdf

True or False (Tick your response): This Bill of Quantities represents a job for a two-storey house.

| Answer |  | True |  |  |
| --- | --- | --- | --- | --- |
|  |  | False |  |  |

Identify two (2) materials being used for the floors?

| Answer | MAY INCLUDE; CARPET, VINYL |  |
| --- | --- | --- |

True or False (Tick your response): A landscaper has been contracted for this job.

| Answer |  | True |  |  |
| --- | --- | --- | --- | --- |
|  |  | False |  |  |

How much does the contracted plasterer cost?

| Answer | 12,900 |  |
| --- | --- | --- |

How much do the kitchen appliances cost?

| Answer | 2700 |  |
| --- | --- | --- |

What percentage of the total cost does the fixing stage represent of the building contract?

| Answer | 23% |  |
| --- | --- | --- |

What percentage of the total cost does the completion stage represent of the building contract?

| Answer | 17% |  |
| --- | --- | --- |

Refer to the Purchase Order below to respond to Q77. to Q82.

Source: http://organizedbuilders.com.au/sites/default/files/Databuild-Bill-of-Quantities.pdf

How many Pine F5 90 x 45 studs (2.4m long) are required?

| Answer | 100 |  |
| --- | --- | --- |

If the material in Q77. increased in cost to $2.75 each, what would be the total cost for this material?

| Answer | 2.75 X 100 = 275 |  |
| --- | --- | --- |

How many sheet of ply are required in total (i.e. all sizes)?

| Answer | 13 SHEETS |  |
| --- | --- | --- |

What material has the highest total cost?

| Answer | PINE 90 X 45 MGP 10 |  |
| --- | --- | --- |

How many metres are required of the material in Q80. ?

| Answer | 322.5M |  |
| --- | --- | --- |

What beam is identified as being a better option than F17?

| Answer | E14 |  |
| --- | --- | --- |

Refer to the labour chart below to respond to Q83. to Q86.

Source: https://www.archsd.gov.hk/media/89170/sor2013_vol1_builders_works_2013_11_04.pdf

Based on the hourly rates given, which is the least expensive trade to contract?

| Answer | ALPHASTER (ROAD CONSTRUCTIONS) |  |
| --- | --- | --- |

If the trade in Q83. were to be contracted for two (2) hours’ work, how much would this cost?

| Answer | 107.40 X 2 = 214.80 |  |
| --- | --- | --- |

Based on the hourly rates given, which is the most expensive trade to contract?

| Answer | BAR BENDER AND FIXER |  |
| --- | --- | --- |

If the trade in Q85. were to be contracted for six (6) hours’ work, how much would this cost?

| Answer | 214.30 X 6 = 1285.80 |  |
| --- | --- | --- |

Name the building legislation (Act and Regulations) that apply within your jurisdiction and should be referenced when reading plans and building contracts.

| Answer | BUILDING REGULATIONS AND BUILDING ACT |  |
| --- | --- | --- |