Resilient Homes

Specification

Personal Details

Client 1

Mr			Given Name                  Middle Name                      Cousins

Client 2

Mrs			Given Name                  Middle Name                      Cousins

Street Address:

Postal Address:

Client 1:

Phone:

Email address:

Photo ID Attached:	Yes               No

Client 2:

Phone:

Email address:

Photo ID Attached:  Yes                No

The Land

Lot Number:

RP / SP number:

Street Address:

Suburb:

State:

Postcode:

The Site

- Land size: 1000m2

- Elevations: Level block

- Tree Removal: Required for 3 x large hardwood trees (Refer to site plan & site pictures)

- Please note: Council approval maybe required for the removal of the trees – council fees TBC

Administration

- Soil test

- Wind rating

- Energy rating

- Engineering – Garden shed

- Council approval and inspections – Garden shed

- Plumbing approval and inspections

- Water connection

- Ergon power connection

- QBCC – Home Warranty Insurance

- QLeave – Portable Long Service Levy

- Colour selections

- Handover Manual

External Features

- Proposed dwelling: Single storey, low set residential dwelling

- Pool: 9 x 6 m kidney shaped inground pool

- Outdoor area: Slate tiled outdoor entertaining area adjacent to the pool

- Landscaping: Gardens and turf

- External walls: masonry block

- External wall finish: Coloured render

- Roof Type: Hip and Valley

- Roof Material: Glazed clay tiles, contrast metal fascia and gutters

- External Doors: TBC

- Sliding Glass Doors: TBC

- Solar Panels: Supply and install 18 x solar panels on the roof – location TBA

Internal Features

- Proposed floor size: TBA

- Master bedroom includes:

- Ensuite with toilet, spa bath and double shower

- Walk in Robe

- Dressing area

- 2 x bedrooms include:

- Shared bathroom, including bath

- Shower

- Double vanity

- Toilet

- 1 x guest bedroom includes:

- Shower only

- Single vanity

- Toilet

- Powder room: Toilet and vanity only

- Office – as per plan

- Gourmet Kitchen includes

- Stone bench tops

- Butler’s pantry

- Media room – as per plan

- Separate open plan dining adjacent to the kitchen

- Two living areas: Formal and informal

Garage

- 1 x 2 bay car garage

- 1 x 1 bay car garage

Other

- Store / workshop room at the rear of the double bay garage

- Slab in back corner (RHS or LHS – TBC) of the allotment for a 5m x 3 m garden shed – includes council approval

- Largest tree in back yard to be wood chipped – chipped bark to be left onsite for future use

Provisional sum allowances

- Wet areas

- Alfresco area

- Living area tiles

- Carpet to 4 x bedrooms

Prime cost allowances

- Solar hot water system

- Ducted air conditioning system

FINAL CONTRACT PRICE

House and garden shed = $580 000.00 INCLUDING GST

Pool, landscaping, turf and gardens = $85 000.00 INCLUDING GST

TOTAL CONTRACT PRICE = $665 000.00 INCLUDING GST