# Documentation of design and construction (suitability or evidence of suitability)

| # Project Name: Inala Hotel |  |  |  |
| --- | --- | --- | --- |
| # Project address: Cnr of Rudd St &, Freeman Rd # Inala QLD 4077 |  | # Site Plan attached: yes |  |
| Prepared by: Michael Trott |  |  |  |
| # Date: 10/01/25 |  |  |  |
| # Description of project: # Construction of pub/hotel |  |  |  |
| # Site Classification/s: # Mostly rock or very stable soil with little or no ground movement due to moisture changes. |  |  |  |
| Documentation of design and construction (suitability or evidence of suitability) |  |  |  |
| Site preparation |  |  |  |
| Site preparation | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Earthworks | AS 3798 - Guidelines for Earthworks for Commercial and Residential Developments |  | N/A |
| Site preparation |  |  |  |
| Site preparation | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Earth retaining structures | AS 4678 - Earth-retaining Structures |  | N/A |
| Drainage | NCC Volume 1 Section F, AS/NZS 3500.3 Plumbing and Drainage |  | N/A |
| Site preparation | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Termite risk management | AS 3660.1 Termite Management |  | Physical barrier system applied |
| Materials | NCC Volume 1 Section B - Structural Provisions |  | N/A |
| Footings and slabs |  |  |  |
| Site classification |  |  |  |
| Footings and slabs | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Footings and slabs | AS 2870 - Residential Slabs and Footings |  | Standard design for Class M soil |
| Footings and slabs | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Moisture Barrier | AS 2870 - Damp-proofing under slabs |  | Polyethylene sheeting applied |
| Materials | NCC Volume 1 Section B - Structural Provisions |  | Reinforced concrete to 28 MPa |
| Concrete and reinforcement |  |  |  |
| Concrete and reinforcement | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Concrete and reinforcement | AS 3600 - Concrete Structures |  | Reinforced with F72 mesh |
| Materials | AS/NZS 4671 - Steel Reinforcing Materials |  | Tied reinforcement to comply |
| Masonry |  |  |  |
| Masonry | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Masonry | AS 3700 - Masonry Structures |  | Compliant masonry walls |
| Moisture Barrier | AS 3700 - Damp-proofing |  | Damp-proof course applied |
| Materials | NCC Volume 1 Section B - Structural Provisions |  | Standard masonry units used |
| Framing/Structure |  |  |  |
| Framing/Structure | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Framing | AS 1684 - Residential Timber Framing Code |  | Engineered timber applied |
| Materials | AS 1720 - Timber Structures |  | Grade verified |
| Roof and Wall Cladding |  |  |  |
| Roof and wall cladding | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Roof and wall cladding | AS 1562.1 - Design and Installation of Sheet Roof and Wall Cladding |  | Metal cladding for durability |
| Materials | NCC Volume 1 Section B - Structural Provisions |  | Compliant cladding materials |
| Glazing |  |  |  |
| Glazing | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Glazing | AS 1288 - Glass in Buildings - Selection and Installation |  | Safety glazing applied |
| Materials | NCC Volume 1 Section B - Structural Provisions |  | Laminated glass used where required |
| Fire Safety |  |  |  |
| Fire Safety | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Fire Safety | NCC Volume 1 Part C1 - Fire Resistance and Stability |  | Fire-rated walls installed |
| Access/Stairs/Lifts/Ramps |  |  |  |
| Access/Stairs/Lifts/Ramps | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Access | AS 1428.1 - Design for Access and Mobility |  | Ramp slope compliant |
| Materials | NCC Volume 1 Section D - Access and Egress |  | Durable finishes applied |
| Ancillary Provisions |  |  |  |
| Ancillary Provisions | NCC / Australian Standards requirements |  | Compliant Performance solution |
|  | NCC Volume 1 Section G |  | N/A |
| Energy Efficiency |  |  |  |
| Energy Efficiency | NCC / Australian Standards requirements |  | Compliant Performance solution |
|  | NCC Volume 1 Section J - Energy Efficiency |  | Insulated roofing and walls applied |
| Health and Safety |  |  |  |
| - Compliance with NCC Work Health and Safety provisions ensured. - Materials conform to Australian Standards for durability and safety. |  |  |  |

| Consultation |  |  |  |  |
| --- | --- | --- | --- | --- |
| Engineers Architects Fire engineers Local authorities |  |  |  |  |
| Policies |  |  |  |  |
| Procedures |  |  |  |  |
| Issues to be addressed and consultation |  |  |  |  |
| Issue | Who to consult | Improvements for consideration | Feedback following consideration | Supporting Resources |