CPCCBC4001A

Apply building codes and standards to the construction process for low rise building projects

THEORY EXAM INSTRUCTIONS - This exam will occur under standard assessment conditions. - An oral examination may be allowed under certain circumstances. Answers will be documented and FT003 (Oral examination declaration form) must be completed. - Participants must provide enough detail in their responses to demonstrate their knowledge and skills. - Please fill in the details below, providing your name, signature and date of assessment. - Your signature acknowledges that this is your own work. - If a participant initially answers a question incorrectly but modifies their response, they must follow the instructions below: - If a participant changes their response in writing, they must put their initials next to the written change. - If a participant changes their response verbally, this must be noted on the exam paper by the assessor.

| Participant name | Debbie Cremer |
| --- | --- |
| Participant signature |  |

| Assessor name |  |
| --- | --- |
| Assessor signature |  |

| Date | 11/05/2019 |
| --- | --- |

| Number of questions | Number of questions answered correctly | Satisfactory? |  |
| --- | --- | --- | --- |
| 35 |  | Yes | No |

Assessor Comments

The diagram below represents an external house wall, shows part of roof and eave and a window in the wall and the vertical boundary line fence is shown a prescribed measurement of 900mm from the house wall to allow light from the sun to reach the window.

- What type of regulation could allow a lesser distance to be used if appropriate justification was provided?

In what document/s might you find the appropriate information?

| Answer | Performance Based Regulation. Information found in The Building Code of Australia (BCA). |  |
| --- | --- | --- |

In regard to the above 900mm distance from house wall to boundary fence and in using or referencing performance-based regulations in the BCA what else should you be aware of and consider?

| Answer | Local government planning laws |  |
| --- | --- | --- |

Who has responsibility for producing and maintaining The Building Code of Australia (BCA) and who is it done on behalf of?

| Answer | It is the responsibility of the Australian Building Code Board (ABCB) done on behalf of the Commonwealth Government and each State and Territory Government |  |
| --- | --- | --- |

Fill in the missing words to complete the following two sentences.

provisions

technical

design

construction

document

performance-based

The BCA is a uniform set of ___________ ______________ for the __________ and ______________ of buildings and other structures throughout Australia.

legislative

requirements

It is a ______________________ ________________ that is referenced so that your building system or material can demonstrate that it meets certain performance requirements in order to meet __________________ ____________________.

| Answer |  |  |
| --- | --- | --- |

What is the principal goal of the Building Code of Australia (BCA)?

| Answer | To enable the achievement of nationally consistent, minimum necessary standards of safety, health, amenity and sustainability objectives |  |
| --- | --- | --- |

How many volumes are there in the BCA and to what do the volumes refer?

| Answer | Three Volumes: Volume One: Class 2 to Class 9 Buildings Volume Two: Class 1 and Class 10 Buildings Volume Three: Plumbing Code of Australia |  |
| --- | --- | --- |

Explain the BCA performance requirements for low rise projects from the diagram below.

| Answer | Suitable level of performance for building materials, components, design factors and construction methods in order for a building to meet the relevant functional statements to and, in turn, the relevant objectives. |  |
| --- | --- | --- |

What is the intent of the ‘Relevant Performance Requirements’ in the BCA?

| Answer | To set out the method of determining the appropriate Performance Requirements to be used when an Alternative Solution is used to prove that a Building Solution complies with the BCA. |  |
| --- | --- | --- |

Building solutions set out the means of achieving compliance with the performance requirements. The BCA provides for two methods that can be followed to develop a building solution. Explain these two methods.

| Answer | Deemed to Satisfy: Examples of materials, components, design factors and construction methods which if used will be compliant with the performance requirements of the BCA. Alternative Solutions: The proposed materials, components, design factors and construction methods differ to the deemed to satisfy provisions, but it can be demonstrated that the design still complies with the relevant performance requirements |  |
| --- | --- | --- |

The deemed-to-satisfy building solution establishes a clear and concise process for compliance for a builder, building surveyor or the like (building certifier) who does not want to develop a new means of achieving performance requirements; what does ‘deemed-to-satisfy’ mean?

| Answer | Deemed-to-satisfy means that the building solution complies with the BCA provisions. |  |
| --- | --- | --- |

Write an example of a ‘deemed-to-satisfy’ provision for a class 1 building including deemed-to-satisfy requirements for kitchen, bathroom, laundry and sanitary facilities.

Nominate where you found the information in the BCA.

| Answer | BCA Volume 2, Part 2.4.3 Performance Requirement: - Suitable sanitary facilities for personal hygiene must be provided in a convenient location within or associated with a building, appropriate to its function or use. - **This clause has been deliberately left blank** - Laundering facilities or space for laundering facilities and the means for sanitary disposal of waste water must be provided in a convenient location within or associated with a building, appropriate to its function or use. - Food preparation facility must be provided which includes – - A means of food rinsing, utensil washing and the sanitary disposal of associated waste water; and - A means for cooking food; and - A space for food preparation - A sanitary compartment must be constructed with sufficient space or other means to enable an unconscious occupant to be removed from the compartment Deemed-to-Satisfy example: - A bathroom comprising of a washbasin, shower or bath and floor waste - A laundry with wash tub, floor waste and space for washing machine - A kitchen with sink, oven and sufficient bench space - Water closet with sink in reasonably close proximity |  |
| --- | --- | --- |

Who and what is Standards Australia?

| Answer | Standards Australia is Australia’s peak Standards body, recognised through a Memorandum of Understanding with the Commonwealth Government. It is an independent, non-government, not-for-profit organisation. In consultation with government, business, industry, community, academia and consumers, Standards Australia develops internationally aligned Australian Standards and related publications to help ensure the safety, reliability and performance of a range of products, services and systems. |  |
| --- | --- | --- |

What are Australian Standards?

| Answer | Documents that set out specifications and procedures designed to ensure products, services and systems are safe, reliable and consistently perform the way they were intended to. They establish a common language which defines quality and safety criteria. |  |
| --- | --- | --- |

The classification of a building or part of a building is determined by the purpose for which it is designed, constructed or adapted to be used. Please summarise the 10 building classifications below.

| Answer | Class | Summary |  |
| --- | --- | --- | --- |
|  | 1 | One or more buildings which constitute a single dwelling (Class 1a) or a boarding house or hostel (Class 1b) |  |
|  | 2 | A building containing 2 or more sole-occupancy units each being a separate dwelling |  |
|  | 3 | A residential building, other than a building of class 1 or 2 which is a common pace of long term or transient living for a number of unrelated persons. |  |
|  | 4 | A dwelling in a building that is Class 5, 6, 7, 8 or 9 if it is the only dwelling in the building. |  |
|  | 5 | An office building used for professional or commercial purposes, excluding buildings of Class 6, 7, 8 or 9. |  |
|  | 6 | A shop or other building for the sale of goods by retail or the supply of services direct to the public. |  |
|  | 7 | A building which is a car park (Class 7a) or for storage or display of goods or produce for sale (Class 7b). |  |
|  | 8 | A laboratory or building for the production, assembling, altering, repairing, packaging, finishing or cleaning of goods for sale. |  |
|  | 9 | A building of a public nature: Class 9a – healthcare building, Class 9b – an assembly building, Class 9 – aged care building. |  |
|  | 10 | A non-habitable building or structure: Class 10a – non-habitable building, Class 10b – fence, mast, pool, Class 10c – shelter. |  |

Other than the 10 BCA building classifications (A3.2), there are also multiple classifications (A3.3) where each part of a building is classified separately. 

Where would you find a full list of Past A3 classification of Buildings and Structures?

| Answer | In the Building Codes Australia, Part A3 - Classification of Building and Structures |  |
| --- | --- | --- |

True or False (Tick your response): If a building or part of a building has more than one classification applying to the whole building or part in accordance with, that building or part must comply with all the relevant provisions of the BCA for each classification.

| Answer | ☒ | True |  |  |
| --- | --- | --- | --- | --- |
|  | ☐ | False |  |  |

Familiarity with plans and specifications for a project when interpreting a building solution and therefore trying to interpret clauses and other referenced documents in the BCA is important.

What do plans and specifications include?

| Answer | Plans include a number of different drawings e.g. elevation plans, structural plans, architectural plans, electrical plans showing the design of the building including the shape, size and position with some detail of materials and references to specifications, codes and standards. They along with Specifications allow the builder to construct the building. Specifications are to be read in conjunction with drawings and plans and will outline the details on how the building must be constructed, what materials, fixtures and fittings are to be used and any standards and codes that must be adhered to. |  |
| --- | --- | --- |

You must have a clear picture of the building to be constructed and be able to identify the criteria that you will need to compare to the Deemed-To-Satisfy (DTS). What is it you must also consider when constructing complex buildings?

| Answer | You must consider that the requirements of one BCA clause may have an impact on the requirements of another |  |
| --- | --- | --- |

Complete the missing words from the sentence below and explain the difference between these points.

mandatory

optional

BCA Performance Requirements are _________________ and Deemed-to-Satisfy provisions are ______________.

| Answer | BCA Performance Requirements are mandatory and outline a level of performance to be followed to ensure your building meets functionality and legislative requirements. Deemed-to Satisfy provisions is one of the means of achieving compliance with Performance Requirements. |  |
| --- | --- | --- |

What is a Building Solution?

| Answer | A Building Solution is a solution which complies with the Performance Requirements and is: - an Alternative Solution; or - a solution which complies with the Deemed-to-Satisfy Provisions, or - a combination of 1 and 2 |  |
| --- | --- | --- |

Referring to the BCA, what are the objectives of Section C Fire Resistance?

| Answer | The objective is to set out the minimum criteria for Deemed-to Satisfy provision to be met in a Class 2 to Class 9 building to: - safeguard people from illness due to a fire in a building: and - safeguard occupants from illness or injury while evacuating a building during a fire; and - facilitate the activities of emergency services personnel; and - avoid the spread of fire between buildings; and - protect other property from physical damage caused by structural failure of a building as a result of fire |  |
| --- | --- | --- |

Why is it necessary to identify and document performance-based solutions?

| Answer | 1. to comply with organisational quality procedures and processes 2. to apply and interpret relevant documentation and codes 3. to accurately apply National and State and Territory OHS requirements relating to construction workplace 4. to identify faults and problems impacting on OHS and proposing appropriate action to rectify |  |
| --- | --- | --- |

In the context of the Building Code of Australia what are Assessment Methods used to determine?

| Answer | Assessment Methods determine whether a Building Solution complies with BCA Performance Requirements by meeting the Deemed-to-Satisfy provisions or by using an Alternative Solution. |  |
| --- | --- | --- |

Explain the importance of maintaining detailed documentation for a building project.

| Answer | To ensure the building is compliant and will pass assessment. Detailed documentation will be referred to when inspections are being carried out to ensure no vital elements are overlooked. |  |
| --- | --- | --- |

With regard to detailed documentation what are some of the documents that must be provided and maintained by contractors?

| Answer | All specifications, detailed plans and drawings. Details of Alternative Solutions proposed. Any construction methodology, processes and procedures. All permits, submissions and assessments. To name a few. |  |
| --- | --- | --- |

Other than the Builder maintaining detailed documentation, who will also have responsibility to resolve and correct errors for any ambiguity identified in the plans?

| Answer | Building Certifier |  |
| --- | --- | --- |

The threat of an accidental fire in a building and to prevent it are important to understanding fire and taking all steps to prevent or confine fire and to prevent fire spreading within the structure as well as to adjoining or adjacent buildings. 

In this regard Fire Protection Systems are paramount and are subject to?

| Answer | Building Regulations Fire Regulations Insurance company requirements Local government requirements Other regulatory authorities |  |
| --- | --- | --- |

Briefly explain the following fire definitions:

| Answer | Term | Explanation |  |
| --- | --- | --- | --- |
|  | Fire | The rapid oxidisation of a gas, liquid or solid substance accompanied by the release of heat and light. Chemically, fire represents an exothermic or heat-producing reaction. |  |
|  | Passive Fire Protection | Passive fire protection is an integral component of the three components of structural fire protection and fire safety in a building. Passive fire protection attempts to contain fires or slow the spread, through the use of fire resistant walls, floors and doors. |  |
|  | Active Fire Protection | Active fire protection is an integral part of fire protection and is characterised by items and systems which require a certain amount of motion and response in order to work (e.g.: fire sprinkler system or fire detection devices). |  |

The purpose of fire protection is to:

- 1. Prevent/reduce the possibility of fire and 
2. Reduce the spread of fire within and around a building

Name the two categories or systems that provide measurement and arrangements for fire protection.

| Answer | Passive System Active System |  |
| --- | --- | --- |

With respect to the general level of fire protection explain separately the terms ‘Fire Load’ and ‘Fire Load Density’?

| Answer | Fire Load – The amount of potential heat that can be liberated during the fire of the combustible contents of a given enclosure. It is expressed as a numerical value represented as kJ/kg (kilojoule per kilogram) or as MJ/kg (megajoules per kilogram). Fire Load Density – The fire load of a given enclosure or building divided by floor area. It is expressed as fire load per unit area of floor space (th greater the fire load the more severe the fire). |  |
| --- | --- | --- |

Using Volume 2 of the BCA respond to the following:

- Where in the BCA would you look to find requirements for building in bushfire prone areas for Class 1 and 10 buildings?

- Where in the BCA would you look to find requirements for building in bushfire prone areas for Class 2-9 buildings?

- What Australian Standard must be complied with to satisfy the Deemed to Satisfy Provisions for construction of Class 2 and 3 buildings in bushfire prone areas?

| Answer | a) | Volume 2 Part 3.7.4 |  |
| --- | --- | --- | --- |
|  | b) | Volume 1 Section G Part G5 |  |
|  | c) | AS 3959 |  |

What is a Fire Safety Schedule and its relationship to the approval of development of a class 2 – 9 building?

| Answer | A Fire Safety Schedule lists all the Essential Fire Safety Measures that should be installed in the building and the performance standard to which each of these measures must be capable of operating. A Fire Safety Schedule is generally issued with the construction certificate. It MUST be issued for an existing building when: Granting a development consent for a change of building. Issuing a complying development certificate for building. Issuing a construction certificate for building work. Giving a fire safety order in relation to building premises. |  |
| --- | --- | --- |

What are building certifiers responsible for?

| Answer | Ensuring specific compliance is achieved by conducting visual inspections. |  |
| --- | --- | --- |

What are building certifiers not responsible for?

| Answer | Quality of workmanship within the construction process. |  |
| --- | --- | --- |

Where in the BCA would you determine the level of fire resistance required for the construction of buildings?

| Answer | Volume 1 Section C and Volume 2 Part 3.7. |  |
| --- | --- | --- |