Materials List

| Company Name: | N/A | Address: |  | Southern Queensland Correctional Precinct |  | Email: | N/A |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Contact No. |  | N/A |
| Building Project: | Southern Queensland Correctional Precinct |  | Address: |  | N/A |  |  |  |

| Category | Material | Description | Supplier | Quantity |
| --- | --- | --- | --- | --- |
| Foundation | Reinforced Concrete | High-strength concrete mix complying | Holcim Australia | 250 m³ |
|  | Steel Reinforcement | Reinforcing bars (Grade 500) for slabs and columns. | InfraBuild Steel Centre | 12 tonnes |
|  | Formwork Panels | Pre-fabricated plywood formwork panels for concrete pouring. | Dincel Construction System | 75 panels |
|  | Waterproof Membrane | Durable membrane for foundation moisture protection. | Ardex Australia | 500 m² |
| Structure | Structural Steel | Hot-rolled steel beams and columns | BlueScope Steel | 15 tonnes |
|  | Fire-Resistant Linings | Fire-rated plasterboard for walls (FRL 120/120/120). | Gyprock Trade | 450 sheets (1200x2400 mm) |
|  | Concrete Columns | Precast concrete columns for structural load-bearing. | CSR Concrete Solutions | 30 columns |
| Framing | Timber Framing | Treated pine framing for non-load-bearing walls | Bunnings Trade | 200 linear meters |
|  | Steel Framing | Lightweight steel framing for internal partitions. | Studco Building Systems | 150 lengths |
|  | Insulation Panels | Thermal and acoustic insulation for wall cavities. | Bradford Insulation | 600 m² |