RIIMPO402D

Apply the principles of earthworks construction

ASSESSMENT SUMMARY

The assessment activities for RIIMPO402D Apply the principles of earthworks construction cover all aspects of the unit of competency. For Apprentices/Trainees, this includes supervisor completion of the Apprentice/Trainee Record (ATR).

Participants must read all the information given before starting any assessment task. The assessment tasks are intended to be fair, flexible, valid and reliable. If a Participant has any questions or requires alternative arrangements to be made such requests should be directed to their Trainer/Assessor, who should note such arrangements in the ‘Assessor Comments’ on the affected assessment. If a Participant feels they are not yet ready to be assessed, they should discuss their options with their Trainer/Assessor.

To satisfactorily complete the assessment, the Participant is required to answer all questions correctly and demonstrate their skills to industry standards. If a Participant does not answer all questions or perform all tasks, they will be deemed ‘Not Satisfactory’ for the task and ‘Not Yet Competent’ for the unit of competency.

The Trainer/Assessor can provide the Participant with additional information on interpreting the assessment outcomes and guide the Participant’s options. If a Participant is still deemed ‘Not Satisfactory’ they will have the opportunity to undertake a supplementary assessment or appeal the result as per the process in the Student Handbook.

By signing below, the Participant acknowledges:

- They understand the assessment instructions and requirements, and consent to being assessed.

- The work submitted is to be their own work – with the work of/with others needing to be clearly acknowledged and documented.

- They consent to any photo/video recording of their work that occurs during assessment.

| Participant name | Te Ahimanawa Tutaki |
| --- | --- |
| Participant signature |  |

Pre-requisite unit(s) to be achieved and authenticated prior to undertaking assessment

Not applicable

| Task | Date completed | Assessment Results |  |
| --- | --- | --- | --- |
| Theory Exam | Select Date. | Satisfactory | Not Satisfactory |
| Practical Assessment | Select Date. | Satisfactory | Not Satisfactory |
| Outcome for RIIMPO402D | Select Date. | Competent | Not Yet Competent |

| Evidence requirements checklist (ticked by assessor and evidence supplied to RTO) |  |
| --- | --- |
| Theory Exam | Practical Assessment Copy of Job Plan completed by participant |

| Assessor Name |  |
| --- | --- |
| Assessor Signature |  |

RIIMPO402D

Apply the principles of earthworks construction

THEORY EXAM

| Participant name | Te Ahimanawa Tutaki |
| --- | --- |

FOR THE PARTICIPANT

Instructions

- You will complete written questions as outlined on the following pages. You must attempt all questions and provide enough detail in your responses to demonstrate your knowledge. - It is anticipated that you should complete this assessment within a two (2) hour period, but additional time may be allowed upon negotiation with the Assessor. - You must complete all questions unassisted by the Assessor or other personnel but may refer to reference material as needed. All questions must be answered correctly for a ‘Satisfactory’ assessment outcome to be awarded. - An oral examination may be allowed under certain circumstances, whereby your answers will be documented by another party. - Any written questions that are incomplete, or not answered satisfactorily will need to be completed again after further training support. - If you answer a question incorrectly but modify your response, put your initials next to the written change (or the Assessor must initial a verbal change).

Resources required

Pen

FOR THE ASSESSOR

Instructions

- Where oral examination has occurred, ensure that this is acknowledged in writing (e.g. FT001 and Assessor Comments) - All questions must be satisfactorily demonstrated by the Participant for a Satisfactory determination (indicated by an Assessor tick to the right of the question). - Assessors are to complete marking in pen of a different colour to the Participant. - If the Participant verbally modifies their response, write in the modified response verbatim and put your initials next to the written change.

ASSESSOR COMMENTS

As necessary, outline: - Details on reattempts, alternative arrangements or reasonable adjustments made. - Where a Participant is deemed ‘Not Satisfactory’, provide recommendations for future training.

What information can you obtain by reading the project plans, surveys, drawings and specifications during planning for earthworks?

| Answer | I can obtain important information about the Site Layout and Boundaries, Excavation and Fill Requirements, Levels and Elevations, Soil and Subsurface Conditions, Drainage and Utility Locations, Design Specifications for Earthworks, Environmental and Safety Considerations, Access and Logistics. |  |
| --- | --- | --- |

Why is project site hydrological data important to earthworks planning and where this can be accessed?

| Answer | it provides information about water flow, drainage, and potential flooding risks, which helps in designing proper drainage systems and preventing water-related issues. This data can typically be accessed from environmental reports and the engineers who gather and provide hydrological information for the site. |  |
| --- | --- | --- |

What is the purpose and procedure for conducting a proof roll test to the subgrade?

| Answer | to check its stability and ensure it can support the weight of the construction without excessive deformation. The procedure involves driving a heavy roller or loaded truck over the subgrade to identify any soft or weak areas that may need further compaction or improvement before construction begins. This helps ensure the subgrade is strong enough for the next phase. |  |
| --- | --- | --- |

What is the purpose of geotechnical investigation reports and how they inform earthworks planning?

| Answer | to provide detailed information about the soil and ground conditions at a construction site. These reports help inform earthworks planning by identifying soil stability, water table levels, and any potential risks, such as subsidence or poor soil conditions, that may affect the design and construction process. |  |
| --- | --- | --- |

What information would you expect to see in a job plan?

| Answer | Scope of Work Timeline and Schedule Resource Allocation Safety and Risk Management Work Methods and Procedures Quality Control and Standards Communication Plan Emergency Procedures Budget and Costs Environmental Considerations. |  |
| --- | --- | --- |

How would you identify if any drainage or dewatering issues need to be addressed at the site and how you would promptly and effectively manage these once identified?

| Answer | I would look for signs of water pooling, poor drainage, or wet, soft areas on the site. Once identified, I would direct the appropriate teams to assess and address the issue and report on the findings, ensuring the necessary actions are taken to manage the problem effectively and prevent delays or damage. |  |
| --- | --- | --- |

What is the importance of understanding the relationship between the different areas of civil work when planning and sequencing work tasks, providing examples?

| Answer | Understanding the relationship between different areas of civil work when planning and sequencing work tasks is crucial because it ensures that the work is performed efficiently, safely, and in the correct order. This relationship helps avoid delays, rework, and conflicts between different activities on the construction site Examples: - Avoiding Conflicts and Delays: Certain tasks need to be completed before others can start. For example, excavation work must be completed before foundation work can begin. If the sequencing is wrong, foundation work might begin before the ground is properly prepared, resulting in delays or the need for rework. - Optimszing Resource Use: Understanding how different tasks are interrelated allows for better resource management. For instance, if concrete pouring is planned after the steel reinforcement is installed, workers and materials can be efficiently coordinated. If the relationship between these tasks isn't understood, workers might be idle waiting for the preceding task to finish, wasting time and resources. - Safety Considerations: Some civil works must be done in a specific sequence to maintain site safety. For example, trenching for utilities must be carefully planned before any other work like road paving or landscaping takes place to avoid undermining the integrity of the trench walls, which could pose a collapse risk. - Quality Assurance: Certain tasks are dependent on the quality of previous work. For instance, soil compaction tests must be completed and passed before proceeding with asphalt laying for roads. If soil compaction is not up to the required standard, the road could crack or sink, requiring repairs and additional costs. - Efficiency in Project Timelines: Proper sequencing can also help shorten the overall project duration. For example, while one team works on excavation, another team can begin with shoring or formwork. If these tasks are sequenced correctly, the project moves forward without waiting for one task to be completed before starting the next. . |  |
| --- | --- | --- |

Before commencing a project, what would you estimate to effectively determine resource and sequencing requirements?

| Answer | Before commencing a project, I would estimate the following: - Scope of Work: I would thoroughly review the scope of work, which includes understanding the size of the area, specific tasks involved, and project objectives. - Project Timeline and Milestones: Understanding the overall project timeline, including critical milestones and deadlines, helps in scheduling tasks and determining when resources will be needed. - Site Conditions and Accessibility: I would assess the site conditions, including terrain, accessibility, and any constraints (such as nearby structures or environmental factors) that may affect task sequencing or resource allocation. - Resource Requirements (Labor, Equipment, Materials): Based on the scope and timeline, I would estimate the quantity and type of resources needed, such as labour (skilled and unskilled), equipment (e.g., excavators, cranes), and materials (e.g., concrete, steel). I would also ensure that resources are available on time to avoid delays. - Task Dependencies: Understanding how tasks depend on each other is essential for proper sequencing. For example, excavation must be completed before foundation work begins, and concrete pouring must follow steel reinforcement installation - Potential Risks and Challenges: I would identify any potential challenges or risks, such as adverse weather, regulatory issues, or site-specific difficulties (e.g., difficult soil conditions). - Regulatory and Safety Requirements: I would consider any regulatory or safety standards that need to be followed, which may impact the sequencing or resource allocation (e.g., safety inspections, permits, environmental protections). . |  |
| --- | --- | --- |

What is the definition of the following material properties and test results that are applicable to earthworks?

| Answer | Test | Definition |  |
| --- | --- | --- | --- |
|  | Compaction test | A test used to measure the ability of soil to be compacted and its resulting strength, ensuring it has the right density for supporting structures. |  |
|  | Soil density/ moisture | Measures the amount of water in the soil, which affects its compaction and strength. Proper moisture content is important for effective compaction during earthworks |  |
|  | Plasticity | Refers to the ability of soil to be moulded or shaped when wet. It indicates how easily soil can be compacted and its suitability for construction. |  |
|  | Particle size distribution | A test that determines the range of sizes of particles in the soil. It helps in assessing the soil's stability and suitability for construction and drainage. |  |

What resources must you confirm are available before the job plan can be implemented?

| Answer | the necessary materials, equipment, labour, and safety resources are available. This includes ensuring the right tools, machinery, workers, and safety gear are on-site and ready to go. |  |
| --- | --- | --- |

Outline the information you will be discussing with the work team during the pre-start meeting.

| Answer | the task details, safety procedures, potential hazards and emergency procedures the work schedule, roles and responsibilities, and any specific instructions or updates. I’ll also remind the team about proper use of equipment, PPE and the importance of communication on site. |  |
| --- | --- | --- |

What methods can you apply to confirm instructions provided have been understood?

| Answer | I can ask team members to repeat the instructions in their own words, observe them during tasks, and check in regularly. Ask for any questions before closing the meeting. |  |
| --- | --- | --- |

What would you do if you come across conflict between sub-contractors?

| Answer | I would address the issue immediately by speaking with both parties to understand their concerns. I would encourage open communication, mediate the situation, and help find a fair solution. I would report the incident at our daily meeting. |  |
| --- | --- | --- |

Discuss what you would do if you noticed a client walking onto the site with no PPE and they haven’t signed in.

| Answer | I would approach them politely, explain the site’s safety requirements, and ensure they are wearing the proper PPE before allowing them to proceed. I would also remind them to sign in at the site entrance for safety and tracking purposes. If necessary, I would escort them to the sign-in area to complete the process. |  |
| --- | --- | --- |

Discuss the importance of accurate setting out of offsets.

| Answer | Accurate setting out of offsets is important because it ensures that the construction work is aligned correctly with the design plans. Offsets help establish reference points for measurements, ensuring that structures like roads, foundations, or utilities are placed in the right location. This prevents costly mistakes, rework, and ensures the project meets the required specifications and safety standards. |  |
| --- | --- | --- |

You have noticed a worker who is assisting during setting out, doesn’t seem to know what they are doing. How will you respond to this situation?

| Answer | I would approach them calmly and ask if they need help or clarification. I would provide clear instructions or guidance on what needs to be done and, if necessary, offer additional training or support. |  |
| --- | --- | --- |

After speaking with the worker from the previous question, you establish that this worker has difficulty calculating percentage of slope, as well as other things. Provide a simple equation you can provide to assist the workers learning.

| Answer | Percentage of Slope = (Vertical Rise ÷ Horizontal Run) × 100 For example, if the vertical rise is 2 meters and the horizontal run is 10 meters, the slope would be: (2 ÷ 10) × 100 = 20% |  |
| --- | --- | --- |

What tool and equipment maintenance would direct the team about before setting out the site?

| Answer | I would direct the team to check and maintain tools and equipment such as leveling instruments, theodolites, tape measures, and survey rods. This includes ensuring that all equipment is clean, calibrated, and in good working condition to ensure accurate measurements and prevent delays. I would also make sure that personal protective equipment (PPE) is in good condition and available for use. |  |
| --- | --- | --- |

Describe how you ensure all workers understand the communication methods used on site and all appropriate equipment before beginning work tasks.

| Answer | I would go over the plan during a pre-start meeting, explaining how we will communicate (e.g., radios, mobile phones) and the purpose of and when we are to use each method. I’d encourage questions, provide any necessary training, and check that all workers are clear on the communication expectations and equipment usage before starting. |  |
| --- | --- | --- |

Calculate the amount of road base required for an area of 200m in length, 12.4m in width and a depth of 250mm. Answer using cubic metres (m³). Allow an extra 20% for compaction.

| Answer | To calculate the amount of road base required, first find the volume of the area: Volume = Length × Width × Depth Convert the depth to meters: 250mm = 0.25m Now, calculate the volume: Volume = 200m × 12.4m × 0.25m = 620m³ Next, allow an extra 20% for compaction: Total Volume = 620m³ × 1.20 = 744m³ So, the total amount of road base required is 744 cubic meters (m³). |  |
| --- | --- | --- |

Calculate the following to determine the percentage of grade. A rise of 820 millimetres and a run of 60 metres (Round up to two (2) decimal points).

| Answer | Percentage of Grade = (Rise ÷ Run) × 100 First, convert the rise to meters: 820 millimeters = 0.82 meters Now, calculate the percentage of grade: Percentage of Grade = (0.82 ÷ 60) × 100 = 1.37% So, the percentage of grade is 1.37%. |  |
| --- | --- | --- |

How do supervisors know that they are working according to client and organisational requirements when conducting excavation work?

| Answer | by reviewing the project plans, specifications, and safety regulations before starting. ensure that all tasks are carried out according to the agreed-upon design, standards, and safety protocols. Regular site inspections, communication with the team, and monitoring progress against the plan |  |
| --- | --- | --- |

Briefly describe two (2) situations that would require supervisors to make changes to the work practices or job plan.

| Answer 1. | Unforeseen Weather Conditions: If there is unexpected heavy rain or extreme weather that affects site safety or work progress, the supervisor may need to adjust the work plan or schedule to ensure the safety of workers and prevent delays. |  |
| --- | --- | --- |
| 2. | Safety Hazards: If new safety risks are identified on-site, such as unstable ground or equipment malfunction, the supervisor would need to modify the work practices, implement new safety measures, or pause the work until the issue is resolved. |  |

What are two (2) types of reports an organisation could use to record how installation against required outcomes is progressing and identify opportunities for improvement in relation to safety, efficiency, and effectiveness.

| Answer 1. | Progress Report: This report tracks the status of the installation against the project timeline and required outcomes, helping identify any delays or issues related to safety, efficiency, or effectiveness. |  |
| --- | --- | --- |
| 2. | Safety Audit Report: This report assesses safety practices on-site, identifying potential hazards, compliance with safety standards, and areas where improvements can be made to enhance safety and overall project performance. |  |

Why should written information be clearly expressed?

| Answer | to ensure that everyone understands the message without confusion. Clear communication helps prevent mistakes, improves safety, ensures tasks are completed correctly, and ensures that all workers are on the same page regarding expectations and requirements. |  |
| --- | --- | --- |

What is the purpose of levelling equipment and why is routine inspection, proper handling and regular calibration important?

| Answer | to ensure accurate measurements of the ground’s elevation, helping to create flat or properly sloped surfaces for construction. Routine inspection, proper handling, and regular calibration are important to maintain the accuracy of the equipment, prevent errors in measurements, and ensure the reliability of the data used for construction, which helps avoid costly mistakes and ensures the safety and quality of the project. |  |
| --- | --- | --- |

RIIMPO402D

Apply the principles of earthworks construction

PRACTICAL ASSESSMENT

| Participant name |  |
| --- | --- |

FOR THE PARTICIPANT

Instructions

- The tasks outlined on the following pages will require performance of normal workplace activities, as a result of a structured activity set by an Observer in the workplace or a simulated activity set by your Assessor/Observer. - The timeframe for these tasks will be established by your Assessor/Observer, in consideration of location conditions and industry requirements. - You must complete all tasks unassisted by the Assessor or other personnel unless the steps note this assistance. - You must attempt all tasks (and itemised steps) for a ‘Satisfactory’ assessment outcome to be awarded. - For any observation conducted that is incomplete, or without satisfactory performance, the observation will need to be completed again after further training support.

FOR THE ASSESSOR/OBSERVER

Instructions

- The following observation record should be used to judge and record your observations of the Participant as they complete the task(s) set. You must record your observations of the Participant’s performance. - For each occasion, indicate the task performed and whether it was a simulation or workplace-based task. - Any simulated assessment must ensure the Participant still performs under workplace conditions which reflect industry standards. - In the comments, provide clear detail regarding the task that the Participant was required to do (e.g. PPE used, materials handled, attachments connected, plant types). - All steps must be satisfactorily demonstrated by the Participant for a ‘Satisfactory’ determination (indicated by an Assessor tick to the right of each itemised step, or an Observer tick to the right of each itemised step, and confirmation by an Assessor in the Assessor Comments). - Where you have determined that one or more task steps have not been satisfactorily demonstrated, provide the Participant with additional support and outline details of such assistance in the Assessor/Observer Comments. Allow the Participant two (2) further opportunities to demonstrate the task again to allow an opportunity for a ‘Satisfactory’ assessment outcome to be achieved. - If after three (3) attempts the Assessor determines that the Participant cannot demonstrate the required steps, a ‘Not Satisfactory’ outcome is to be determined.

| TASK OUTCOME |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Task | Date | Task Type (Tick) | Location | Task outcome (Tick) |  |
|  |  |  |  | Satisfactory | Not Satisfactory |
| Task 1 (Occasion 1) | Select Date. | Workplace Simulation |  |  |  |
| Task 1 (Occasion 2) | Select Date. | Workplace Simulation |  |  |  |

ASSESSOR COMMENTS

As necessary, outline: - Details on reattempts, alternative arrangements or reasonable adjustments made. - Where a Participant is deemed ‘Not Satisfactory’, provide recommendations for future training.

| ASSESSOR COMMENTS: PRACTICAL TASK 1: OCCASION 1 |  |
| --- | --- |
| Individual student (as named on cover page) Multiple students [ All from Attendance Report, Specific students involved – identify students] |  |
| Task | Provide detail |
| 1.1A. | Specify () documents read and confirmed: Plans/ Drawings/Maps Specifications TMP EMP Site Safety Plan SWMS Engineering survey data Site cultural and heritage information Sources of material Labour resources required, including sub-contractors Schedule Costing requirements Other (please specify): |
| 1.1B. | Specify () specifications clarified: Scheduling requirements Milestones Testing requirements Materials Site soil/rock and geological data Other (please specify): |
| 1.1D. | Specify () job plan inclusions: HR requirements Plant and machinery requirements Construction materials requirements Sub-contractor support requirements Waste disposal requirements Coordination requirements Activity scheduling Materials delivery scheduling Risk assessment and management requirements WHS requirements Quality management requirements, including testing scheduling requirements Traffic management requirements Environmental requirements Task monitoring requirements Task performance monitoring requirements Communication requirements Reporting requirements Other (please specify): |
| 1.2K. | Specify () test results read and correctly understood: Compaction test results Soil/ density/ moisture relationship Plasticity index Particle size distribution Other (please specify): |
| 1.3B. | Specify adjustments made: |
| 1.4B. | Specify recommendations made: |

| ASSESSOR COMMENTS: PRACTICAL TASK 1: OCCASION 2 |  |
| --- | --- |
| Individual student (as named on cover page) Multiple students [ All from Attendance Report, Specific students involved – identify students] |  |
| Task | Details |
| 1.1A. | Specify () documents read and confirmed: Plans/ Drawings/Maps Specifications TMP EMP Site Safety Plan SWMS Engineering survey data Site cultural and heritage information Sources of material Labour resources required, including sub-contractors Schedule Costing requirements Other (please specify): |
| 1.1B. | Specify () specifications clarified: Scheduling requirements Milestones Testing requirements Materials Site soil/rock and geological data Other (please specify): |
| 1.1D. | Specify () job plan inclusions: HR requirements Plant and machinery requirements Construction materials requirements Sub-contractor support requirements Waste disposal requirements Coordination requirements Activity scheduling Materials delivery scheduling Risk assessment and management requirements WHS requirements Quality management requirements, including testing scheduling requirements Traffic management requirements Environmental requirements Task monitoring requirements Task performance monitoring requirements Communication requirements Reporting requirements Other (please specify): |
| 1.2K. | Specify () test results read and correctly understood: Compaction test results Soil/ density/ moisture relationship Plasticity index Particle size distribution Other (please specify): |
| 1.3B. | Specify adjustments made: |
| 1.4B. | Specify recommendations made: |

RIIMPO402D

Apply the principles of earthworks construction

Practical Task 1 (2X)

Description of task: The participant must demonstrate the ability to apply the principles of earthworks construction while undertaking the role of a civil construction supervisor on two (2) occasions including demonstration of: - During planning and preparation of work: - Reading and applying requirements set out in project plans and specifications - Complying with site safety plan and organisational policies and procedures when confirming resource availability - Complete a job plan showing best use of available resources to meet task requirements - Prepare to lead pre-start meeting - When implementing the job plan: - Confirm availability of resources at site - Lead daily pre-start meeting providing clear instructions to meet schedule and safety requirements - Set out the job and allocate tasks to others - While supervising the execution of tasks: - Monitor the installation, checking against performance requirements and identifying gaps - Initiate adjustments to process or work practice to ensure achievement of expected outcomes - Oversee plant, equipment and tool maintenance procedures and ensure written documentation is completed - During reporting: - Complete all written reporting requirements in a timely manner - Make recommendations for changes to improve efficiency, effectiveness, and safety during the execution of tasks Tasks are at the Assessor’s Discretion, but detail of tasks undertaken must be recorded in the Assessor’s Comments (on the back of the Practical Assessment cover page).

Resources required: Project site, project documents, labour, plant, equipment and tools, construction materials.

| When completing the task, did the Participant: | Tick if satisfactorily completed. Provide comments if left unticked. |  |
| --- | --- | --- |
|  | 1st Occasion | 2nd Occasion |
| 1 Plan and prepare for earthworks construction |  |  |
| - Locate and read all appropriate earthworks construction documentation to confirm compliant activities. |  |  |
| - Read and clarify specific task information and requirements from technical specifications and notes. |  |  |
| - Meet with project management as required to confirm client requirements are met. |  |  |
| - Develop a job plan that meets task requirements and makes best use of resources. Assessor attach a copy of the job plan with participant name and date showing as permitted by workplace. Alternatively note job plan observed. |  |  |
| - Recognise training requirements for team and allocate tasks to ensure safety. |  |  |
| - Prepare for site meetings (toolbox/ pre-start) by preparing notes and resources required. |  |  |
| 2 Implement the job plan |  |  |
| - Confirm availability of all resources required for safe and effective task completion. |  |  |
| - Lead pre-start meeting providing clear, legible and timely instructions from job plan to team members and others both verbal and in written form. |  |  |
| - Allocate tasks to others in a manner to be understood. |  |  |
| - Manage team and other relationships in a manner to diffuse friction and induce work production. |  |  |
| - Monitor checking of plant tools and equipment for serviceability. |  |  |
| - Read and interpret project engineering surveys. |  |  |
| - Undertake set out of offsets according to plans and drawings. |  |  |
| - Adhere to manufacturer and workplace requirements for use of levelling tools and equipment to achieve accurate set out and offset marking. |  |  |
| - Correctly calculates resource consumption, supply rate, volumes, areas, grades and percentages |  |  |
| - Communicate offset requirements using approved workplace methods of marking. |  |  |
| - Interpret information from site soil/rock, hydrological and geological data test results. |  |  |
| - Recognise and address drainage issues according to site requirements. |  |  |
| 3 Oversee the execution of tasks |  |  |
| - Apply performance monitoring skills, checking measurements, making calculations and assessing performance against schedule and requirements for any gaps. |  |  |
| - Make adjustments, or recognise adjustments made to work practices or the job plan and implements these to ensure achievement of the required outcomes |  |  |
| - Monitor performance, recognising and acting on training needs of workers. |  |  |
| - Demonstrate knowledge of plant and equipment capabilities and limitations. |  |  |
| - Adhere to or alter materials delivery scheduling according to requirements and procedures. |  |  |
| - Oversee plant, equipment and tool maintenance procedures on completion of tasks including documentation of maintenance records |  |  |
| - Inspect work to ensure outcomes conform with requirements, applying testing where required. |  |  |
| - Organise or apply mentoring to workers requiring training and monitoring. |  |  |
| 4 Report on task execution |  |  |
| - Complete and submits reports including all test results. |  |  |
| - Adhere to continuous improvement by making reasonable recommendations for improvement of processes or procedures. |  |  |