JDL Construction Group Pty Ltd	WHS Management System

# Safe Work Method Statement

# Organisational Details

JDL Construction Group Pty Ltd 63 Amelia Street, Nundah 4012

JDL Construction Group Pty Ltd

Michael Lewis

Business Undertaking the Work: Approved for Use By:

Person Overseeing the SWMS:

# Project and Principal Contractor Details

| Construction of Residential |  |
| --- | --- |
| 58 Blackmore St, Windsor |  |
| JDL Construction Group Pty Ltd | Contact Number: (07) 3189 3261 Signature: |
| Michael Lewis |  |
| JDL Construction Group Pty Ltd |  |

Scope of the Work: Project Address: Principal Contractor (P.C.): P.C. Contact Person: Approved for Use By:

JDL Construction Group Pty Ltd

Michael Lewis -

SWMS Details SWMS Developed By: Title: Review Date: Monitoring

A.B.N:

21 618 173 694

(07) 3189 3261

Signature: Contact Number:

12 / 11 / 20

(07) 3189 3261

Contact Number: Date Developed: (12 months max)

## Consultation:

Visual monitoring of control measures will be undertaken and reviewed if circumstances change.

The SWMS will be amended if there is a change in the activity.

Relevant personnel (including HSR’s where established) have been consulted in the development, and where required, review and amending of this SWMS.

☒ Yes	☐ No

| High Risk Construction Work Associated with this SWMS |  |  |  |  |  |  | ☒ | YES | ☐ | NO |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| If YES, High Risk Construction Work Involving: |  |  |  |  |  |  |  |  |  |  |
| ☒ | The risk of a person falling more than 2.0 meters |  |  | ☐ Or is likely to involve, the removal or likely disturbance of asbestos ☒ Work in, on or near an area at a workplace in which there is any movement of powered mobile plant |  |  |  |  |  |  |
| ☐ | Demolition of an element of a structure that is load-bearing or otherwise related to the physical integrity of the structure |  |  |  |  |  |  |  |  |  |
| ☐ | Work in or near a shaft or trench with an excavated depth greater than 1.5m or a tunnel |  |  | ☒ | Structural alterations or repairs that require temporary support to prevent collapse |  |  |  |  |  |
| ☐ | Work in, on or near an area that may have a contaminated or flammable atmosphere |  |  | ☐ | Work in, on or adjacent to a road, railway, shipping lane or other traffic corridor that is in use by traffic other than pedestrians |  |  |  |  |  |
| ☐ | Work in, on or near energised electrical installations or services |  |  | ☐ | Tilt-up or precast concrete |  |  |  |  |  |
| - Work in, on or near an area in which there are artificial extremes of temperature ☐ Work in, on or near water or other liquid that involves a risk of drowning |  |  |  |  |  |  |  |  |  |  |
| ☐ | Work in, on or near chemical, fuel or refrigerant lines |  |  | ☐ | Work in, on or near a confined space |  |  |  |  |  |
| ☐ | Work in, on or near pressurised gas distribution mains or piping |  |  | ☐ | Work on a telecommunications tower |  |  |  |  |  |
| ☐ | Diving work |  |  | ☐ | The use of explosives |  |  |  |  |  |
| Other Hazards / Considerations Associated with this SWMS |  |  |  |  |  |  |  |  |  |  |
| ☒ | Access ¦ Egress | ☐ | Contaminated Landfill | ☐ | Biological ¦ Bacterial | ☒ | Scaffolding |  |  |  |
| ☐ | Crushing ¦ Entrapment | ☐ | Waste Management | ☒ | Manual ¦ Materials Handling | ☒ | Signage |  |  |  |
| ☒ | Demolition | ☒ | Hot Work | ☒ | Structural Alterations / Support | ☒ | Fatigue |  |  |  |
| ☒ | Explosive Power Tools | ☒ | Lighting | ☒ | Electrical Energy | ☐ | Fire ¦ Explosion |  |  |  |
| ☐ | Firearms | ☐ | Emergency Response | ☐ | Energy Sources (other than electrical) | ☐ | Fire Protection |  |  |  |
| ☒ | Fumes ¦ Dust ¦ Steam | ☒ | Plant and Equipment | ☒ | Hazardous Chemicals / Substances | ☐ | Existing Services |  |  |  |
| ☒ | Flying ¦ Falling Objects | ☒ | Noise | ☐ | Dangerous Goods | ☒ | Traffic Management |  |  |  |
| ☒ | Lasers | ☒ | Public ¦ Occupants ¦ People | ☐ | Lead | ☐ | Ventilation |  |  |  |
| ☐ | Working Alone ¦ Isolation | ☒ | Young ¦ Inexperienced Workers | ☐ | Synthetic Mineral Fibres | ☐ | Flora / Fauna |  |  |  |
| ☒ | Slips ¦ Trips ¦ Falls | ☒ | Trenching ¦ Excavations | ☒ | Machine ¦ Equipment Guarding | ☐ | Working Environment |  |  |  |
| ☐ | Formwork ¦ Falsework | ☒ | Housekeeping ¦ Storage | ☒ | Working at Height ¦ Edge Protection | ☐ | Climatic Conditions |  |  |  |
| ☐ | Design ¦ Overloading | ☐ | Visibility | ☐ | Animals / Insects | ☒ | Training and Induction |  |  |  |

# Supplementary Information

Plant | Equipment Involved

|  Excavator & Crane |  |
| --- | --- |

Qualifications | Certificates of Competency | Experience | Training | High Risk Licenses

|  Licence for mobile plant |  Licence for crane & safe lifting |
| --- | --- |

Reference Relevant Legislation | Codes of Practice / Compliance Codes | Australian Standards | Safety Data Sheets (S.D.S.)

| - Qld WHS Act 2011 - Qld WHS Regulations 2011 - AS/NZS 3012:2010 Electrical Installations - AS/NZS 3760:2010 In-Service safety inspection and testing of electrical equipment.  - First Aid Code of Practice 2014 - Formwork Code of Practice 2016 - Managing Noise and Preventing Hearing Loss at Work Code of Practice 2011 - Plant Code of Practice 2016 - Scaffolding Code of Practice 2009 | - Hazardous Manual Tasks Code of Practice 2011 - Hazardous Chemicals Code of Practice 2011 - How to Manage Work Health and Safety Risks Code of Practice 2011 - Traffic Management for Construction or Maintenance Work Code of Practice 2008 - Managing the Risk of Falls at Workplaces Code of Practice 2011 - Work Health and Safety Consultation, Co-operation and Co-ordination 2011 - Confined Spaces Code of Practice 2011 |
| --- | --- |

Engineering Details | Certificates | Approvals

|  As per engineering design |  |
| --- | --- |

# Personal Protective Equipment (PPE) Requirements

☒ ☒ ☒ ☐ ☒ ☐ ☐ ☐ ☐ ☒ ☐ ☐ ☒

Other ¦ Additional PPE Requirements

| No | Task ¦ Activity | Potential Hazards | Risk Score (Before) | Control Measures | Risk Score (After) |
| --- | --- | --- | --- | --- | --- |
| 1.0 | Arrival at Site. Unloading and Set-Up. |  |  |  |  |
| 1.1 | Unload vehicle | - Musculoskeletal strains | 3 | - Planning, Consultation, Adherence to Manual Handling Techniques - When unloading the vehicle we will ensure that we are as close as possible to the area where the equipment will be set up. If required we will seek out assistance in unloading heavy items, however our normal work does not include heavy items. - We will use sensible manual handling techniques making sure our backs are straight and bending with the knees. | 5 |
|  |  | - Slips, trips and falls | 3 | - Planning and Consultation o Before carrying any items we will walk the area from the vehicle to the work site and ensure that there are no hazards in the way. | 5 |
|  |  | - Electrical hazards - Fire | 1 | - Risk Assessment, Planning and Consultation o Before commencing any work in the roof we will consider whether live electrical wiring is a hazard. | 5 |

| No | Task ¦ Activity | Potential Hazards | Risk Score (Before) | Control Measures | Risk Score (After) |
| --- | --- | --- | --- | --- | --- |
|  | Unload vehicle (cont.) |  | 1 | - If live electrical wiring is a hazard we will consider cutting the house power and using an independent power source such as generator or neighbours power. - We will walk through the premises with the owner to identify the location of all down lights and other ceiling accessories. - We will record the location and type and then make the necessary precautions when laying the insulation. As a default we will leave a clearance of 50mm from incandescent lights and 200mm from halogen lights including 50mm for any transformer, unless the lights are fitted with a suitable fire rated enclosure. | 5 |
| 2.0 | Other Hazards |  |  |  |  |
| 2.1 | Other Hazards | - Any / various | 3 | - Pre Start Meeting o Before commencing work on any site we will conduct a short pre start meeting. We will look for any hazards created by the site. Should a hazard be identified we will do a risk assessment and comply with the control measures. | 5 |
| 3.0 | General Construction |  |  |  |  |
| 3.1 | Use of hand and power tools | - Electrocution - Cuts and abrasions - Eye and hearing damage | 3 | - Safety Glasses, Ear Protection and RCD. - Testing and Tagging of Electrical Power Equipment - All Electrical Power Equipment will be tested and Tagged every 3 months on a Construction Site - Guards on tools and equipment will be maintained and working effectively before being used on site. Guarding on tools will not be removed to perform any work activity. | 5 |

| No | Task ¦ Activity | Potential Hazards | Risk Score (Before) | Control Measures | Risk Score (After) |
| --- | --- | --- | --- | --- | --- |
|  | Use of hand and power tools (cont.) |  | 3 | - All tools and equipment will be inspected prior to work activity for any faults or defects. If a fault or defect is found the item will be removed from services, and reported to the supervisor as soon as practicable. - All persons performing work where there is a risk of a foreign object striking the eye, should consider wearing eye protection. If an item of plant or equipment creates excessive noise, that is where you need to raise your voice to talk, we will wear appropriate hearing protection and if there is a risk of injury to the head by falling objects then we will wear hard hats. - When we use plant, equipment or power tools we will also follow the manufacturer’s instructions for the correct PPE to be worn and the safe use instructions. We will be competent in the use of the PPE and risk assessments must be undertaken prior to using PPE to show that the hierarchy of control was used in determining whether or not to use PPE. | 5 |
| 4.0 | General |  |  |  |  |
| 4.1 | Sweeping | - Dust | 3 | - Dust Mask, Eye Protection, Wet Down Area o We will assess whether to wet down areas to reduce dust emission form works conducted. Where the risk of dust production is high, worker will wear appropriate PPE | 5 |
|  |  | - Repetitive manual handling injury | 3 | - Training Consultation & Supervision - Frequent job rotation - Avoid twisting - Correct posture at all times - Use electric floor sweeper where possible | 5 |
| 5.0 | Manual Handling |  |  |  |  |

| No | Task ¦ Activity | Potential Hazards | Risk Score (Before) | Control Measures | Risk Score (After) |
| --- | --- | --- | --- | --- | --- |
| 5.1 | Manual handling / locations of the loads and distances to be moved | - Back, shoulder strain - Fatigue | 3 | - Training Consultation & Supervision - Use mechanical handling equipment - Team lifting - Modify work place layout so materials will not be carried long distances - Ensure clear access and egress | 5 |
| 6.0 | Asbestos Removal (NOT APPLICABLE) |  |  |  |  |
| 6.1 | Sheeting and guttering | - Asbestos related diseases | 1 | - Monitoring, Supervision, Training, PPE, Specialised Equipment. - All workers directly involved with the removal, and or handling of Asbestos will hold a general safety induction card and an approved Bonded Asbestos Removal Certificate, issued by Queensland WHS. - Only workers directly involved with the removal will be present in the area where the removal is taking place. - Signage and barriers will be erected if other persons are present. All workers involved in the removal will wear P2 disposable respirators (masks) and disposable coveralls. | 4 |

| No | Task ¦ Activity | Potential Hazards | Risk Score (Before) | Control Measures | Risk Score (After) |
| --- | --- | --- | --- | --- | --- |
|  | Sheeting and guttering (cont.) |  | 3 | - All asbestos sheeting and gutters will be removed in full pieces where possible. Nails will be punched and screws removed, along with any trims holding the sheets in position. - Power tools will not be used on the sheeting or gutters and no cutting will take place. - External sheeting and gutters will be wet down prior to removal. Roof sheeting will not be wet down prior to removal as it will create a slip hazard and put the workers at risk of an injury. Any internal sheeting will already be sealed by existing paint, wetting down would be of no benefit and would cause damage to the floors and ceilings. - Once the internal sheeting is removed the area will be vacuumed with an industrial vacuum fitted with a Hepa filter. The vacuum bags will also be placed in the 200 micro metre polythene bags and disposed of. On completion of the decontamination the area will be able to be accessed by persons who were not directly involved with the removal. - Workers will wash any exposed parts of their body i.e. face and hands before stopping for morning tea or lunch to eat and before leaving site. | 4 |
| 6.2 | Bonded or friable asbestos in excess of 10 sq. metres. | - Asbestos related diseases | 1 | - Monitoring, Supervision, training, PPE, Specialised Equipment. - A competent person will supervise the Asbestos removal work at all times whilst the work is being undertaken. | 4 |

| No | Task ¦ Activity | Potential Hazards | Risk Score (Before) | Control Measures | Risk Score (After) |
| --- | --- | --- | --- | --- | --- |
|  | Bonded or friable asbestos in excess of 10 sq. metres.(cont.) |  | 1 | - All workers will hold a general induction card. Only workers directly involved with the removal will be present in the area where the removal is taking place. Signage and barriers will be erected if other persons are present. All workers involved in the removal will wear P2 disposable respirators (masks) and disposable coveralls and gloves. - The ACM will be removed using wet methods and contained within an enclosed area. - All ventilation and Aircon Networks servicing the ACM area will be closed down for the duration of the work and all vents sealed to prevent entry of airborne asbestos fibres into ducts. - After work ceases all ventilation filters for recirculated air will be replaced. - We will take care not to allow asbestos fibres to escape via pipe or conduit holes. - We shall establish a negative pressure work area for the removal of the ACM and this area will be set up in accordance with the provisions of the Code of Practice for the Safe removal of Asbestos 2nd edition. [NOHSC:2002(2005)] - We will only use grinding or abrading tools where no other alternative is available and only after a written risk assessment has been undertaken. - We will set up and use an on-site decontamination unit. | 4 |
|  | Bonded or friable asbestos in excess of 10 sq. metres.(cont.) |  | 1 | - We are aware of and will enforce “No laundering of contaminated protective clothing in workers’ homes”. - On completion of the work a competent person, other than the works supervisor, will conduct a site clearance and will issue a clearance certificate. | 4 |
| 7.0 | Use Hazardous Chemicals |  |  |  |  |

| No | Task ¦ Activity | Potential Hazards | Risk Score (Before) | Control Measures | Risk Score (After) |
| --- | --- | --- | --- | --- | --- |
| 7.1 | Construction Substances | - Poisoning - Inhalation - Absorption - Diseases | 4 | Respirators, Eye Wear, Gloves, Protective Clothing o Before using hazardous substances we will read the SDS and comply with the requirements within. In most cases our work is out doors and will be in a well- ventilated area. Risk assessments will be conducted both prior to and after using a hazardous substance. | 5 |
|  |  |  | 3 | - Discussion with Other Trades. o If other trades are present on site we will notify them of the hazardous substances we are using and obtain from them details of any substances they are using. | 5 |
| 8.0 | Roof Truss Erection NOT APPLICABLE |  |  |  |  |
| 8.1 | Where a person could fall through a framed structure | - Falling >3mts | 1 | - Spacing’s, Temporary Sheeting, Platforms, Edge Protection. - Where there is potential for an uncontrolled fall of 3 metres or more: o Spacing’s between members that are fixed into place and used to support our weight (e.g. bearers and joists) are not more than 450mm centres. | 5 |

| No | Task ¦ Activity | Potential Hazards | Risk Score (Before) | Control Measures | Risk Score (After) |
| --- | --- | --- | --- | --- | --- |
|  | Where a person could fall through a framed structure (cont.) |  | 1 | - Use temporary sheeting to form a platform on the members (e.g. bearers/joists). - Lay the floor sheets adjacent to an internal or external access point to provide initial protection and then proceed to lay the sheets using a safe method to prevent workers from falling. - If a worker is required to work within one metre of an external edge: - The workers body is positioned over the partly secured sheet to avoid over-reaching, or - A suitable platform is used, or - Edge protection is installed. - Use temporary sheeting to form a platform across open stairwells/other voids. - Make sure the location of the materials to be used is close to the work activity. Do not walk on the external top plate. | 5 |
| 8.2 | Erection process, plan the work | - Falling - Falling objects | 2 | - Floor Sheeting, Barricades, Signage, No Go Zones, Work Platforms, Unloading in Sequence, Step Ladders. - Ensure that: o Floor sheeting is complete and covers all areas below roofing activities, including stair voids, and is clear of all off cuts, debris etc. Note: If stair void is not covered with floor sheeting, other arrangements must be made to arrest potential falls from the truss erection activities into the void | 5 |

| No | Task ¦ Activity | Potential Hazards | Risk Score (Before) | Control Measures | Risk Score (After) |
| --- | --- | --- | --- | --- | --- |
|  | Erection process, plan the work (cont.) |  | 2 | - All wall frames are secured and fully nailed off and adequately braced with permanent and temporary bracing to take all loads imposed during truss erection, including stockpiling trusses on top of walls. - Access to and from the floor area below the roof is clear of all debris and materials. Where ladders or ramps are used they must be properly set up and secured. - Barricades and signage are positioned to delineate ‘no-go-zones’ below the truss installation activities, warning of potential falling objects and prohibiting access during installation activities | 5 |
| 8.3 | Erect Work platforms | - Falling, Falling objects | 1 | - Floor Sheeting, Barricades, Signage, No Go Zones, Work Platforms, Unloading in Sequence, Step Ladders. - Platforms may be erected on trestles or scaffolding or other systems complying with AS6001or AS1576. - erect work platform inside of perimeter truss bearing walls, two planks wide (min 450mm) and 1200mm below top plate (height may be adjusted to provide a suitable working position for the truss/plate connection and allow comfortable “ducking under” bottom chord of trusses) | 3 |
|  | Erect Work platforms (cont.) |  | 1 | - Erect work platforms at mid span (or below panel points on top chord). Ensure that height is adequate to allow installer to work at top chord to position longitudinal ties near the top chord panel points. Height of mid span platforms should be 1950 mm (must not exceed 2000 mm from top of plank to floor). Platform should be two planks wide (min 450 mm) and be supported at approx. 1800mm to minimise ‘bounce’. | 3 |

| No | Task ¦ Activity | Potential Hazards | Risk Score (Before) | Control Measures | Risk Score (After) |
| --- | --- | --- | --- | --- | --- |
| 8.4 | Mark position of trusses on top plates | - Falling, Falling objects | 1 | - Floor Sheeting, Barricades, Signage, No Go Zones, Work Platforms, Unloading in Sequence, Step Ladders. o Working from platform at load bearing perimeter walls, mark position of all trusses. | 3 |
| 8.5 | Load trusses on to wall frames | - Falling, Falling objects | 2 | - Floor Sheeting, Barricades, Signage, No Go Zones, Work Platforms, Unloading in Sequence, Step Ladders. o Trusses should be stock piled by crane onto the top plates which have been additionally braced to carry the extra temporary load. Work should be planned so that trusses are arranged in sequence (as required by the manufacturer’s instructions) to minimise manual handling during the truss standing process. | 3 |
| 8.6 | Standing trusses | - Falling, Falling objects | 2 | - Floor Sheeting, Barricades, Signage, No Go Zones, Work Platforms, Unloading in Sequence, Step Ladders. - Trusses should be taken from the stock pile and carried to their positions by each of the installers working from their respective work platforms. The standing process should proceed from the furthest point on the roof working back towards the stock pile. This will minimise ‘ducking under’ trusses which have already been erected. - The first truss must be securely braced, straight and plumb at the panel points on the top and bottom chords. The accuracy and security of the placement of the first truss will govern the accuracy and security of the subsequent trusses. Manufacturer’s tolerance requirements for straightness must be complied with. - The standing operation should proceed ensuring each truss is securely fixed in position with fixings secured at each panel point on the top and bottom chords. The temporary fixings may consist of temporary or permanent longitudinal ties or proprietary brand spacers. | 3 |

| No | Task ¦ Activity | Potential Hazards | Risk Score (Before) | Control Measures | Risk Score (After) |
| --- | --- | --- | --- | --- | --- |
|  | Standing trusses (cont.) |  | 2 | - Where apex of trusses cannot be reached from existing work platforms, another platform (2 planks – min 450mm wide) must be erected approx. 1200mm below the apex. (or a suitable working height from the apex) to allow a longitudinal tie to be fixed along the full run of trusses at the apex. The platform may be erected by securing a bearer to web members at approx. 1800mm centres. Work for this platform must be done from a temporary platform erected on the bottom chord of the installed and secured trusses. - As the platform below the apex will be more than 2000mm above the floor, the longitudinal tie being attached will act as an effective guardrail. - This platform and the previously constructed platforms must be used for the installation of speed bracing. - Note: the longitudinal tie at the apex should be solid timber to provide adequate compressive strength to give full effect to the function of the diagonal speed bracing. If truss erection includes roof battens, the roof battens will provide this strength. Otherwise, the roof must be made adequate to withstand wind loads and future construction loads of following trades. | 3 |
| 8.7 | Install ancillary items | - Falling - Falling objects | 2 | - Floor Sheeting, Barricades, Signage, No Go Zones, Work Platforms, Unloading in Sequence, Step Ladders. o Install all ties, noggings, trimming, framing brackets and tie-downs. All work in this operation must be carried out from the working platforms or off step ladders from the floor. | 3 |
| 8.8 | Remove work platforms | - Falling - Falling objects | 2 | - Floor Sheeting, Barricades, Signage, No Go Zones, Work Platforms, Unloading in Sequence, Step Ladders. o Remove work platforms in the reverse order that they were erected, working from step ladders from the floor below. | 4 |
| 9.0 | Where a Person Could Fall Through a Framed Structure NOT APPLICABLE |  |  |  |  |

| No | Task ¦ Activity | Potential Hazards | Risk Score (Before) | Control Measures | Risk Score (After) |
| --- | --- | --- | --- | --- | --- |
| 9.1 | Working near void | - Uncontrolled fall through a framed structure | 1 | - Floor sheeting, Barricades, signage, no go zones, edge protection - Where there is potential for an uncontrolled fall of 3 metres or more: - Spacings between members that are fixed into place and used to support our weight (e.g. bearers and joists) are not more than 450mm centres. - Use temporary sheeting to form a platform on the members (e.g. bearers/joists). | 4 |
|  | Working near void (cont.) |  | 1 | - Lay the floor sheets adjacent to an internal or external access point to provide initial protection and then proceed to lay the sheets using a safe method to prevent workers from falling. - If a worker is required to work within one metre of an external edge: - The workers body is positioned over the partly secured sheet to avoid over-reaching, or - A suitable platform is used, or - Edge protection is installed. - Use temporary sheeting to form a platform across open stairwells/other voids. - Make sure the location of the materials to be used is close to the work activity. Do not walk on the external top plate | 4 |
| 10.0 | Installation of Walls, Decks and Hand Rails |  |  |  |  |
| 10.1 | Installing 2nd level floor joists | - Falls from height | 2 | - The installation of the 2nd level floor joists will be carried out from below, not requiring ourselves to be exposed to a fall of 3 metres or greater. | 4 |

| No | Task ¦ Activity | Potential Hazards | Risk Score (Before) | Control Measures | Risk Score (After) |
| --- | --- | --- | --- | --- | --- |
| 10.2 | Installing 2nd level floor sheeting | - Falls from height | 2 | - Scaffolding ,Edge Protection o We will install the 2nd level floor sheeting or rails using either trestles and planks fitted with hand rails or perimeter scaffold to provide edge protection removing 3 metres and greater fall hazards | 3 |
| 10.3 | Installation of walls on 2nd level or above | - Falls from height | 1 | - Scaffolding ,Edge Protection o We will install 2nd level wall frames or hand rails using both trestles and planks fitted with hand rails or perimeter scaffold to provide edge protection removing 3 metres and greater fall hazards. | 3 |
| 10.4 | Stair voids | - Falls from height | 1 | - Scaffolding ,Edge Protection o The internal stair void will have either temporary hand rails installed or be covered with a void protection working platform. | 3 |
| 11.0 | Mobile Plant |  |  |  |  |
| 11.1 | Levelling / lifting / site preparation | - Uncontrolled contact between plant and persons on site | 2 | - Licences, Barricades, High Visibility Clothing - All plant onsite will be approved by the principal contractor. - The operator of the mobile will be correctly licensed to operate the machine. - All personal in the work area will wear High Vis clothing or vests. - A “spotter” may be used in conjunction with operator where there is a risk identified. - The site will be secured with a barricade or other measure to limit access to the site. - Whilst the plant is being operated in reverse a visual watch technique must be used by the operator. | 5 |

| No | Task ¦ Activity | Potential Hazards | Risk Score (Before) | Control Measures | Risk Score (After) |
| --- | --- | --- | --- | --- | --- |
|  | Levelling / lifting / site preparation (cont.) |  | 2 | - The mobile plant will be fitted with a reversing beeper. - Other control options that may be used, dependent upon identified risks include: - Use of plant with flashing lights - Use of plant with reversing cameras and /or sensors - A pre-start check will be carried out each day on the machine and recorded. | 5 |

JDL Construction Group Pty Ltd	WHS Management System

| No | Task ¦ Activity | Potential Hazards | Risk Score (Before) |  | Control Measures | Risk Score (After) |
| --- | --- | --- | --- | --- | --- | --- |
| 11.2 | Refuelling Mobile Plant | - Handling Diesel - Fumes, - Skin contact | 4 |  | - •Ventilation, Water - Plant and Machinery will be switched off prior to refuelling. Ensure that there are No Naked Flames in the area - DO NOT SMOKE- Switch Off Mobile Phones Refuelling will be carried out in a well-ventilated area, to avoid breathing in the fuel vapour. Minimise drips when fuelling plant/Machinery - All workers will wash their hands and arms with water, prior to eating and drinking and when finished handling the diesel. - Any contaminated clothing will be removed. All workers will read the safety data sheet (SDS) prior to use. - All workers must familiarise the safe operating procedure (SOP) which is a simplified summary of the information regarding a work process or procedure. It is based on the outcomes of risk assessments, label and SDS information, operator experience, workplace conditions and industry practice. - In the event of a chemical spill, plant and machinery will be switched off at the ignition source. - In the event of a chemical spill the worker will wear appropriate PPE during the clean-up process. - Mobile phones and other communication devices will not be used in the immediate spill area. - The spill area should be isolated and cordoned off. - Workers utilising fuel should carry or have immediate access to the Spill kit that will consist of equipment for dry clean up (socks, absorbent pads, kitty litter, broom, and dustpan). Container for dirty absorbent. - In the event of a spill that exceeds 20 litres, the local fire-fighting authority will be contacted for further instruction and advice. - Clean up spills thoroughly and promptly. | 5 |
| WHS TS | WMS-001 ¦ v2 Aug 2018 | © HIA Safety Services WHS MS ( Phone 1300 650 | QLD) 620 |  |  | Page 18 of 33 |

| No | Task ¦ Activity | Potential Hazards | Risk Score (Before) | Control Measures | Risk Score (After) |
| --- | --- | --- | --- | --- | --- |
| 12.0 | Working Close to a Body of Water NOT APPLICABLE |  |  |  |  |
| 12.1 | General construction work | - Possible drowning | 3 | - Void Protection / Barricade - Workers are able to swim. - Where practical, void protection systems will be used. - Barricades will be erected where possible | 5 |
|  | General construction work (cont.) |  | 3 | - Man-made structures (e.g. pools) with the potential to hold water will be visually monitored and controls applied where required. (e.g.) water pumping will be used to remove water. - In situations where there is an identified risk, other control options may be employed. (use of buoyancy equipment and work in pairs) | 5 |
| 13.0 | Working in a Trench Greater Than 1.5 Meters NOT APPLICABLE |  |  |  |  |
| 13.1 | Installation of piping and foundations | - Uncontrolled collapse | 2 | - Shoring / Benching - To prevent collapse of the trench use a shoring system against all sides of the trench that protects by shielding. The shoring system will comply with applicable standards and manufacturers requirements. The shoring will be checked daily to ensure its continued effectiveness. - To prevent collapse of the trench apply benching to all sides of the trench at an angle of no steeper than 45 degrees to the horizontal. When I / we bench a trench, the vertical trench side, below the benched portion, will not exceed 1.5 metres in height. The benching will be checked at least daily to ensure its continued effectiveness. | 5 |

| No | Task ¦ Activity | Potential Hazards | Risk Score (Before) | Control Measures | Risk Score (After) |
| --- | --- | --- | --- | --- | --- |
|  | Installation of piping and foundations (cont.) |  | 2 | - To prevent collapse of the trench apply battering to all sides of the trench at an angle of no steeper than 45 degrees to the horizontal. When I / we batter a trench, the vertical trench side, below the battered portion, will not exceed 1.5 metres in height. The battering will be checked at least daily to ensure its continued effectiveness. - I / we will have a geo-technical engineer: - Approve in writing that all the sides of the trench are safe from collapse - State in writing how long the approval lasts if there is no stated natural occurrence that could affect the stability of the trench - State in writing the natural occurrence that could affect the stability of the trench - I / we will continue to comply with the requirements of the geo-technical engineer. | 5 |
| 14.0 | Installation of Facia and Guttering Using a Temporary Work Platform |  |  |  |  |
| 14.1 | Working at heights 3.0 meters or > | - Falling | 3 | - Temporary Work Platforms - Facia and gutter installation from work platforms 3 metres or above should only be performed off 2 planks (450mm). - Work performed from work platform 3 metres or above will be fitted with suitable edge protection. | 4 |
|  | Working at heights 3.0 meters or > (cont.) |  | 3 | - Materials should not be stored on the work platform and to avoid pivoting they should be lashed or clamped. - A visual inspection will be undertaken to check to see if the platform is suitable for the work activity prior to use. - The height of the work platform should not exceed 5 metres. | 4 |

| No | Task ¦ Activity | Potential Hazards | Risk Score (Before) | Control Measures | Risk Score (After) |
| --- | --- | --- | --- | --- | --- |
| 14.2 | Working at heights < 3.0 meters | - Falling | 3 | - Temporary Work Platforms o If working below 3 metres maintain a clear fall zone of at least 1.5 metres free from excessive rubbish, materials and other hazards. If this clear fall zone of 1.5 metres cannot be achieved and the risk of falling is high, suitable edge protection should be installed to the platform. | 4 |
| 15.0 | Working at Heights |  |  |  |  |
| 15.1 | General construction activities | - Falling | 3 | - Scaffolding - When we working above 3 meters in height or where a risk assessments deems it a risk, scaffolding will be erected, to provide a suitable working platform with edge protection. This will be used to eliminate the falling risk. - The scaffolding will have adequate edge protection on the external side consisting of a top and mid rail and toe board. | 5 |
|  | General construction activities (cont.) |  | 3 | - If the internal (working side) has a gap of 225 mm or more edge protection will considered necessary on this side also. - The scaffold will be a minimum 1000mm wide when building trades are working. E.g., bricklayers - If there is a risk of tools or construction materials falling an exclusion zone will erected, this will consist of barricades and signage be used and tools will be tied off. - The scaffolding will be erected by a licensed, competent person. - Scaffolding Code of Practice 2009. | 5 |
| 16.0 | Bricklaying 3 Metres and Above NOT APPLICABLE |  |  |  |  |

| No | Task ¦ Activity | Potential Hazards | Risk Score (Before) | Control Measures | Risk Score (After) |
| --- | --- | --- | --- | --- | --- |
| 16.1 | Using scaffolding or mobile scaffolding | - Falling | 3 | - When Working Above 3 Metres or When There Is No Clear 1.5 Metre Fall Zone Scaffolding Will Be Used. - Work will take place on a scaffold constructed by a competent person when the scaffold is below 4 metres and by a licensed scaffolder when 4 metres or above. - Bricklaying will be carried out on a heavy duty scaffold minimum width of 1000 mm across. - Top, mid rail and toe board will be installed where a fall of 3 metres or more is possible or a risk assessment has deemed it so. - When using mobile scaffold the height of the scaffold must not exceed 3 times the minimum base dimension. | 5 |
| 16.2 | Storing materials on scaffolding | - Collapse | 2 | - Control of Materials Distribution - Bricks and other materials used the in building process will be stored on the scaffold evenly and not in a concentrated position. - The maximum weight on one scaffolding bay will be 675kg and no more than 200kg in a concentrated spot. | 4 |
|  |  | - Slips, Trips and Falls | 3 | - Control of Materials Distribution o When materials are stored on a heavy duty scaffold a minimum clear platform width of 450mm must be kept. | 5 |
| 17.0 | Construction / Repair Work |  |  |  |  |

| No | Task ¦ Activity | Potential Hazards | Risk Score (Before) | Control Measures | Risk Score (After) |
| --- | --- | --- | --- | --- | --- |
| 17.1 | Working in a confined space | - Dangerous atmosphere - Engulfment | 3 | - Monitoring, Training, PPE - Use a system involving monitoring the air quality to protect the person working in a confined space: - Prior to entering a confined space, check the oxygen levels are within the acceptable range and that atmospheric contaminants are below the relevant exposure standards, - Keep a record of any person entering a confined space, - Put emergency evacuation procedures in place before starting work, - Monitor the proper use of PPE (where required), - Consider heat stress and remove people where excessive, - Use people that are appropriately trained and able to work safely in confined space. | 5 |

| No | Task ¦ Activity | Potential Hazards | Risk Score (Before) | Control Measures | Risk Score (After) |
| --- | --- | --- | --- | --- | --- |
|  | Working in a confined space (cont.) |  | 3 | - Use a system involving the use of personal protective equipment (PPE) to protect the person working in a confined space. - Use appropriate PPE including breathing apparatus and provide a stand-by person for the duration of the work where oxygen and contaminant levels are not within the acceptable range or are above the relevant exposure standards. - Provide a written risk assessment detailing the work to be performed in the confined space and the person directly responsible for this work - Keep a record of any person entering a confined space - Put emergency evacuation procedures in place before starting work - Monitor the work to ensure PPE is being used properly - Consider heat stress and remove people where excessive - Train workers in the safe use of hazardous substances in accordance with a material safety data sheet (SDS), and - Use people that have been trained to work in a confined space and are medically able to work safely in a confined space. | 5 |

| No | Task ¦ Activity | Potential Hazards | Risk Score (Before) | Control Measures | Risk Score (After) |
| --- | --- | --- | --- | --- | --- |
| 18.0 | General Construction |  |  |  |  |
| 18.1 | Using Ladders | - Falling | 3 | - Tie Offs, Base Support, Gutter Anchors, Levellers o All ladders used on site will be rated ‘Industrial’ with 120kg (minimum) load rating. If undertaking high risk work above 3 metres, single and extension ladders must be secured at the top, bottom or both. Persons using the ladder must have 3 points of contact at all times (i.e. 2 hands and 1 foot or 2 feet and 1 hand or be holding a stable object e.g. gutter, wall frame). Ladders are to be maintained in a sound working condition and be appropriate for the task to be undertaken. Tools requiring two handed operation or a high degree of leverage force should not be used while on ladders. A ladder is not a work platform. | 5 |
| 18.2 | Using power tools | - Electrocution - Cuts, abrasions - Eye and hearing damage | 3 | - Safety Glasses, Ear Protection, RCD. - All Electrical Power Tools will be Tested and Tagged every 3 months on a construction site. - Guards on tools and equipment will be maintained and working effectively before being used on site. Guarding on tools will not be removed to perform any work activity. - All tools and equipment will be inspected prior to work activity for any faults or defects. If a fault or defect is found the item will be removed from services, and reported to the supervisor as soon as practicable. | 5 |

| No | Task ¦ Activity | Potential Hazards | Risk Score (Before) | Control Measures | Risk Score (After) |
| --- | --- | --- | --- | --- | --- |
|  | Using power tools (cont.) |  | 3 | - All persons performing work where there is a risk of a foreign object striking the eye, should consider wearing eye protection. If an item of plant or equipment creates excessive noise, that is where you need to raise your voice to talk, we will wear appropriate hearing protection and if there is a risk of injury to the head by falling objects then we will wear hard hats. - When we use plant, equipment or power tools we will also follow the manufacturer’s instructions for the correct PPE to be worn and the safe use instructions. We will be competent in the use of the PPE and risk assessments must be undertaken prior to using PPE to show that the hierarchy of control was used in determining whether or not to use PPE. | 5 |
| 19.0 | Mobile Plant and Vehicles |  |  |  |  |
| 19.1 | Working on or near a roadway | - Contact between persons and vehicles | 2 | - Training, Licences And Stop Go Signs. o If we need to work on or near a roadway we will contact a traffic management company to supply a Traffic Management Plan and licenced traffic management personnel. We will abide by the state road rules and will keep the disruption to traffic at a minimum. | 5 |
|  | Traffic | - Uncontrolled contact between vehicles and people, property damage | 1 | - Adherence to WHS Management Plan, Exclusion Zones, Communication, Consultation o Follow the WHS Management Plan relating to Traffic Control Safety. | 5 |

| No | Task ¦ Activity | Potential Hazards | Risk Score (Before) | Control Measures | Risk Score (After) |
| --- | --- | --- | --- | --- | --- |
|  | Traffic (cont.) |  | 1 | - Do not work within 3m of live traffic unless a Traffic Management Plan is in place – under the direction of ticketed traffic controllers. - There is a safety barrier in place (such as concrete new jersey kerbs), water filled Triton barriers and or a shadow vehicle. - Increase awareness of pedestrians, as works are adjacent to the existing footpath. - All pedestrian to be diverted around work area. | 5 |
| 20.0 | Clean-Up and Re-Packing |  |  |  |  |
| 20.1 | Loading Vehicle | - Musculoskeletal strains | 3 | - Adhere to Site Rules, Manual Handling Techniques o When cleaning up and re packing we will practise good manual handling techniques such as bending the knees and not the back, team lifts where possible and avoid carrying very heavy items. | 5 |
| 21.0 | Leaving Site |  |  |  |  |
| 21.1 | Environmental | - Environmental damage | 4 | - Adhere to SDS for disposal o When leaving site we will make sure that we take away any of the left over insulation. When cleaning we will ensure that all environmentally sensitive products are disposed of correctly. Any left-over hazardous substances will be taken off site and disposed at the correct facility. | 5 |

Persons Involved in the Activity

Acknowledgement & Sign - Off

I have read, understood and will comply with the requirements of this Safe Work Method Statement

| Name | Company ¦ Employer | Signature | Date |
| --- | --- | --- | --- |
| MICHAEL LEWIS | JDL CONSTRUCTION |  | 12/11/20 |
| JAMES CLARK | JDL CONSTRUCTION |  | 12/11/20 |
| GUS CARNEIRO | JDL CONSTRUCTION |  | 12/11/20 |
| KIERAN LEWIS | JDL CONSTRUCTION |  | 12/11/20 |

# Site Specific Hazards

Consultation will be required for workers and Supervisors involved in the activity to adjust the Generic SWMS to suit

List here any site specific hazards & risks (including control measures) that are additional to this SWMS and sign off

| No | Task ¦ Activity | Potential Hazards | Risk Score (Before) | Control Measures | Risk Score (After) |
| --- | --- | --- | --- | --- | --- |
| 1 | CRANE STRUCTURE ONTO SITE | OBJECT FALLING CAUSING INJURY OR DEATH | 1 | METHODOLOGY STATEMENT CREATED FOR PERSONAL WORKING ON SITE WHILST THE STRUCTURE IS BEING CRANED | 3 |

Risk Assessment Process

JDL Construction Group Pty Ltd	WHS Management System

| How to Use the Risk Rating and Control Priority Tables |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Step 1 |  | Step 2 |  | Step 3 |  | Step 4 |  | Step 5 |
| Identify any potential HAZARDS |  | Decide what the possible CONSEQUENCE could be |  | Decide HOW LIKELY it is to happen |  | Line up your choices in the table to get the Risk Rating |  | Use the CONTROL PRIORITY TABLE to guide your next steps |

| OH&S Risk Rating Table |  |  |  |  |
| --- | --- | --- | --- | --- |
| Consequence | Likelihood |  |  |  |
| What injury / damage could the hazard cause? | Very Likely | Likely | Unlikely | Very Unlikely |
|  | Could happen anytime | Could happen sometimes | Could happen but only rarely | Could happen but probably never will |
| - Serious injury, death, or permanent disability | 1 | 1 | 2 | 3 |
| - Lost Time (full shift) | 1 | 2 | 3 | 4 |
| - Medical Treatment | 2 | 3 | 4 | 5 |
| - First Aid | 3 | 4 | 5 | 5 |

| Control Priority Table |  |
| --- | --- |
| Risk Rating | Prioritisation |
| 1 or 2 | Action to rectify must be done immediately |
| 3, 4, or 5 | Consider control measure/s as necessary |

JDL Construction Group Pty Ltd	WHS Management System

Hierarchy of Controls

LEAST

LOWEST

LEVEL 2

SUBSTITUTE the hazards with something safer ISOLATE the hazard from people

Reduce the risks through ENGINEERING controls

MOST

LEVEL 1

ELIMINATE the hazards

HIGHEST

Hierarchy of Controls

LEVEL 3

Reduce exposure to the hazard using ADMINISTRATIVE actions Use PERSONAL PROTECTIVE EQUIPMENT

Level of Health & Safety Protection

Reliability of Control Measures

Control measures should be based upon the Hierarchy of Controls as described below.