# Documentation of design and construction (suitability or evidence of suitability)

| # Project Name: Rockpool Pelican waters |  |  |  |  |
| --- | --- | --- | --- | --- |
| # Project address: 17 Spitfire banks Drive |  |  | # Site Plan attached: |  |
| Prepared by: Ric |  |  |  |  |
| # Date: 9/11/2023 |  |  |  |  |
| # Description of project: # 150 Room Aged care facility |  |  |  |  |
| # Site Classification/s: # Class 9c |  |  |  |  |
| Documentation of design and construction (suitability or evidence of suitability) |  |  |  |  |
| Site preparation |  |  |  |  |
| Site preparation | NCC / Australian Standards requirements |  |  | Compliant Performance solution |
| Earthworks | Part 3.2 Earth works |  |  | 3.2.1 Un-retained bulk earth works – site cut and fill |
| Site preparation |  |  |  |  |
| Site preparation | NCC / Australian Standards requirements |  |  | Compliant Performance solution |
| Earth retaining structures | 3.1.2 earth retaining structures |  |  | - Performance RequirementP2.1.1; and - The relevant Performance Requirements determined in accordance with A2.2(3) and A2.4(3) as applicable. |
| Drainage | 3.3 Drainage |  |  | 3.3 Drainage – 3.3.1 Application 3.3.2 Drainage requirements 3.3.3 Surface drainage 3.3.4 Subsoil drainage 3.3.5 Stormwater drainage |
| Site preparation | NCC / Australian Standards requirements |  |  | Compliant Performance solution |
| Termite risk management | 3.4 Termite risk management |  |  | 3.4.1 Requirements for termite management systems 3.4.2 Termite management system 3.4.3 Durable notice |
| Materials | Steel Aluminium, other metals Concrete, Masonry, fibre re-enforced cement, Timber-naturally termite resistance in accordance with Appendix C AS3660.1. Timber- preservative in accordance with Appendix D AS3660.1. |  |  | Fibre crete into ground footings. Removed load bearing block walls and installed structural steel columns to hold up roof frame loads. |
| Footings and slabs |  |  |  |  |
| Site classification: |  |  |  |  |
| Footings and slabs | NCC / Australian Standards requirements |  |  | Compliant Performance solution |
| Footings and slabs | 4.1 Scope and application of section 4 4.2 Footing, slab and associated elements |  |  | 4.1.1 Scope 4.1.2 Applications 4.1.3 Explanation of terms 4.2.1 to 4.2.22 |
| Footings and slabs | NCC / Australian Standards requirements |  |  | Compliant Performance solution |
| Moisture Barrier | Part 4.2 Footings, slabs and associated elements |  |  | 4.2.8 Vapour barriers |
| Materials | 0.2 mm nominal thickness polyethylene film; and medium impact resistant, determined in accordance with criteria specified in clause 5.3.3.3 of AS 2870.(3)A vapour barrier must be branded continuously “AS 2870 Concrete underlay, 0.2 mm Medium impact resistance”.(4)Installation: A vapour barrier must be installed as follows: Lap not less than 200 mm at all joints. Tape or seal with a close-fitting sleeve around all service penetrations. Fully seal where punctured (unless for service penetrations) with additional polyethylene film and tape. |  |  |  |
| Concrete and reinforcement |  |  |  |  |
| Concrete and reinforcement | NCC / Australian Standards requirements |  |  | Compliant Performance solution |
| Concrete and reinforcement |  | Part 4.2 Footings, slabs and associated elements - |  | 4.2.10 concrete |
| Materials | Concrete must comply with AS 3600; and—have a strength at 28 days of not less than 20 MPa (denoted as N20 grade); and have a 20 mm maximum nominal aggregate size; and have a nominal 100 mm slump. Water must not be added to the mix to increase the slump to a value in excess of that specified. Concrete must be placed, compacted and cured in accordance with good building practice. |  |  |  |
| Masonry |  |  |  |  |
| Masonry | NCC / Australian Standards requirements |  |  | Compliant Performance solution |
| Masonry | 5.1.1 Scope and application of Section 5 5.1.2 Application |  |  | Part 5.2 Masonry veneer 52.1 - 5.2.6, Part 5.3 Cavity masonry 5.3.1 - 5.3.7, Part 5.4 Unreinforced single leaf masonry 5.4.1 – 5.4.5, Part 5.5 Isolated piers 5.5.1 – 5.5.6 Part 5.6 Masonry components and accessories 5.6.1 – 5.6.8, Part 5.7 Weatherproofing of masonry 5.7.1 – 5.7.6 |
| Moisture Barrier | Part 5.7 Weatherproofing of masonry |  |  | Part 5.7 Weatherproofing of masonry 5.7.1 – 5.7.6 |
| Materials | A material that complies with AS/NZS 2904; or embossed black polyethylene film of high impact resistance and low slip, with a nominal thickness of 0.5 mm prior to embossing, and comply with clause 7.6 of AS/NZS 2904; or polyethylene coated metal, that has an aluminium core of not less than 0.1 mm thick, is coated both sides with bitumen adhesive enclosed in polyethylene film of not less than 0.1 mm thick on each face, and has a nominal total thickness of not less than 0.5 mm prior to embossing; or bitumen impregnated materials of not less than 2.5 mm thick, that comply with clause 7.5 of AS/NZS 2904; or termite sheet materials complying with Part 3.4 (with no penetrations) serving the purpose of a damp-proof course and/or flashing that is continuous through the wall or pier. |  |  |  |
| Framing/Structure |  |  |  |  |
| Framing/Structure | NCC / Australian Standards requirements |  |  | Compliant Performance solution |
| Framing | Part 6.1 Scope and application of Section 6 6.1.1 Scope 6.1.2 Application |  |  | Part 6.2 Subfloor ventilation 6.2.1 Subfloor ventilation Part 6.3 Structural steel members 6.3.1 to 6.3.9 |
| Materials | Structural steel members may be used as follows: Bearers supporting a timber floor or non-loadbearing stud wall — in accordance with 6.3.3.Strutting beams supporting roof and ceiling loads — in accordance with 6.3.4.Lintels supporting roof, ceiling, and frame and timber floor— in accordance with 6.3.5.Columns— in accordance with 6.3.6. |  |  |  |
| Roof and Wall Cladding |  |  |  |  |
| Roof and wall cladding | NCC / Australian Standards requirements |  |  | Compliant Performance solution |
| Roof and wall cladding | Part 7.1 Scope and application of Section 7 7.1.1 Scope 7.1.2 Application |  |  | Part 7.2 Sheet roofing 7.2.1 – 7.2.8 Part 7.3 Roof tiles and shingles 7.3.1 – 7.3.6 Part 7.4 Gutters and downpipes 7.4.1 – 7.4.7 Part 7.5 Timber and composite wall cladding - 7.5.1 – 7.5.8 |
| Materials | Fasteners Galvanized or zinc/aluminium sheet metal Machine-folded sheet metal sections Fasteners for flashings and capping (must comply with 7.2.5.) Fascia Downpipe and fixing clips, guttering Selected Roof tiles and shingles. |  |  |  |
| Glazing |  |  |  |  |
| Glazing | NCC / Australian Standards requirements |  |  | Compliant Performance solution |
| Glazing | Part 8.1 Scope and application of Section 8 8.1.1 Scope 8.1.2 Application |  |  | Part 8.2 Windows and external glazed doors 8.2.1 – 8.2.2 Part 8.3 Glass 8.3.1 – 8.3.3 Part 8.4 Glazing human impact 8.4.1 – 8.4.8 |
| Materials | Appropriate glazing specified for job. 3 mm monolithic annealed glass, the maximum area must not be more than 0.85 m2. Glazing used in areas where the potential for human impact could occur must comply with the appropriate provisions listed in Part 8.4. Glazing used in the perimeter of buildings and supported on all sides must comply with the appropriate provisions listed in 8.3.3. |  |  |  |
| Fire Safety |  |  |  |  |
| Fire Safety | NCC / Australian Standards requirements |  |  | Compliant Performance solution |
| Fire Safety | Part 9.1 Scope and application of Section 9 9.1.1 Scope 9.1.2 Application |  |  | Part 9.2 Fire separation of external walls 9.2.1 – 9.2.10 Part 9.3 Fire protection of separating walls and floors 9.3.1 - 9.3.4 Part 9.4 Fire protection of garage top dwellings 9.4.1 -9.4.2 Part 9.5 Smoke alarms and evacuation lighting 9.5.1 – 9.5.5 |
| Access/Stairs/Lifts/Ramps |  |  |  |  |
| Access/Stairs/Lifts/Ramps | NCC / Australian Standards requirements |  |  | Compliant Performance solution |
| Access | Part 11.1 Scope and application of Section 11 11.1.1 Scope 11.1.2 Application |  |  | Part 11.2 Stairway and ramp construction 11.2.1 – 11.2.6 Part 11.3 Barriers and handrails 11.3.1 – 11.3.8 |
| Materials | Timber, Glass, Steel, aluminium, Metal, Composite |  |  |  |
| Ancillary Provisions |  |  |  |  |
| Ancillary Provisions | NCC / Australian Standards requirements |  |  | Compliant Performance solution |
| Ancillary Provisions | Part 12.1 Scope and application of Section 12 12.1.1 Scope 12.1.2 Application |  |  | Part 12.2 Construction in alpine areas 12.2.1 – 12.2.4 Part 12.3 Attachment of framed decks and balconies to external walls of buildings using a waling plate –12.3.1 – 12.3.4 Part 12.4 Heating appliances, fireplaces, chimneys and flues 12.4.1 – 12.4.5 |
| Energy Efficiency |  |  |  |  |
| Energy Efficiency | NCC / Australian Standards requirements |  |  | Compliant Performance solution |
| Energy Efficiency | Part 13.1 Scope and application of Section 13 13.1.1 Scope 13.1.2 Application |  |  | Part 13.2 Building fabric 13.2.1 – 13.2.7 Part 13.3 External glazing 13.3.1 – 13.3.4 Part 13.4 Building sealing 13.4.1 – 13.4.7 Part 13.5 Ceiling fans 13.5.1 – 13.5.2 Part 13.6 Whole-of-home energy usage 13.6.1 – 13.6.2 Part 13.7 Services 13.7.1 – 13.7.9 |
| Health and Safety | Part 10.1 Scope and application of Section 10 10.1.1 Scope 10.1.2 Application |  |  | Part 10.2 Wet area waterproofing 10.2.1 – 10.2.32 Part 10.3 Room heights 10.3.1 Part 10.4 Facilities 10.4.1 – 10.4.2 Part 10.5 Light 10.5.1 – 10.5.2 Part 10.6 Ventilation 10.6.1 – 10.6.3 Part 10.7 Sound insulation 10.7.1 – 10.7.8 Part 10.8 Condensation management 10.8.1 – 10.8.3 |
| Health and Safety |  |  |  |  |

| Consultation |  |  |  |  |
| --- | --- | --- | --- | --- |
| Consultation is the cornerstone of the Australian Building Codes Board's (ABCB) commitment to maintaining a contemporary and relevant National Construction Code (NCC). The consultation process also relates to our CodeMark Australia and WaterMark product certification schemes. This hub is a place for you to find and participate in consultations that interest you |  |  |  |  |
| Policies |  |  |  |  |
| As a general user of the National Construction Code (NCC), you will likely only need one particular volume: - Volume One for commercial construction; - Volume Two, for residential housing; or - Volume Three for plumbing and drainage. The Deemed-to-Satisfy Solutions within the NCC are the parts of the code you will likely need for your project. It’s important to remember however, that while the NCC sets out the legal requirements for construction of a house, building or plumbing and drainage installation, it’s the state or territory legislation that give it legal effect. State and territory regulation The NCC is given legal effect through building or plumbing legislation set out by your state or territory government, or other statutory authority. These Acts and Regulations set out the legal framework and administration mechanisms for the NCC, to support the design and construction of buildings and plumbing and drainage systems. The dates of adoption of the NCC are determined by State and Territory building or plumbing administrations. |  |  |  |  |
| Procedures |  |  |  |  |
| Administrative requirements Administration requirements typically covered in your state or territory legislation include: - Plan submission and approval procedures - Issue of permits - Inspections and audits - Provision of evidentiary certificates - Issue of certificates - Review and enforcement of standards - Fees and charges In some jurisdictions, some of these administrative requirements may be undertaken by your local government. |  |  |  |  |
| Issues to be addressed and consultation |  |  |  |  |
| Issue | Who to consult | Improvements for consideration | Feedback following consideration | Supporting Resources |
| Render cracking | Render Subbie | Render no thicker than 7mm unless hi-build used to bulk up before final finish coat | Subbie agreed and changes were made | Consult NCC |
| Render cracking over 4 meters | Render Subbie | Construction movement joint filled with flexible closed cell polyethylene. Flexible sealant in coursing line of render. Proprietary bead used both sides of joint and rendered to the bead. | Subbie agreed and changes were made | Consult NCC |
| Bathroom floor ties drummy | Tile Subbie | Rip up Tiles, identify effected area in bedding. Repair and relay | Tile subbie agreed and rectified defect | Consult NCC |
| Feature Stone cladding is heavier than quoted. Maybe too heavy for glue | Tile Subbies | Heavy steel angle used To support part of the weight, changed to recommend adhesive | After consultation all parties agreed and rectified issue | Consult NCC |
| Hot water not being delivered to each level of building | Plumber | Upgrade of Pump system to better handle requirements | Plumber agreed and changes were made | Consult NCC |
| Gap between wall and downpipe would allow water to penetrate under waterproofing on deck | Waterproof Subbie | Carry waterproofing up wall and seal behind downpipe/wall so water cannot penetrate under waterproofing membrane | All parties agreed and rectified issue | Consult NCC |