CPCCBC4005

Produce labour and material schedules for ordering

ASSESSMENT SUMMARY

The assessment activities for CPCCBC4005 Produce labour and material schedules for ordering cover all aspects of the unit of competency. For Apprentices/Trainees, this includes supervisor completion of the Apprentice/Trainee Record (ATR).

Participants must read all the information given before starting any assessment task. The assessment tasks are intended to be fair, flexible, valid and reliable. If a Participant has any questions or requires alternative arrangements to be made such requests should be directed to their Trainer/Assessor, who should note such arrangements in the ‘Assessor Comments’ on the affected assessment. If a Participant feels they are not yet ready to be assessed, they should discuss their options with their Trainer/Assessor.

To satisfactorily complete the assessment, the Participant is required to answer all questions correctly and demonstrate their skills to industry standards. If a Participant does not answer all questions or perform all tasks, they will be deemed ‘Not Satisfactory’ for the task and ‘Not Yet Competent’ for the unit of competency.

The Trainer/Assessor can provide the Participant with additional information on interpreting the assessment outcomes and guide the Participant’s options. If a Participant is still deemed ‘Not Satisfactory’ they will have the opportunity to undertake a supplementary assessment or appeal the result as per the process in the Student Handbook.

By signing below, the Participant acknowledges:

- They understand the assessment instructions and requirements, and consent to being assessed.

- The work submitted is to be their own work – with the work of/with others needing to be clearly acknowledged and documented.

- They consent to any photo/video recording of their work that occurs during assessment.

| Participant name | Justin Matheson |
| --- | --- |
| Participant signature |  |

| Pre-requisite unit(s) to be achieved and authenticated prior to undertaking assessment |  |  |  |
| --- | --- | --- | --- |
| Not applicable |  |  |  |
| Task | Date completed | Assessment Results |  |
| Theory Exam | Select Date. | Satisfactory | Not Satisfactory |
| Workbook | Select Date. | Satisfactory | Not Satisfactory |
| Practical Assessment | Select Date. | Satisfactory | Not Satisfactory |
| Outcome for CPCCBC4005 | Select Date. | Competent | Not Yet Competent |

| Evidence requirements checklist (ticked by assessor and evidence supplied to RTO) |  |
| --- | --- |
| Theory Exam Workbook Practical Assessment Project Start Record (HO1) Supplier List (HO2) Contractor List (HO3) | Electronic Call Forward Sheet (HO4) Material Inspection Checklist (HO5) Procurement Specifications (HO6) Project Schedule (HO7) Cost Analysis Report (HO8) |

| Assessor name |  |
| --- | --- |
| Assessor signature |  |

CPCCBC4005

Produce labour and material schedules for ordering

THEORY EXAM

| Participant name | Justin Matheson |
| --- | --- |

FOR THE PARTICIPANT

Instructions

- You will complete written questions as outlined on the following pages. You must attempt all questions and provide enough detail in your responses to demonstrate your knowledge. - It is anticipated that you should complete this assessment within two (2) hours, but additional time may be allowed upon negotiation with the Assessor. - You must complete all questions unassisted by the Assessor or other personnel but may refer to reference material as needed. All questions must be answered correctly for a ‘Satisfactory’ assessment outcome to be awarded. - An oral examination may be allowed under certain circumstances, whereby your answers will be documented by another party. - Any written questions that are incomplete, or not answered satisfactorily will need to be completed again after further training support. - If you answer a question incorrectly but modify your response, put your initials next to the written change (or the Assessor must initial a verbal change).

Resources required

Pen

FOR THE ASSESSOR

Instructions

- Where oral examination has occurred, ensure that this is acknowledged in writing (e.g. FT001 and Assessor Comments) - All questions must be satisfactorily demonstrated by the Participant for a Satisfactory determination (indicated by an Assessor tick to the right of the question). - Assessors are to complete marking in pen of a different colour to the Participant. - If the Participant verbally modifies their response, write in the modified response verbatim and put your initials next to the written change.

ASSESSOR COMMENTS

As necessary, outline: - Details on reattempts, alternative arrangements or reasonable adjustments made. - Where a Participant is deemed ‘Not Satisfactory’, provide recommendations for future training.

What dictates how buildings must be constructed in Australia and how may this differ in your State or Territory?

| Answer | - All construction activities must comply with the building and construction codes and standards enforced in that state/territory - These codes and standards set out the minimum technical requirements that a building must meet to be considered adequate. - While these codes and standards may differ slightly between states/territories, all building and construction codes and standards enforced in Australia use the National Construction Code (NCC) of Australia as the baseline for compliance. |  |
| --- | --- | --- |

Explain why it is important to understand references the NCC makes to Australian Standards.

| Answer | It is important to understand references the NCC makes to Australian Standards as it ensures the consistency or safety of the building being constructed and the construction workers. Standards are often used in legislation to provide a baseline of what is considered safe. |  |
| --- | --- | --- |

What are some indications that a construction company is abiding by environmental protection laws?

| Answer | To indicate that a construction company is abiding by environmental protection laws they must hold 2 types of documentation. 1.EMP – is a document where the environmental impact of a particular building and construction project is detailed, along with information on how the organisation in charge of the project plans to avoid these impacts or at least minimise and manage them. 2.CEMP – is used during the project’s actual construction to ensure the protection and preservation of the environment. OEMPs (EMPs) are used after project construction is done, during the actual operation or use of the project and once the project is being decommissioned. |  |
| --- | --- | --- |

What do you check for to confirm product compliance with NCC requirements?

| Answer | To confirm product compliance with NCC requirements the following aspects need to be considered: 1.Building Code of Australia (BCA) Compliance 2.Certification and Testing 3.Documentation 4.Product Marking 5.Performance Solutions 6.Third-Party Requirements 7.Installations Requirements 8.Environmental and Energy Efficiency Compliance |  |
| --- | --- | --- |

Where do you record checks that you have made on products and materials that have arrived on-site?

| Answer | A material inspection checklist |  |
| --- | --- | --- |

Briefly explain what ‘conditions’ are in the context of building applications.

| Answer | In building approval application, the council will check your construction plans against the regulations, codes, and standards enforced in the state/territory. |  |
| --- | --- | --- |

Discuss information that may need to be shown in the site plans according to the regulations.

| Answer | *Property boundaries – clearly depict boundaries of the property in question *Site dimensions – Provide accurate measurements of the site dimensions, including the length and width of the property *Setbacks – Illustrate any required setbacks from property lines, roads, and neighbouring structures. *Easements – Show any existing easements on the property, indicating areas where others may the right to use or access the land. *Topography & grading – Contour lines to represent the topography of the land and any changes in elevation and grading plans to show how water drainage will be managed. *Existing structures – Identify and label existing structures on the property, such as buildings, driveways and utilities. *Proposed structures – Clearly depict the location, dimensions, and specifications of any new structures or alterations to existing structures. *Scale and North Arrow – Include a scale to ensure accurate measurement interpretation and indicate the direction of north with a north arrow. |  |
| --- | --- | --- |

What are three (3) grounds that can be used to decide if a services contract is unfair according to the Independent Contractors Act?

| Answer | - The contract is harsh, unconscionable or unjust.t - The contract is against public interest. - The contract is designed to avoid, or actually avoids, the provisions of: - The Workplace Relations Act 1996, when it was still in force, or as it applies after it was repealed because of the Fair Work (Transitional Provisions and Consequential Amendments) Act 2009 - Applicable state/territory industrial law - An award, agreement or other instrument made under a law referred to in the items above. |  |
| --- | --- | --- |

Provide one (1) example of how WHS legislation affects building and construction projects in general.

| Answer | One example of how Workplace Health and Safety legislation affects building and construction projects in general is through the requirement for Safe Work Method Statements (SWMS). SWMS are important documents that outline the high-risk construction work to be performed, the associated hazards, and the control measures to be implemented to ensure the health and safety of workers and other on the construction site. |  |
| --- | --- | --- |

Explain the difference between a contract and a workplace agreement.

| Answer | A contract is an agreement between two or more parties that creates legal obligations. It can be a written or oral agreement and is typically formed through an offer, acceptance, and consideration. A workplace agreement, on the other hand, is a specific type of agreement regulated by employment laws. It is a formal document negotiated and agreed upon between an employer and employees (or their representatives) and must comply with legal requirements. |  |
| --- | --- | --- |

What information can you expect to see included in a supplier contract? List three (3) examples.

| Answer | - Full \legal names, addresses, and contact details of both the construction project owner or contractor and the supplier. - A detailed description of the construction materials, equipment, or products to be supplied, including specifications, quantities, quality standards, and any other relevant details. - The agreed-upon pricing structure, payment terms, and conditions. This may include unit prices, total contract value, payment methods, progress payments, milestone payments, and any applicable taxes or fees. |  |
| --- | --- | --- |

Discuss why variations can occur in the contract that will affect the scope of works.

| Answer | Variations can arise due to a variety of factors, and they often have implications for project timelines, costs, and the overall execution of the construction project. Several reasons why variations may occur in a contract include – design changes, unforeseen site conditions, owner-requested changes, regulatory changes, value engineering, weather conditions, errors or omissions in contract documents, changes in availability of materials, labour issues and unforeseen economic factors. |  |
| --- | --- | --- |

Discuss what is generally provided in the contract clause relating to variations.

| Answer | Construction contracts almost always include clauses allowing the principal to vary the contract to enable the contractor to do more, less, or different work than initially negotiated. Usually, contractors have no such right to variate against the principal. However, the contractor would generally have the right to an extension of time for the project’s realistic completion when the principal has requested a variation. |  |
| --- | --- | --- |

Explain why you should compile a list of nominated and approved suppliers and contractors.

| Answer | Compiling a list of nominated and approved suppliers and contractors is a fundamental step in effective procurement and project management. The list serves as a valuable resource ensuring quality, reliability, and compliance with project requirements. Some important reasons for having a list include – quality assurance, consistency in procurement practices, cost management, streamlined approval process, enhanced project planning and builds strong relationships. |  |
| --- | --- | --- |

Why is it a good idea to document and track communications with suppliers, employees, and sub-contractors?

| Answer | *Previous work history or relationship with the supplier/employee/sub-contractor *Legal and contractual protection *Verification of agreements *Risk management *Project accountability *Project coordination *Change management *Continuous improvement *Transparent decision making *Communication traceability *Dispute resolution *Knowledge transfer *Compliance requirements *Performance measurement |  |
| --- | --- | --- |

Why do you enter critical project information into a project schedule?

| Answer | Entering critical project information into a project schedule is essential for effective planning, management, and communication throughout the project lifecycle. A project schedule serves as a roadmap, outlining tasks, timelines, dependencies, and milestones. |  |
| --- | --- | --- |

Explain what an electronic call forward sheet is.

| Answer | A call forward sheet is a sheet used to track when materials are needed and when they should be ordered. It is used to control the influx of materials by specifying the plan for the project’s activities or tasks. Each activity would require materials to proceed on work. By using the call forward sheet, all material needs are organised according to its equivalent activity, allowing personnel to prepare and act on time. |  |
| --- | --- | --- |

Clarify site documents that must be organised into a site file (to be held on-site).

| Answer | *tasks to be completed *reference number that links the task with a list of materials *the date the materials need to be ordered *the ideal or latest delivery date *comments or instructions for future reference *the name of the supplier and contact details |  |
| --- | --- | --- |

What is a Gantt chart used for?

| Answer | A Gantt chart is a popular project management tool used for planning, scheduling, and visualising tasks and activities over time. It provides a graphical representation of a project’s schedule, displaying the start and finish dates of various elements of the project. |  |
| --- | --- | --- |

Discuss the difference between workplace employee labour costs and the costs of engaging sub-contractors.

| Answer | Workplace employee labour costs refer to the expenses associated with hiring and employing individuals directly with an organisation. These employees work under the direct supervision and management of the employer. Employees are paid salaries, benefits, overtime pay, bonuses, other fixed allowances or other performance based incentives. Subcontractors are external entities hired to perform specific tasks or portions of a project. The engagement is based on a contractual agreement, and subcontractors are not direct employees of the organisation. Costs associated with subcontractors are often more variable than those of employees. Subcontractors are typically paid based on deliverables or milestones achieved rather than receiving fixed salaries and are responsible for their own benefits, including health insurance and retirement plans. |  |
| --- | --- | --- |

Briefly discuss what the following terms indicate when related to employment.

| Answer | Term | What this indicates |  |
| --- | --- | --- | --- |
|  | Daily hire employee | The employment period of a daily hire employee is one day. They are considered full-time employees, and their employment may be terminated after providing one day’s notice. |  |
|  | Full-time weekly hire employee | Full-time weekly hire employees have guaranteed minimum weekly ordinary hours. They are entitled to longer notice of termination, with the specific amount of notice depending on the National Employment Stnadards. |  |
|  | Part-time weekly hire employee | The conditions and pay of part-time weekly hire employees are the same as their full-time counterparts, but the entitlements they receive are computed base on the number of hours they worked. |  |
|  | Casual employee | Casual employees have no guaranteed employment period. They also do not have any leave entitlements and usually have irregular hours. |  |

Discuss the importance of monitoring the construction stage progression costs.

| Answer | Monitoring the construction stage progression costs is a crucial aspect of effective project management in the construction industry. This process involves systematically tracking and analysing the costs associated with the construction phase of a project. The importance of monitoring construction stage progression costs includes the following key considerations:- Budget control, cost forecasting, resource allocation, risk management, quality control and project timeline management, |  |
| --- | --- | --- |

Discuss what workplace overheads are.

| Answer | Workplace overheads are the indirect costs incurred by the organisation for running business operations. These costs are usually administrative. Overhead costs may include office rent, utilities, taxes, salaries, of employees not working on the project, and other expenses that cannot be directly billed to a client. |  |
| --- | --- | --- |

What is public liability insurance?

| Answer | Public liability insurance is a type of insurance coverage designed to protect individuals and businesses against claims made by third parties for injury or damage to property. It provides financial protection against legal costs and compensation payment that may arise if a third party suffers injury or property damage due to the insured’s business activities. |  |
| --- | --- | --- |

Why would someone take out professional indemnity insurance?

| Answer | Professional indemnity insurance is a type of insurance that provides protection to individuals and businesses against legal claims arising from professional advice or services. Professionals in various industries may choose to take out professional indemnity insurance for reasons such as legal protection, contractual requirements, client trust and confidence, industry regulations, project requirements or just for peace of mind. |  |
| --- | --- | --- |

What is worker’s compensation insurance?

| Answer | Worker’s compensation insurance is a type of insurance that provides coverage for employees who suffer work-related injuries or illnesses. The primary purpose of worker’s compensation insurance is to protect both employers and employees by offering financial support and benefits in the event of a workplace injury or occupational disease. |  |
| --- | --- | --- |

Discuss the responsibilities of the worker who is assigned the task of project scheduling.

| Answer | A person in charge of project scheduling is responsible for tasks such as: - understanding project scope, identifying tasks and activities, sequencing tasks, estimating task durations, resource allocation, creating the project schedule, critical path analysis, risk management, regular updates and monitoring, communication, compliance with project constraints and documentation. |  |
| --- | --- | --- |

Why may you need to add the cost of temporary electrical, plumbing, and/or drainage services to the costing sheets?

| Answer | Temporary electrical, plumbing, and drainage services are often required during the construction phase to support various activities such as construction site offices, tools, equipment, and worker accommodations. Allocating resources and budgeting for temporary utility services ensures that these essential utilities are available when needed. To fulfill contractual obligations and avoid potential disputes, it is important to include the associated costs in the costing sheets. |  |
| --- | --- | --- |

What are site facilities or storage facilities that may need to be added to the site costs?

| Answer | *Construction site offices, including trailers and modular buildings *Temporary accommodations *Restrooms, changing rooms, break areas and first aid stations *Security facilities *Temporary power and lighting, water supply and drainage systems *Material storage facilities *Equipment storage yards *Waste management facilities *Fire safety facilities |  |
| --- | --- | --- |

CPCCBC4005

Produce labour and material schedules for ordering

WORKBOOK

| Participant name | Justin Matheson |
| --- | --- |

FOR THE PARTICIPANT

Instructions

- You will complete written activities as outlined on the following pages. You must attempt all questions and provide enough detail in your responses to demonstrate your knowledge. - The timeframe for these tasks will be established by your Assessor or Training Plan, but additional time may be allowed upon negotiation with the Assessor. - You must complete all questions unassisted by the Assessor or other personnel but may refer to reference material as needed. All questions must be answered correctly for a ‘Satisfactory’ assessment outcome to be awarded. - An oral examination may be allowed under certain circumstances, whereby your answers will be documented by another party. - Any written questions that are incomplete, or not answered satisfactorily will need to be completed again after further training support. - If you answer a question incorrectly but modify your response, put your initials next to the written change (or the Assessor must initial a verbal change).

Resources required

Pen

FOR THE ASSESSOR

Instructions

- Where oral examination has occurred, ensure that this is acknowledged in writing (e.g. FT001 and Assessor Comments) - All questions must be satisfactorily demonstrated by the Participant for a Satisfactory determination (indicated by an Assessor tick to the right of the question). - Assessors are to complete marking in pen of a different colour to the Participant. - If the Participant verbally modifies their response, write in the modified response verbatim and put your initials next to the written change.

ASSESSOR COMMENTS

As necessary, outline: - Details on reattempts, alternative arrangements or reasonable adjustments made. - Where a Participant is deemed ‘Not Satisfactory’, provide recommendations for future training.

NOTE

At times, you will be provided with a specific business context to which you must respond, otherwise it is anticipated that you will use a workplace of your choosing (your own, or hypothetical) to provide the context to the task.

At all times, the responses in your assessment must reference Australian (Queensland or Federal) documentation, including legislation, regulations, codes of practice, standards and guidance publications.

For the following activity, name a local authority (council) that you wish to examine.

| Local authority (council) | Gold Coast City Council |
| --- | --- |

Access your local authority to respond to the following regarding a new home building project: - List the project requiring approvals. - List fees applicable to a new development applications and approvals. - How do you check the status of a development application? - What can you do if approval has been rejected?

- List the project requiring approvals.

New home build – 20 Seaview Road, Currumbin – Single storey brick veneer dwelling

- List fees applicable to a new development applications and approvals.

1.Material change of use, reconfiguration of a Lot, operational work, building work – -Minor Type 2 $2788 2.Compliance assessment – required by condition of a PDA development approval – -Minor - $692-$2789 – fee charged per component 3.Complican assessment – plans for reconfiguring a lot – -Survey plan endorsement - $3178 4.Development scheme preparation and amendment fees – -Residential – Lodgement of plan sealing application - $635

- How do you check the status of a development application?

Visit the official website of the local council where the development application was lodged. Look for “Planning and Building” section on the website, then click on “PD Online” , then click on “Access PD Online”, tick “development applications after 2017” and click “next, the you can type in the box using your licence/application number. If this fails, you can call the council on 1300 465 326 for further information.

- What can you do if approval has been rejected?

If your approval has been rejected, you can request a Review of Determination by your council (with amended plans, if you wish), commence an appeal to the and Land and Environment Court against any decision by the assessment manager rejecting an application or imposing conditions on an approval, or modify and relodge your DA.

| Satisfactory Outcome |  |  |
| --- | --- | --- |

CPCCBC4005

Produce labour and material schedules for ordering

PRACTICAL ASSESSMENT

| Participant name | Justin Matheson |
| --- | --- |

FOR THE PARTICIPANT

Instructions

- The tasks outlined on the following pages will require performance of normal workplace activities, as a result of a structured activity set by an Observer in the workplace or a simulated activity set by your Assessor/Observer. - The timeframe for these tasks will be established by your Assessor/Observer, in consideration of location conditions and industry requirements. - You must complete all tasks unassisted by the Assessor or other personnel, unless the steps note this assistance. - You must attempt all tasks (and itemised steps) for a ‘Satisfactory’ assessment outcome to be awarded. - For any observation conducted that is incomplete, or without satisfactory performance, the observation will need to be completed again after further training support.

FOR THE ASSESSOR/OBSERVER

Instructions

- The following observation record should be used to judge and record your observations of the Participant as they complete the task(s) set. You must record your observations of the Participant’s performance. - For each occasion, indicate the task performed and whether it was a simulation or workplace-based task. - Any simulated assessment must ensure the Participant still performs under workplace conditions which reflect industry standards. - In the comments, provide clear detail regarding the task that the Participant was required to do (e.g. PPE used, materials handled, attachments connected, plant types). - All steps must be satisfactorily demonstrated by the Participant for a ‘Satisfactory’ determination (indicated by an Assessor tick to the right of each itemised step, or an Observer tick to the right of each itemised step, and confirmation by an Assessor in the Assessor Comments). - Where you have determined that one or more task steps have not been satisfactorily demonstrated, provide the Participant with additional support and outline details of such assistance in the Assessor/Observer Comments. Allow the Participant two (2) further opportunities to demonstrate the task again to allow an opportunity for a ‘Satisfactory’ assessment outcome to be achieved. - If after three (3) attempts the Assessor determines that the Participant cannot demonstrate the required steps, a ‘Not Satisfactory’ outcome is to be determined.

| TASK OUTCOME |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Task | Date | Task Type (Tick) | Location | Task outcome (Tick) |  |
|  |  |  |  | Satisfactory | Not Satisfactory |
| Task 1 | 26/01/2024 | Workplace Simulation | Gold Coast, QLD |  |  |

ASSESSOR COMMENTS: GENERAL

As necessary, outline: - Details on reattempts, alternative arrangements or reasonable adjustments made. - Where a Participant is deemed ‘Not Satisfactory’, provide recommendations for future training.

| ASSESSOR COMMENTS: PRACTICAL TASK 1 |  |
| --- | --- |
| Individual student (as named on cover page) Multiple students [ All from Attendance Report, Specific students involved – identify students] |  |
| Task | Provide detail |
| 1.1F. | Specify how availability of materials with suppliers and labour with contractors was confirmed: Student confirmed the supply of materials with suppliers and labour with contractors by email. |
| 1.2A. | Specify site files collated: Student found the following documentation in the filing cabinet. 1.Project Documentation – contract documents, project plans, scope of work. 2.Permits and Approvals – building permits, environmental approvals, occupancy permits. 3.Health and Safety Documents – Safety plan, risk assessments, incident reports. |
| 1.2D. | Specify how communications were managed with between staff, contractors, and suppliers: All contacted verbally either in person or by phone, followed up by email. |
| 1.3B. | Specify how project progress was managed: Student noted that project progress was managed by site meetings, working off a job program. |
| 1.3E. | Specify issues resolved: Student identified issues that may arise such as contractor falling behind the program, materials not showing up as per schedule and resolved such issues by looking at employing additional labour to assist contractor in catch up and resourcing new suppliers for immediate delivery of missing materials. |

CPCCBC4005

Produce labour and material schedules for ordering

Practical Task 1

Description of task: The participant must demonstrate the skills and knowledge to produce a schedule for the ordering of materials and allocation of labour for one (1) residential or commercial building and construction project including: Note: Documentation is to be provided as evidence- Use workplace document templates, alternatively templates are available - Assess physical and human resource requirements. - Determine the conditions of approval from local government and regulatory bodies.(HO1-template) - Document variations to the scope of works. (HO1-template) - Determine contractual terms and arrangements by the client and the commencement dates. (HO1-template) - Compile a list of nominated and approved suppliers and contractors.(HO2 & HO3- template) - Determine and document channels of communication suited to suppliers and contractors. (HO2 & HO3- template) - Confirm availability of materials with suppliers and labour with contractors. - Produce a labour and materials schedule across the life of the project and enter critical project information into project schedule. (HO7- template) - Produce schedules. - Prepare electronic call forward sheet and site files containing necessary site documentation.(HO4- template) - Break down project into stages and tasks and set milestones and timeframes for commencement and completion. (HO7- template) - Itemise materials and labour required for the stages of construction. - Develop and manage efficient communications between staff, contractors and suppliers - Sequence material delivery dates and commencement times for labour. - Factor in unplanned delays. - Monitor project costs and maintain project files. - Monitor construction stage progression costs and approved variation costs against estimated project cost.(HO8- template) - Manage and monitor project progress against scheduled timelines.(HO5 template) - Record monitored project progress and variations, estimated and increased costs. - Record unscheduled and approved variations, changes to the approved plan and specifications and delays to the project.(HO5 & HO6 – template) - Resolve issues, within scope of responsibilities, and maintain a cost analysis against final estimated project cost. (HO8 – template) These tasks may be simulated or real. The Participant is to gather evidence of how they have completed each component of the Practical Task, which is to be submitted with this Practical Assessment sheet. The Observer is to provide detailed comments on the tasks completed by the Participant (on the Observer Comments, overleaf). The Assessor is to verify the Observer’s comments, noting their findings in the Assessor Comments (on the back of the Practical Assessment cover page) and provide the assessment outcome.

Resources required: Building and construction project; Current construction drawings and specifications; Workplace administration policies and procedures; Templates required to undertake assessment requirements (HO1-HO8); Access to PC and software to research requirements, set up electronic call forward sheets, compile site files and create channels of communication.

| Observer details |  |
| --- | --- |
| Name of observer: |  |
| Role of observer (Confirm suitability to sign) |  |
| Email address of observer |  |
| Signature of observer: |  |
| Date: | Select Date. |

| When completing the task, did the Participant: | Tick if satisfactorily completed. Provide comments if left unticked. |
| --- | --- |
| 1 Assess physical and human resource requirements. |  |
| Determine the conditions of approval from local government and regulatory bodies.(HO1-template) |  |
| Document variations to the scope of works. (HO1-template) |  |
| Determine contractual terms and arrangements by the client and the commencement dates. (HO1-template) |  |
| Compile a list of nominated and approved suppliers and contractors.(HO2 & HO3- template) |  |
| Determine and document channels of communication suited to suppliers and contractors. (HO2 & HO3- template) |  |
| Confirm availability of materials with suppliers and labour with contractors. |  |
| Produce a labour and materials schedule across the life of the project and enter critical project information into project schedule. (HO7- template) |  |
| 2 Produce schedules. |  |
| Prepare electronic call forward sheet and site files containing necessary site documentation.(HO4- template) |  |
| Break down project into stages and tasks and set milestones and timeframes for commencement and completion. (HO7- template) |  |
| Itemise materials and labour required for the stages of construction. |  |
| Develop and manage efficient communications between staff, contractors and suppliers |  |
| Sequence material delivery dates and commencement times for labour. (HO7- template) |  |
| Factor in unplanned delays. (HO7- template) |  |
| 3 Monitor project costs and maintain project files. |  |
| Monitor construction stage progression costs and approved variation costs against estimated project cost.(HO8- template) |  |
| Manage and monitor project progress against scheduled timelines.(HO5 template) |  |
| Record monitored project progress and variations, estimated and increased costs. |  |
| Record unscheduled and approved variations, changes to the approved plan and specifications and delays to the project.(HO5 & HO6 – template) |  |
| Resolve issues, within scope of responsibilities, and maintain a cost analysis against final estimated project cost. (HO8 – template) |  |

Observer comments: