# Documentation of design and construction (suitability or evidence of suitability)

| # Project Name: Retail Development |  |  |  |
| --- | --- | --- | --- |
| # Project address: 15 Example Street, Brisbane, QLD |  | # Site Plan attached: No |  |
| Prepared by: Abbie Heaslip |  |  |  |
| # Date: 8/7/25 |  |  |  |
| # Description of project: # This project is a single-storey retail shop (Class 6) with adjacent car parking (Class 7a). The project focuses on energy efficiency, fire safety, and accessibility compliance while ensuring structural adequacy. |  |  |  |
| # Site Classification/s: # Site Class: A (Stable Soil) as per AS 2870. |  |  |  |
| Documentation of design and construction (suitability or evidence of suitability) |  |  |  |
| Site preparation |  |  |  |
| Site preparation | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Earthworks | Proper earthworks to stabilize foundations (AS 3798). |  | Excavation and compaction completed with adequate drainage slopes. |
| Site preparation |  |  |  |
| Site preparation | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Earth retaining structures | Retaining walls must resist lateral soil forces and ensure stability (AS 4678). |  | Low-height retaining walls were designed with reinforced concrete to stabilize minor cut areas. Drainage was installed to prevent hydrostatic pressure. |
| Drainage | Drainage systems to prevent water ingress (NCC Volume 1, Part F1). |  | Surface drains and downpipes were installed to direct water away. |
| Site preparation | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Termite risk management | Termite barriers are required for Class 6 buildings (AS 3660.1). |  | Physical termite barriers were installed beneath slabs and around service penetrations to prevent infestations. |
| Materials |  |  |  |
| Footings and slabs |  |  |  |
| Site classification |  |  |  |
| Footings and slabs | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Footings and slabs | Footings and slabs must meet structural adequacy requirements for the site (AS 2870). |  | Reinforced concrete slab-on-ground was designed for stable soil conditions (Class A) and includes appropriate reinforcement. |
| Footings and slabs | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Moisture Barrier | Moisture barriers are required to prevent dampness (AS 2870). |  | A polyethylene membrane was installed beneath the slab to prevent rising moisture. |
| Materials |  |  |  |
| Concrete and reinforcement |  |  |  |
| Concrete and reinforcement | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Concrete and reinforcement | Concrete must meet structural adequacy (AS 3600). |  | Reinforced concrete slab designed for stable soil conditions. |
| Materials |  |  |  |
| Masonry |  |  |  |
| Masonry | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Masonry | Masonry walls must meet structural and durability requirements (AS 3700). |  | Fire-rated masonry was used for internal walls where fire separation is required. External masonry walls were constructed for durability and aesthetics. |
| Moisture Barrier |  |  |  |
| Materials |  |  |  |
| Framing/Structure |  |  |  |
| Framing/Structure | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Framing | Framing must meet structural adequacy requirements (AS 1684). |  | Steel framing was used for the roof and wall structures, ensuring compliance with NCC structural requirements. |
| Materials |  |  |  |
| Roof and Wall Cladding |  |  |  |
| Roof and wall cladding | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Roof and wall cladding | Roof and wall cladding must meet weatherproofing and durability requirements (NCC Part F1). |  | Metal roof sheeting and wall cladding were installed, ensuring weatherproofing and compliance with fire safety regulations. |
| Materials |  |  |  |
| Glazing |  |  |  |
| Glazing | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Glazing | Glazing must meet safety and energy efficiency requirements (AS 1288 and NCC Section J). |  | Safety glazing was installed in doors and windows as per AS 1288. Double-glazed windows were used for energy efficiency compliance. |
| Materials |  |  |  |
| Fire Safety |  |  |  |
| Fire Safety | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Fire Safety | Fire resistance levels (FRLs) must meet NCC Part C1. |  | Fire-rated walls, doors, and floors were installed with FRLs of 90/90/90 and 60/60/60 where required. |
| Access/Stairs/Lifts/Ramps |  |  |  |
| Access/Stairs/Lifts/Ramps | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Access | Access must meet AS 1428.1 for accessibility. |  | Continuous accessible paths and lifts were provided for all levels. |
| Materials |  |  |  |
| Ancillary Provisions |  |  |  |
| Ancillary Provisions | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Ancillary Provisions | Ancillary provisions, including signage and barriers, must meet safety and accessibility standards (NCC Part D3). |  | Accessibility signage and compliant handrails were installed at all entry and exit points. Tactile indicators were added as per AS 1428.1. |
| Energy Efficiency |  |  |  |
| Energy Efficiency | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Energy Efficiency | Energy efficiency must comply with NCC Section J for Climate Zone 2. |  | Insulation, energy-efficient lighting, and glazing were installed. |
| Health and Safety |  |  |  |
| Safe Work Method Statements (SWMS) prepared for high-risk activities, including earthworks, structural framing, and glazing installation. Weekly toolbox talks conducted to address ongoing safety concerns, including fire safety and public accessibility compliance. Regular inspections of equipment and machinery to ensure safety compliance. Emergency response plan in place, including evacuation procedures and fire drills. PPE policy enforced, requiring safety glasses, hard hats, gloves, and high-visibility clothing. |  |  |  |

| Consultation |  |  |  |  |
| --- | --- | --- | --- | --- |
| Fire safety engineer engaged to ensure compliance with fire-rated walls and extinguisher placement as per NCC and AS 2444. Accessibility consultant reviewed entryways and ramps to ensure compliance with AS 1428.1. Architect and glazing supplier worked together to confirm glazing meets AS 1288 (safety) and NCC Section J (energy efficiency). Project manager and plumber verified that drainage systems prevent water pooling near entryways. |  |  |  |  |
| Policies |  |  |  |  |
| Work Health and Safety (WHS) Policy: Ensures safe working conditions and compliance with all workplace safety regulations. Environmental Management Policy: Addresses waste management, erosion control, and minimizing environmental impact during construction. Fire Safety Policy: Requires inspection and installation of fire-rated systems to meet NCC standards. |  |  |  |  |
| Procedures |  |  |  |  |
| SWMS and Toolbox Talks: High-risk tasks documented in SWMS, while toolbox talks address site-specific hazards. Inspection and Maintenance: Regular inspections performed to verify compliance of fire-rated systems, accessibility features, and safety glazing. Site Induction: All workers complete site-specific inductions covering safety protocols and emergency procedures. |  |  |  |  |
| Issues to be addressed and consultation |  |  |  |  |
| Issue | Who to consult | Improvements for consideration | Feedback following consideration | Supporting Resources |
| Fire safety compliance for fire-rated walls and extinguishers. | Fire safety engineer and certifier. | Install fire-rated walls and doors with FRLs as per NCC requirements. Confirm extinguisher placement complies with AS 2444. | Fire-rated walls passed inspection, and extinguisher placement was adjusted for improved visibility and accessibility. | Fire safety compliance for fire-rated walls and extinguishers. |
| Accessibility compliance for public entryways. | Accessibility consultant and architect. | Ensure ramps meet slope requirements and tactile indicators are installed at all entrances as per AS 1428.1. | Adjustments to ramp slopes were made, and tactile indicators were installed at all entrances. | Accessibility compliance for public entryways. |
| Glazing compliance for safety and energy efficiency. | Architect and glazing supplier. | Install safety glazing in doors and windows as per AS 1288 and energy-efficient glazing to meet NCC Section J requirements. | Energy-efficient glazing was installed, and adjustments to door frames ensured compliance with safety standards. | Glazing compliance for safety and energy efficiency. |
| Proper drainage to prevent water pooling near entryways. | Plumber and project manager. | Install surface drains and adjust grading to direct water away from entrances. | Surface drains and grading adjustments were completed, effectively preventing pooling near the main entrance. | Proper drainage to prevent water pooling near entryways. |