CONTRACT TITLE:

LOCATION:

DRAWING NUMBERS:

SITE SPECIFIC DOCUMENT NUMBER:

NO.

ITEM

INSPECTION

STANDARD

INSPECT BY

Y / N

NA

COMMENTS

1

Check set out of penetrations

Drawing/Spec

A

2

Check location and set out and design of pipe work and council approved plans

Drawing/Spec

A

3

Check fall and coordinate with other trades

Drawing/Spec

AS3500.2

A

4

Check type material –pipe clips, jointing method

Drawing/Spec

AS3500.2

A

5

Visual inspection prior to welding, glue or final connection

A

6

Check fire rating any penetrations

ITP/ CC /F.R.

AS1530.4, AS4072, BCA 3.12, C3.15

A/W

7

Test pipe work

Water

AS3500.2

A

Air

AS3500.2

A

8

Pipe ID / Tape

Spec

AS3500.2

A/W

9

Inspection- Council- Other statutory authority

A

Photos attached

KEY  A= CC INSPECTION  W= CLIENT WITNESS POINT H= HOLD POINT G=GCCC

Supervisors Confirmation of Satisfactory Inspection

Checklist completed by:

Name:

Signature:

Date: ___/___/___