## Practical Completion Checklist

## Instructions to the Assessor

The candidate will conduct a site inspection to verify practical completion of the project as defined by the contract.

The candidate will use this Practical Completion Checklist template to document their review.

Before the candidate commences with their review:

- Review and discuss the contents of this checklist with the candidate.

- Address any questions or clarifications they may have about the task or this checklist.

- Contextualise this checklist to match the required conditions for the project the candidate is undertaking. E.g., for projects with multiple trade contracts, final certificate may be issued for each contract.

After the candidate completes their review:

- They will submit to you their completed this Practical Completion Checklist.

- Review the candidate’s responses in their submission against the actual work completed (reviewed at the site inspection)

- Confirm if the candidate has checked each item below correctly.

For example, if the candidate ticked YES for an item here, the assessor will review this against the actual work completed (reviewed at the site inspection), and they will confirm if the item is really addressed in the actual work completed.

- Record your assessment of the candidate’s review under the Assessor’s Marking Checklist column.

For each checklist, item:

  - Tick YES if the candidate’s finding is the same as yours in your assessment.

  - Tick NO if the candidate’s finding is different from yours in your assessment.

Provide written constructive comments as these will give the candidate guidance on how to improve their performance in this workplace assessment task.

- Complete and sign the Assessor’s Declaration section. Your signature must be handwritten.

## Instructions to the Candidate

Use this Practical Completion Checklist template to document your review of policies and procedures in your organisation.

Ensure you have completed all fields in this checklist before submitting it to your assessor.

| PRACTICAL COMPLETION CHECKLIST |  |
| --- | --- |
| Candidate name | Noreen Abu-Obeid |
| Workplace/organisation | Knights CBI |
| Date of review | 5/5/2023 (practical completion date as per contract) |

Details of the Building and Construction Project

| Name of building and construction project | 123 ABC RESIDENTIAL STREET, QLD |
| --- | --- |
| Overview of this project | Residential Build – Kitchen, Pantry and Laundry to design and execute the job. This home kitchen remodelling will begin with a planning and design phase that will ensure all requirements and preferences for the customers, demolition, and construction are met, while being cost-efficient. Includes preliminaries, demolition, plumbing, electrical, carpentry, tiling, window and door installation and removal of debris and site clean-up Moreover, all materials will be cleared from site on completion of the project, leaving site clean and tidy as we found it. Any additional jobs will be negotiated and agreed by both parties. |
| Project site address | 123 ABC RESIDENTIAL STREET, QLD |
| State/territory | QLD |

| Conditions for verifying Practical Completion | Yes as per contract and site inspection |
| --- | --- |

| Checklist items: | YES/NO | Comments | Assessor’s Marking Checklist |
| --- | --- | --- | --- |
| - Site equipment has been removed | x YES o NO o N/A | As per clause 17 of the contract | Did the candidate correctly check this item against actual conditions? YES NO Comments: |
| - Utilities are available for use | x YES o NO o N/A | To the last day on site and then removed | Did the candidate correctly check this item against actual conditions? YES NO Comments: |
| - All site hazards have been removed | x YES o NO o N/A | As per clause 17 of the contract | Did the candidate correctly check this item against actual conditions? YES NO Comments: |

| Checklist items: | YES/NO | Comments | Assessor’s Marking Checklist |
| --- | --- | --- | --- |
| - Health and safety inspection has been conducted | x YES o NO o N/A | As per clause 17 of the contract | Did the candidate correctly check this item against actual conditions? YES NO Comments: |
| - All commissioning work has been completed | x YES o NO N/A | As per contract | Did the candidate correctly check this item against actual conditions? YES NO Comments: |
| - All required test certificated has been submitted | x YES o NO o N/A | As per clause 17 of the contract | Did the candidate correctly check this item against actual conditions? YES NO Comments: |
| - Schedule for outstanding works has been arranged | o YES o NO x N/A | There were no outstanding works | Did the candidate correctly check this item against actual conditions? YES NO Comments: |
| - Notice of Anticipated Practical Completion has been submitted | x YES o NO o N/A | As per clause 17 of the contract | Did the candidate correctly check this item against actual conditions? YES NO Comments: |

| Assessor Declaration By signing here, I confirm that I have reviewed and assessed the candidate’s responses in this checklist against the work completed during site inspection they reviewed for this task. I confirm that the responses I provided under the Assessor’s Marking Checklist are true and accurately reflect the candidate’s performance in this workplace task. |  |
| --- | --- |
| Assessor’s signature |  |
| Assessor’s name |  |
| Date signed |  |

END OF PRACTICAL COMPLETION CHECKLIST