# Documentation of design and construction (suitability or evidence of suitability)

| # Project Name: Everton Park Hotel Motel |  |  |  |
| --- | --- | --- | --- |
| # Project address: 101 Flockton St, Everton Park |  | # Site Plan attached: Yes |  |
| Prepared by: Michael Trott |  |  |  |
| # Date: 17/01/25 |  |  |  |
| # Description of project: # Accommodation refurbishment |  |  |  |
| # Site Classification/s: # Mostly rock or very stable soil with little or no ground movement due to moisture changes. |  |  |  |
| Documentation of design and construction (suitability or evidence of suitability) |  |  |  |
| Site preparation |  |  |  |
| Site preparation | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Earthworks | AS 3798: Guidelines on Earthworks for Commercial Sites |  | Compaction techniques adjusted to specific site conditions to achieve compliance. |
| Site preparation |  |  |  |
| Site preparation | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Earth retaining structures | AS 4678: Earth-retaining Structures |  | Use of modular block walls with geogrid reinforcement for flexibility. |
| Drainage | AS 3500.3: Stormwater Drainage |  | Installation of custom subsurface drainage system to suit high water table areas. |
| Site preparation | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Termite risk management | AS 3660.1: Termite Management |  | Use of physical barriers integrated with structural elements for added protection. |
| Materials | Materials to meet AS/NZS 1170 |  | Selection of eco-friendly materials with equivalent structural performance. |
| Footings and slabs |  |  |  |
| Site classification |  |  |  |
| Footings and slabs | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Footings and slabs | AS 3600: Concrete Structures |  | Use of high-strength, fibre-reinforced concrete to minimise cracking. |
| Footings and slabs | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Moisture Barrier | AS 2870: Waterproofing |  | Customised moisture barrier with dual-layer system for enhanced protection. |
| Materials | Compliant with relevant NCC & AS |  | High-performance materials meeting equivalent durability standards. |
| Concrete and reinforcement |  |  |  |
| Concrete and reinforcement | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Concrete and reinforcement | AS 3600: Concrete Structures AS/NZS 4671: Steel Reinforcing Materials |  | Use of geopolymer concrete as a sustainable alternative to Portland cement. High-ductility steel reinforcement adapted for seismic areas. |
| Materials | Compliant with AS/NZS Standards |  | Innovative lightweight reinforcement for ease of installation. |
| Masonry |  |  |  |
| Masonry | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Masonry | AS 3700: Masonry Structures |  | Customised masonry blocks with integrated insulation for energy efficiency. |
| Moisture Barrier | AS 3700: Masonry Waterproofing |  | Multi-layered waterproofing membrane tailored for high rainfall areas. |
| Materials | Compliant with relevant NCC & AS |  | Alternative masonry materials with comparable strength and durability. |
| Framing/Structure |  |  |  |
| Framing/Structure | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Framing | AS 1684: Residential Timber Framed Construction |  | Engineered timber systems designed for greater load capacity. |
| Materials | Compliant with AS/NZS Standards |  | Laminated timber products for enhanced structural integrity. |
| Roof and Wall Cladding |  |  |  |
| Roof and wall cladding | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Roof and wall cladding | AS 1562.1: Design and Installation of Sheet Roofs |  | Innovative cladding system incorporating solar panel integration. |
| Materials | Compliant with relevant NCC & AS |  | Lightweight composite cladding with superior thermal performance. |
| Glazing |  |  |  |
| Glazing | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Glazing | AS 1288: Glass in Buildings |  | High-performance glazing with double glazing for acoustic and thermal control. |
| Materials | Compliant with relevant NCC & AS |  | Advanced glazing films for enhanced energy efficiency. |
| Fire Safety |  |  |  |
| Fire Safety | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Fire Safety | NCC Part C: Fire Resistance |  | Use of fire-rated cladding and passive fire protection systems. |
| Access/Stairs/Lifts/Ramps |  |  |  |
| Access/Stairs/Lifts/Ramps | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Access | AS 1428: Design for Access and Mobility |  | Modular ramp systems for flexibility in different site conditions. |
| Materials | Compliant with AS/NZS Standards |  | Non-slip materials with extended durability in high-traffic areas. |
| Ancillary Provisions |  |  |  |
| Ancillary Provisions | NCC / Australian Standards requirements |  | Compliant Performance solution |
| Waste Management | NCC Volume 2: Site Waste Management |  | On-site waste separation and recycling stations for sustainable waste management. |
| Acoustic Performance | NCC Volume 1 Part F5: Sound Insulation |  | Installation of advanced acoustic panels and soundproofing materials. |
| Energy Efficiency |  |  |  |
| Energy Efficiency | NCC / Australian Standards requirements |  | Compliant Performance solution |
|  | NCC Part J: Energy Efficiency |  | Integration of smart energy systems and building automation for efficiency. |
| Health and Safety |  |  |  |
| Site-Specific Requirements:Implementation of site-specific safety plans, including hazard identification, risk assessments, and control measures. Safety equipment (PPE) and training provided to all workers. Risk Mitigation:Measures include fall prevention systems, fire evacuation plans, and compliance with AS 4801: Occupational Health and Safety Management. Emergency Preparedness:Clearly marked emergency exits, on-site first aid kits, and regular safety drills conducted to ensure preparedness. Worker Well-being:Provision of amenities such as clean drinking water, sanitary facilities, and shaded rest areas to maintain worker health and comfort. |  |  |  |

| Consultation |  |  |  |  |
| --- | --- | --- | --- | --- |
| Policies |  |  |  |  |
| Procedures |  |  |  |  |
| Issues to be addressed and consultation |  |  |  |  |
| Issue | Who to consult | Improvements for consideration | Feedback following consideration | Supporting Resources |