CONTRACT TITLE:

LOCATION:  CEP

DRAWING NUMBERS:

SITE SPECIFIC DOCUMENT NUMBER:   CC-HY-CEP-CL-014-0001  A

NO.

ITEM

INSPECTION

STANDARD

INSPECT BY

Y / N

NA

COMMENTS

1

Check set out of penetrations

Drawing/Spec

A

2

Check location and set out and design of pipe work and council approved plans

Drawing/Spec

A

3

Coordinate with other trades

Drawing/Spec

A

4

Check type material –pipe clips, jointing method

Drawing/Spec

AS3500.1, AS2845.1,

AS3500.4

A

5

Visual inspection prior to welding, glue or final connection

CC

A

6

Check fire rating any penetrations

ITP/ CC /F.R.

A/W

7

Test pipe work

Water AS3500.1, AS3500.4

A/W

8

Pipe ID / Tape

Spec AS3500.1, AS3500.4

A/W

9

Pipe insulation (Hot Water)

Spec AS3500, AS3500.4

A/W

10

Inspection- Council- other statutory authority

H

11

Photos attached

KEY  A= CC INSPECTION  W= CLIENT WITNESS POINT H= HOLD POINT G=GCCC

Supervisors Confirmation of Satisfactory Inspection

Checklist completed by:

Name:

Signature:

Date: ___/___/___