CPCCBC4012B

Read and interpret plans and specifications

THEORY EXAM INSTRUCTIONS - This exam will occur under standard assessment conditions. - An oral examination may be allowed under certain circumstances. Answers will be documented and FT003 (Oral examination declaration form) must be completed. - Participants must provide enough detail in their responses to demonstrate their knowledge and skills. - Please fill in the details below, providing your name, signature and date of assessment. - Your signature acknowledges that this is your own work. - If a participant initially answers a question incorrectly but modifies their response, they must follow the instructions below: - If a participant changes their response in writing, they must put their initials next to the written change. - If a participant changes their response verbally, this must be noted on the exam paper by the assessor.

| Participant name | Haydn Morriss |
| --- | --- |
| Participant signature |  |

| Assessor name |  |
| --- | --- |
| Assessor signature |  |

| Date | 12/07/2019 |
| --- | --- |

| Number of questions | Number of questions answered correctly | Satisfactory? |  |
| --- | --- | --- | --- |
| 87 |  | Yes | No |

Assessor Comments

Plans and specifications are used to inform which of the following processes? Tick all that apply.

| Answer | Choice | Possible Answers |  |
| --- | --- | --- | --- |
|  |  | Building contracts |  |
|  |  | Development applications |  |
|  |  | Estimation |  |
|  |  | Planning |  |
|  |  | Supervisory tasks |  |
|  |  | Tenders |  |

Which compass direction is always shown on plans and drawings?

| Answer | North |  |
| --- | --- | --- |

What information is provided on a location plan?

| Answer | Shows a site on a particular street |  |
| --- | --- | --- |

What detail does a site or block plan contain?

| Answer | Provides details of the block of land relating to a proposed development. It includes - Major geological features Soil and surface water drains Details of paving and retaining walls Utility service locations |  |
| --- | --- | --- |

What do floor plans identify?

| Answer | Shows details of proposed building i Eg. Room sizes and floor coverings |  |
| --- | --- | --- |

What is a landscape plan and what information might it provide?

| Answer | Shows details of plants, gardens and retaining walls |  |
| --- | --- | --- |

What are elevation views? What do they provide to the plan reader?

| Answer | View of proposed building from each side |  |
| --- | --- | --- |

What is a section?

| Answer | It is a view of the building after it has been cut vertically. This is to give the builder or tradesman sufficient information on structural parts of the building |  |
| --- | --- | --- |

What are detailed drawings?

| Answer | Drawings that illustrate a particular method of construction finish |  |
| --- | --- | --- |

What are specifications?

| Answer | Specifications are details that support drawings and plans. They provide details of materials and techniques that are to be used. |  |
| --- | --- | --- |

Explain the meaning of the abbreviations in the table below.

| Answer | Abbreviation | Meaning |  |
| --- | --- | --- | --- |
|  | ACRYL | ACRYLIC |  |
|  | AS | AUSTRALIAN STANDARDS |  |
|  | ASSD | ASSUMED DATUM |  |
|  | B | BASIN |  |
|  | BN | BULL NOSE |  |
|  | BTH | BATH |  |
|  | BWK | BRICKWORK |  |
|  | CB | CONCRETE BLOCK |  |
|  | CF | CONCRETE FLOOR |  |
|  | CG | CLEAR GLASS |  |
|  | CJ | CEILING JOIST |  |
|  | CORR | CORRUGATED |  |
|  | CWT | COLD WATER TANK |  |
|  | DG | DOUBLE GLAZING |  |
|  | DH | DOUBLE HUNG |  |
|  | DPC | DAMP PROOF COURSE |  |
|  | DSB | DISTRIBUTION SWITCHBOARD |  |
|  | DW | DISHWASHER |  |
|  | EJ | EXPANSION JOINT |  |
|  | FPBD | FIBROUS PLASTERBOARD |  |
|  | FFL | FINISHED FLOOR LEVEL |  |
|  | FHR | FIRE HOSE REEL |  |
|  | GPO | GENERAL PURPOSE OUTLET |  |
|  | HBD | HARDBOARD |  |
|  | HTR | HEATER |  |
|  | HWD | HARDWOOD |  |

Name each of the drawing symbol images shown in the table below.

| Answer | Name | Image |  |
| --- | --- | --- | --- |
|  | WALL – CAVITY BRICK |  |  |
|  | WALL – BRICK VENEER |  |  |
|  | WALL – TIMBER STUD |  |  |
|  | WINDOW – IN CAVITY WALL |  |  |
|  | WINDOW – IN SINGLE WALL |  |  |
|  | DOOR – SWING SINGLE |  |  |
|  | DOOR - SWING DOUBLE |  |  |
|  | DOOR – SLIDING INTO POCKET |  |  |
|  | DOOR – SLIDING EXPOSED ON WALL |  |  |
|  | SOCKET OUTLET (POWER) |  |  |

Identify what the following window symbols represent on elevations.

| Answer | Item | Drawing |  |
| --- | --- | --- | --- |
|  | HINGED AT SIDE |  |  |
|  | HINGED AT TOP |  |  |
|  | SLIDING HORIZONTALLY |  |  |
|  | FIXED |  |  |

What does a clouded area on a plan indicate?

| Answer | REVISIONS OR AMENDMENTS |  |
| --- | --- | --- |

An amendment to specifications could relate to which of the following? Tick all that apply.

| Answer | Choice | Possible Answers |  |
| --- | --- | --- | --- |
|  |  | Contact details of all construction crew members |  |
|  |  | Materials or products used |  |
|  |  | Methods of carrying out specified work |  |

Refer to the title block below to respond to Q16. to Q18.

Source: http://www.dtwd.wa.gov.au/sites/default/files/teachingproducts/BC1934_CCBY.PDF

On what date was an amendment made to the window details?

| Answer | 5/10/2011 |  |
| --- | --- | --- |

True or False (Tick your response): Details of the window in Q16. should also be reflected in the specifications and confirmed with the client.

| Answer |  | True |  |  |
| --- | --- | --- | --- | --- |
|  |  | False |  |  |

What amendment occurred on 08/11/2011?

| Answer | Bed 3 robe deleted |  |
| --- | --- | --- |

Refer to the site plan below to respond to Q19. to Q26.

What structure is being built on this site? Tick your response.

| Answer | Choice | Possible Answers |  |
| --- | --- | --- | --- |
|  |  | Residence |  |
|  |  | Road |  |
|  |  | Shed |  |
|  |  | Water meter |  |

What is the Lot number of this site?

| Answer | Lot 16 |  |
| --- | --- | --- |

What is the size of this lot?

| Answer | 3653 m3 |  |
| --- | --- | --- |

Is the shed at the north-east of the proposed structure to be removed or retained? Tick your response.

| Answer | Choice | Possible Answers |  |
| --- | --- | --- | --- |
|  |  | Removed |  |
|  |  | Retained |  |

True or False (Tick your response): The sewer is at the eastern boundary of the property.

| Answer |  | True |  |  |
| --- | --- | --- | --- | --- |
|  |  | False |  |  |

True or False (Tick your response): The driveway is located to the south of the proposed property.

| Answer |  | True |  |  |
| --- | --- | --- | --- | --- |
|  |  | False |  |  |

What size is the easement on the eastern boundary of the site?

| Answer | 5 metres |  |
| --- | --- | --- |

True or False (Tick your response): The stormwater drain is constructed from PVC pipe.

| Answer |  | True |  |  |
| --- | --- | --- | --- | --- |
|  |  | False |  |  |

Refer to the contour plan below to respond to Q27. to Q28.

What is the level at the northernmost point of the site?

| Answer | 0.01 |  |
| --- | --- | --- |

Which end of the site has the lowest level? Tick your response.

| Answer | Choice | Possible Answers |  |
| --- | --- | --- | --- |
|  |  | East |  |
|  |  | West |  |

Refer to the sectional drawing below to respond to Q29. to Q49.

Give a brief description about the building from the detail available in the sectional drawing. Is it the same structure proposed in Q19. to Q26.?

| Answer | Double story house Colorbond Roof Verandah 30 degree roof pitch It is the same structure in Q19 to 26 |  |
| --- | --- | --- |

Who is the client?

| Answer | H&M Smith |  |
| --- | --- | --- |

Where is this project to be built?

| Answer | Lot 16 Glenvalley Road Richmond |  |
| --- | --- | --- |

What are the contact details for the draftsman?

| Answer | Joe Foreman Ph 03 9514 2311 Mob 0413 113 113 |  |
| --- | --- | --- |

What sheet number is this drawing?

| Answer | 5 of 7 |  |
| --- | --- | --- |

What timber is required for loading and non-load bearing walls?

| Answer | Loading 45x90 Non load 35x90 |  |
| --- | --- | --- |

What spacing is recommended for common studs?

| Answer | 600mm max |  |
| --- | --- | --- |

What type of roof truss is to be installed?

| Answer | Scissor Truss |  |
| --- | --- | --- |

What centres are the trusses positioned at?

| Answer | 900mm |  |
| --- | --- | --- |

What size are the veranda posts?

| Answer | 90x90 |  |
| --- | --- | --- |

What timber species are the veranda posts to come from?

| Answer | Oregon |  |
| --- | --- | --- |

What pitch is the roof?

| Answer | 30 degree |  |
| --- | --- | --- |

What size are the noggings and at what spacing?

| Answer | 35x70 1300mm spacing |  |
| --- | --- | --- |

What size are the ceiling joists?

| Answer | 240 |  |
| --- | --- | --- |

What timber is used for roof battens and what spacing?

| Answer | FG Pine at 900mm |  |
| --- | --- | --- |

What thickness is the plasterboard sheeting?

| Answer | 10mm |  |
| --- | --- | --- |

What type of flooring is to be installed?

| Answer | 15mm plywood |  |
| --- | --- | --- |

What is the roof cladding material?

| Answer | Colorbond corrugated metall |  |
| --- | --- | --- |

Where will you find information about the footings?

| Answer | Engineers drawing |  |
| --- | --- | --- |

What do the letters ‘DAR’ refer when timber ordering?

| Answer | Dressed all round |  |
| --- | --- | --- |

Explain what ‘240 x 63 LVL’ refers to on the sectional drawing. What do the letters ‘LVL’ refer to?

| Answer | 240 is the length and 63 is the thickness of the laminated veneer lumber |  |
| --- | --- | --- |

Refer to the drawing below to respond to Q50. to Q65.

What is the number of the drawing?

| Answer | 2 |  |
| --- | --- | --- |

What is the Job Number?

| Answer | OOR-112 |  |
| --- | --- | --- |

What is the scale of the drawing?

| Answer | 1:100 |  |
| --- | --- | --- |

What does the drawing show?

| Answer | Elevations |  |
| --- | --- | --- |

Which view shows the front of the house?

| Answer | East Elevation |  |
| --- | --- | --- |

How many motor vehicles can be parked in the garage?

| Answer | 2 |  |
| --- | --- | --- |

What are the window and doors made from?

| Answer | Aluminium and timber |  |
| --- | --- | --- |

What is the size of the eaves?

| Answer | 450mm |  |
| --- | --- | --- |

What are the eaves lined with?

| Answer | Hardiflex |  |
| --- | --- | --- |

What type of roof structure is the roof built from?

| Answer | Timber framed roof trusses |  |
| --- | --- | --- |

Which Part of the NCC should be read for more detail about the requirements for the roof structure in Q59.?

| Answer | Vol 2 Part 3.4.2.6 |  |
| --- | --- | --- |

Which Australian Standard should be read for more detail about the roof structure in Q59. ?

| Answer | AS 4440 |  |
| --- | --- | --- |

What is the roof cladding materials made from?

| Answer | Concrete roof tiles |  |
| --- | --- | --- |

Which Part of the NCC should be read for more detail about the roof cladding materials in Q62. ?

| Answer | Vol 2 Part 3.5 |  |
| --- | --- | --- |

Which Australian Standard should be read for more detail about the roof cladding materials in Q62. ?

| Answer | AS 2050 |  |
| --- | --- | --- |

What is the roof pitch?

| Answer | 22.5 degrees |  |
| --- | --- | --- |

Identify one (1) regulatory body you may need to submit plans to for approval?

| Answer | Local councill |  |
| --- | --- | --- |

Briefly describe the approval process and timeframes for an approval through the regulatory body in Q66.

| Answer | The following is needed - Development application Builders insurance confirmation Relevant building plans Payment of fee 6 weeks to be allowed for development application approval |  |
| --- | --- | --- |

What is a prime cost (PC) item? Give an example.

| Answer | Amount of money in a contract to purchase specific items such as bathroom fittings. It is an estimate from the builder. |  |
| --- | --- | --- |

What is a provisional sum (PS) item? Give an example.

| Answer | Amount of money included in contract to cover work and materials not detailed when entering the contract such as site works |  |
| --- | --- | --- |

Refer to the Bill of Quantities below to respond to Q70. to Q76.

Source: http://organizedbuilders.com.au/sites/default/files/BOQ-Summary.pdf

True or False (Tick your response): This Bill of Quantities represents a job for a two-storey house.

| Answer |  | True |  |  |
| --- | --- | --- | --- | --- |
|  |  | False |  |  |

Identify two (2) materials being used for the floors?

| Answer | Carpet Floating floors |  |
| --- | --- | --- |

True or False (Tick your response): A landscaper has been contracted for this job.

| Answer |  | True |  |  |
| --- | --- | --- | --- | --- |
|  |  | False |  |  |

How much does the contracted plasterer cost?

| Answer | $12,900 |  |
| --- | --- | --- |

How much do the kitchen appliances cost?

| Answer | $2,700 |  |
| --- | --- | --- |

What percentage of the total cost does the fixing stage represent of the building contract?

| Answer | 17.45% |  |
| --- | --- | --- |

What percentage of the total cost does the completion stage represent of the building contract?

| Answer | 13.19% |  |
| --- | --- | --- |

Refer to the Purchase Order below to respond to Q77. to Q82.

Source: http://organizedbuilders.com.au/sites/default/files/Databuild-Bill-of-Quantities.pdf

How many Pine F5 90 x 45 studs (2.4m long) are required?

| Answer | 100 |  |
| --- | --- | --- |

If the material in Q77. increased in cost to $2.75 each, what would be the total cost for this material?

| Answer | $275 |  |
| --- | --- | --- |

How many sheet of ply are required in total (i.e. all sizes)?

| Answer | 13 |  |
| --- | --- | --- |

What material has the highest total cost?

| Answer | Pine 90x45 mgp10 |  |
| --- | --- | --- |

How many metres are required of the material in Q80. ?

| Answer | 322.50m |  |
| --- | --- | --- |

What beam is identified as being a better option than F17?

| Answer | E14 |  |
| --- | --- | --- |

Refer to the labour chart below to respond to Q83. to Q86.

Source: https://www.archsd.gov.hk/media/89170/sor2013_vol1_builders_works_2013_11_04.pdf

Based on the hourly rates given, which is the least expensive trade to contract?

| Answer | Asphalter |  |
| --- | --- | --- |

If the trade in Q83. were to be contracted for two (2) hours’ work, how much would this cost?

| Answer | $214.80 |  |
| --- | --- | --- |

Based on the hourly rates given, which is the most expensive trade to contract?

| Answer | Bar bender & fixer |  |
| --- | --- | --- |

If the trade in Q85. were to be contracted for six (6) hours’ work, how much would this cost?

| Answer | $1285.80 |  |
| --- | --- | --- |

Name the building legislation (Act and Regulations) that apply within your jurisdiction and should be referenced when reading plans and building contracts.

| Answer | Qld development ode Building Act The Noosa Plan |  |
| --- | --- | --- |