CHECKLIST for building fire protection compliance in Queensland

| Passive Fire Protection | Assessment |
| --- | --- |
| Fire-Resistance Levels (FRL) | ✓ Compliant |
| Fire-Rated Materials | ✓ Compliant |
| Compartmentation | ✓ Compliant |
| Fire Stopping | ✓ Compliant |

| Active Fire Protection | Assessment |
| --- | --- |
| Fire Sprinkler Systems | ✓ Compliant |
| Fire Detection and Alarm Systems | ✓ Compliant |
| Emergency Lighting and Exit Signs | ✓ Compliant |
| Occupant Warning Systems | ✗ Not Observed |

Overall Assessment

Wynnum demonstrates satisfactory compliance with passive and active fire protection requirements for a Class 2 Commercial Building as outlined in the National Construction Code (NCC). The building's fire-resisting elements, fire-rated materials, and active fire protection systems are in good condition and meet the necessary standards.

Passive Fire Protection:

- The building's walls, floors, and ceilings have appropriate fire-resistance levels (FRL) as specified in the NCC.

- Fire-rated materials have been used for doors and walls separating different fire compartments.

- The building is divided into fire-resisting compartments with suitable fire-rated walls and doors to limit the spread of fire.

- Fire stopping is appropriately installed around service penetrations and openings in fire-rated elements.

Active Fire Protection:

- The building is equipped with an automatic fire sprinkler system, which appears to be operational and in good condition.

- Functional smoke detectors, heat detectors, and manual call points are installed at appropriate locations.

- Emergency lighting and illuminated exit signs were observed throughout the building.

- An occupant warning system was not observed to be present in the building.

Recommendations:

- Conduct regular maintenance and testing of all fire protection systems in accordance with the manufacturer's guidelines and AS 1851.

- Consider installing an occupant warning system for enhanced emergency communication during fire events.

- Provide regular fire safety training for building occupants, emphasizing evacuation procedures and the proper use of fire-fighting equipment.

- Ensure that all fire exits and accessways are unobstructed and clearly marked.

- Review the building's fire safety management plan and update it as necessary.